United States Environmental Protection Agency

Pathogen Equivalency Committee

Pathogen Reduction Equivalency Application Package

For

Biosolids Treatment Processes

(PLEASE CAREFULLY READ ATTACHED INSTRUCTIONS BEFORE COMPLETING THIS APPLICATION)

| A. Nature of Equivalency Request: Select the appropriate boxes indicating the level of pathogen destruction achieved and the equivalency status for which you are seeking a determination. Pathogen Reduction Achieved Level of Equivalency Sought Process to Significantly Reduce Pathogens (PSRP) National Process to Further Reduce Pathogens (PFRP) Site-Specific |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| #### B. Applicant Information: |  |  |  |  |  |  |  | C. Facility Information (if applicable): |  |  |  |  |  |  |  |
|  | Name: |  |  |  |  |  |  |  | Name: |  |  |  |  |  |  |
|  | Mailing Address: |  |  |  |  |  |  |  | Facility Location: |  |  |  |  |  |  |
|  | Contact Person: |  |  |  |  |  |  |  | Contact Person: |  |  |  |  |  |  |
|  | Contact Title: |  |  |  |  |  |  |  | Contact Title: |  |  |  |  |  |  |
|  | Mailing Address: |  |  |  |  |  |  |  | Mailing Address: |  |  |  |  |  |  |
|  | Telephone No.: |  | ( ) |  | - |  |  |  | Telephone No.: |  | ( ) |  | - |  |  |
| D. Treatment Process Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E. Process Description: Provide a brief overall description of the biosolids treatment process being evaluated for equivalency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Comparison to Established Pathogen Reduction Processes: Does the proposed process meet the operating conditions of an established pathogen reduction alternative as listed in 40CFR Part 503? Yes No If Yes, indicate the appropriate alternative below and explain how the process in question varies from the established method. Class A: Alternative 1 Alternative 2 Alternative 5 Alternative 6 Class B: Alternative 2 Alternative 3 (For Class A Alternatives 5 and 6 and Class B Alternatives 2 and 3, list the specific Process to Further Reduce Pathogens (PFRP) or Process to Significantly Reduce Pathogens (PSRP)) Variation: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Operating Conditions: Provide a brief description of the specific process operating parameters that must be maintained to achieve consistent pathogen destruction. The description should include specific information on the physical, chemical, and biological requirements such as, temperature, pH, solids concentration, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Performance: Provide average reductions recorded under the operating conditions described under Section G. Untreated Sludge; Treated Sludge; Reduction. Total Solids (%). Volatile Solids (%). Pathogens/Indicator:. fecal coliform (MPN/g TS)*. Salmonella sp. (MPN/4g TS). enteric viruses (PFU/4g TS). Ascaris ova (viable ova/4g TS). Other (include units):. * CFU/g TS is allowable for PSRP equivalencies only. Check box if this substitution was made  |
| - Process Reliability: Provide a brief description of the uncontrolled conditions which affect the process’s ability to achieve consistent and reliable results, such as, ambient temperatures and other weather conditions or environmental factors, sensitivity to loading variations, pH, chemicals which may be used upstream in the wastewater treatment process, etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Applications: Provide a brief description of the intended use of the sludge once treated. Include vector attraction reduction options, if applicable, advantages of this process, etc.

- Full Application for Equivalency Recommendation: Attach a copy of the full application for equivalency recommendation.

- Quality Assurance Project Plan (QAPP): Attach a copy of the approved QAPP. Any deviations from the QAPP must be documented either within the application or in a separate QAPP addendum provided here.

- Analytical Results: Attach copies of the microbiological results for produced from fulfilling the QAPP. In addition, provide analytical results for the specific process operating parameters identified. All results must also be summarized in tabular form.

- References: Provide a list of any literature cited or literature that would be useful in assessing the process itself and associated findings.

- Certification: I hereby certify that the information and data contained in this application have been collected under the direction of the QAPP and are accurate. NAME AND OFFICIAL TITLE (Use Corporate or Professional Seal As Appropriate): Name: Title: Signature: Telephone: ( ) - Date Signed: / /

Sworn and subscribed to before me: This day of , 20 Notary Public (Notary Public Seal and Stamp)

United States Environmental Protection Agency

Pathogen Equivalency Committee

Pathogen Reduction Equivalency Application Package

For

Biosolids Treatment Processes

# INSTRUCTIONS

Help With This Form

U.S. Pathogen Equivalency Committee Website

You can access the Pathogen Equivalency Committee website 7days a week, 24 hours a day at:

http://www.epa.gov/ORD/NRMRL/pec/

Many basic questions can be answered and guidance documents to assist in the successful completion of an equivalency application can be accessed by visiting the U.S. Pathogen Equivalency Committee website.  This should be your first source of information for help in completing this form.

Contacting the U.S. Pathogen Equivalency Committee

You can communicate with the U.S. Pathogen Equivalency Committee (PEC) at your convenience through the PEC’s e-mail address:

pec@epa.gov

If you are unable to find the information you are seeking, the PEC can be contacted by e-mail.  If preferred, you may request to speak to a committee member by telephone.  Simply indicate this preference in your e-mail and be sure to leave your phone number, days and time of availability and a brief description of your problem or question.  A committee member would be happy to return your e-mail or set up a telephone call in a timely manner.

Before You Fill In This Form

Checklist of Prerequisites to This Form

 Have you contacted your Permitting Authority?

Your permitting authority should be the first point of contact on new applications for equivalency recommendation, especially if you are operating in conjunction with a specific treatment plant.  You can identify your permitting authority through the State and Regional Coordinator Locator on the PEC website (http://www.epa.gov/ORD/NRMRL/pec/).  All necessary contact information is provided.

 Have you prepared a Quality Assurance Project Plan (QAPP)?*

A QAPP acts as a roadmap to successfully guide you through the collection of all necessary laboratory and field studies conducted in support of equivalency.  See the Quality Assurance Project Plan page on the PEC website (http://www.epa.gov/ORD/NRMRL/pec/) for more information on the value of a QAPP and guidelines on how to develop one.

 Has the Pathogen Equivalency Committee or Other Appropriate Authority Reviewed and Approved your QAPP?*

The PEC or other appropriate authority (such as your permitting authority or university) should have reviewed and approved your QAPP before any data is collected in support of this application for equivalency recommendation.  The approved QAPP must be included in this package (see L. on the form) for reference and any deviations from the approved QAPP must be indicated.

 Have you completed all necessary laboratory and field studies as detailed in your approved QAPP?*

Once your QAPP is approved it must be fulfilled.  Unless documented with acceptable explanation, deviations from the approved QAPP will result in an incomplete equivalency application package.

*It is highly encouraged and greatly preferred that an applicant collect no data without operating under a QAPP or a similar type of document, other than preliminary proof-of-concept studies which are typically limited in scope.  However, under some circumstances the Pathogen Equivalency Committee will accept applications in which all or some of the data presented was collected outside of a QAPP.  In these cases, the data must still be collected using appropriate quality assurance and quality controls and the applicant must be able to provide the level of detail on required in the Application Guidelines for Equivalency Recommendation (see Line Instructions for K.) for the experimental approach, sampling and spiking procedures, analytical methods and quality assurance/quality control measures.  These sections of the full application are typically roled over directly from the QAPP and are necessary to make an educated assessment on the equivalency of new/emerging sludge disinfection processes.

Letter Instructions For This Form

A.	Nature of Equivalency Request:  Check one (and only one) box in each column.  For definitions of PSRP and PFRP visit the PEC website (http://www.epa.gov/ORD/NRMRL/pec/).  Please note that the supporting data required for PSRP and PFRP equivalencies are different therefore the pathogen reduction type would have been selected prior to the development of the QAPP.  The scope of equivalency, national versus site-specific, would also likely be reflected in the QAPP as a national equivalency may require additional data beyond that necessary for a site-specific equivalency recommendation.   Thus, the boxes checked in this section are predetermined with the development and approval of the QAPP.

B.	Applicant Information:  Provide the name and contact information for the business, organization, or facility submitting this application package.  Be sure to identify one individual as your contact person.

C.	Facility Information:   If the research conducted in this application package was completed in cooperation with a specific wastewater treatment plant or biosolids treatment facility, please provide the name and contact information, including a contact person, for this facility.

D.	Treatment Process Name:   Provide the full name of your treatment process, including any acronyms, trademarks, etc.

E.	Process Description:   Provide a concise description of your treatment process.  All essential conditions necessary to achieve the required level of pathogen reduction should be included in your description.  Noteworthy process design characteristics or unique components to the treatment process should also be included here.  Do not include any information deemed confidential in this description.  If a recommendation for equivalency is awarded, this description will be used by the Pathogen Equivalency Committee in their next revision of the White House Document and on their website on the Equivalent Processes page.

TIP

F.	Comparison to Established Pathogen Reduction Processes:  If your treatment process meets the operating conditions of an established pathogen reduction alternative under either Class A or B it should be indicated here.  Descriptions of each alternative, as well as descriptions of specific processes under Class A Alternatives 5 & 6, and Class B Alternatives 2 & 3, can be found on the PEC website (http://www.epa.gov/ORD/NRMRL/pec/) under the White House Document page.  In addition, recently recommended equivalent processes (i.e., processes which were awarded their equivalency after the most recent version of the white house document) can be found on the Equivalent Processes page.  The variation(s) between your treatment process and the established alternative/process should be indicated.

If you meet the operating conditions of an

established alternative/ process without any variation, you do not need an equivalency recommendation for your process.

G.	Operating Conditions:  Summarize the operating conditions of the key components of your treatment process under which consistent and reliable pathogen reduction can be expected.

H.	Performance:   Summarize the solids concentrations and the pathogen reductions observed during data collection under the operating conditions listed in Section G.  Do not include any data taken outside these operating conditions.  Arithmetic means should be used for the solids parameters and geometric means should be used for the organism densities.  All numbers should be presented in the indicated units.  The total solids denominator in the organism densities should be expressed as a dry weight basis.  Fecal coliform density is the only parameter with some choice in units.  When PSRP equivalency is sought regulations allow you to choose between the multiple tube fermentation and membrane filtration methods.  If membrane filtration is used, CFU/g TS will be substituted for MPN/g TS and the check box should be checked.  Otherwise, the default units of MPN/g TS will be applicable.  Reductions for the solids should be left in percentages, but reductions for the organism densities should be expressed in log transforms.

I.	 Process Reliability:   Any conditions which may affect the level of pathogen reduction achieved by your process should be listed here.

J.	Applications:   Provide a brief statement on the expected applications of the biosolids produced by your process.  If you process itself concurrently meets a vector attraction reduction option, note which option as well as any special conditions that must be met to achieve vector attraction reduction concurrently to pathogen reduction.  If your process does not achieve vector attraction reduction inherently, list which options may best be paired with your process.  If you foresee any unique benefits to using you product for a particular application over biosolids produced with any other alternative/process, discuss it briefly here.

K.	Full Application for Equivalency Recommendation:  This section contains the real meat of the equivalency application package.  The full application should contain a detailed account of the results from the laboratory and field studies laid out in the QAPP, all supporting information, and the rationale for receiveing a recommendation for equivalency from the PEC.  Refer to the Application Guidelines for Equivalency Recommendation on the How to Apply page of the PEC website (http://www.epa.gov/ORD/NRMRL/pec/) for specific guidance on the develpoment of this document.

The QAPP should be submitted to and approved by the PEC or other appropriate authority prior

to the collection of data provided in the full application for equivalency.  See the Checklist of Prerequisites to This Form starting on page 4 for more detail.

TIP

L.	Quality Assurance Project Plan (QAPP):  The QAPP provides an important foundation for any research project.   Refer to the QAPP Guidelines for Applied Research Projects document found on the Quality Assurance Project Plan page of the PEC website (http://www.epa.gov/ORD/NRMRL/pec/) for specific guidance on the development of this plan. The QAPP must be included in the application package for reference and any deviations from the QAPP must be documented either within the application or in a separate QAPP addendum.

M.	Analytical Results:   Provide copies of all results from the laboratory and field studies performed under the approved QAPP.  Raw (i.e., unmanipulated) data is preferable here as the averaged or otherwise analyzed data be provided in the results section of your full application.  Laboratory reports from a third party can be included. Data should be in order by date and all operating conditions or other measured parameters associated with the microbiological data should be clearly indicated.  Quality assuance and quality control data, such as blanks and matrix spikes or recovery controls must also be included in this section.

N.	References:   A complete list of all literature cited must be included.

O.	Certification:   Certification is mandatory. This application package must be signed and notarized in order to be accepted for consideration by the PEC.  This step is meant to deter falsification of data.  An equivalency recommendation based on falsified data may have serious public health consequences and certification provide accountability.

Where and How to Submit Your Application Package

What to Submit

Once your application package is complete, submit the original Equivalency Application Package Form containing the notary public seal and all attachments detailed within, plus one complete copy of the entire package.   Additional copies of the equivalency application package may be requested after the completeness of the package has been verified.  A copy of the application package should also be submitted concurrently to your permitting authority.  For contact information see the State and Regional Coordinator Locator on the PEC website (http://www.epa.gov/ORD/NRMRL/pec/).

Where to Submit

Send equivalency application packages to:		PEC chair

U.S. Environmental Protection Agency

26 West Martin Luther King Dr.

Cincinnati, OH 45268

What To Do Next

Be Patient!  Obtaining a recommendation of equivalency requires a thorough examination of the process, which can be lengthy (3 or more months from the time the committee receives a completed application), but feel free to inquire on the progress of the review by contacting the Pathogen Equivalency Committee through their e-mail address: pec@epa.gov.