EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling     Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   831168.   868180.   925433.   975575.  1039624.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      20632.    24814.    22181.    20955.    19090.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       851800.   892994.   947614.   996531.  1058714.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 719442.   761387.   812269.   856657.   913351.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     21053.    25321.    22634.    21383.    19480.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                740495.   786708.   834903.   878040.   932831.

3. Reserve Margin Annual [%]               15.03     13.51     13.50     13.49     13.49

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3949627.  4146843.  4392172.  4599330.  4860522.

Inter-Region Transmission [GWh]      -9544.    -8902.    -8201.    -8283.    -7732.

Pumping & Storage Losses [GWh]       13585.    15751.    15323.    14826.    14414.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3926498.  4122190.  4368648.  4576221.  4838377.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3926498.  4122190.  4368648.  4576221.  4838377.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3926498.  4122190.  4368648.  4576221.  4838377.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3926498.  4122190.  4368648.  4576221.  4838377.

Less T&D Losses [GWh]               301465.   316490.   335412.   351349.   371477.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3625032.  3805700.  4033236.  4224872.  4466900.

Capacity Avoided Costs [US$/kW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                     58.21     35.84     41.92     43.71     46.19

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          12879.    12879.    12879.    12879.    12879.

Scrubbed Coal                  2          55826.    55066.    54964.    54876.    54780.

Unscrubbed Coal_NOx            3          23870.    22620.    21724.    21712.    21694.

Unscrubbed Coal                4         119512.   112508.    99218.    92855.    88267.

Oil/Gas Steam                  5         106552.   106078.   105679.   105679.   105679.

Oil/Gas Steam_Nox              6          11602.    11602.    11602.    11602.    11602.

Nuclear                        7          76804.    61763.    31297.    10725.     1935.

Hydro                          8          89789.    89789.    89789.    89789.    89789.

Comb.Cycle Gas                 9          73165.    97380.   123362.   146909.   180814.

IGCC                          10            612.      612.      612.      612.      612.

Turbine                       11          97752.   116135.   151211.   181956.   214721.

Biomass                       12           1108.     1108.     1108.     1108.     1108.

Geothermal                    13           2725.     2725.     2725.     2725.     2725.

Landfill Gas                  14             91.       91.       91.       91.       91.

Wind                          15           1691.     1691.     1691.     1691.     1691.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17            325.      325.      325.      325.      325.

Non Fossil_Other              18           2113.     2113.     2113.     2113.     2113.

Fossil_Other                  19             45.       45.       45.       45.       45.

Pump Storage                  20          22554.    22554.    22554.    22554.    22554.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           4060.     4060.     4060.     4060.     3674.

Cgn_Gas                       23          22539.    22539.    22539.    22539.    22539.

Cgn_Oil                       24           1069.     1069.     1069.     1069.     1069.

Cgn_Other                     25           1065.     1065.     1065.     1065.     1065.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34            160.      160.      160.      160.      160.

Rep.O/G-CC                    35          19379.    20150.    20949.    20949.    20949.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.

Ret.Scrubber                  37           1119.     2669.     6291.     6021.     6524.

Ret.ExistSCR & Scrub          38              0.     1189.     2036.     2036.     2036.

Ret.ExistSNCR & Scrub         39              0.       34.       64.       76.       94.

Ret.SCR                       40          55395.    54893.    59961.    63854.    66702.

Ret.ExistScrub & SCR          41          31250.    31886.    31886.    31886.    31886.

Ret.SNCR                      42             74.      424.     1315.     2044.     3424.

Ret.ExistScrub & SNCR         43            654.      779.      881.      969.     1055.

Ret.SCR+Scrb                  44            174.     5629.     8475.     8832.     9059.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.      925.      925.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.      243.      280.      280.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        9.

Ret.ACI & Srub                57              0.        0.      473.     1147.     1147.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65           2036.     2036.     2036.     2036.     2036.

Ret.O/G SNCR                  66           1827.     1827.     1827.     1827.     1827.

Ret.Nuclear (age 30+10 yrs)   67          10568.    17840.    26102.    33556.    10608.

Ret.Nuclear (age 40+20 yrs)   68              0.     2062.    20230.    29214.    58348.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72           1156.     1244.     1244.     1244.     1244.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74           2680.     4251.     1140.     1140.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    865221.   903892.   958034.  1008177.  1071085.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.        0.        0.        0.        0.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9          14351.    24215.    25981.    23548.    33905.

IGCC                          10              0.        0.        0.        0.        0.

Turbine                       11          24020.    18383.    35076.    30745.    32773.

Biomass                       12              0.        0.        0.        0.        0.

Geothermal                    13              0.        0.        0.        0.        0.

Landfill Gas                  14              0.        0.        0.        0.        0.

Wind                          15              0.        0.        0.        0.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              0.        0.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34            160.        0.        0.        0.        0.

Rep.O/G-CC                    35          19379.      771.      799.        0.        0.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.

Ret.Scrubber                  37           1119.     1551.     4094.      406.      503.

Ret.ExistSCR & Scrub          38              0.     1189.      847.        0.        0.

Ret.ExistSNCR & Scrub         39              0.       34.       30.       12.       17.

Ret.SCR                       40          55395.     2980.     5825.     4818.     2848.

Ret.ExistScrub & SCR          41          31250.      635.        0.        0.        0.

Ret.SNCR                      42             74.      350.     1134.      766.     1380.

Ret.ExistScrub & SNCR         43            654.      125.      102.       88.       95.

Ret.SCR+Scrb                  44            174.     5455.     2846.      357.      227.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.      925.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.      243.       37.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        9.

Ret.ACI & Srub                57              0.        0.      473.      675.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65           2036.        0.        0.        0.        0.

Ret.O/G SNCR                  66           1827.        0.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67          10568.     7272.    18830.    14726.     2268.

Ret.Nuclear (age 40+20 yrs)   68              0.     2062.    18168.     8984.    29134.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72           1156.       89.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74           2680.     1571.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    164844.    66682.   114447.    86087.   103160.

12. Generation by Plant Type [GWh]        2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          95349.    95362.    95564.    95739.    95797.

Scrubbed Coal                  2         405993.   403929.   405828.   407068.   406871.

Unscrubbed Coal_NOx            3         163502.   155795.   153201.   155019.   156709.

Unscrubbed Coal                4         785487.   749294.   685782.   658938.   635764.

Oil/Gas Steam                  5          84223.    73201.    52057.    43279.    35990.

Oil/Gas Steam_Nox              6          17871.    14462.    12141.     5751.     4411.

Nuclear                        7         572789.   466188.   237196.    80308.    11883.

Hydro                          8         269090.   269090.   269090.   269090.   269090.

Comb.Cycle Gas                 9         409278.   589838.   772012.   945342.  1191017.

IGCC                          10           4702.     4702.     4702.     4702.     4702.

Turbine                       11          45333.    86241.   164453.   219477.   259071.

Biomass                       12           7486.     7291.     7291.     7152.     7152.

Geothermal                    13          20767.    20767.    20767.    20767.    20767.

Landfill Gas                  14            717.      717.      717.      717.      717.

Wind                          15           4319.     4319.     4319.     4319.     4319.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17            791.      791.      791.      791.      791.

Non Fossil_Other              18          16659.    16659.    16659.    16659.    16659.

Fossil_Other                  19            355.      355.      355.      355.      355.

Pump Storage                  20          10072.    11608.    11317.    10949.    10654.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          28478.    28745.    29057.    29252.    26714.

Cgn_Gas                       23          62580.    70940.    63020.    58196.    48491.

Cgn_Oil                       24           3251.     3251.     2655.     2597.     2580.

Cgn_Other                     25           6927.     6909.     7202.     7068.     6847.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34            735.     1088.     1267.     1267.     1267.

Rep.O/G-CC                    35         149805.   156426.   160700.   161376.   161878.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.

Ret.Scrubber                  37           7584.    19158.    46842.    44837.    48580.

Ret.ExistSCR & Scrub          38              0.     8857.    15163.    15163.    15163.

Ret.ExistSNCR & Scrub         39              0.      253.      478.      569.      697.

Ret.SCR                       40         399007.   397964.   439355.   469477.   492756.

Ret.ExistScrub & SCR          41         230794.   235524.   235422.   235524.   235828.

Ret.SNCR                      42            511.     2470.     8490.    13947.    24013.

Ret.ExistScrub & SNCR         43           4473.     5337.     6155.     6859.     7620.

Ret.SCR+Scrb                  44           1298.    41918.    63108.    65765.    67456.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.     6890.     6890.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.     1360.     1747.     1747.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.       70.

Ret.ACI & Srub                57              0.        0.     3518.     8543.     8543.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65           6462.     6462.     6462.     4262.     2147.

Ret.O/G SNCR                  66           5732.     5797.     3371.     1926.     1926.

Ret.Nuclear (age 30+10 yrs)   67          82590.   141507.   205568.   264786.    85951.

Ret.Nuclear (age 40+20 yrs)   68              0.    15550.   157197.   230200.   457983.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   3949627.  4146843.  4392172.  4599330.  4860522.

13. Generation by Plant Type [TBtu]       2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            325.      325.      326.      327.      327.

Scrubbed Coal                  2           1385.     1378.     1385.     1389.     1388.

Unscrubbed Coal_NOx            3            558.      532.      523.      529.      535.

Unscrubbed Coal                4           2680.     2557.     2340.     2248.     2169.

Oil/Gas Steam                  5            287.      250.      178.      148.      123.

Oil/Gas Steam_Nox              6             61.       49.       41.       20.       15.

Nuclear                        7           1954.     1591.      809.      274.       41.

Hydro                          8            918.      918.      918.      918.      918.

Comb.Cycle Gas                 9           1396.     2013.     2634.     3226.     4064.

IGCC                          10             16.       16.       16.       16.       16.

Turbine                       11            155.      294.      561.      749.      884.

Biomass                       12             26.       25.       25.       24.       24.

Geothermal                    13             71.       71.       71.       71.       71.

Landfill Gas                  14              2.        2.        2.        2.        2.

Wind                          15             15.       15.       15.       15.       15.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             57.       57.       57.       57.       57.

Fossil_Other                  19              1.        1.        1.        1.        1.

Pump Storage                  20             34.       40.       39.       37.       36.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             97.       98.       99.      100.       91.

Cgn_Gas                       23            214.      242.      215.      199.      165.

Cgn_Oil                       24             11.       11.        9.        9.        9.

Cgn_Other                     25             24.       24.       25.       24.       23.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              3.        4.        4.        4.        4.

Rep.O/G-CC                    35            511.      534.      548.      551.      552.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.

Ret.Scrubber                  37             26.       65.      160.      153.      166.

Ret.ExistSCR & Scrub          38              0.       30.       52.       52.       52.

Ret.ExistSNCR & Scrub         39              0.        1.        2.        2.        2.

Ret.SCR                       40           1361.     1358.     1499.     1602.     1681.

Ret.ExistScrub & SCR          41            787.      804.      803.      804.      805.

Ret.SNCR                      42              2.        8.       29.       48.       82.

Ret.ExistScrub & SNCR         43             15.       18.       21.       23.       26.

Ret.SCR+Scrb                  44              4.      143.      215.      224.      230.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.       24.       24.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        5.        6.        6.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.       12.       29.       29.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65             22.       22.       22.       15.        7.

Ret.O/G SNCR                  66             20.       20.       12.        7.        7.

Ret.Nuclear (age 30+10 yrs)   67            282.      483.      701.      903.      293.

Ret.Nuclear (age 40+20 yrs)   68              0.       53.      536.      785.     1563.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13476.    14149.    14986.    15693.    16584.

14. Capacity Factor by Plant Type [%]     2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.5      84.5      84.7      84.9      84.9

Scrubbed Coal                  2            83.0      83.7      84.3      84.7      84.8

Unscrubbed Coal_NOx            3            78.2      78.6      80.5      81.5      82.5

Unscrubbed Coal                4            75.0      76.0      78.9      81.0      82.2

Oil/Gas Steam                  5             9.0       7.9       5.6       4.7       3.9

Oil/Gas Steam_Nox              6            17.6      14.2      11.9       5.7       4.3

Nuclear                        7            85.1      86.2      86.5      85.5      70.1

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            63.9      69.1      71.4      73.5      75.2

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             5.3       8.5      12.4      13.8      13.8

Biomass                       12            77.1      75.1      75.1      73.7      73.7

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      90.0      90.0      90.0      90.0

Wind                          15            29.2      29.2      29.2      29.2      29.2

Fuel Cell                     16             N/A       N/A       N/A       N/A       N/A

Solar                         17            27.8      27.8      27.8      27.8      27.8

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             5.1       5.9       5.7       5.5       5.4

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            80.1      80.8      81.7      82.2      83.0

Cgn_Gas                       23            31.7      35.9      31.9      29.5      24.6

Cgn_Oil                       24            34.7      34.7      28.3      27.7      27.6

Cgn_Other                     25            74.2      74.1      77.2      75.8      73.4

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34            52.5      77.6      90.4      90.4      90.4

Rep.O/G-CC                    35            88.2      88.6      87.6      87.9      88.2

Rep.Coal-IGCC                 36             N/A       N/A       N/A       N/A       N/A

Ret.Scrubber                  37            77.4      81.9      85.0      85.0      85.0

Ret.ExistSCR & Scrub          38             N/A      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A      85.0      85.0      85.0      85.0

Ret.SCR                       40            82.2      82.8      83.6      83.9      84.3

Ret.ExistScrub & SCR          41            84.3      84.3      84.3      84.3      84.4

Ret.SNCR                      42            78.9      66.5      73.7      77.9      80.1

Ret.ExistScrub & SNCR         43            78.1      78.2      79.8      80.8      82.5

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      85.0

Ret.SNCR+Scrub                45             N/A       N/A       N/A       N/A       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A      85.0      85.0

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A      63.9      71.2      71.2

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A      85.0

Ret.ACI & Srub                57             N/A       N/A      85.0      85.0      85.0

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65            36.2      36.2      36.2      23.9      12.0

Ret.O/G SNCR                  66            35.8      36.2      21.1      12.0      12.0

Ret.Nuclear (age 30+10 yrs)   67            89.2      90.5      89.9      90.1      92.5

Ret.Nuclear (age 40+20 yrs)   68             N/A      86.1      88.7      90.0      89.6

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             N/A       N/A       N/A       N/A       N/A

CC Early Retirement           71             N/A       N/A       N/A       N/A       N/A

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             N/A       N/A       N/A       N/A       N/A

Nuke Early Retirement         74             0.0       0.0       0.0       0.0       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     52.1      52.4      52.3      52.1      51.8

15. Total Annual Production Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              7097.7    7441.5    7783.2    8001.9    8286.7

Fixed O&M                                21856.5   21657.8   21887.2   22016.1   22430.0

Fuel                                     42751.0   44163.4   46281.0   48151.4   50960.9

Capital                                   4514.5    7672.0   12971.6   16747.2   21352.5

--------------------------------------  --------  --------  --------  --------  --------

Total                                    76219.7   80934.7   88923.0   94916.6  103030.1

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                          10548.9476     9439.1782     8970.8656     8971.0689     8971.0688

NOX    [MTons]                           4172.8346     4081.2968     4131.0634     4167.0563     4184.7266

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2316.9896     2418.6240     2539.1779     2634.0414     2739.4830

Carbon [MMTonnes]                         631.9063      659.6247      692.5031      718.3749      747.1317

MER    [Tons]                              55.7098       54.4709       54.2858       53.4464       53.2171

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out ModelingRegion: System      Page:  8.  1

Fuel Consumption Report

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                   21169.4  21407.8  21876.3  22148.4  22316.4

Oil                       21.4     19.2     12.3     12.3     12.3

Nuclear                 6907.0   6562.7   6297.8   6040.5   5833.1

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5977.6   7446.5   8889.3  10192.6  11881.2

Other                     21.6     21.5     23.2     22.8     21.5

None                     732.0    732.0    732.0    732.0    732.0

Biomass                   93.4     91.6     91.6     89.8     89.8

Grand Total            34922.5  36281.3  37922.5  39238.4  40886.2

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2010     2015     2020     2026

Coal                   23238.3  21382.9  19889.8  18455.1  16734.4

Oil                       78.9     77.0     49.2     50.0     50.0

Nuclear                 2797.3   2703.8   2563.2   2452.4   2368.2

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    16503.2  19872.5  23661.0  27083.0  31698.6

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  133.3    127.0    117.9    110.8    109.6

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                      1.10     1.00     0.91     0.83     0.75

Oil                       3.68     4.01     4.00     4.07     4.07

Nuclear                   0.40     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       2.76     2.67     2.66     2.66     2.67

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.43     1.39     1.29     1.23     1.22

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  1

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint                         Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1070E+05  9098.      8813.      8813.      8813.

-Emissions at Affected Plants [MTons]       0.1039E+05  9282.      8813.      8813.      8813.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              306.2      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000     -183.7      0.000      0.000      0.000

Total [MTons]                                0.1070E+05  9098.      8813.      8813.      8813.

TBtu Consumed                                0.2216E+05 0.2225E+05 0.2247E+05 0.2256E+05 0.2262E+05

Rate - [lb/MMBtu]                            0.9381     0.8342     0.7845     0.7814     0.7793

TWh Generated                                 2232.      2239.      2258.      2265.      2270.

Constraint Shadow Price [US$/Ton]             337.7      415.1      485.1      482.4      490.8

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  2

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        46.79      7.289      7.289      7.289      7.289

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 46.79      7.289      7.289      7.289      7.289

TBtu Consumed                                 65.40      55.97      55.97      55.97      55.97

Rate - [lb/MMBtu]                             1.431     0.2605     0.2605     0.2605     0.2605

TWh Generated                                 7.574      6.338      6.341      6.341      6.339

Constraint Shadow Price [US$/Ton]             0.000      537.3      601.8      605.9      476.1

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  3

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   3

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        82.46      73.50      45.67      46.57      46.73

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 82.46      73.50      45.67      46.57      46.73

TBtu Consumed                                 210.7      210.0      203.0      207.0      207.7

Rate - [lb/MMBtu]                            0.7827     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 20.95      20.82      20.04      20.37      20.44

Constraint Shadow Price [US$/Ton]             0.000      742.9      1205.      1208.      1078.

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   4

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        577.7      205.0      130.0      130.0      130.0

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 577.7      205.0      130.0      130.0      130.0

TBtu Consumed                                 832.2      696.9      787.5      822.3      846.7

Rate - [lb/MMBtu]                             1.389     0.5883     0.3302     0.3162     0.3071

TWh Generated                                 87.19      73.21      81.79      85.12      87.26

Constraint Shadow Price [US$/Ton]             0.000      610.0      727.7      699.4      653.5

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   5

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        71.44      17.72      17.07      17.24      17.44

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 71.44      17.72      17.07      17.24      17.44

TBtu Consumed                                 251.2      264.8      302.6      303.8      305.4

Rate - [lb/MMBtu]                            0.5687     0.1339     0.1128     0.1135     0.1142

TWh Generated                                 32.91      34.36      40.25      40.36      40.50

Constraint Shadow Price [US$/Ton]             0.000      726.0      653.7      620.6      616.4

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   6

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        111.2      111.2      48.82      36.71      25.97

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 111.2      111.2      48.82      36.71      25.97

TBtu Consumed                                 145.9      145.9      162.2      171.2      179.1

Rate - [lb/MMBtu]                             1.524      1.524     0.6018     0.4289     0.2900

TWh Generated                                 13.69      13.69      15.14      15.92      16.62

Constraint Shadow Price [US$/Ton]             218.6      1.931      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  7

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             473.0      473.0      473.0      473.0      473.0

-Emissions at Affected Plants [MTons]        473.0      473.0      473.0      473.0      473.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 473.0      473.0      473.0      473.0      473.0

TBtu Consumed                                 5845.      6089.      6489.      6769.      7034.

Rate - [lb/MMBtu]                            0.1618     0.1554     0.1458     0.1397     0.1345

TWh Generated                                 626.9      654.6      701.3      736.2      771.9

Constraint Shadow Price [US$/Ton]             2220.      2233.      2269.      2278.      2326.

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  8

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      123.5      123.5      123.5

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      123.5      123.5      123.5

TBtu Consumed                                 1358.      1417.      1385.      1350.      1330.

Rate - [lb/MMBtu]                            0.1819     0.1744     0.1784     0.1830     0.1857

TWh Generated                                 137.8      143.5      140.0      136.3      134.3

Constraint Shadow Price [US$/Ton]             1384.      1614.      1296.      1279.      1067.

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10.  9

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      2.164      2.164

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      2.164      2.164

TBtu Consumed                                 28.33      28.25      28.25      26.33      25.13

Rate - [lb/MMBtu]                            0.1528     0.1532     0.1532     0.1644     0.1722

TWh Generated                                 2.830      2.818      2.818      2.623      2.501

Constraint Shadow Price [US$/Ton]             1921.      3358.      2397.      1656.      793.1

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 10

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 157.8      166.3      144.0      150.7      159.3

Rate - [lb/MMBtu]                            0.5968E-01 0.5665E-01 0.6542E-01 0.6252E-01 0.5915E-01

TWh Generated                                 16.49      17.08      15.02      15.65      16.36

Constraint Shadow Price [US$/Ton]            0.2528E+05 0.3135E+05 0.1988E+05 0.2074E+05 0.2432E+05

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        42.86      48.76      42.95      40.35      39.24

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 42.86      48.76      42.95      40.35      39.24

TBtu Consumed                                 406.8      472.9      408.1      357.4      330.4

Rate - [lb/MMBtu]                            0.2107     0.2062     0.2105     0.2258     0.2375

TWh Generated                                 40.04      47.07      40.52      35.34      32.49

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        17.67      17.67      17.67      17.67      10.02

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 17.67      17.67      17.67      17.67      10.02

TBtu Consumed                                 82.31      80.23      83.11      83.68      48.23

Rate - [lb/MMBtu]                            0.4294     0.4406     0.4253     0.4224     0.4155

TWh Generated                                 8.318      8.119      8.394      8.446      4.844

Constraint Shadow Price [US$/Ton]             565.8      1080.      525.7      171.4      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]       0.4173      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.4173      0.000      0.000      0.000      0.000

TBtu Consumed                                 2.076      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                            0.4020      0.000      0.000      0.000      0.000

TWh Generated                                0.2047      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      43.95      43.80      44.10      43.95

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000     0.1500      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000    -0.1500      0.000

Total [MTons]                                 43.95      43.95      43.95      43.95      43.95

TBtu Consumed                                 366.6      375.5      379.9      383.1      385.6

Rate - [lb/MMBtu]                            0.2398     0.2341     0.2306     0.2302     0.2280

TWh Generated                                 35.61      36.41      37.07      37.41      37.63

Constraint Shadow Price [US$/Ton]             1181.      1173.      1205.      1563.      1513.

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        11.85      3.029      3.036      3.036      3.030

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.85      3.029      3.036      3.036      3.030

TBtu Consumed                                 65.40      55.97      55.97      55.97      55.97

Rate - [lb/MMBtu]                            0.3624     0.1082     0.1085     0.1085     0.1083

TWh Generated                                 7.574      6.338      6.341      6.341      6.339

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  16

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        34.07      27.20      12.01      2.922      2.921

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 34.07      27.20      12.01      2.922      2.921

TBtu Consumed                                 216.1      217.6      160.2      38.96      38.94

Rate - [lb/MMBtu]                            0.3153     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 21.73      21.94      16.43      4.459      4.457

Constraint Shadow Price [US$/Ton]             0.000      1376.      2980.      1799.      2027.

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        150.0      56.00      56.00      56.00      56.00

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 150.0      56.00      56.00      56.00      56.00

TBtu Consumed                                 832.2      696.9      787.5      822.3      846.7

Rate - [lb/MMBtu]                            0.3606     0.1607     0.1422     0.1362     0.1323

TWh Generated                                 87.19      73.21      81.79      85.12      87.26

Constraint Shadow Price [US$/Ton]             0.000      626.7      449.2      400.9      346.3

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 18

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  18

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        18.03      20.16      20.10      20.22      20.44

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 18.03      20.16      20.10      20.22      20.44

TBtu Consumed                                 251.2      264.8      302.6      303.8      305.4

Rate - [lb/MMBtu]                            0.1435     0.1522     0.1329     0.1331     0.1339

TWh Generated                                 32.91      34.36      40.25      40.36      40.50

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 19

Environmental Measures Report

Constraint Name: MER Policy for New Hampshire                       Constraint #:  19

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+13  82.00      82.00      82.00      82.00

-Emissions at Affected Plants [Lb]           460.1      82.00      82.00      82.00      82.00

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    460.1      82.00      82.00      82.00      82.00

TBtu Consumed                                 41.42      38.57      38.57      38.57      38.57

Rate - [lb/MMBtu]                            0.1111E-04 0.2126E-05 0.2126E-05 0.2126E-05 0.2126E-05

TWh Generated                                 4.196      3.860      3.864      3.864      3.861

Constraint Shadow Price [US$/Lb]              0.000      402.0      6663.     0.2212E+05 0.4882E+05

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 20

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  20

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      940.0      180.0      180.0

-Emissions at Affected Plants [Lb]           948.7      998.3      820.9      180.0      180.0

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    948.7      998.3      820.9      180.0      180.0

TBtu Consumed                                 210.7      210.0      203.0      207.0      207.7

Rate - [lb/MMBtu]                            0.4502E-05 0.4754E-05 0.4044E-05 0.8696E-06 0.8667E-06

TWh Generated                                 20.95      20.82      20.04      20.37      20.44

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000     0.1041E+06 0.1203E+06

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 21

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.9585E+05 0.9333E+05 0.9299E+05 0.9141E+05 0.9095E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.9585E+05 0.9333E+05 0.9299E+05 0.9141E+05 0.9095E+05

TBtu Consumed                                0.2216E+05 0.2225E+05 0.2247E+05 0.2256E+05 0.2262E+05

Rate - [lb/MMBtu]                            0.4326E-05 0.4194E-05 0.4138E-05 0.4052E-05 0.4021E-05

TWh Generated                                 2232.      2239.      2258.      2265.      2270.

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 22

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  22

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5046.      5046.      5046.      5046.

-Emissions at Affected Plants [MTons]        5771.      5046.      5046.      5046.      5046.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 5771.      5046.      5046.      5046.      5046.

TBtu Consumed                                 65.40      55.97      55.97      55.97      55.97

Rate - [lb/MMBtu]                             176.5      180.3      180.3      180.3      180.3

TWh Generated                                 7.574      6.338      6.341      6.341      6.339

Constraint Shadow Price [US$/Ton]             0.000      1.818      1.971      2.557      2.817

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 23

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  23

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1925E+05 0.2050E+05 0.2264E+05 0.2276E+05 0.2292E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1925E+05 0.2050E+05 0.2264E+05 0.2276E+05 0.2292E+05

TBtu Consumed                                 251.2      264.8      302.6      303.8      305.4

Rate - [lb/MMBtu]                             153.2      154.8      149.6      149.8      150.1

TWh Generated                                 32.91      34.36      40.25      40.36      40.50

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 24

Environmental Measures Report

Constraint Name: BEI CT Plant Specific NOX Constraint               Constraint #:  24

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.155      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.155      1.155      1.155      1.155      1.155

TBtu Consumed                                 15.40      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.577      1.575      1.575      1.575      1.575

Constraint Shadow Price [US$/Ton]             3055.      6415.      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 25

Environmental Measures Report

Constraint Name: BAK CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             915.1      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 26

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 27

Environmental Measures Report

Constraint Name: AYO CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.6037     0.6037     0.6037     0.6037     0.6037

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.6037     0.6037     0.6037     0.6037     0.6037

TBtu Consumed                                 9.627      9.627      9.627      9.627      9.627

Rate - [lb/MMBtu]                            0.1254     0.1254     0.1254     0.1254     0.1254

TWh Generated                                 1.254      1.254      1.254      1.254      1.254

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 28

Environmental Measures Report

Constraint Name: AXU CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.2369     0.2369     0.2369     0.2369     0.2369

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.2369     0.2369     0.2369     0.2369     0.2369

TBtu Consumed                                 23.69      23.69      23.69      23.69      23.69

Rate - [lb/MMBtu]                            0.2000E-01 0.2000E-01 0.2000E-01 0.2000E-01 0.2000E-01

TWh Generated                                 3.585      3.585      3.585      3.585      3.585

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 29

Environmental Measures Report

Constraint Name: AXT CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.3357     0.3357     0.3357     0.3357     0.3357

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.3357     0.3357     0.3357     0.3357     0.3357

TBtu Consumed                                 33.57      33.57      33.57      33.57      33.57

Rate - [lb/MMBtu]                            0.2000E-01 0.2000E-01 0.2000E-01 0.2000E-01 0.2000E-01

TWh Generated                                 5.082      5.082      5.082      5.082      5.082

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 30

Environmental Measures Report

Constraint Name: AUM CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 31

Environmental Measures Report

Constraint Name: ALL CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.1931E-01 0.1931E-01 0.1931E-01 0.1931E-01 0.1931E-01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1931E-01 0.1931E-01 0.1931E-01 0.1931E-01 0.1931E-01

TBtu Consumed                                0.9655     0.9655     0.9655     0.9655     0.9655

Rate - [lb/MMBtu]                            0.4000E-01 0.4000E-01 0.4000E-01 0.4000E-01 0.4000E-01

TWh Generated                                0.1136     0.1136     0.1136     0.1136     0.1136

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 32

Environmental Measures Report

Constraint Name: ALK CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.6903     0.6903     0.6903     0.6903     0.6903

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.6903     0.6903     0.6903     0.6903     0.6903

TBtu Consumed                                 34.51      34.51      34.51      34.51      34.51

Rate - [lb/MMBtu]                            0.4000E-01 0.4000E-01 0.4000E-01 0.4000E-01 0.4000E-01

TWh Generated                                 5.096      5.096      5.096      5.096      5.096

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 33

Environmental Measures Report

Constraint Name: BEI CT Plant Specific SO2 Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        3.713      4.338      4.338      4.338      4.338

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 3.713      4.338      4.338      4.338      4.338

TBtu Consumed                                 22.50      26.29      26.29      26.29      26.29

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.3300     0.3300

TWh Generated                                 2.300      2.686      2.686      2.686      2.686

Constraint Shadow Price [US$/Ton]             1120.      1003.      792.9      811.2      713.8

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 34

Environmental Measures Report

Constraint Name: BAK CT Plant Specific SO2 Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 35

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 36

Environmental Measures Report

Constraint Name: AYO CT Plant Specific SO2 Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.181      1.181      1.181      1.181      1.181

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.181      1.181      1.181      1.181      1.181

TBtu Consumed                                 16.80      16.80      16.80      16.80      16.80

Rate - [lb/MMBtu]                            0.1405     0.1405     0.1405     0.1405     0.1405

TWh Generated                                 2.194      2.194      2.194      2.194      2.194

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 37

Environmental Measures Report

Constraint Name: AXU CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]       0.1282E-05 0.1282E-05 0.1282E-05 0.1282E-05 0.1282E-05

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1282E-05 0.1282E-05 0.1282E-05 0.1282E-05 0.1282E-05

TBtu Consumed                                 41.85      41.85      41.85      41.85      41.85

Rate - [lb/MMBtu]                            0.6127E-07 0.6127E-07 0.6127E-07 0.6127E-07 0.6127E-07

TWh Generated                                 6.336      6.336      6.336      6.336      6.336

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 38

Environmental Measures Report

Constraint Name: AXT CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]       0.1834E-05 0.1834E-05 0.1834E-05 0.1834E-05 0.1834E-05

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1834E-05 0.1834E-05 0.1834E-05 0.1834E-05 0.1834E-05

TBtu Consumed                                 59.33      59.33      59.33      59.33      59.33

Rate - [lb/MMBtu]                            0.6182E-07 0.6182E-07 0.6182E-07 0.6182E-07 0.6182E-07

TWh Generated                                 8.981      8.981      8.981      8.981      8.981

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA215_IAQR_ZOBC_2003 - EPA Base Case 2003 used for Zero-Out Modeling                    Page: 10. 39

Environmental Measures Report

Constraint Name: AUM CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000