EPA216_PM_57 – EPA216_CAIR_SNPR                                                           Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   918555.   921362.   949596.  1017222.  1111950.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      24037.    29894.    40379.    24239.    18144.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       942591.   951256.   989975.  1041460.  1130094.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 734691.   772709.   829381.   892642.   976829.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     24527.    30504.    41203.    24733.    18514.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                759218.   803213.   870584.   917375.   995343.

3. Reserve Margin Annual [%]               24.15     18.43     13.71     13.53     13.54

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     4007207.  4192817.  4505571.  4850820.  5307492.

Inter-Region Transmission [GWh]      -9666.    -8840.    -8585.    -7819.    -7333.

Pumping & Storage Losses [GWh]        8328.    12532.    14179.    12060.     9546.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3989213.  4171445.  4482807.  4830941.  5290613.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3989213.  4171445.  4482807.  4830941.  5290613.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3989213.  4171445.  4482807.  4830941.  5290613.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3989213.  4171445.  4482807.  4830941.  5290613.

Less T&D Losses [GWh]               306473.   320473.   344393.   371139.   406453.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3682740.  3850972.  4138414.  4459802.  4884160.

Capacity Avoided Costs [US$/kW]           2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                      1.56      2.70     34.37     48.03     49.76

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27267.    27267.    27267.    27267.    41174.

Scrubbed Coal                  2          58974.    43381.    40966.    40878.    40256.

Unscrubbed Coal_NOx            3          43499.    20193.    14959.     6002.     3288.

Unscrubbed Coal                4         117133.    84868.    61501.    50470.    39070.

Oil/Gas Steam                  5          92433.    87085.    85611.    85611.    85611.

Oil/Gas Steam_Nox              6           7810.     5671.     5671.     5671.     5671.

Nuclear                        7          99926.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         134174.   135728.   152907.   188884.   243243.

IGCC                          10            612.      612.      612.      612.      612.

Turbine                       11         130961.   131568.   140661.   172600.   198508.

Biomass                       12           1381.     1404.     1472.     1510.     1510.

Geothermal                    13           3062.     3086.     3223.     3223.     3223.

Landfill Gas                  14            560.      670.      858.     1003.     1003.

Wind                          15           5373.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.

Solar                         17            416.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3992.     3339.     3140.     2953.     2852.

Cgn_Gas                       23          42570.    42570.    42570.    42570.    42570.

Cgn_Oil                       24           1069.     1059.      971.      944.      944.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.        0.        0.        0.

Rep.O/G-CC                    35              0.     4392.     7515.     7571.     7571.

Rep.Coal-IGCC                 36              0.        0.        0.        0.     2072.

Ret.Scrubber                  37           5158.    10592.     5739.    15132.    22046.

Ret.ExistSCR & Scrub          38           5485.    25351.    29697.    36957.    38361.

Ret.ExistSNCR & Scrub         39              0.     2952.     3729.     4867.     5898.

Ret.SCR                       40          23938.    23762.    35026.    19482.     9666.

Ret.ExistScrub & SCR          41          12511.    28104.    30345.    30345.    30880.

Ret.SNCR                      42            124.      170.     1006.     1338.     1444.

Ret.ExistScrub & SNCR         43            256.      256.      430.      518.      518.

Ret.SCR+Scrb                  44           3357.    30278.    46355.    63211.    76355.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     5301.     5301.     5301.     5301.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            227.      227.      227.      227.      227.

CC Early Retirement           71            588.     1213.     1213.     1213.     1213.

O/G Early Retirement          72          30385.    30385.    30385.    30385.    30385.

Coal Early Retirement         73           4185.     4185.     4185.     4185.     4185.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    984642.   988291.  1016817.  1084644.  1179372.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.        0.        0.        0.    13907.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.     2179.    17179.    35977.    54359.

IGCC                          10              0.        0.        0.        0.        0.

Turbine                       11            619.      607.     9094.    31939.    25908.

Biomass                       12             34.       24.       68.       38.        0.

Geothermal                    13            119.       24.      138.        0.        0.

Landfill Gas                  14             58.      110.      188.      146.        0.

Wind                          15            295.      329.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        0.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.        0.        0.        0.

Rep.O/G-CC                    35              0.     4392.     3123.       55.        0.

Rep.Coal-IGCC                 36              0.        0.        0.        0.     2072.

Ret.Scrubber                  37           6822.     8755.     5859.     9591.     7119.

Ret.ExistSCR & Scrub          38           5485.    19865.     4346.     7259.     1404.

Ret.ExistSNCR & Scrub         39              0.     2952.      777.     1138.     1031.

Ret.SCR                       40          23938.    12373.    13550.      242.     1497.

Ret.ExistScrub & SCR          41          12511.    15593.     2241.        0.      535.

Ret.SNCR                      42            124.       46.      836.      332.      106.

Ret.ExistScrub & SNCR         43            256.        0.      174.       88.        0.

Ret.SCR+Scrb                  44           3357.    26921.    16077.    16856.    13144.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     5301.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            227.        0.        0.        0.        0.

CC Early Retirement           71            588.      625.        0.        0.        0.

O/G Early Retirement          72          30385.        0.        0.        0.        0.

Coal Early Retirement         73           4185.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     89006.   100097.    74108.   103990.   121081.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         202774.   201908.   202774.   202934.   306643.

Scrubbed Coal                  2         433015.   317399.   300436.   298461.   294295.

Unscrubbed Coal_NOx            3         293407.   139640.   106131.    41239.    23404.

Unscrubbed Coal                4         756513.   567544.   418058.   345510.   280264.

Oil/Gas Steam                  5          54464.    52070.    31747.    21255.    16208.

Oil/Gas Steam_Nox              6          14855.     2707.     3427.     1908.     1324.

Nuclear                        7         793645.   790910.   792019.   786984.   775818.

Hydro                          8         269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         538034.   613827.   833370.  1149517.  1489556.

IGCC                          10           4702.     4702.     4702.     4702.     4702.

Turbine                       11          26326.    34252.    58079.    99527.   116092.

Biomass                       12           9113.     9359.     9922.    10120.    10157.

Geothermal                    13          23336.    23518.    24571.    24571.    24571.

Landfill Gas                  14           4390.     5206.     6609.     7694.     7694.

Wind                          15          15123.    16026.    17327.    18272.    18272.

Fuel Cell                     16             17.       29.       53.       66.       65.

Solar                         17            892.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.

Pump Storage                  20           6119.     9290.    10438.     8846.     7007.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          28204.    23203.    22243.    21005.    20579.

Cgn_Gas                       23          97603.   118311.   158834.   164031.   146828.

Cgn_Oil                       24           4403.     4552.     2894.     2894.     2882.

Cgn_Other                     25           7250.     7112.     7040.     7180.     6815.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.        0.        0.        0.

Rep.O/G-CC                    35              0.    34783.    59519.    59958.    55484.

Rep.Coal-IGCC                 36              0.        0.        0.        0.    15919.

Ret.Scrubber                  37          38407.    78868.    42737.   112673.   164146.

Ret.ExistSCR & Scrub          38          40846.   188665.   221134.   275190.   285644.

Ret.ExistSNCR & Scrub         39              0.    21979.    27700.    36239.    43915.

Ret.SCR                       40         162455.   161376.   246716.   132636.    65517.

Ret.ExistScrub & SCR          41          91208.   207504.   224027.   218219.   225460.

Ret.SNCR                      42            592.      813.     5627.     7403.     9160.

Ret.ExistScrub & SNCR         43           1599.     1599.     2915.     3709.     3761.

Ret.SCR+Scrb                  44          24996.   225460.   345147.   470638.   568425.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.    12930.     8644.     5589.     5034.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   4007207.  4192817.  4505571.  4850820.  5307492.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            692.      689.      692.      692.     1046.

Scrubbed Coal                  2           1477.     1083.     1025.     1018.     1004.

Unscrubbed Coal_NOx            3           1001.      476.      362.      141.       80.

Unscrubbed Coal                4           2581.     1936.     1426.     1179.      956.

Oil/Gas Steam                  5            186.      178.      108.       73.       55.

Oil/Gas Steam_Nox              6             51.        9.       12.        7.        5.

Nuclear                        7           2708.     2699.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1836.     2094.     2843.     3922.     5082.

IGCC                          10             16.       16.       16.       16.       16.

Turbine                       11             90.      117.      198.      340.      396.

Biomass                       12             31.       32.       34.       35.       35.

Geothermal                    13             80.       80.       84.       84.       84.

Landfill Gas                  14             15.       18.       23.       26.       26.

Wind                          15             52.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.

Pump Storage                  20             21.       32.       36.       30.       24.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             96.       79.       76.       72.       70.

Cgn_Gas                       23            333.      404.      542.      560.      501.

Cgn_Oil                       24             15.       16.       10.       10.       10.

Cgn_Other                     25             25.       24.       24.       24.       23.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.        0.        0.        0.

Rep.O/G-CC                    35              0.      119.      203.      205.      189.

Rep.Coal-IGCC                 36              0.        0.        0.        0.       54.

Ret.Scrubber                  37            131.      269.      146.      384.      560.

Ret.ExistSCR & Scrub          38            139.      644.      755.      939.      975.

Ret.ExistSNCR & Scrub         39              0.       75.       95.      124.      150.

Ret.SCR                       40            554.      551.      842.      453.      224.

Ret.ExistScrub & SCR          41            311.      708.      764.      745.      769.

Ret.SNCR                      42              2.        3.       19.       25.       31.

Ret.ExistScrub & SNCR         43              5.        5.       10.       13.       13.

Ret.SCR+Scrb                  44             85.      769.     1178.     1606.     1939.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.       44.       29.       19.       17.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13673.    14306.    15373.    16551.    18109.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.9      84.5      84.9      85.0      85.0

Scrubbed Coal                  2            83.8      83.5      83.7      83.3      83.5

Unscrubbed Coal_NOx            3            77.0      78.9      81.0      78.4      81.3

Unscrubbed Coal                4            73.7      76.3      77.6      78.1      81.9

Oil/Gas Steam                  5             6.7       6.8       4.2       2.8       2.2

Oil/Gas Steam_Nox              6            21.7       5.4       6.9       3.8       2.7

Nuclear                        7            90.7      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            45.8      51.6      62.2      69.5      69.9

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             2.3       3.0       4.7       6.6       6.7

Biomass                       12            75.4      76.1      76.9      76.5      76.8

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            89.5      88.8      87.9      87.5      87.5

Wind                          15            32.1      32.1      32.1      32.1      32.1

Fuel Cell                     16            11.4      19.5      35.6      44.4      43.5

Solar                         17            24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             3.1       4.6       5.2       4.4       3.5

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            80.6      79.3      80.9      81.2      82.4

Cgn_Gas                       23            26.2      31.7      42.6      44.0      39.4

Cgn_Oil                       24            47.0      49.1      34.0      35.0      34.9

Cgn_Other                     25            77.0      75.5      74.8      76.2      72.4

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A       N/A       N/A       N/A       N/A

Rep.O/G-CC                    35             N/A      90.4      90.4      90.4      83.7

Rep.Coal-IGCC                 36             N/A       N/A       N/A       N/A      87.7

Ret.Scrubber                  37            85.0      85.0      85.0      85.0      85.0

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A      85.0      84.8      85.0      85.0

Ret.SCR                       40            77.5      77.5      80.4      77.7      77.4

Ret.ExistScrub & SCR          41            83.2      84.3      84.3      82.1      83.3

Ret.SNCR                      42            54.6      54.6      63.8      63.2      72.4

Ret.ExistScrub & SNCR         43            71.3      71.3      77.4      81.7      82.9

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      85.0

Ret.SNCR+Scrub                45             N/A       N/A       0.0       0.0       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       0.0       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             0.0       0.0       0.0       0.0       N/A

Ret.O/G SNCR                  66             N/A      27.8      18.6      12.0      10.8

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             0.0       0.0       0.0       0.0       0.0

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     46.5      48.4      50.6      51.1      51.4

15. Total Annual Production Cost

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6233.7    7775.3    8610.3    9646.3   10982.3

Fixed O&M                                29502.0   30279.5   32199.0   34817.7   36592.0

Fuel                                     46455.8   48524.0   53666.6   58713.0   70708.8

Capital                                    746.4    2856.1    5512.3   10590.7   18967.7

--------------------------------------  --------  --------  --------  --------  --------

Total                                    82937.8   89434.9   99988.1  113767.8  137250.7

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2007      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              6233.7    7775.3    8610.3    9646.3   10982.3

Fixed O&M                                29502.0   30279.5   32199.0   34817.7   36592.0

Fuel Total                               88926.7   92452.2  100774.2  108526.1  125355.8

Fuel Elect.+Steam                        38859.2   41285.3   47568.2   51738.5   64986.6

Capital                                    746.4    2856.1    5512.3   10590.7   18967.7

--------------------------------------  --------  --------  --------  --------  --------

Total IPM                               125408.8  133363.0  147095.7  163580.9  191897.8

Total Elec.+Steam                        75341.3   82196.1   93889.7  106793.3  131528.6

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2007          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                           7941.5811     5904.6910     5398.9056     4175.9086     3524.7934

NOX    [MTons]                           3772.3511     2439.9025     2194.4986     2216.5891     2266.6951

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2258.4717     2377.5255     2518.1627     2651.1343     2891.1967

Carbon [MMTonnes]                         615.9468      648.4161      686.7716      723.0366      788.5082

MER    [Tons]                              48.0693       41.3089       40.1770       37.4563       36.5378

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2007     2010     2015     2020     2026

Coal                   20657.0  21352.8  21684.0  21733.0  23019.9

Oil                       10.1     11.2      0.0      0.0      0.0

Nuclear                 8364.9   8334.5   8347.1   8293.7   8175.7

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5851.0   6901.6   8987.1  11453.8  13711.0

Other                     77.8     85.2     99.2    111.8    109.8

None                     829.3    835.2    869.3    869.3    869.3

Biomass                  107.7    109.7    113.6    113.9    113.9

Grand Total            35897.8  37630.1  40100.4  42575.5  45999.6

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2007     2010     2015     2020     2026

Coal                   23913.4  23356.4  22406.5  20874.1  20903.2

Oil                       33.2     37.5      0.0      0.0      0.0

Nuclear                 3446.3   3433.8   3397.3   3367.2   3319.3

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    18904.5  21536.0  27695.9  34304.8  46315.4

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  158.3    160.4    167.0    166.8    170.8

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2007     2010     2015     2020     2026

Coal                      1.16     1.09     1.03     0.96     0.91

Oil                       3.29     3.35     0.00     0.00     0.00

Nuclear                   0.41     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       3.23     3.12     3.08     3.00     3.38

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.47     1.46     1.47     1.46     1.50

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint - Initial Allowance Ban Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1073E+05  0.000      0.000      0.000      0.000

-Emissions at Affected Plants [MTons]        7797.      928.4      1782.      594.0      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              2933.      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000     -928.4     -1782.     -594.0      0.000

Total [MTons]                                0.1073E+05-0.1081E-04 0.4189E-05-0.1300E-06  0.000

TBtu Consumed                                0.2082E+05  3481.      6698.      3744.      127.9

Rate - [lb/MMBtu]                            0.7490     0.5334     0.5322     0.3173      0.000

TWh Generated                                 2098.      347.4      667.7      375.1      13.70

TWh Generated Qualifying                      2098.      347.4      667.7      375.1      13.70

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             653.5      806.1      990.8      1285.      1619.

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  2

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint - Current Allowance All Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             0.000      8888.      8813.      8813.      8813.

-Emissions at Affected Plants [MTons]        0.000      8888.      8813.      8813.      8813.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      8888.      8813.      8813.      8813.

TBtu Consumed                                 413.2     0.3331E+05 0.3897E+05 0.4757E+05 0.6092E+05

Rate - [lb/MMBtu]                             0.000     0.5336     0.4523     0.3705     0.2893

TWh Generated                                 43.20      3363.      3940.      4778.      6132.

TWh Generated Qualifying                      43.20      1855.      1541.      1820.      2317.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             653.5      403.1      330.3      428.4      539.5

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  3

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.8081E+05 0.6728E+05 0.6491E+05 0.5949E+05 0.5769E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.8081E+05 0.6728E+05 0.6491E+05 0.5949E+05 0.5769E+05

TBtu Consumed                                0.2047E+05 0.2116E+05 0.2150E+05 0.2154E+05 0.2283E+05

Rate - [lb/MMBtu]                            0.3948E-05 0.3179E-05 0.3020E-05 0.2761E-05 0.2527E-05

TWh Generated                                 2061.      2123.      2153.      2153.      2294.

TWh Generated Qualifying                      2061.      2123.      2153.      2153.      2294.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  4

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   4

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.2      1600.      1334.      1334.      1334.

-Emissions at Affected Plants [MTons]        503.2      1600.      1334.      1334.      1334.

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.2      1600.      1334.      1334.      1334.

TBtu Consumed                                 5738.     0.2199E+05 0.2387E+05 0.2488E+05 0.2604E+05

Rate - [lb/MMBtu]                            0.1754     0.1455     0.1117     0.1072     0.1025

TWh Generated                                 606.5      2328.      2564.      2700.      2845.

TWh Generated Qualifying                      606.5      2328.      2564.      2700.      2845.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1784.      1272.      1465.      1480.      1499.

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  5

Environmental Measures Report

Constraint Name: NOx SIPCall Rhode Island Constraint (Separated fr. Constraint #:   5

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06 0.9970     0.9970     0.9970     0.9970

-Emissions at Affected Plants [MTons]        1.384     0.6898      1.181     0.9970     0.9970

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000     0.3072      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000    -0.1843      0.000      0.000

Total [MTons]                                 1.384     0.9970     0.9970     0.9970     0.9970

TBtu Consumed                                 83.22      41.81      71.59      60.42      60.42

Rate - [lb/MMBtu]                            0.3325E-01 0.3300E-01 0.3300E-01 0.3300E-01 0.3300E-01

TWh Generated                                 10.93      5.492      9.404      7.937      7.937

TWh Generated Qualifying                      10.93      5.492      9.404      7.937      7.937

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000     0.4390E+05 0.5395E+05 0.6064E+05 0.4796E+05

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  6

Environmental Measures Report

Constraint Name: NOx SIPCall Connecticut Constraint (Separated fr.  Constraint #:   6

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  4.360      3.633      3.633      3.633

-Emissions at Affected Plants [MTons]        1.117      1.380      1.707      2.503      1.986

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      1.130      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000    -0.7064

Total [MTons]                                 1.117      1.380      1.707      3.633      1.280

TBtu Consumed                                 16.17      18.39      21.73      45.48      79.07

Rate - [lb/MMBtu]                            0.1382     0.1500     0.1571     0.1101     0.5024E-01

TWh Generated                                 1.657      1.887      2.236      5.365      10.49

TWh Generated Qualifying                      1.657      1.887      2.236      5.365      10.49

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             7.289      7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        7.289      7.289      7.289      7.289      7.289

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 7.289      7.289      7.289      7.289      7.289

TBtu Consumed                                 17.25      41.87      41.87      41.50      41.87

Rate - [lb/MMBtu]                            0.8452     0.3482     0.3482     0.3513     0.3482

TWh Generated                                 1.756      4.173      4.173      4.139      4.173

TWh Generated Qualifying                      1.756      4.173      4.173      4.139      4.173

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             331.1      590.8      864.5      738.4      1275.

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  8

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   8

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.7000     0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        71.24      72.37      46.55      46.91      48.02

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 71.24      72.37      46.55      46.91      48.02

TBtu Consumed                                 203.5      206.8      206.9      208.5      213.4

Rate - [lb/MMBtu]                            0.7000     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 20.27      20.57      20.42      20.57      21.01

TWh Generated Qualifying                      20.27      20.57      20.42      20.57      21.01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1017.      622.9      818.9      531.3      200.4

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10.  9

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        376.0      205.0      130.0      128.4      63.52

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 376.0      205.0      130.0      128.4      63.52

TBtu Consumed                                 550.7      830.2      850.6      859.9      916.7

Rate - [lb/MMBtu]                             1.365     0.4938     0.3057     0.2985     0.1386

TWh Generated                                 58.81      86.10      87.75      88.64      96.31

TWh Generated Qualifying                      58.81      86.10      87.75      88.64      96.31

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      131.8      150.4      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 10

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:  10

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           3.000      3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        15.22      15.09      4.452      4.452      4.452

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 15.22      15.09      4.452      4.452      4.452

TBtu Consumed                                 108.3      122.7      116.8      114.0      114.0

Rate - [lb/MMBtu]                            0.2810     0.2459     0.7623E-01 0.7809E-01 0.7809E-01

TWh Generated                                 11.53      13.02      12.48      12.30      12.30

TWh Generated Qualifying                      11.53      13.02      12.48      12.30      12.30

Constraint Shadow Price [US$/Ton]             396.8      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 11

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        25.97      25.97      25.97      25.97      25.97

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 25.97      25.97      25.97      25.97      25.97

TBtu Consumed                                 255.9      372.2      354.1      299.2      275.3

Rate - [lb/MMBtu]                            0.2030     0.1396     0.1467     0.1736     0.1887

TWh Generated                                 24.42      36.12      34.17      28.69      26.31

TWh Generated Qualifying                      24.42      36.12      34.17      28.69      26.31

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      83.33      73.13      71.25

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      83.33      73.13      71.25

TBtu Consumed                                 1382.      1508.      1533.      1420.      1366.

Rate - [lb/MMBtu]                            0.1788     0.1638     0.1087     0.1030     0.1043

TWh Generated                                 141.9      154.8      159.9      150.2      142.4

TWh Generated Qualifying                      141.9      154.8      159.9      150.2      142.4

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1345.      111.5      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      2.164      1.821

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      2.164      1.821

TBtu Consumed                                 24.77      25.34      25.34      25.24      22.35

Rate - [lb/MMBtu]                            0.1747     0.1708     0.1708     0.1715     0.1629

TWh Generated                                 2.469      2.520      2.520      2.510      2.231

TWh Generated Qualifying                      2.469      2.520      2.520      2.510      2.231

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             775.5      2209.      1967.      213.3      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 178.6      201.3      187.3      181.4      201.0

Rate - [lb/MMBtu]                            0.5274E-01 0.4679E-01 0.5029E-01 0.5193E-01 0.4687E-01

TWh Generated                                 20.02      22.75      20.90      21.12      22.48

TWh Generated Qualifying                      20.02      22.75      20.90      21.12      22.48

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2746E+05 0.3707E+05 0.3225E+05 0.1993E+05 0.3097E+05

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        36.41      40.31      20.92      15.87      13.70

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 36.41      40.31      20.92      15.87      13.70

TBtu Consumed                                 255.9      372.2      354.1      299.2      275.3

Rate - [lb/MMBtu]                            0.2846     0.2166     0.1182     0.1061     0.9954E-01

TWh Generated                                 24.42      36.12      34.17      28.69      26.31

TWh Generated Qualifying                      24.42      36.12      34.17      28.69      26.31

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        11.72      6.802      4.700      3.683      2.318

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.72      6.802      4.700      3.683      2.318

TBtu Consumed                                 55.99      56.91      39.16      30.37      19.96

Rate - [lb/MMBtu]                            0.4187     0.2390     0.2400     0.2425     0.2323

TWh Generated                                 5.647      5.740      3.928      3.067      2.035

TWh Generated Qualifying                      5.647      5.740      3.928      3.067      2.035

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  18

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      28.45      28.95      30.62      31.74

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 43.95      28.45      28.95      30.62      31.74

TBtu Consumed                                 319.2      331.7      351.0      376.1      397.1

Rate - [lb/MMBtu]                            0.2754     0.1715     0.1649     0.1629     0.1598

TWh Generated                                 31.55      32.95      35.08      37.36      39.68

TWh Generated Qualifying                      31.55      32.95      35.08      37.36      39.68

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1142.      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 19

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  19

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             3.644      3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        3.644      3.112      3.112      3.060      3.112

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 3.644      3.112      3.112      3.060      3.112

TBtu Consumed                                 17.25      41.87      41.87      41.50      41.87

Rate - [lb/MMBtu]                            0.4226     0.1486     0.1486     0.1475     0.1486

TWh Generated                                 1.756      4.173      4.173      4.139      4.173

TWh Generated Qualifying                      1.756      4.173      4.173      4.139      4.173

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1521.      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 20

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  20

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.2500     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        25.44      16.14      15.52      15.64      16.01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 25.44      16.14      15.52      15.64      16.01

TBtu Consumed                                 203.5      206.8      206.9      208.5      213.4

Rate - [lb/MMBtu]                            0.2500     0.1561     0.1500     0.1500     0.1500

TWh Generated                                 20.27      20.57      20.42      20.57      21.01

TWh Generated Qualifying                      20.27      20.57      20.42      20.57      21.01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             4301.      0.000      329.6      426.7      407.6

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 21

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             60.00      56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        60.00      45.19      45.37      46.29      43.59

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 60.00      45.19      45.37      46.29      43.59

TBtu Consumed                                 550.7      830.2      850.6      859.9      916.7

Rate - [lb/MMBtu]                            0.2179     0.1089     0.1067     0.1077     0.9511E-01

TWh Generated                                 58.81      86.10      87.75      88.64      96.31

TWh Generated Qualifying                      58.81      86.10      87.75      88.64      96.31

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             4002.      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 22

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  22

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        8.644      9.763      9.208      8.707      8.707

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 8.644      9.763      9.208      8.707      8.707

TBtu Consumed                                 108.3      122.7      116.8      114.0      114.0

Rate - [lb/MMBtu]                            0.1596     0.1591     0.1577     0.1527     0.1527

TWh Generated                                 11.53      13.02      12.48      12.30      12.30

TWh Generated Qualifying                      11.53      13.02      12.48      12.30      12.30

Constraint Shadow Price [US$/Ton]             699.6      247.3      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 23

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  23

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                               1700.      1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           889.7      860.9      936.1      934.3      922.2

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    889.7      860.9      936.1      934.3      922.2

TBtu Consumed                                 203.5      206.8      206.9      208.5      213.4

Rate - [lb/MMBtu]                            0.4371E-05 0.4164E-05 0.4525E-05 0.4481E-05 0.4321E-05

TWh Generated                                 20.27      20.57      20.42      20.57      21.01

TWh Generated Qualifying                      20.27      20.57      20.42      20.57      21.01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 24

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  24

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             5426.      5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        1770.      4298.      4298.      4260.      4298.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1770.      4298.      4298.      4260.      4298.

TBtu Consumed                                 17.25      41.87      41.87      41.50      41.87

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3

TWh Generated                                 1.756      4.173      4.173      4.139      4.173

TWh Generated Qualifying                      1.756      4.173      4.173      4.139      4.173

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 25

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  25

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1800.      1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1037E+05 0.1172E+05 0.1123E+05 0.1107E+05 0.1107E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1037E+05 0.1172E+05 0.1123E+05 0.1107E+05 0.1107E+05

TBtu Consumed                                 108.3      122.7      116.8      114.0      114.0

Rate - [lb/MMBtu]                             191.6      190.9      192.4      194.2      194.2

TWh Generated                                 11.53      13.02      12.48      12.30      12.30

TWh Generated Qualifying                      11.53      13.02      12.48      12.30      12.30

Constraint Shadow Price [US$/Ton]             25.06      11.30      5.137      2.970      3.632

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 26

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             4661.     0.2066E+05  0.000      0.000      6084.

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 27

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.155      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.155      1.155      1.155      1.155      1.155

TBtu Consumed                                 15.40      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.575      1.573      1.573      1.573      1.573

TWh Generated Qualifying                      1.575      1.573      1.573      1.573      1.573

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             7066.      0.000      7180.      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 28

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 29

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 30

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 31

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 32

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 33

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 34

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.090

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.090

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.37

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.547

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.547

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 35

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 36

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 37

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000     0.3365E-01 0.3365E-01  0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000     0.3365E-01 0.3365E-01  0.000

TBtu Consumed                                 0.000      0.000     0.8411     0.8411      0.000

Rate - [lb/MMBtu]                             0.000      0.000     0.8000E-01 0.8000E-01  0.000

TWh Generated                                 0.000      0.000     0.7696E-01 0.7696E-01  0.000

TWh Generated Qualifying                      0.000      0.000     0.7696E-01 0.7696E-01  0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 38

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.033     0.7592      1.725      1.725      1.725

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.033     0.7592      1.725      1.725      1.725

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.1497     0.1100     0.2500     0.2500     0.2500

TWh Generated                                 1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 39

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        4.191      4.558      4.558      4.558      4.558

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.191      4.558      4.558      4.558      4.558

TBtu Consumed                                 25.40      27.63      27.63      27.63      27.63

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.3300     0.3300

TWh Generated                                 2.596      2.823      2.823      2.823      2.823

TWh Generated Qualifying                      2.596      2.823      2.823      2.823      2.823

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             799.9      822.1      913.1      1653.      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 40

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 41

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      3.338      9.686      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000     0.3489      1.013      0.000

TWh Generated Qualifying                      0.000      0.000     0.3489      1.013      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 42

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 43

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  43

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 44

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  44

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_PM_57 – EPA216_CAIR_SNPR                                                                         Page: 10. 45

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  45

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2007 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000