EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx          Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   918605.   923306.   949947.  1017213.  1111965.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      21976.    32059.    43027.    24106.    18176.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       940581.   955365.   992975.  1041319.  1130141.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 712421.   772709.   829381.   892642.   976829.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     22424.    32713.    43906.    24598.    18547.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                734845.   805422.   873287.   917240.   995376.

3. Reserve Margin Annual [%]               28.00     18.62     13.71     13.53     13.54

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3888296.  4194405.  4505155.  4851013.  5307250.

Inter-Region Transmission [GWh]      -9286.    -9187.    -8714.    -7859.    -7067.

Pumping & Storage Losses [GWh]        7830.    13773.    13634.    12213.     9570.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3871180.  4171445.  4482807.  4830941.  5290613.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3871180.  4171445.  4482807.  4830941.  5290613.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3871180.  4171445.  4482807.  4830941.  5290613.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3871180.  4171445.  4482807.  4830941.  5290613.

Less T&D Losses [GWh]               297375.   320440.   344358.   371101.   406412.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3573805.  3851005.  4138449.  4459840.  4884201.

Capacity Avoided Costs [US$/kW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                      1.71      2.29     34.86     48.53     49.78

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27267.    27267.    27267.    27267.    35637.

Scrubbed Coal                  2          61479.    59576.    57466.    57466.    56180.

Unscrubbed Coal_NOx            3          45295.    24832.    15444.     9940.     2200.

Unscrubbed Coal                4         133560.    97520.    85934.    65388.    40632.

Oil/Gas Steam                  5          92576.    91451.    89977.    89811.    89811.

Oil/Gas Steam_Nox              6           7727.     5738.     5738.     5738.     5738.

Nuclear                        7          99087.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         133549.   135256.   149786.   184902.   241752.

IGCC                          10            612.      612.      612.      612.      612.

Turbine                       11         130587.   131546.   141845.   174103.   203696.

Biomass                       12           1347.     1404.     1472.     1510.     1510.

Geothermal                    13           2943.     3086.     3223.     3223.     3223.

Landfill Gas                  14            502.      670.      858.     1003.     1003.

Wind                          15           5078.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.

Solar                         17            413.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3992.     3992.     3793.     3606.     2852.

Cgn_Gas                       23          42570.    42570.    42570.    42570.    42570.

Cgn_Oil                       24           1069.     1069.     1069.     1061.     1061.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      235.      235.      235.      235.

Rep.O/G-CC                    35              0.     4762.     7710.     8058.     8058.

Rep.Coal-IGCC                 36              0.        0.        0.        0.     1430.

Ret.Scrubber                  37             35.    17537.    24374.    40827.    58285.

Ret.ExistSCR & Scrub          38           3842.    21386.    29697.    32707.    38361.

Ret.ExistSNCR & Scrub         39              0.     2375.     3254.     5261.     6377.

Ret.SCR                       40          16839.    13904.    15189.     7301.     2967.

Ret.ExistScrub & SCR          41          10024.    11757.    13649.    13649.    14708.

Ret.SNCR                      42              0.      134.      414.      764.      735.

Ret.ExistScrub & SNCR         43            308.      478.      696.      696.      923.

Ret.SCR+Scrb                  44           1190.    21714.    24220.    35817.    44997.

Ret.SNCR+Scrub                45              0.        0.      662.      662.     3378.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.      733.      733.      733.      733.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            249.      249.      249.      249.      249.

CC Early Retirement           71           1213.     1213.     1213.     1213.     1213.

O/G Early Retirement          72          30325.    30325.    30325.    30325.    30325.

Coal Early Retirement         73           2240.     2240.     2240.     2240.     2240.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    983134.   988253.  1015186.  1082653.  1177406.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.        0.        0.        0.     8370.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.     1707.    14530.    35116.    56850.

IGCC                          10              0.        0.        0.        0.        0.

Turbine                       11            266.      959.    10299.    32258.    29593.

Biomass                       12              0.       57.       68.       38.        0.

Geothermal                    13              0.      143.      138.        0.        0.

Landfill Gas                  14              0.      168.      188.      146.        0.

Wind                          15              0.      624.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              0.        3.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      235.        0.        0.        0.

Rep.O/G-CC                    35              0.     4762.     2948.      348.        0.

Rep.Coal-IGCC                 36              0.        0.        0.        0.     1430.

Ret.Scrubber                  37            702.    20886.     7640.    17729.    21099.

Ret.ExistSCR & Scrub          38           3842.    17544.     8312.     3009.     5654.

Ret.ExistSNCR & Scrub         39              0.     2375.      879.     2007.     1116.

Ret.SCR                       40          16839.     3804.     1480.      700.       39.

Ret.ExistScrub & SCR          41          10024.     1733.     1892.        0.     1059.

Ret.SNCR                      42              0.      134.      280.      350.      105.

Ret.ExistScrub & SNCR         43            308.      170.      218.        0.      227.

Ret.SCR+Scrb                  44           1190.    20524.     2506.    11597.     9180.

Ret.SNCR+Scrub                45              0.        0.      662.        0.     2716.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.      733.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            249.        0.        0.        0.        0.

CC Early Retirement           71           1213.        0.        0.        0.        0.

O/G Early Retirement          72          30325.        0.        0.        0.        0.

Coal Early Retirement         73           2240.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     67199.    76561.    52496.   103628.   137437.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         202774.   202595.   202624.   202934.   265390.

Scrubbed Coal                  2         449851.   431716.   419597.   422051.   413310.

Unscrubbed Coal_NOx            3         316706.   175769.   109695.    71011.    15557.

Unscrubbed Coal                4         811604.   647573.   588369.   451449.   290531.

Oil/Gas Steam                  5          45180.    63221.    45471.    25303.    19818.

Oil/Gas Steam_Nox              6           1482.     2683.     3026.     1707.     1076.

Nuclear                        7         785779.   790910.   792019.   786984.   775818.

Hydro                          8         269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         498781.   616513.   831575.  1132986.  1513179.

IGCC                          10           4702.     4702.     4702.     4702.     4702.

Turbine                       11          19762.    33599.    58599.   104538.   130759.

Biomass                       12           8888.     9301.     9774.    10025.    10036.

Geothermal                    13          22429.    23518.    24571.    24571.    24571.

Landfill Gas                  14           3958.     5206.     6609.     7694.     7694.

Wind                          15          14310.    16026.    17327.    18272.    18272.

Fuel Cell                     16             12.       27.       45.       67.       67.

Solar                         17            886.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.

Pump Storage                  20           5883.    10158.    10070.     8974.     7053.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          27337.    28120.    26943.    25962.    20577.

Cgn_Gas                       23          96545.   112687.   148185.   154268.   132321.

Cgn_Oil                       24           3162.     3175.     2894.     2910.     2895.

Cgn_Other                     25           7333.     7118.     6985.     7279.     6949.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.     1860.     1860.     1860.     1860.

Rep.O/G-CC                    35              0.    37715.    61061.    63670.    59632.

Rep.Coal-IGCC                 36              0.        0.        0.        0.    10982.

Ret.Scrubber                  37            259.   130102.   181473.   303959.   433859.

Ret.ExistSCR & Scrub          38          28605.   159244.   221134.   243544.   285644.

Ret.ExistSNCR & Scrub         39              0.    17618.    24164.    39080.    47487.

Ret.SCR                       40         115457.    93032.   102027.    43907.    18070.

Ret.ExistScrub & SCR          41          72705.    85771.   100056.    97422.   104778.

Ret.SNCR                      42              0.      840.     2180.     4685.     4891.

Ret.ExistScrub & SNCR         43           2129.     3185.     4759.     4947.     6830.

Ret.SCR+Scrb                  44           8859.   161687.   180346.   266702.   335063.

Ret.SNCR+Scrub                45              0.        0.     4928.     4928.    25150.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     1464.     1352.      772.      579.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   3888296.  4194405.  4505155.  4851013.  5307250.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            692.      691.      691.      692.      906.

Scrubbed Coal                  2           1535.     1473.     1432.     1440.     1410.

Unscrubbed Coal_NOx            3           1081.      600.      374.      242.       53.

Unscrubbed Coal                4           2769.     2210.     2008.     1540.      991.

Oil/Gas Steam                  5            154.      216.      155.       86.       68.

Oil/Gas Steam_Nox              6              5.        9.       10.        6.        4.

Nuclear                        7           2681.     2699.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1702.     2104.     2837.     3866.     5163.

IGCC                          10             16.       16.       16.       16.       16.

Turbine                       11             67.      115.      200.      357.      446.

Biomass                       12             30.       32.       33.       34.       34.

Geothermal                    13             77.       80.       84.       84.       84.

Landfill Gas                  14             14.       18.       23.       26.       26.

Wind                          15             49.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.

Pump Storage                  20             20.       35.       34.       31.       24.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             93.       96.       92.       89.       70.

Cgn_Gas                       23            329.      384.      506.      526.      451.

Cgn_Oil                       24             11.       11.       10.       10.       10.

Cgn_Other                     25             25.       24.       24.       25.       24.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        6.        6.        6.        6.

Rep.O/G-CC                    35              0.      129.      208.      217.      203.

Rep.Coal-IGCC                 36              0.        0.        0.        0.       37.

Ret.Scrubber                  37              1.      444.      619.     1037.     1480.

Ret.ExistSCR & Scrub          38             98.      543.      755.      831.      975.

Ret.ExistSNCR & Scrub         39              0.       60.       82.      133.      162.

Ret.SCR                       40            394.      317.      348.      150.       62.

Ret.ExistScrub & SCR          41            248.      293.      341.      332.      358.

Ret.SNCR                      42              0.        3.        7.       16.       17.

Ret.ExistScrub & SNCR         43              7.       11.       16.       17.       23.

Ret.SCR+Scrb                  44             30.      552.      615.      910.     1143.

Ret.SNCR+Scrub                45              0.        0.       17.       17.       86.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.        5.        5.        3.        2.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13267.    14311.    15372.    16552.    18108.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.9      84.8      84.8      85.0      85.0

Scrubbed Coal                  2            83.5      82.7      83.4      83.8      84.0

Unscrubbed Coal_NOx            3            79.8      80.8      81.1      81.6      80.7

Unscrubbed Coal                4            69.4      75.8      78.2      78.8      81.6

Oil/Gas Steam                  5             5.6       7.9       5.8       3.2       2.5

Oil/Gas Steam_Nox              6             2.2       5.3       6.0       3.4       2.1

Nuclear                        7            90.5      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            42.6      52.0      63.4      69.9      71.5

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             1.7       2.9       4.7       6.9       7.3

Biomass                       12            75.3      75.6      75.8      75.8      75.8

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      88.8      87.9      87.5      87.5

Wind                          15            32.2      32.1      32.1      32.1      32.1

Fuel Cell                     16             8.3      18.1      30.0      44.7      44.7

Solar                         17            24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             2.9       5.1       5.0       4.5       3.5

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            78.2      80.4      81.1      82.2      82.3

Cgn_Gas                       23            25.9      30.2      39.7      41.4      35.5

Cgn_Oil                       24            33.8      33.9      30.9      31.3      31.1

Cgn_Other                     25            77.9      75.6      74.2      77.3      73.8

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A      90.4      90.4      90.4      90.4

Rep.O/G-CC                    35             N/A      90.4      90.4      90.2      84.5

Rep.Coal-IGCC                 36             N/A       N/A       N/A       N/A      87.7

Ret.Scrubber                  37            85.0      84.7      85.0      85.0      85.0

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A      84.7      84.8      84.8      85.0

Ret.SCR                       40            78.3      76.4      76.7      68.6      69.5

Ret.ExistScrub & SCR          41            82.8      83.3      83.7      81.5      81.3

Ret.SNCR                      42             N/A      71.6      60.1      70.0      76.0

Ret.ExistScrub & SNCR         43            78.9      76.1      78.1      81.1      84.5

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      85.0

Ret.SNCR+Scrub                45             N/A       N/A      85.0      85.0      85.0

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             N/A       N/A       N/A       N/A       N/A

Ret.O/G SNCR                  66             N/A      22.8      21.1      12.0       9.0

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             0.0       0.0       0.0       0.0       0.0

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     45.1      48.5      50.7      51.1      51.5

15. Total Annual Production Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              5920.6    7053.6    7747.8    8743.8   10177.9

Fixed O&M                                28771.5   30282.9   32182.9   34803.0   36611.1

Fuel                                     43496.4   48538.3   53674.3   58604.2   71638.8

Capital                                    329.1    2462.0    4844.4    9906.6   17983.9

--------------------------------------  --------  --------  --------  --------  --------

Total                                    78517.6   88336.8   98449.4  112057.7  136411.6

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              5920.6    7053.6    7747.8    8743.8   10177.9

Fixed O&M                                28771.5   30282.9   32182.9   34803.0   36611.1

Fuel Total                               86055.3   92467.0  100868.9  108443.4  126062.6

Fuel Elect.+Steam                        37625.8   41300.1   47738.1   51655.8   65693.5

Capital                                    329.1    2462.0    4844.4    9906.6   17983.9

--------------------------------------  --------  --------  --------  --------  --------

Total IPM                               121076.5  132265.5  145643.9  161896.8  190835.4

Total Elec.+Steam                        72647.0   81098.6   92513.2  105109.3  130466.3

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                           8219.0141     6125.6822     5404.4300     4326.0627     3291.9929

NOX    [MTons]                           3862.6614     3932.9930     4011.2470     4046.0765     4102.4892

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2188.2351     2377.9618     2521.5840     2663.7440     2886.5276

Carbon [MMTonnes]                         596.7914      648.5350      687.7047      726.4756      787.2348

MER    [Tons]                              48.5795       46.6578       46.6858       44.9776       44.2948

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                   20248.4  21365.2  21724.0  21921.4  22841.7

Oil                        0.0      0.0      0.0      0.0      0.0

Nuclear                 8282.4   8334.5   8347.1   8293.7   8175.7

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5248.0   6905.7   8980.0  11351.6  13946.0

Other                     74.0     85.2     99.2    111.8    109.8

None                     799.9    835.2    869.3    869.3    869.3

Biomass                  105.9    109.3    112.0    113.9    113.9

Grand Total            34758.6  37635.0  40131.6  42661.6  46056.4

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2010     2015     2020     2026

Coal                   23958.9  23403.5  22521.7  21080.1  20967.1

Oil                        0.0      0.0      0.0      0.0      0.0

Nuclear                 3354.4   3433.8   3397.3   3367.2   3319.3

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    16028.7  21542.3  27592.5  33992.4  47182.9

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  154.5    158.8    162.8    164.4    169.4

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                      1.18     1.10     1.04     0.96     0.92

Oil                       0.00     0.00     0.00     0.00     0.00

Nuclear                   0.40     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       3.05     3.12     3.07     2.99     3.38

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.46     1.45     1.45     1.44     1.49

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint                         Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1161E+05  6465.      3690.      3150.      3150.

-Emissions at Affected Plants [MTons]        8073.      5983.      5260.      4183.      3150.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              3535.      482.3      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000     -1570.     -1033.      0.000

Total [MTons]                                0.1161E+05  6465.      3690.      3150.      3150.

TBtu Consumed                                0.2059E+05 0.2192E+05 0.2213E+05 0.2213E+05 0.2299E+05

Rate - [lb/MMBtu]                            0.7841     0.5458     0.4753     0.3781     0.2740

TWh Generated                                 2080.      2202.      2217.      2212.      2301.

TWh Generated Qualifying                      2080.      2202.      2217.      2212.      2301.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             614.3      755.0      979.3      1270.      1718.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  2

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.8195E+05 0.7797E+05 0.7793E+05 0.7453E+05 0.7321E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.8195E+05 0.7797E+05 0.7793E+05 0.7453E+05 0.7321E+05

TBtu Consumed                                0.2006E+05 0.2118E+05 0.2154E+05 0.2173E+05 0.2265E+05

Rate - [lb/MMBtu]                            0.4085E-05 0.3682E-05 0.3618E-05 0.3429E-05 0.3232E-05

TWh Generated                                 2023.      2124.      2155.      2169.      2265.

TWh Generated Qualifying                      2023.      2124.      2155.      2169.      2265.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  3

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        44.14      7.289      7.289      6.332      7.329

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000     0.6320E-01  0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000    -0.3950E-01

Total [MTons]                                 44.14      7.289      7.289      6.396      7.289

TBtu Consumed                                 41.62      41.87      41.87      40.13      41.94

Rate - [lb/MMBtu]                             2.121     0.3482     0.3482     0.3156     0.3494

TWh Generated                                 4.217      4.173      4.173      4.009      4.180

TWh Generated Qualifying                      4.217      4.173      4.173      4.009      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      56.59      41.74      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   4

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        81.58      72.94      46.52      47.03      48.71

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.58      72.94      46.52      47.03      48.71

TBtu Consumed                                 211.2      208.4      206.7      209.0      216.5

Rate - [lb/MMBtu]                            0.7726     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 21.02      20.73      20.40      20.62      21.28

TWh Generated Qualifying                      21.02      20.73      20.40      20.62      21.28

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      676.2      809.7      538.9      109.3

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   5

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        555.6      205.0      130.0      129.6      62.06

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 555.6      205.0      130.0      129.6      62.06

TBtu Consumed                                 802.1      823.7      849.0      849.2      904.9

Rate - [lb/MMBtu]                             1.386     0.4977     0.3063     0.3053     0.1372

TWh Generated                                 84.62      85.58      87.52      87.69      94.87

TWh Generated Qualifying                      84.62      85.58      87.52      87.69      94.87

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      202.6      116.3      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   6

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        62.43      10.34      10.15      4.452      4.452

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 62.43      10.34      10.15      4.452      4.452

TBtu Consumed                                 88.68      110.4      110.4      114.0      114.2

Rate - [lb/MMBtu]                             1.408     0.1873     0.1838     0.7808E-01 0.7800E-01

TWh Generated                                 9.309      11.94      11.94      12.30      12.31

TWh Generated Qualifying                      9.309      11.94      11.94      12.30      12.31

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        95.48      25.97      25.97      25.97      25.97

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 95.48      25.97      25.97      25.97      25.97

TBtu Consumed                                 127.8      335.4      327.5      298.8      281.4

Rate - [lb/MMBtu]                             1.494     0.1549     0.1586     0.1739     0.1846

TWh Generated                                 12.54      32.38      31.52      28.64      26.91

TWh Generated Qualifying                      12.54      32.38      31.52      28.64      26.91

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  8

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.0      503.0      503.0      503.0      503.0

-Emissions at Affected Plants [MTons]        503.0      503.0      503.0      503.0      503.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.0      503.0      503.0      503.0      503.0

TBtu Consumed                                 5486.      6152.      6670.      7077.      7598.

Rate - [lb/MMBtu]                            0.1834     0.1635     0.1508     0.1422     0.1324

TWh Generated                                 581.9      648.9      710.9      761.0      824.6

TWh Generated Qualifying                      581.9      648.9      710.9      761.0      824.6

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1758.      1910.      2025.      2032.      2062.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10.  9

Environmental Measures Report

Constraint Name: NOx SIP CALL Dummy Constraint                      Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07

-Emissions at Affected Plants [MTons]        503.0      503.0      503.0      503.0      503.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.0      503.0      503.0      503.0      503.0

TBtu Consumed                                 5486.      6152.      6670.      7077.      7598.

Rate - [lb/MMBtu]                            0.1834     0.1635     0.1508     0.1422     0.1324

TWh Generated                                 581.9      648.9      710.9      761.0      824.6

TWh Generated Qualifying                      581.9      648.9      710.9      761.0      824.6

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 10

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      123.5      123.5      123.5

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      123.5      123.5      123.5

TBtu Consumed                                 1255.      1419.      1398.      1367.      1300.

Rate - [lb/MMBtu]                            0.1969     0.1741     0.1767     0.1808     0.1900

TWh Generated                                 130.2      147.2      144.1      141.6      133.1

TWh Generated Qualifying                      130.2      147.2      144.1      141.6      133.1

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1315.      2453.      1911.      271.6      115.6

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      2.164      1.675

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      2.164      1.675

TBtu Consumed                                 24.62      25.30      24.63      24.40      19.35

Rate - [lb/MMBtu]                            0.1758     0.1711     0.1757     0.1774     0.1731

TWh Generated                                 2.452      2.513      2.452      2.431      1.936

TWh Generated Qualifying                      2.452      2.513      2.452      2.431      1.936

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             280.5      3230.      3180.      829.4      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 180.4      200.8      198.8      191.8      194.2

Rate - [lb/MMBtu]                            0.5222E-01 0.4690E-01 0.4739E-01 0.4912E-01 0.4851E-01

TWh Generated                                 20.38      22.70      22.58      22.67      20.90

TWh Generated Qualifying                      20.38      22.70      22.58      22.67      20.90

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2407E+05 0.4089E+05 0.3164E+05 0.2160E+05 0.3200E+05

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        17.48      44.63      43.22      39.98      38.61

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 17.48      44.63      43.22      39.98      38.61

TBtu Consumed                                 127.8      335.4      327.5      298.8      281.4

Rate - [lb/MMBtu]                            0.2736     0.2661     0.2639     0.2676     0.2744

TWh Generated                                 12.54      32.38      31.52      28.64      26.91

TWh Generated Qualifying                      12.54      32.38      31.52      28.64      26.91

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        7.709      17.67      16.65      6.925      5.808

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 7.709      17.67      16.65      6.925      5.808

TBtu Consumed                                 34.15      83.94      78.19      33.33      25.40

Rate - [lb/MMBtu]                            0.4515     0.4211     0.4259     0.4155     0.4573

TWh Generated                                 3.487      8.442      7.836      3.348      2.589

TWh Generated Qualifying                      3.487      8.442      7.836      3.348      2.589

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      864.3      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      43.95      43.95      43.95      43.95

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 43.95      43.95      43.95      43.95      43.95

TBtu Consumed                                 317.8      328.7      364.7      393.9      431.2

Rate - [lb/MMBtu]                            0.2766     0.2674     0.2410     0.2231     0.2038

TWh Generated                                 31.40      32.64      35.96      38.63      42.16

TWh Generated Qualifying                      31.40      32.64      35.96      38.63      42.16

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1042.      1175.      1199.      1163.      1582.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        11.27      3.112      3.112      2.858      3.122

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.27      3.112      3.112      2.858      3.122

TBtu Consumed                                 41.62      41.87      41.87      40.13      41.94

Rate - [lb/MMBtu]                            0.5416     0.1486     0.1486     0.1424     0.1488

TWh Generated                                 4.217      4.173      4.173      4.009      4.180

TWh Generated Qualifying                      4.217      4.173      4.173      4.009      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  18

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        35.10      26.05      15.51      15.68      16.24

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 35.10      26.05      15.51      15.68      16.24

TBtu Consumed                                 211.2      208.4      206.7      209.0      216.5

Rate - [lb/MMBtu]                            0.3324     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 21.02      20.73      20.40      20.62      21.28

TWh Generated Qualifying                      21.02      20.73      20.40      20.62      21.28

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1376.      1848.      1907.      1907.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 19

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  19

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        144.1      56.00      56.00      56.00      56.00

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 144.1      56.00      56.00      56.00      56.00

TBtu Consumed                                 802.1      823.7      849.0      849.2      904.9

Rate - [lb/MMBtu]                            0.3594     0.1360     0.1319     0.1319     0.1238

TWh Generated                                 84.62      85.58      87.52      87.69      94.87

TWh Generated Qualifying                      84.62      85.58      87.52      87.69      94.87

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      532.2      811.7      398.0      267.5

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 20

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  20

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        6.982      8.953      8.953      9.222      9.229

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 6.982      8.953      8.953      9.222      9.229

TBtu Consumed                                 88.68      110.4      110.4      114.0      114.2

Rate - [lb/MMBtu]                            0.1575     0.1621     0.1621     0.1617     0.1617

TWh Generated                                 9.309      11.94      11.94      12.30      12.31

TWh Generated Qualifying                      9.309      11.94      11.94      12.30      12.31

Constraint Shadow Price [US$/Ton]             3537.      60.85      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 21

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           873.3      933.8      937.4      933.2      913.9

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    873.3      933.8      937.4      933.2      913.9

TBtu Consumed                                 211.2      208.4      206.7      209.0      216.5

Rate - [lb/MMBtu]                            0.4135E-05 0.4481E-05 0.4534E-05 0.4464E-05 0.4221E-05

TWh Generated                                 21.02      20.73      20.40      20.62      21.28

TWh Generated Qualifying                      21.02      20.73      20.40      20.62      21.28

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 22

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  22

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        4272.      4298.      4298.      4120.      4306.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      1128.      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000     -1128.      0.000

Total [MTons]                                 4272.      4298.      5426.      2992.      4306.

TBtu Consumed                                 41.62      41.87      41.87      40.13      41.94

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3

TWh Generated                                 4.217      4.173      4.173      4.009      4.180

TWh Generated Qualifying                      4.217      4.173      4.173      4.009      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 23

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  23

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]        9103.     0.1074E+05 0.1074E+05 0.1107E+05 0.1108E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 9103.     0.1074E+05 0.1074E+05 0.1107E+05 0.1108E+05

TBtu Consumed                                 88.68      110.4      110.4      114.0      114.2

Rate - [lb/MMBtu]                             205.3      194.6      194.6      194.2      194.1

TWh Generated                                 9.309      11.94      11.94      12.30      12.31

TWh Generated Qualifying                      9.309      11.94      11.94      12.30      12.31

Constraint Shadow Price [US$/Ton]             0.000      14.20      8.989      9.027     0.3989

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 24

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  24

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.7738      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.7738      1.155      1.155      1.155      1.155

TBtu Consumed                                 10.32      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.057      1.573      1.573      1.564      1.564

TWh Generated Qualifying                      1.057      1.573      1.573      1.564      1.564

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             2687.      2566.      6540.      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 25

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2097E+05 0.2133E+05 0.2014E+05  4361.      6795.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 26

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.1572E+05  0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 27

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 28

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.4576E+05 0.1488E+05  0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 29

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000     0.1604E+05  0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 30

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2664E+05 0.2133E+05 0.2006E+05  3534.      6391.

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 31

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.090

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.090

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.37

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.547

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.547

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 32

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 33

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 34

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

TBtu Consumed                                 0.000      0.000     0.8411     0.8411     0.8411

Rate - [lb/MMBtu]                             0.000      0.000     0.8000E-01 0.8000E-01 0.8000E-01

TWh Generated                                 0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

TWh Generated Qualifying                      0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 35

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.1548E+05  0.000      0.000      9511.      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 36

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        2.514      4.558      4.558     0.6077     0.6077

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.514      4.558      4.558     0.6077     0.6077

TBtu Consumed                                 15.23      27.63      27.63      27.62      27.62

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.4400E-01 0.4400E-01

TWh Generated                                 1.557      2.823      2.823      2.807      2.807

TWh Generated Qualifying                      1.557      2.823      2.823      2.807      2.807

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1108.      463.7      256.0      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 37

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 38

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 39

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 40

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 41

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 42

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_NONX_2003 -- Proposed IAQR SO2 Policy with Base Case NOx                              Page: 10. 43

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  43

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.035     0.7592     0.7592     0.7592     0.7592

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.035     0.7592     0.7592     0.7592     0.7592

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.1500     0.1100     0.1100     0.1100     0.1100

TWh Generated                                 1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000