EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                 Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   919473.   924742.   950384.  1017343.  1112029.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      21610.    31775.    45319.    24879.    18551.

--------------------------------------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       941083.   956517.   995702.  1042222.  1130580.

--------------------------------------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 712421.   772709.   829381.   892642.   976829.

Less DSM [MW]                             0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     22051.    32423.    46243.    25387.    18930.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                734472.   805132.   875624.   918029.   995759.

3. Reserve Margin Annual [%]               28.13     18.80     13.71     13.53     13.54

--------------------------------------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3891265.  4195042.  4505708.  4852160.  5308683.

Inter-Region Transmission [GWh]      -9754.    -9375.    -9069.    -8232.    -7417.

Pumping & Storage Losses [GWh]       10331.    14222.    13832.    12986.    10653.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3871180.  4171445.  4482807.  4830941.  5290613.

--------------------------------------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3871180.  4171445.  4482807.  4830941.  5290613.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3871180.  4171445.  4482807.  4830941.  5290613.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3871180.  4171445.  4482807.  4830941.  5290613.

Less T&D Losses [GWh]               297375.   320440.   344358.   371101.   406412.

--------------------------------------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3573805.  3851005.  4138449.  4459840.  4884201.

Capacity Avoided Costs [US$/kW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

ANNUAL                                      1.79      2.27     30.25     48.90     49.07

WINTER                                      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27267.    27267.    27267.    27267.    37984.

Scrubbed Coal                  2          60127.    48229.    44172.    43165.    40733.

Unscrubbed Coal_NOx            3          48822.    44300.    42855.    41976.    41854.

Unscrubbed Coal                4         128958.   102621.    66377.    58813.    48480.

Oil/Gas Steam                  5          91721.    85877.    84432.    84432.    84432.

Oil/Gas Steam_Nox              6           8186.     6415.     5929.     5929.     5808.

Nuclear                        7          99087.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         133549.   135129.   148635.   183268.   237064.

IGCC                          10            612.      612.      612.      612.      612.

Turbine                       11         130609.   131569.   141114.   173082.   203015.

Biomass                       12           1347.     1404.     1472.     1510.     1510.

Geothermal                    13           2943.     3086.     3223.     3223.     3223.

Landfill Gas                  14            502.      670.      858.     1003.     1003.

Wind                          15           5078.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.

Solar                         17            413.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3914.     3261.     2997.     2810.     2750.

Cgn_Gas                       23          42570.    42570.    42570.    42570.    42570.

Cgn_Oil                       24           1069.      990.      978.      968.      959.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.       94.       94.       94.       94.

Rep.O/G-CC                    35              0.     4255.     8140.     8160.     8420.

Rep.Coal-IGCC                 36              0.        0.        0.        0.      244.

Ret.Scrubber                  37           2742.     1870.     3059.     4757.     4744.

Ret.ExistSCR & Scrub          38            457.     4882.     6297.     7158.     7158.

Ret.ExistSNCR & Scrub         39              0.        0.        0.        0.        0.

Ret.SCR                       40          20926.    41245.    65830.    68097.    73778.

Ret.ExistScrub & SCR          41          11540.    23009.    26553.    27560.    29351.

Ret.SNCR                      42              0.      424.     8910.    11607.    15655.

Ret.ExistScrub & SNCR         43            146.      576.     1089.     1089.     1790.

Ret.SCR+Scrb                  44            174.     7117.     9293.    10323.    10927.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.      995.      995.      995.      995.

Ret.O/G SNCR                  66              0.     4571.     4571.     4571.     4571.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            227.      227.      227.      227.      227.

CC Early Retirement           71           1213.     1213.     1213.     1213.     1213.

O/G Early Retirement          72          30721.    30721.    30721.    30721.    30721.

Coal Early Retirement         73           1035.     1035.     1035.     1035.     1035.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                    983171.   988857.  1014791.  1081951.  1176637.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.        0.        0.        0.    10717.

Scrubbed Coal                  2              0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.     1580.    13506.    34633.    53795.

IGCC                          10              0.        0.        0.        0.        0.

Turbine                       11            266.      959.     9545.    31968.    29933.

Biomass                       12              0.       57.       68.       38.        0.

Geothermal                    13              0.      143.      138.        0.        0.

Landfill Gas                  14              0.      168.      188.      146.        0.

Wind                          15              0.      624.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              0.        3.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.       94.        0.        0.        0.

Rep.O/G-CC                    35              0.     4255.     3885.       20.      261.

Rep.Coal-IGCC                 36              0.        0.        0.        0.      244.

Ret.Scrubber                  37           2742.     1674.     1430.     2168.      303.

Ret.ExistSCR & Scrub          38            457.     4425.     1415.      861.        0.

Ret.ExistSNCR & Scrub         39              0.        0.        0.        0.        0.

Ret.SCR                       40          20926.    21162.    24768.     2839.     5811.

Ret.ExistScrub & SCR          41          11540.    11468.     3544.     1007.     1791.

Ret.SNCR                      42              0.      424.     8486.     2698.     4048.

Ret.ExistScrub & SNCR         43            146.      430.      513.        0.      701.

Ret.SCR+Scrb                  44            174.     6943.     2176.     1030.      604.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.      995.        0.        0.        0.

Ret.O/G SNCR                  66              0.     4571.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70            227.        0.        0.        0.        0.

CC Early Retirement           71           1213.        0.        0.        0.        0.

O/G Early Retirement          72          30721.        0.        0.        0.        0.

Coal Early Retirement         73           1035.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     69447.    59976.    70119.    77735.   108210.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         201550.   201989.   202624.   202851.   282777.

Scrubbed Coal                  2         429320.   350942.   324994.   318699.   303051.

Unscrubbed Coal_NOx            3         342121.   318882.   311360.   307156.   310446.

Unscrubbed Coal                4         812536.   688239.   455093.   416830.   355153.

Oil/Gas Steam                  5          42186.    53291.    34351.    18706.    13601.

Oil/Gas Steam_Nox              6           3498.     6528.     3294.     1880.     1076.

Nuclear                        7         785586.   790720.   791824.   786799.   775648.

Hydro                          8         269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         474508.   596693.   809037.  1097769.  1463680.

IGCC                          10           4702.     4702.     4702.     4702.     4702.

Turbine                       11          19011.    34456.    62783.   103263.   125240.

Biomass                       12           8886.     9296.     9774.     9838.    10036.

Geothermal                    13          22429.    23518.    24571.    24571.    24571.

Landfill Gas                  14           3958.     5206.     6609.     7694.     7694.

Wind                          15          14310.    16026.    17327.    18272.    18272.

Fuel Cell                     16              9.       27.       61.       80.       67.

Solar                         17            886.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.

Pump Storage                  20           7660.    10474.    10213.     9575.     7824.

Int. Imports                  21          44616.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          26863.    22865.    21395.    20269.    19988.

Cgn_Gas                       23          92231.   113082.   138332.   148084.   132215.

Cgn_Oil                       24           3162.     3175.     2894.     2894.     2895.

Cgn_Other                     25           7392.     7112.     6985.     6963.     6949.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.      748.      748.      748.      748.

Rep.O/G-CC                    35              0.    33701.    64469.    64624.    62287.

Rep.Coal-IGCC                 36              0.        0.        0.        0.     1875.

Ret.Scrubber                  37          20414.    13925.    22780.    35124.    35328.

Ret.ExistSCR & Scrub          38           3404.    36355.    46889.    53297.    53297.

Ret.ExistSNCR & Scrub         39              0.        0.        0.        0.        0.

Ret.SCR                       40         144834.   295542.   476863.   500226.   545122.

Ret.ExistScrub & SCR          41          84530.   169925.   196316.   204402.   218066.

Ret.SNCR                      42              0.     2509.    64500.    84415.   114370.

Ret.ExistScrub & SNCR         43           1065.     3818.     7705.     7844.    13031.

Ret.SCR+Scrb                  44           1298.    52994.    69198.    76867.    81368.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.     3158.     1836.     1049.     1049.

Ret.O/G SNCR                  66              0.     7871.     5448.     4819.     4409.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                   3891265.  4195042.  4505708.  4852160.  5308683.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            688.      689.      691.      692.      965.

Scrubbed Coal                  2           1465.     1197.     1109.     1087.     1034.

Unscrubbed Coal_NOx            3           1167.     1088.     1062.     1048.     1059.

Unscrubbed Coal                4           2772.     2348.     1553.     1422.     1212.

Oil/Gas Steam                  5            144.      182.      117.       64.       46.

Oil/Gas Steam_Nox              6             12.       22.       11.        6.        4.

Nuclear                        7           2680.     2698.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1619.     2036.     2760.     3746.     4994.

IGCC                          10             16.       16.       16.       16.       16.

Turbine                       11             65.      118.      214.      352.      427.

Biomass                       12             30.       32.       33.       34.       34.

Geothermal                    13             77.       80.       84.       84.       84.

Landfill Gas                  14             14.       18.       23.       26.       26.

Wind                          15             49.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.

Pump Storage                  20             26.       36.       35.       33.       27.

Int. Imports                  21            152.       96.       73.       77.       77.

Cgn_Coal                      22             92.       78.       73.       69.       68.

Cgn_Gas                       23            315.      386.      472.      505.      451.

Cgn_Oil                       24             11.       11.       10.       10.       10.

Cgn_Other                     25             25.       24.       24.       24.       24.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        3.        3.        3.        3.

Rep.O/G-CC                    35              0.      115.      220.      220.      213.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        6.

Ret.Scrubber                  37             70.       48.       78.      120.      121.

Ret.ExistSCR & Scrub          38             12.      124.      160.      182.      182.

Ret.ExistSNCR & Scrub         39              0.        0.        0.        0.        0.

Ret.SCR                       40            494.     1008.     1627.     1707.     1860.

Ret.ExistScrub & SCR          41            288.      580.      670.      697.      744.

Ret.SNCR                      42              0.        9.      220.      288.      390.

Ret.ExistScrub & SNCR         43              4.       13.       26.       27.       44.

Ret.SCR+Scrb                  44              4.      181.      236.      262.      278.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.       11.        6.        4.        4.

Ret.O/G SNCR                  66              0.       27.       19.       16.       15.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------

Total                                     13277.    14313.    15373.    16556.    18113.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.4      84.6      84.8      84.9      85.0

Scrubbed Coal                  2            81.5      83.1      84.0      84.3      84.9

Unscrubbed Coal_NOx            3            80.0      82.2      82.9      83.5      84.7

Unscrubbed Coal                4            71.9      76.6      78.3      80.9      83.6

Oil/Gas Steam                  5             5.3       7.1       4.6       2.5       1.8

Oil/Gas Steam_Nox              6             4.9      11.6       6.3       3.6       2.1

Nuclear                        7            90.5      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            40.6      50.4      62.1      68.4      70.5

IGCC                          10            87.7      87.7      87.7      87.7      87.7

Turbine                       11             1.7       3.0       5.1       6.8       7.0

Biomass                       12            75.3      75.6      75.8      74.3      75.8

Geothermal                    13            87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      88.8      87.9      87.5      87.5

Wind                          15            32.2      32.1      32.1      32.1      32.1

Fuel Cell                     16             5.7      18.1      41.2      54.0      44.7

Solar                         17            24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             3.8       5.2       5.1       4.8       3.9

Int. Imports                  21            46.3      29.1      22.4      23.5      23.5

Cgn_Coal                      22            78.3      80.0      81.5      82.3      83.0

Cgn_Gas                       23            24.7      30.3      37.1      39.7      35.5

Cgn_Oil                       24            33.8      36.6      33.8      34.1      34.4

Cgn_Other                     25            78.5      75.5      74.2      73.9      73.8

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A      90.4      90.4      90.4      90.4

Rep.O/G-CC                    35             N/A      90.4      90.4      90.4      84.4

Rep.Coal-IGCC                 36             N/A       N/A       N/A       N/A      87.7

Ret.Scrubber                  37            85.0      85.0      85.0      84.3      85.0

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A       N/A       N/A       N/A       N/A

Ret.SCR                       40            79.0      81.8      82.7      83.9      84.3

Ret.ExistScrub & SCR          41            83.6      84.3      84.4      84.7      84.8

Ret.SNCR                      42             N/A      67.6      82.6      83.0      83.4

Ret.ExistScrub & SNCR         43            83.5      75.7      80.8      82.3      83.1

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      85.0

Ret.SNCR+Scrub                45             N/A       N/A       N/A       N/A       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             N/A      36.2      21.1      12.0      12.0

Ret.O/G SNCR                  66             N/A      19.7      13.6      12.0      11.0

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             0.0       0.0       0.0       0.0       0.0

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------

Average                                     45.2      48.4      50.7      51.2      51.5

15. Total Annual Production Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              5914.2    6671.2    7317.5    8065.1    9163.7

Fixed O&M                                28791.9   29930.5   31707.6   34044.8   35522.3

Fuel                                     42229.7   47898.6   53417.8   58341.6   70793.8

Capital                                    326.5    1483.8    3707.3    7966.3   15145.0

--------------------------------------  --------  --------  --------  --------  --------

Total                                    77262.3   85984.1   96150.2  108417.8  130624.9

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2005      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------

Variable O&M                              5914.2    6671.2    7317.5    8065.1    9163.7

Fixed O&M                                28791.9   29930.5   31707.6   34044.8   35522.3

Fuel Total                               85209.3   92483.6  101021.3  108685.8  126140.3

Fuel Elect.+Steam                        37056.2   41529.2   47902.5   51994.4   65820.7

Capital                                    326.5    1483.8    3707.3    7966.3   15145.0

--------------------------------------  --------  --------  --------  --------  --------

Total IPM                               120241.9  130569.1  143753.8  158761.9  185971.5

Total Elec.+Steam                        72088.8   79614.7   90634.9  102070.6  125651.8

Sales Revenue                                0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                          10268.0920     9870.9533     9217.1155     8960.9668     8961.4550

NOX    [MTons]                           3807.4179     3686.2005     3627.1934     3675.8077     3728.1119

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2203.5559     2386.1802     2533.7635     2682.2935     2909.4937

Carbon [MMTonnes]                         600.9698      650.7764      691.0264      731.5346      793.4983

MER    [Tons]                              52.4100       52.4303       52.1801       52.1944       53.0496

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                   20561.7  21514.1  21956.0  22256.6  23225.3

Oil                        0.0      0.0      0.0      0.0      0.0

Nuclear                 8280.4   8332.5   8345.1   8291.7   8173.9

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                     5014.0   6765.0   8757.5  11021.1  13541.0

Other                     74.4     85.2     99.2    109.9    109.8

None                     799.9    835.2    869.3    869.3    869.3

Biomass                  105.7    109.2    112.0    112.3    113.9

Grand Total            34836.1  37641.1  40139.1  42660.9  46033.3

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2010     2015     2020     2026

Coal                   23875.5  23811.3  23321.6  22370.0  22043.6

Oil                        0.0      0.0      0.0      0.0      0.0

Nuclear                 3353.5   3433.0   3396.5   3366.4   3318.6

Hydro                      0.0      0.0      0.0      0.0      0.0

Gas                    14848.6  20496.7  26537.1  32443.4  45262.6

Other                      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0

Biomass                  152.0    157.7    162.6    161.7    169.0

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2010     2015     2020     2026

Coal                      1.16     1.11     1.06     1.01     0.95

Oil                       0.00     0.00     0.00     0.00     0.00

Nuclear                   0.40     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00

Gas                       2.96     3.03     3.03     2.94     3.34

Other                     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00

Biomass                   1.44     1.44     1.45     1.44     1.48

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint                         Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1161E+05  9098.      8813.      8813.      8813.

-Emissions at Affected Plants [MTons]       0.1013E+05  9727.      9073.      8813.      8813.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              1481.      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000     -628.9     -259.7      0.000      0.000

Total [MTons]                                0.1161E+05  9098.      8813.      8813.      8813.

TBtu Consumed                                0.2091E+05 0.2211E+05 0.2232E+05 0.2245E+05 0.2336E+05

Rate - [lb/MMBtu]                            0.9688     0.8800     0.8131     0.7851     0.7546

TWh Generated                                 2111.      2226.      2244.      2255.      2355.

TWh Generated Qualifying                      2111.      2226.      2244.      2255.      2355.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             259.3      318.7      413.3      470.1      433.7

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  2

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.8959E+05 0.8954E+05 0.8891E+05 0.8901E+05 0.9073E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.8959E+05 0.8954E+05 0.8891E+05 0.8901E+05 0.9073E+05

TBtu Consumed                                0.2038E+05 0.2133E+05 0.2177E+05 0.2207E+05 0.2304E+05

Rate - [lb/MMBtu]                            0.4395E-05 0.4198E-05 0.4084E-05 0.4033E-05 0.3938E-05

TWh Generated                                 2056.      2145.      2187.      2215.      2321.

TWh Generated Qualifying                      2056.      2145.      2187.      2215.      2321.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  3

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        44.67      7.289      7.289      7.226      7.329

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000     0.6320E-01  0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000    -0.3950E-01

Total [MTons]                                 44.67      7.289      7.289      7.289      7.289

TBtu Consumed                                 42.58      38.98      39.76      39.77      41.94

Rate - [lb/MMBtu]                             2.098     0.3739     0.3667     0.3634     0.3494

TWh Generated                                 4.304      3.902      3.972      3.972      4.180

TWh Generated Qualifying                      4.304      3.902      3.972      3.972      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      327.3      395.5      343.0      478.9

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   4

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        81.61      72.60      45.22      45.83      48.64

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.61      72.60      45.22      45.83      48.64

TBtu Consumed                                 210.8      207.4      201.0      203.7      216.2

Rate - [lb/MMBtu]                            0.7744     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 20.98      20.64      19.93      20.16      21.25

TWh Generated Qualifying                      20.98      20.64      19.93      20.16      21.25

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      1108.      1373.      1339.      1385.

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   5

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        568.3      205.0      130.0      130.0      130.0

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 568.3      205.0      130.0      130.0      130.0

TBtu Consumed                                 820.4      774.4      835.7      837.8      884.7

Rate - [lb/MMBtu]                             1.385     0.5294     0.3111     0.3103     0.2939

TWh Generated                                 86.25      80.77      86.42      86.59      91.44

TWh Generated Qualifying                      86.25      80.77      86.42      86.59      91.44

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      707.8      829.7      785.1      844.3

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   6

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        78.17      15.65      16.26      16.82      17.38

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 78.17      15.65      16.26      16.82      17.38

TBtu Consumed                                 109.3      100.7      105.2      109.2      113.2

Rate - [lb/MMBtu]                             1.431     0.3106     0.3091     0.3080     0.3069

TWh Generated                                 11.41      10.43      10.84      11.21      11.59

TWh Generated Qualifying                      11.41      10.43      10.84      11.21      11.59

Constraint Shadow Price [US$/Ton]             0.000      511.1      568.8      343.0      531.9

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   7

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        111.2      111.2      111.2      25.50      25.97

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 111.2      111.2      111.2      25.50      25.97

TBtu Consumed                                 146.3      334.6      312.4      287.7      256.0

Rate - [lb/MMBtu]                             1.520     0.6646     0.7118     0.1772     0.2029

TWh Generated                                 14.29      32.64      30.21      27.59      24.39

TWh Generated Qualifying                      14.29      32.64      30.21      27.59      24.39

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             243.2      122.3      34.10      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  8

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.2      691.0      576.0      576.0      576.0

-Emissions at Affected Plants [MTons]        503.2      691.0      576.0      576.0      576.0

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.2      691.0      576.0      576.0      576.0

TBtu Consumed                                 5564.      9539.     0.1043E+05 0.1103E+05 0.1174E+05

Rate - [lb/MMBtu]                            0.1809     0.1449     0.1104     0.1044     0.9816E-01

TWh Generated                                 586.9      1019.      1124.      1201.      1288.

TWh Generated Qualifying                      586.9      1019.      1124.      1201.      1288.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1941.      2155.      2588.      2674.      2865.

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10.  9

Environmental Measures Report

Constraint Name: NOx SIP CALL Dummy Constraint                      Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07

-Emissions at Affected Plants [MTons]        2063.      2135.      2097.      2128.      2144.

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2063.      2135.      2097.      2128.      2144.

TBtu Consumed                                0.1300E+05 0.1508E+05 0.1634E+05 0.1726E+05 0.1844E+05

Rate - [lb/MMBtu]                            0.3174     0.2831     0.2566     0.2465     0.2325

TWh Generated                                 1364.      1584.      1734.      1852.      2002.

TWh Generated Qualifying                      1364.      1584.      1734.      1852.      2002.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 10

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      123.5      122.5      120.6

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      123.5      122.5      120.6

TBtu Consumed                                 1271.      1458.      1416.      1486.      1388.

Rate - [lb/MMBtu]                            0.1944     0.1695     0.1745     0.1649     0.1739

TWh Generated                                 131.7      150.2      144.9      155.2      142.5

TWh Generated Qualifying                      131.7      150.2      144.9      155.2      142.5

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1315.      527.9      129.5      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      1.425      1.198

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      1.425      1.198

TBtu Consumed                                 24.61      32.67      30.84      22.98      19.86

Rate - [lb/MMBtu]                            0.1759     0.1325     0.1403     0.1240     0.1206

TWh Generated                                 2.452      3.253      3.012      2.290      1.984

TWh Generated Qualifying                      2.452      3.253      3.012      2.290      1.984

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             311.0      597.3      495.9      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 172.2      200.7      192.4      198.0      199.4

Rate - [lb/MMBtu]                            0.5470E-01 0.4695E-01 0.4897E-01 0.4758E-01 0.4723E-01

TWh Generated                                 19.37      22.67      21.41      22.14      21.93

TWh Generated Qualifying                      19.37      22.67      21.41      22.14      21.93

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2001E+05 0.3234E+05 0.3161E+05 0.2458E+05 0.3508E+05

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        20.26      36.40      36.06      34.72      32.11

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 20.26      36.40      36.06      34.72      32.11

TBtu Consumed                                 146.3      334.6      312.4      287.7      256.0

Rate - [lb/MMBtu]                            0.2771     0.2176     0.2309     0.2414     0.2509

TWh Generated                                 14.29      32.64      30.21      27.59      24.39

TWh Generated Qualifying                      14.29      32.64      30.21      27.59      24.39

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        7.932      17.67      16.94      8.146      7.446

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 7.932      17.67      16.94      8.146      7.446

TBtu Consumed                                 35.19      86.11      81.75      44.04      37.71

Rate - [lb/MMBtu]                            0.4508     0.4105     0.4144     0.3699     0.3949

TWh Generated                                 3.591      8.610      8.162      4.402      3.779

TWh Generated Qualifying                      3.591      8.610      8.162      4.402      3.779

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      205.4      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      28.93      26.92      28.96      26.55

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 43.95      28.93      26.92      28.96      26.55

TBtu Consumed                                 319.6      347.7      385.8      415.2      426.6

Rate - [lb/MMBtu]                            0.2751     0.1664     0.1395     0.1395     0.1245

TWh Generated                                 31.47      34.50      37.86      40.70      42.21

TWh Generated Qualifying                      31.47      34.50      37.86      40.70      42.21

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1122.      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        11.40      2.692      2.801      2.800      3.122

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 11.40      2.692      2.801      2.800      3.122

TBtu Consumed                                 42.58      38.98      39.76      39.77      41.94

Rate - [lb/MMBtu]                            0.5355     0.1381     0.1409     0.1408     0.1488

TWh Generated                                 4.304      3.902      3.972      3.972      4.180

TWh Generated Qualifying                      4.304      3.902      3.972      3.972      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  18

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        34.88      25.93      15.07      15.28      16.21

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 34.88      25.93      15.07      15.28      16.21

TBtu Consumed                                 210.8      207.4      201.0      203.7      216.2

Rate - [lb/MMBtu]                            0.3310     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 20.98      20.64      19.93      20.16      21.25

TWh Generated Qualifying                      20.98      20.64      19.93      20.16      21.25

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      421.8      702.7      723.0      638.2

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 19

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  19

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        147.9      56.00      56.00      56.00      56.00

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 147.9      56.00      56.00      56.00      56.00

TBtu Consumed                                 820.4      774.4      835.7      837.8      884.7

Rate - [lb/MMBtu]                            0.3605     0.1446     0.1340     0.1337     0.1266

TWh Generated                                 86.25      80.77      86.42      86.59      91.44

TWh Generated Qualifying                      86.25      80.77      86.42      86.59      91.44

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      535.2      262.4      224.5      146.9

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 20

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  20

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        8.557      7.815      8.310      8.751      9.169

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 8.557      7.815      8.310      8.751      9.169

TBtu Consumed                                 109.3      115.1      121.0      126.1      131.2

Rate - [lb/MMBtu]                            0.1566     0.1358     0.1373     0.1388     0.1398

TWh Generated                                 11.41      12.42      13.03      13.55      14.08

TWh Generated Qualifying                      11.41      12.42      13.03      13.55      14.08

Constraint Shadow Price [US$/Ton]             2271.      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 21

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  21

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           871.9      929.9      938.5      926.7      913.6

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    871.9      929.9      938.5      926.7      913.6

TBtu Consumed                                 210.8      207.4      201.0      203.7      216.2

Rate - [lb/MMBtu]                            0.4137E-05 0.4483E-05 0.4669E-05 0.4550E-05 0.4226E-05

TWh Generated                                 20.98      20.64      19.93      20.16      21.25

TWh Generated Qualifying                      20.98      20.64      19.93      20.16      21.25

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 22

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  22

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        4371.      4002.      4081.      4082.      4306.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4371.      4002.      4081.      4082.      4306.

TBtu Consumed                                 42.58      38.98      39.76      39.77      41.94

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3

TWh Generated                                 4.304      3.902      3.972      3.972      4.180

TWh Generated Qualifying                      4.304      3.902      3.972      3.972      4.180

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 23

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  23

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1122E+05 0.1118E+05 0.1173E+05 0.1220E+05 0.1267E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1122E+05 0.1118E+05 0.1173E+05 0.1220E+05 0.1267E+05

TBtu Consumed                                 109.3      115.1      121.0      126.1      131.2

Rate - [lb/MMBtu]                             205.3      194.3      193.8      193.5      193.2

TWh Generated                                 11.41      12.42      13.03      13.55      14.08

TWh Generated Qualifying                      11.41      12.42      13.03      13.55      14.08

Constraint Shadow Price [US$/Ton]             0.000      14.64      9.380      5.294      3.760

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 24

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  24

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             2154.      4346.      7023.      0.000      3772.

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 25

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.155      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.155      1.155      1.155      1.155      1.155

TBtu Consumed                                 15.40      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.575      1.573      1.573      1.573      1.573

TWh Generated Qualifying                      1.575      1.573      1.573      1.573      1.573

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             6245.      3600.      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 26

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 27

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1424.      0.000      262.5      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 28

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 29

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 30

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 31

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      637.3      965.5      431.6

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 32

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.090

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.090

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.37

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.547

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.547

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 33

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 34

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 35

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

TBtu Consumed                                 0.000      0.000     0.8411     0.8411     0.8411

Rate - [lb/MMBtu]                             0.000      0.000     0.8000E-01 0.8000E-01 0.8000E-01

TWh Generated                                 0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

TWh Generated Qualifying                      0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 36

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.680      1.725      1.725      1.725      1.725

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.680      1.725      1.725      1.725      1.725

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.2434     0.2500     0.2500     0.2500     0.2500

TWh Generated                                 1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 37

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        4.191      4.558      4.558      4.558      4.558

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.191      4.558      4.558      4.558      4.558

TBtu Consumed                                 25.40      27.63      27.63      27.63      27.63

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.3300     0.3300

TWh Generated                                 2.596      2.823      2.823      2.823      2.823

TWh Generated Qualifying                      2.596      2.823      2.823      2.823      2.823

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             978.6      985.9      857.6      742.1      685.8

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 38

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 39

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 40

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 41

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 42

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_SUMNOX_2003 -- Proposed IAQR Using Base Case SO2 Policy and Proposed NOx Policy in Ozone Season Only                                                     Page: 10. 43

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  43

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000