EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances    Region: System      Page:  1.  1

Regional Summary Report

NOTES:

1. Year 2026 is the End-Year and should not be used for analysis.

2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

1. Reserve Margin Capacity Annual [MW]   917109.   917010.   921977.   949817.  1017207.  1111959.

Plus Firm Purchases Annual [MW]           0.        0.        0.        0.        0.        0.

Plus Transmission In Annual [MW]      22036.    27608.    30216.    41668.    24170.    18230.

--------------------------------------  --------  --------  --------  --------  --------  --------

Total R.M. Capacity Annual [MW]       939145.   944619.   952193.   991486.  1041377.  1130189.

--------------------------------------  --------  --------  --------  --------  --------  --------

2. Peak Load Annual [MW]                 712421.   746710.   772709.   829381.   892642.   976829.

Less DSM [MW]                             0.        0.        0.        0.        0.        0.

Plus Firm Sales [MW]                      0.        0.        0.        0.        0.        0.

Plus Transmission Out Annual [MW]     22486.    28172.    30833.    42519.    24663.    18602.

--------------------------------------  --------  --------  --------  --------  --------  --------

Net Demand Annual [MW]                734907.   774882.   803542.   871900.   917305.   995431.

3. Reserve Margin Annual [%]               27.79     21.90     18.50     13.72     13.53     13.54

--------------------------------------  --------  --------  --------  --------  --------  --------

4. Generation [GWh]                     3888255.  4070896.  4192907.  4505733.  4850882.  5307849.

Inter-Region Transmission [GWh]      -9313.    -8924.    -8908.    -8664.    -7766.    -7206.

Pumping & Storage Losses [GWh]        7762.    10182.    12554.    14262.    12175.    10030.

Plus Purchases [GWh]                     0.        0.        0.        0.        0.        0.

Less Sales [GWh]                         0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

5. Total Supply for Demand [GWh]        3871180.  4051790.  4171445.  4482807.  4830941.  5290613.

--------------------------------------  --------  --------  --------  --------  --------  --------

6. Projected Demand [GWh]               3871180.  4051790.  4171445.  4482807.  4830941.  5290613.

Energy Not Served [GWh]                   0.        0.        0.        0.        0.        0.

Less DSM [GWh]                            0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

Net Demand [GWh]                     3871180.  4051790.  4171445.  4482807.  4830941.  5290613.

7. Dumped Energy [GWh]                        0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

8. Total Supply for Demand [GWh]        3871180.  4051790.  4171445.  4482807.  4830941.  5290613.

Less T&D Losses [GWh]               297375.   311249.   320440.   344358.   371101.   406412.

--------------------------------------  --------  --------  --------  --------  --------  --------

9. Total Sales [GWh]                    3573805.  3740541.  3851005.  4138449.  4459840.  4884201.

Capacity Avoided Costs [US$/kW]           2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

ANNUAL                                      1.10      2.04      2.77     34.97     48.44     49.54

WINTER                                      0.00      0.00      0.00      0.00      0.00      0.00

SUMMER                                      0.00      0.00      0.00      0.00      0.00      0.00

10. Capacity by Plant Type [MW]           2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1          27267.    27267.    27267.    27267.    27267.    37278.

Scrubbed Coal                  2          60406.    49449.    49449.    46405.    46405.    45528.

Unscrubbed Coal_NOx            3          45201.    29653.    21230.    15056.     7136.     2152.

Unscrubbed Coal                4         132186.    87980.    83633.    61299.    50219.    36223.

Oil/Gas Steam                  5          93403.    92608.    92561.    91087.    90972.    90972.

Oil/Gas Steam_Nox              6           7787.     7787.     5617.     5617.     5617.     5617.

Nuclear                        7          99087.    99107.    99289.    99480.    99594.    99594.

Hydro                          8          89869.    89869.    89869.    89869.    89869.    89869.

Comb.Cycle Gas                 9         133549.   133549.   135728.   152860.   188745.   245073.

IGCC                          10            612.      612.      612.      612.      612.      612.

Turbine                       11         130598.   131135.   131557.   140387.   172064.   200134.

Biomass                       12           1347.     1385.     1404.     1472.     1510.     1510.

Geothermal                    13           2943.     3062.     3086.     3223.     3223.     3223.

Landfill Gas                  14            502.      594.      670.      858.     1003.     1003.

Wind                          15           5078.     5478.     5702.     6159.     6488.     6488.

Fuel Cell                     16             17.       17.       17.       17.       17.       17.

Solar                         17            413.      416.      416.      416.      416.      416.

Non Fossil_Other              18           2275.     2275.     2275.     2275.     2275.     2275.

Fossil_Other                  19            125.      125.      125.      125.      125.      125.

Pump Storage                  20          22854.    22854.    22854.    22854.    22854.    22854.

Int. Imports                  21          11000.    11000.    11000.    11000.    11000.    11000.

Cgn_Coal                      22           3914.     3261.     3261.     3062.     2875.     2774.

Cgn_Gas                       23          42570.    42570.    42570.    42570.    42570.    42570.

Cgn_Oil                       24           1069.     1069.     1034.     1032.     1020.     1020.

Cgn_Other                     25           1075.     1075.     1075.     1075.     1075.     1075.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.      152.      152.      152.      152.

Rep.O/G-CC                    35              0.        0.     4503.     7455.     7709.     7709.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.     1944.

Ret.Scrubber                  37             35.    12352.    14298.     7471.    16788.    26791.

Ret.ExistSCR & Scrub          38           3847.    17407.    24288.    29697.    35799.    38361.

Ret.ExistSNCR & Scrub         39              0.     1661.     2952.     3587.     4867.     6377.

Ret.SCR                       40          16624.    27663.    24197.    35319.    19962.     8092.

Ret.ExistScrub & SCR          41          10452.    21329.    21329.    24199.    24199.    24901.

Ret.SNCR                      42              0.        0.        0.      970.      970.     1119.

Ret.ExistScrub & SNCR         43            322.      402.      402.      576.      576.      664.

Ret.SCR+Scrb                  44           1184.    21977.    27680.    44729.    61850.    77064.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.      795.      795.      795.      795.      795.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.        0.

CT Early Retirement           70            238.      238.      238.      238.      238.      238.

CC Early Retirement           71           1213.     1213.     1213.     1213.     1213.     1213.

O/G Early Retirement          72          29439.    29439.    29439.    29439.    29439.    29439.

Coal Early Retirement         73           4634.     4634.     4634.     4634.     4634.     4634.

Nuke Early Retirement         74              0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

Total                                    983134.   983307.   988421.  1016553.  1084144.  1178896.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

11. Capacity Additions and Changes

by Plant Type [MW]                    2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1              0.        0.        0.        0.        0.    10011.

Scrubbed Coal                  2              0.        0.        0.        0.        0.        0.

Unscrubbed Coal_NOx            3              0.        0.        0.        0.        0.        0.

Unscrubbed Coal                4              0.        0.        0.        0.        0.        0.

Oil/Gas Steam                  5              0.        0.        0.        0.        0.        0.

Oil/Gas Steam_Nox              6              0.        0.        0.        0.        0.        0.

Nuclear                        7              0.        0.        0.        0.        0.        0.

Hydro                          8              0.        0.        0.        0.        0.        0.

Comb.Cycle Gas                 9              0.        0.     2179.    17132.    35885.    56328.

IGCC                          10              0.        0.        0.        0.        0.        0.

Turbine                       11            266.      537.      423.     8830.    31677.    28069.

Biomass                       12              0.       38.       19.       68.       38.        0.

Geothermal                    13              0.      119.       24.      138.        0.        0.

Landfill Gas                  14              0.       92.       76.      188.      146.        0.

Wind                          15              0.      400.      224.      457.      329.        0.

Fuel Cell                     16              0.        0.        0.        0.        0.        0.

Solar                         17              0.        3.        0.        0.        0.        0.

Non Fossil_Other              18              0.        0.        0.        0.        0.        0.

Fossil_Other                  19              0.        0.        0.        0.        0.        0.

Pump Storage                  20              0.        0.        0.        0.        0.        0.

Int. Imports                  21              0.        0.        0.        0.        0.        0.

Cgn_Coal                      22              0.        0.        0.        0.        0.        0.

Cgn_Gas                       23              0.        0.        0.        0.        0.        0.

Cgn_Oil                       24              0.        0.        0.        0.        0.        0.

Cgn_Other                     25              0.        0.        0.        0.        0.        0.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.      152.        0.        0.        0.

Rep.O/G-CC                    35              0.        0.     4503.     2952.      254.        0.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.     1944.

Ret.Scrubber                  37           1102.    16290.     1946.     6039.     9897.    10238.

Ret.ExistSCR & Scrub          38           3847.    13560.     6881.     5409.     6102.     2561.

Ret.ExistSNCR & Scrub         39              0.     1661.     1290.      636.     1279.     1511.

Ret.SCR                       40          16624.    19148.      476.    12556.      311.     1427.

Ret.ExistScrub & SCR          41          10452.    10877.        0.     2870.        0.      702.

Ret.SNCR                      42              0.        0.        0.      970.        0.      149.

Ret.ExistScrub & SNCR         43            322.       80.        0.      174.        0.       88.

Ret.SCR+Scrb                  44           1184.    20793.     5703.    17049.    17121.    15214.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.      795.        0.        0.        0.        0.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.        0.

CT Early Retirement           70            238.        0.        0.        0.        0.        0.

CC Early Retirement           71           1213.        0.        0.        0.        0.        0.

O/G Early Retirement          72          29439.        0.        0.        0.        0.        0.

Coal Early Retirement         73           4634.        0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

Total                                     69322.    84392.    23896.    75469.   103039.   128242.

(**) Ind. Boiler capacity in MMBtu/hr, not included in the total

12. Generation by Plant Type [GWh]        2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1         202774.   202494.   202056.   202827.   202934.   277616.

Scrubbed Coal                  2         442208.   360395.   362769.   339589.   337041.   331041.

Unscrubbed Coal_NOx            3         316771.   204262.   147432.   106111.    49034.    15178.

Unscrubbed Coal                4         816638.   565358.   556307.   419548.   344984.   260365.

Oil/Gas Steam                  5          36034.    67687.    61325.    37933.    25636.    20517.

Oil/Gas Steam_Nox              6          10864.    17048.     2578.     3030.     1725.     1076.

Nuclear                        7         785586.   789275.   790720.   791824.   786799.   775648.

Hydro                          8         269380.   269380.   269380.   269380.   269380.   269380.

Comb.Cycle Gas                 9         499711.   557774.   622468.   852093.  1158343.  1529186.

IGCC                          10           4702.     4702.     4702.     4702.     4702.     4702.

Turbine                       11          19917.    29891.    34512.    57552.    98059.   118164.

Biomass                       12           8888.     9212.     9359.     9973.    10029.    10036.

Geothermal                    13          22429.    23336.    23518.    24571.    24571.    24571.

Landfill Gas                  14           3958.     4641.     5206.     6609.     7694.     7694.

Wind                          15          14310.    15405.    16026.    17327.    18272.    18272.

Fuel Cell                     16             17.       27.       27.       51.       67.       66.

Solar                         17            886.      892.      892.      892.      892.      892.

Non Fossil_Other              18          17936.    17936.    17936.    17936.    17936.    17936.

Fossil_Other                  19            985.      985.      985.      985.      985.      985.

Pump Storage                  20           5835.     7550.     9301.    10497.     8952.     7381.

Int. Imports                  21          44616.    28078.    28078.    21538.    22657.    22657.

Cgn_Coal                      22          26713.    22435.    22732.    21672.    20434.    20008.

Cgn_Gas                       23          96590.   111709.   115840.   146657.   158324.   134868.

Cgn_Oil                       24           3162.     4265.     3175.     2894.     2894.     2895.

Cgn_Other                     25           7333.     7118.     7112.     6985.     7279.     6949.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.     1204.     1204.     1204.     1204.

Rep.O/G-CC                    35              0.        0.    35661.    59043.    61054.    56219.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.    14935.

Ret.Scrubber                  37            259.    91979.   106470.    55608.   125006.   199478.

Ret.ExistSCR & Scrub          38          28645.   129614.   180749.   221134.   266573.   285644.

Ret.ExistSNCR & Scrub         39              0.    12371.    21979.    26646.    36239.    47487.

Ret.SCR                       40         114079.   190399.   164022.   246740.   134534.    54268.

Ret.ExistScrub & SCR          41          75927.   156897.   157084.   178268.   175738.   183684.

Ret.SNCR                      42              0.        0.        0.     5400.     5449.     7426.

Ret.ExistScrub & SNCR         43           2281.     2664.     2664.     3979.     4119.     4878.

Ret.SCR+Scrb                  44           8819.   163647.   206114.   333067.   460505.   573707.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.     1467.     2523.     1467.      838.      838.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

Total                                   3888255.  4070896.  4192907.  4505733.  4850882.  5307849.

(**) Ind. Boiler generation in BBtu, not included in the total

13. Generation by Plant Type [TBtu]       2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            692.      691.      689.      692.      692.      947.

Scrubbed Coal                  2           1509.     1230.     1238.     1159.     1150.     1130.

Unscrubbed Coal_NOx            3           1081.      697.      503.      362.      167.       52.

Unscrubbed Coal                4           2786.     1929.     1898.     1431.     1177.      888.

Oil/Gas Steam                  5            123.      231.      209.      129.       87.       70.

Oil/Gas Steam_Nox              6             37.       58.        9.       10.        6.        4.

Nuclear                        7           2680.     2693.     2698.     2702.     2685.     2647.

Hydro                          8            919.      919.      919.      919.      919.      919.

Comb.Cycle Gas                 9           1705.     1903.     2124.     2907.     3952.     5218.

IGCC                          10             16.       16.       16.       16.       16.       16.

Turbine                       11             68.      102.      118.      196.      335.      403.

Biomass                       12             30.       31.       32.       34.       34.       34.

Geothermal                    13             77.       80.       80.       84.       84.       84.

Landfill Gas                  14             14.       16.       18.       23.       26.       26.

Wind                          15             49.       53.       55.       59.       62.       62.

Fuel Cell                     16              0.        0.        0.        0.        0.        0.

Solar                         17              3.        3.        3.        3.        3.        3.

Non Fossil_Other              18             61.       61.       61.       61.       61.       61.

Fossil_Other                  19              3.        3.        3.        3.        3.        3.

Pump Storage                  20             20.       26.       32.       36.       31.       25.

Int. Imports                  21            152.       96.       96.       73.       77.       77.

Cgn_Coal                      22             91.       77.       78.       74.       70.       68.

Cgn_Gas                       23            330.      381.      395.      500.      540.      460.

Cgn_Oil                       24             11.       15.       11.       10.       10.       10.

Cgn_Other                     25             25.       24.       24.       24.       25.       24.

NonCG IPP_Coal                26              0.        0.        0.        0.        0.        0.

NonCG IPP_Gas                 27              0.        0.        0.        0.        0.        0.

NonCG IPP_Other               28              0.        0.        0.        0.        0.        0.

Blr_Coal                      29              0.        0.        0.        0.        0.        0.

Blr_Gas                       30              0.        0.        0.        0.        0.        0.

Blr_Oil                       31              0.        0.        0.        0.        0.        0.

Blr_Other                     32              0.        0.        0.        0.        0.        0.

SteamOnly Cogen               33              0.        0.        0.        0.        0.        0.

Rep.Coal-CC                   34              0.        0.        4.        4.        4.        4.

Rep.O/G-CC                    35              0.        0.      122.      201.      208.      192.

Rep.Coal-IGCC                 36              0.        0.        0.        0.        0.       51.

Ret.Scrubber                  37              1.      314.      363.      190.      427.      681.

Ret.ExistSCR & Scrub          38             98.      442.      617.      755.      910.      975.

Ret.ExistSNCR & Scrub         39              0.       42.       75.       91.      124.      162.

Ret.SCR                       40            389.      650.      560.      842.      459.      185.

Ret.ExistScrub & SCR          41            259.      535.      536.      608.      600.      627.

Ret.SNCR                      42              0.        0.        0.       18.       19.       25.

Ret.ExistScrub & SNCR         43              8.        9.        9.       14.       14.       17.

Ret.SCR+Scrb                  44             30.      558.      703.     1136.     1571.     1957.

Ret.SNCR+Scrub                45              0.        0.        0.        0.        0.        0.

Ret.Gas Reburn                46              0.        0.        0.        0.        0.        0.

Ret.ExistScrub+GasR           47              0.        0.        0.        0.        0.        0.

Ret.GasReburn+Scrub           48              0.        0.        0.        0.        0.        0.

Ret.ACI                       49              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI            50              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI              51              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI             52              0.        0.        0.        0.        0.        0.

Ret.ACI & SCR                 53              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SCR        54              0.        0.        0.        0.        0.        0.

Ret.ACI & SNCR                55              0.        0.        0.        0.        0.        0.

Ret.ExistScrub&ACI&SNCR       56              0.        0.        0.        0.        0.        0.

Ret.ACI & Srub                57              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ACI&Scrub        58              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ACI&Scrub       59              0.        0.        0.        0.        0.        0.

Ret.ExistSNCR&ExistScrub&ACI  60              0.        0.        0.        0.        0.        0.

Ret.ExistSCR&ExistScrub&ACI   61              0.        0.        0.        0.        0.        0.

Ret.ExistNOx&ExistScrub&ACI   62              0.        0.        0.        0.        0.        0.

Ret.SCR & Scrub & ACI         63              0.        0.        0.        0.        0.        0.

Ret.SNCR & Scrub & ACI        64              0.        0.        0.        0.        0.        0.

Ret.O/G SCR                   65              0.        0.        0.        0.        0.        0.

Ret.O/G SNCR                  66              0.        5.        9.        5.        3.        3.

Ret.Nuclear (age 30+10 yrs)   67              0.        0.        0.        0.        0.        0.

Ret.Nuclear (age 40+20 yrs)   68              0.        0.        0.        0.        0.        0.

Ret. Biomass Cofiring         69              0.        0.        0.        0.        0.        0.

CT Early Retirement           70              0.        0.        0.        0.        0.        0.

CC Early Retirement           71              0.        0.        0.        0.        0.        0.

O/G Early Retirement          72              0.        0.        0.        0.        0.        0.

Coal Early Retirement         73              0.        0.        0.        0.        0.        0.

Nuke Early Retirement         74              0.        0.        0.        0.        0.        0.

--------------------------------------  --------  --------  --------  --------  --------  --------

Total                                     13267.    13890.    14306.    15374.    16551.    18110.

(**) Ind. Boiler generation, not included in the total

14. Capacity Factor by Plant Type [%]     2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Scrubbed Coal_NOx              1            84.9      84.8      84.6      84.9      85.0      85.0

Scrubbed Coal                  2            83.6      83.2      83.7      83.5      82.9      83.0

Unscrubbed Coal_NOx            3            80.0      78.6      79.3      80.5      78.4      80.5

Unscrubbed Coal                4            70.5      73.4      75.9      78.1      78.4      82.1

Oil/Gas Steam                  5             4.4       8.3       7.6       4.8       3.2       2.6

Oil/Gas Steam_Nox              6            15.9      25.0       5.2       6.2       3.5       2.2

Nuclear                        7            90.5      90.9      90.9      90.9      90.2      88.9

Hydro                          8            34.2      34.2      34.2      34.2      34.2      34.2

Comb.Cycle Gas                 9            42.7      47.7      52.4      63.6      70.1      71.2

IGCC                          10            87.7      87.7      87.7      87.7      87.7      87.7

Turbine                       11             1.7       2.6       3.0       4.7       6.5       6.7

Biomass                       12            75.3      75.9      76.1      77.3      75.8      75.8

Geothermal                    13            87.0      87.0      87.0      87.0      87.0      87.0

Landfill Gas                  14            90.0      89.2      88.8      87.9      87.5      87.5

Wind                          15            32.2      32.1      32.1      32.1      32.1      32.1

Fuel Cell                     16            11.4      18.1      18.1      34.4      44.7      44.1

Solar                         17            24.5      24.5      24.5      24.5      24.5      24.5

Non Fossil_Other              18            90.0      90.0      90.0      90.0      90.0      90.0

Fossil_Other                  19            90.0      90.0      90.0      90.0      90.0      90.0

Pump Storage                  20             2.9       3.8       4.6       5.2       4.5       3.7

Int. Imports                  21            46.3      29.1      29.1      22.4      23.5      23.5

Cgn_Coal                      22            77.9      78.5      79.6      80.8      81.1      82.3

Cgn_Gas                       23            25.9      30.0      31.1      39.3      42.5      36.2

Cgn_Oil                       24            33.8      45.5      35.0      32.0      32.4      32.4

Cgn_Other                     25            77.9      75.6      75.5      74.2      77.3      73.8

NonCG IPP_Coal                26             N/A       N/A       N/A       N/A       N/A       N/A

NonCG IPP_Gas                 27             N/A       N/A       N/A       N/A       N/A       N/A

NonCG IPP_Other               28             N/A       N/A       N/A       N/A       N/A       N/A

Blr_Coal                      29             N/A       N/A       N/A       N/A       N/A       N/A

Blr_Gas                       30             N/A       N/A       N/A       N/A       N/A       N/A

Blr_Oil                       31             N/A       N/A       N/A       N/A       N/A       N/A

Blr_Other                     32             N/A       N/A       N/A       N/A       N/A       N/A

SteamOnly Cogen               33             N/A       N/A       N/A       N/A       N/A       N/A

Rep.Coal-CC                   34             N/A       N/A      90.4      90.4      90.4      90.4

Rep.O/G-CC                    35             N/A       N/A      90.4      90.4      90.4      83.2

Rep.Coal-IGCC                 36             N/A       N/A       N/A       N/A       N/A      87.7

Ret.Scrubber                  37            85.0      85.0      85.0      85.0      85.0      85.0

Ret.ExistSCR & Scrub          38            85.0      85.0      85.0      85.0      85.0      85.0

Ret.ExistSNCR & Scrub         39             N/A      85.0      85.0      84.8      85.0      85.0

Ret.SCR                       40            78.3      78.6      77.4      79.7      76.9      76.6

Ret.ExistScrub & SCR          41            82.9      84.0      84.1      84.1      82.9      84.2

Ret.SNCR                      42             N/A       N/A       N/A      63.6      64.1      75.8

Ret.ExistScrub & SNCR         43            81.0      75.7      75.7      78.9      81.7      83.9

Ret.SCR+Scrb                  44            85.0      85.0      85.0      85.0      85.0      85.0

Ret.SNCR+Scrub                45             N/A       N/A       N/A       N/A       N/A       N/A

Ret.Gas Reburn                46             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub+GasR           47             N/A       N/A       N/A       N/A       N/A       N/A

Ret.GasReburn+Scrub           48             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ACI                       49             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI            50             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI              51             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI             52             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ACI & SCR                 53             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SCR        54             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ACI & SNCR                55             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistScrub&ACI&SNCR       56             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ACI & Srub                57             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ACI&Scrub        58             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ACI&Scrub       59             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSNCR&ExistScrub&ACI  60             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistSCR&ExistScrub&ACI   61             N/A       N/A       N/A       N/A       N/A       N/A

Ret.ExistNOx&ExistScrub&ACI   62             N/A       N/A       N/A       N/A       N/A       N/A

Ret.SCR & Scrub & ACI         63             N/A       N/A       N/A       N/A       N/A       N/A

Ret.SNCR & Scrub & ACI        64             N/A       N/A       N/A       N/A       N/A       N/A

Ret.O/G SCR                   65             N/A       N/A       N/A       N/A       N/A       N/A

Ret.O/G SNCR                  66             N/A      21.1      36.2      21.1      12.0      12.0

Ret.Nuclear (age 30+10 yrs)   67             N/A       N/A       N/A       N/A       N/A       N/A

Ret.Nuclear (age 40+20 yrs)   68             N/A       N/A       N/A       N/A       N/A       N/A

Ret. Biomass Cofiring         69             N/A       N/A       N/A       N/A       N/A       N/A

CT Early Retirement           70             0.0       0.0       0.0       0.0       0.0       0.0

CC Early Retirement           71             0.0       0.0       0.0       0.0       0.0       0.0

O/G Early Retirement          72             0.0       0.0       0.0       0.0       0.0       0.0

Coal Early Retirement         73             0.0       0.0       0.0       0.0       0.0       0.0

Nuke Early Retirement         74             N/A       N/A       N/A       N/A       N/A       N/A

--------------------------------------  --------  --------  --------  --------  --------  --------

Average                                     45.1      47.3      48.4      50.6      51.1      51.4

15. Total Annual Production Cost

[MMUS$](*)                            2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Variable O&M                              5909.6    7344.4    7694.7    8539.3    9562.6   10946.0

Fixed O&M                                28712.8   29797.2   30284.3   32198.3   34813.5   36594.3

Fuel                                     43592.1   46841.9   48582.8   53723.6   58728.4   71393.3

Capital                                    327.7    1926.4    2816.9    5450.3   10516.7   18648.3

--------------------------------------  --------  --------  --------  --------  --------  --------

Total                                    78542.2   85909.9   89378.7   99911.5  113621.2  137581.9

Sales Revenue                                0.0       0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

15a Total Annual Resource Cost

[MMUS$](*)                            2005      2008      2010      2015      2020      2026

--------------------------------------  --------  --------  --------  --------  --------  --------

Variable O&M                              5909.6    7344.4    7694.7    8539.3    9562.6   10946.0

Fixed O&M                                28712.8   29797.2   30284.3   32198.3   34813.5   36594.3

Fuel Total                               86080.4   90177.7   92503.2  100833.8  108548.1  125938.2

Fuel Elect.+Steam                        37521.5   39449.7   41336.3   47627.8   51760.6   65569.1

Capital                                    327.7    1926.4    2816.9    5450.3   10516.7   18648.3

--------------------------------------  --------  --------  --------  --------  --------  --------

Total IPM                               121030.5  129245.7  133299.1  147021.6  163440.9  192126.9

Total Elec.+Steam                        72471.5   78517.7   82132.2   93815.6  106653.4  131757.7

Sales Revenue                                0.0       0.0       0.0       0.0       0.0       0.0

(*) Costs include only those items that are important for determining incremental cost of pollution control (industrial boiler costs are included)

16. Emissions                                   2005          2008          2010          2015          2020          2026

--------------------------------------  ------------  ------------  ------------  ------------  ------------  ------------

SO2    [MTons]                           8197.3080     6402.9679     5773.6885     5258.8861     4097.4312     3287.7127

NOX    [MTons]                           3757.5561     2550.7588     2577.6751     2313.8198     2323.1763     2361.1368

TSP    [MTons]                              0.0000        0.0000        0.0000        0.0000        0.0000        0.0000

CO2    [MMTonnes]                        2187.0381     2311.0837     2373.9334     2515.7977     2649.6368     2879.4448

Carbon [MMTonnes]                         596.4649      630.2956      647.4364      686.1267      722.6282      785.3031

MER    [Tons]                              48.4246       42.2341       41.7880       40.4172       37.7082       36.6766

(**) Industrial Boiler emissions are included

Fuel Consumption by Fuel and Fuel Type [TBtu]

Fuel                       2005     2008     2010     2015     2020     2026

Coal                   20230.0  20981.0  21295.6  21637.6  21703.0  22764.3

Oil                        0.0      8.9      0.0      0.0      0.0      0.0

Nuclear                 8280.4   8317.8   8332.5   8345.1   8291.7   8173.9

Hydro                      0.0      0.0      0.0      0.0      0.0      0.0

Gas                     5258.7   6310.3   6954.3   9026.1  11478.6  13946.0

Other                     74.0     79.5     85.2     99.2    111.8    109.8

None                     799.9    829.3    835.2    869.3    869.3    869.3

Biomass                  105.9    108.5    109.7    113.6    113.9    113.9

Grand Total            34748.8  36635.3  37612.4  40090.9  42568.3  45977.2

Fuel Costs by Fuel and Fuel Type [MMUS$]

Fuel                       2005     2008     2010     2015     2020     2026

Coal                   23941.4  23475.2  23291.0  22355.6  20819.5  20702.2

Oil                        0.0     29.6      0.0      0.0      0.0      0.0

Nuclear                 3353.5   3443.6   3433.0   3396.5   3366.4   3318.6

Hydro                      0.0      0.0      0.0      0.0      0.0      0.0

Gas                    16142.5  19734.5  21698.4  27806.6  34377.7  47202.8

Other                      0.0      0.0      0.0      0.0      0.0      0.0

None                       0.0      0.0      0.0      0.0      0.0      0.0

Biomass                  154.7    159.0    160.4    164.9    164.7    169.7

Fuel Costs by Fuel and Fuel Type [US$/MMBtu]

Fuel                       2005     2008     2010     2015     2020     2026

Coal                      1.18     1.12     1.09     1.03     0.96     0.91

Oil                       0.00     3.34     0.00     0.00     0.00     0.00

Nuclear                   0.40     0.41     0.41     0.41     0.41     0.41

Hydro                     0.00     0.00     0.00     0.00     0.00     0.00

Gas                       3.07     3.13     3.12     3.08     2.99     3.38

Other                     0.00     0.00     0.00     0.00     0.00     0.00

None                      0.00     0.00     0.00     0.00     0.00     0.00

Biomass                   1.46     1.47     1.46     1.45     1.45     1.49

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint - Initial Allowance Ban Constraint #:   1

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1161E+05  9413.      0.000      0.000      0.000      0.000

-Emissions at Affected Plants [MTons]        8051.      6258.      1031.      1984.      793.8      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              3557.      3155.      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000     -1031.     -1984.     -793.8      0.000

Total [MTons]                                0.1161E+05  9413.     0.2764E-06 0.4471E-06 0.3348E-07  0.000

TBtu Consumed                                0.2004E+05 0.2080E+05  3594.      6462.      4008.      0.000

Rate - [lb/MMBtu]                            0.8034     0.6017     0.5737     0.6139     0.3961      0.000

TWh Generated                                 2021.      2090.      358.5      646.4      404.7      0.000

TWh Generated Qualifying                      2021.      2090.      358.5      646.4      404.7      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             620.3      706.8      804.6      988.9      1283.      1791.

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  2

Environmental Measures Report

Constraint Name: SO2 Policy Case Constraint - Current Allowance All Constraint #:   2

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             0.000      0.000      8888.      8813.      8813.      8813.

-Emissions at Affected Plants [MTons]        0.000      0.000      8888.      8767.      8859.      8813.

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      46.01      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000     -46.01      0.000

Total [MTons]                                 0.000      0.000      8888.      8813.      8813.      8813.

TBtu Consumed                                 533.4      915.6     0.3386E+05 0.4150E+05 0.4869E+05 0.6375E+05

Rate - [lb/MMBtu]                             0.000      0.000     0.5250     0.4225     0.3639     0.2765

TWh Generated                                 57.37      96.83      3412.      4174.      4868.      6406.

TWh Generated Qualifying                      57.37      96.83      1836.      1556.      1787.      2299.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             620.3      706.8      402.3      329.6      427.6      568.9

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  3

Environmental Measures Report

Constraint Name: MER National Constraint (Non-Binding)              Constraint #:   3

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09 0.4000E+09

-Emissions at Affected Plants [Lb]          0.8166E+05 0.6913E+05 0.6823E+05 0.6539E+05 0.5999E+05 0.5801E+05

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000      0.000

Total [Lb]                                   0.8166E+05 0.6913E+05 0.6823E+05 0.6539E+05 0.5999E+05 0.5801E+05

TBtu Consumed                                0.2004E+05 0.2079E+05 0.2111E+05 0.2145E+05 0.2151E+05 0.2258E+05

Rate - [lb/MMBtu]                            0.4074E-05 0.3325E-05 0.3232E-05 0.3049E-05 0.2788E-05 0.2569E-05

TWh Generated                                 2022.      2089.      2117.      2148.      2150.      2263.

TWh Generated Qualifying                      2022.      2089.      2117.      2148.      2150.      2263.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  4

Environmental Measures Report

Constraint Name: SO2 Policy for State of New Hampshire              Constraint #:   4

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  7.289      7.289      7.289      7.289      7.289

-Emissions at Affected Plants [MTons]        42.50      5.626      5.626      5.602      3.627      4.847

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 42.50      5.626      5.626      5.602      3.627      4.847

TBtu Consumed                                 38.63      36.78      36.78      36.75      35.21      37.43

Rate - [lb/MMBtu]                             2.200     0.3059     0.3059     0.3049     0.2060     0.2590

TWh Generated                                 3.947      3.702      3.702      3.699      3.551      3.765

TWh Generated Qualifying                      3.947      3.702      3.702      3.699      3.551      3.765

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  5

Environmental Measures Report

Constraint Name: SO2 Policy for State of Wisconsin                  Constraint #:   5

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1000E+06 0.7000     0.7000     0.4500     0.4500     0.4500

-Emissions at Affected Plants [MTons]        81.61      69.66      71.98      46.60      46.91      48.61

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 81.61      69.66      71.98      46.60      46.91      48.61

TBtu Consumed                                 211.3      199.0      205.7      207.1      208.5      216.0

Rate - [lb/MMBtu]                            0.7727     0.7000     0.7000     0.4500     0.4500     0.4500

TWh Generated                                 21.03      19.79      20.47      20.44      20.57      21.24

TWh Generated Qualifying                      21.03      19.79      20.47      20.44      20.57      21.24

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      744.9      629.7      804.4      529.0      120.1

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  6

Environmental Measures Report

Constraint Name: SO2 Policy for State of North Carolina             Constraint #:   6

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06 0.1000E+06  205.0      130.0      130.0      130.0

-Emissions at Affected Plants [MTons]        553.6      546.0      205.0      130.0      130.0      62.89

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 553.6      546.0      205.0      130.0      130.0      62.89

TBtu Consumed                                 803.5      808.8      825.6      850.6      856.1      915.5

Rate - [lb/MMBtu]                             1.378      1.350     0.4966     0.3057     0.3037     0.1374

TWh Generated                                 84.70      85.30      85.70      87.75      88.36      96.20

TWh Generated Qualifying                      84.70      85.30      85.70      87.75      88.36      96.20

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      144.2      154.6      1.665      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  7

Environmental Measures Report

Constraint Name: SO2 Policy for State of Massachusetts              Constraint #:   7

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+06  3.000      3.000      3.000      3.000      3.000

-Emissions at Affected Plants [MTons]        71.21      15.60      7.636      8.523      4.452      4.452

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 71.21      15.60      7.636      8.523      4.452      4.452

TBtu Consumed                                 100.4      112.5      93.65      94.84      99.67      99.67

Rate - [lb/MMBtu]                             1.419     0.2773     0.1631     0.1797     0.8933E-01 0.8933E-01

TWh Generated                                 10.58      11.95      9.752      9.866      10.31      10.31

TWh Generated Qualifying                      10.58      11.95      9.752      9.866      10.31      10.31

Constraint Shadow Price [US$/Ton]             0.000      101.3      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  8

Environmental Measures Report

Constraint Name: SO2 Policy for Rest of Texas East                  Constraint #:   8

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             111.2      111.2      111.2      111.2      111.2      111.2

-Emissions at Affected Plants [MTons]        95.48      25.97      25.97      25.97      25.97      25.97

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 95.48      25.97      25.97      25.97      25.97      25.97

TBtu Consumed                                 130.2      292.5      344.0      318.7      291.8      262.3

Rate - [lb/MMBtu]                             1.466     0.1776     0.1510     0.1630     0.1780     0.1980

TWh Generated                                 12.79      28.05      33.27      30.61      27.95      25.02

TWh Generated Qualifying                      12.79      28.05      33.27      30.61      27.95      25.02

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10.  9

Environmental Measures Report

Constraint Name: NOx SIP CALL Constraint                            Constraint #:   9

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             503.2      1580.      1580.      1300.      1300.      1300.

-Emissions at Affected Plants [MTons]        503.2      1580.      1580.      1300.      1300.      1300.

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 503.2      1580.      1580.      1300.      1300.      1300.

TBtu Consumed                                 5499.     0.2065E+05 0.2134E+05 0.2322E+05 0.2436E+05 0.2572E+05

Rate - [lb/MMBtu]                            0.1830     0.1530     0.1481     0.1120     0.1067     0.1011

TWh Generated                                 582.5      2193.      2269.      2503.      2655.      2825.

TWh Generated Qualifying                      582.5      2193.      2269.      2503.      2655.      2825.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1784.      1335.      1198.      1459.      1465.      1499.

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 10

Environmental Measures Report

Constraint Name: NOx SIP CALL Dummy Constraint                      Constraint #:  10

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07 0.1000E+07

-Emissions at Affected Plants [MTons]        2036.      1111.      1136.      967.2      973.6      990.2

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2036.      1111.      1136.      967.2      973.6      990.2

TBtu Consumed                                0.1288E+05 0.1461E+05 0.1503E+05 0.1629E+05 0.1715E+05 0.1829E+05

Rate - [lb/MMBtu]                            0.3162     0.1521     0.1512     0.1187     0.1135     0.1083

TWh Generated                                 1355.      1533.      1578.      1730.      1840.      1984.

TWh Generated Qualifying                      1355.      1533.      1578.      1730.      1840.      1984.

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 11

Environmental Measures Report

Constraint Name: NOx Policy for East Central Texas                  Constraint #:  11

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             123.5      123.5      123.5      123.5      123.5      123.5

-Emissions at Affected Plants [MTons]        123.5      123.5      123.5      88.55      79.00      75.95

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 123.5      123.5      123.5      88.55      79.00      75.95

TBtu Consumed                                 1259.      1427.      1479.      1484.      1395.      1287.

Rate - [lb/MMBtu]                            0.1963     0.1731     0.1670     0.1194     0.1132     0.1180

TWh Generated                                 130.7      146.5      151.9      154.9      147.4      132.5

TWh Generated Qualifying                      130.7      146.5      151.9      154.9      147.4      132.5

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1315.      10.57      222.1      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 12

Environmental Measures Report

Constraint Name: NOx Policy for Dallas/Fort Texas                   Constraint #:  12

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             2.164      2.164      2.164      2.164      2.164      2.164

-Emissions at Affected Plants [MTons]        2.164      2.164      2.164      2.164      2.164      1.746

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.164      2.164      2.164      2.164      2.164      1.746

TBtu Consumed                                 24.62      25.08      24.65      24.65      24.53      19.86

Rate - [lb/MMBtu]                            0.1758     0.1725     0.1756     0.1756     0.1764     0.1758

TWh Generated                                 2.452      2.499      2.452      2.452      2.440      1.984

TWh Generated Qualifying                      2.452      2.499      2.452      2.452      2.440      1.984

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             274.9      32.15      2172.      2048.      35.84      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 13

Environmental Measures Report

Constraint Name: NOx Policy for Houston Texas                       Constraint #:  13

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             4.710      4.710      4.710      4.710      4.710      4.710

-Emissions at Affected Plants [MTons]        4.710      4.710      4.710      4.710      4.710      4.710

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 4.710      4.710      4.710      4.710      4.710      4.710

TBtu Consumed                                 180.1      182.3      200.8      187.7      181.1      201.1

Rate - [lb/MMBtu]                            0.5230E-01 0.5168E-01 0.4690E-01 0.5018E-01 0.5202E-01 0.4685E-01

TWh Generated                                 20.33      20.45      22.70      20.99      21.39      22.48

TWh Generated Qualifying                      20.33      20.45      22.70      20.99      21.39      22.48

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]            0.2421E+05 0.2711E+05 0.3677E+05 0.2998E+05 0.1995E+05 0.3155E+05

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 14

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas East                  Constraint #:  14

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             58.38      58.38      58.38      58.38      58.38      58.38

-Emissions at Affected Plants [MTons]        17.81      26.39      31.93      19.28      16.71      13.82

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 17.81      26.39      31.93      19.28      16.71      13.82

TBtu Consumed                                 130.2      292.5      344.0      318.7      291.8      262.3

Rate - [lb/MMBtu]                            0.2736     0.1805     0.1856     0.1210     0.1145     0.1054

TWh Generated                                 12.79      28.05      33.27      30.61      27.95      25.02

TWh Generated Qualifying                      12.79      28.05      33.27      30.61      27.95      25.02

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 15

Environmental Measures Report

Constraint Name: NOx Policy for Rest of Texas West                  Constraint #:  15

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             17.67      17.67      17.67      17.67      17.67      17.67

-Emissions at Affected Plants [MTons]        7.620      14.11      17.67      17.67      8.628      7.628

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 7.620      14.11      17.67      17.67      8.628      7.628

TBtu Consumed                                 33.87      65.88      82.35      85.68      48.05      39.65

Rate - [lb/MMBtu]                            0.4499     0.4282     0.4292     0.4126     0.3591     0.3848

TWh Generated                                 3.456      6.655      8.315      8.564      4.790      3.969

TWh Generated Qualifying                      3.456      6.655      8.315      8.564      4.790      3.969

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      604.3      17.90      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 16

Environmental Measures Report

Constraint Name: NOx Policy for El Paso Texas                       Constraint #:  16

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             1.058      1.058      1.058      1.058      1.058      1.058

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 17

Environmental Measures Report

Constraint Name: NOx Policy for State of Missouri                   Constraint #:  17

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 SUMMER

Run Year, Seasons Included: 2008 SUMMER

Run Year, Seasons Included: 2010 SUMMER

Run Year, Seasons Included: 2015 SUMMER

Run Year, Seasons Included: 2020 SUMMER

Run Year, Seasons Included: 2026 SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                             43.95      43.95      43.95      43.95      43.95      43.95

-Emissions at Affected Plants [MTons]        43.95      26.21      27.21      28.97      30.94      32.11

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 43.95      26.21      27.21      28.97      30.94      32.11

TBtu Consumed                                 318.4      307.5      324.6      366.5      391.9      423.7

Rate - [lb/MMBtu]                            0.2761     0.1705     0.1677     0.1581     0.1579     0.1516

TWh Generated                                 31.45      30.46      32.29      36.10      38.42      41.54

TWh Generated Qualifying                      31.45      30.46      32.29      36.10      38.42      41.54

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1034.      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 18

Environmental Measures Report

Constraint Name: NOx Policy for State of New Hampshire              Constraint #:  18

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  3.644      3.644      3.644      3.644      3.644

-Emissions at Affected Plants [MTons]        10.69      2.388      2.388      2.384      2.154      2.485

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 10.69      2.388      2.388      2.384      2.154      2.485

TBtu Consumed                                 38.63      36.78      36.78      36.75      35.21      37.43

Rate - [lb/MMBtu]                            0.5536     0.1299     0.1299     0.1297     0.1223     0.1328

TWh Generated                                 3.947      3.702      3.702      3.699      3.551      3.765

TWh Generated Qualifying                      3.947      3.702      3.702      3.699      3.551      3.765

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 19

Environmental Measures Report

Constraint Name: NOx Policy for State of Wisconsin                  Constraint #:  19

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                         2.000     0.2500     0.2500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        35.11      24.88      25.71      15.53      15.64      16.20

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 35.11      24.88      25.71      15.53      15.64      16.20

TBtu Consumed                                 211.3      199.0      205.7      207.1      208.5      216.0

Rate - [lb/MMBtu]                            0.3324     0.2500     0.2500     0.1500     0.1500     0.1500

TWh Generated                                 21.03      19.79      20.47      20.44      20.57      21.24

TWh Generated Qualifying                      21.03      19.79      20.47      20.44      20.57      21.24

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      52.22      177.5      389.6      441.7      407.6

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 20

Environmental Measures Report

Constraint Name: NOx Policy for State of North Carolina             Constraint #:  20

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+06  58.00      56.00      56.00      56.00      56.00

-Emissions at Affected Plants [MTons]        144.5      58.00      56.00      47.57      48.09      42.01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 144.5      58.00      56.00      47.57      48.09      42.01

TBtu Consumed                                 803.5      808.8      825.6      850.6      856.1      915.5

Rate - [lb/MMBtu]                            0.3598     0.1434     0.1357     0.1118     0.1123     0.9177E-01

TWh Generated                                 84.70      85.30      85.70      87.75      88.36      96.20

TWh Generated Qualifying                      84.70      85.30      85.70      87.75      88.36      96.20

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      200.0      161.6      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 21

Environmental Measures Report

Constraint Name: NOX Policy for State of Massachusetts              Constraint #:  21

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                           1.500      1.500      1.500      1.500      1.500      1.500

-Emissions at Affected Plants [MTons]        7.934      8.332      7.398      7.516      7.999      7.999

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 7.934      8.332      7.398      7.516      7.999      7.999

TBtu Consumed                                 100.4      112.5      106.3      107.8      114.0      114.0

Rate - [lb/MMBtu]                            0.1581     0.1481     0.1392     0.1395     0.1403     0.1403

TWh Generated                                 10.58      11.95      11.50      11.66      12.30      12.30

TWh Generated Qualifying                      10.58      11.95      11.50      11.66      12.30      12.30

Constraint Shadow Price [US$/Ton]             1163.      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 22

Environmental Measures Report

Constraint Name: MER Policy for State of Wisconsin                  Constraint #:  22

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [Lb]                              0.2000E+12  1700.      1700.      940.0      940.0      940.0

-Emissions at Affected Plants [Lb]           873.4      894.8      921.0      936.1      934.3      914.0

-Less Allowances Purchased [Lb] MER          0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [Lb] MER               0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [Lb]                 0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [Lb]              0.000      0.000      0.000      0.000      0.000      0.000

Total [Lb]                                    873.4      894.8      921.0      936.1      934.3      914.0

TBtu Consumed                                 211.3      199.0      205.7      207.1      208.5      216.0

Rate - [lb/MMBtu]                            0.4135E-05 0.4495E-05 0.4479E-05 0.4519E-05 0.4481E-05 0.4230E-05

TWh Generated                                 21.03      19.79      20.47      20.44      20.57      21.24

TWh Generated Qualifying                      21.03      19.79      20.47      20.44      20.57      21.24

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Lb]              0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 23

Environmental Measures Report

Constraint Name: CO2 Constraint for New Hampshire                   Constraint #:  23

Constraint Type: Rate Cap [MTons]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [MTon]                            0.1000E+08  5426.      5426.      5426.      5426.      5426.

-Emissions at Affected Plants [MTons]        3966.      3776.      3776.      3773.      3615.      3842.

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 3966.      3776.      3776.      3773.      3615.      3842.

TBtu Consumed                                 38.63      36.78      36.78      36.75      35.21      37.43

Rate - [lb/MMBtu]                             205.3      205.3      205.3      205.3      205.3      205.3

TWh Generated                                 3.947      3.702      3.702      3.699      3.551      3.765

TWh Generated Qualifying                      3.947      3.702      3.702      3.699      3.551      3.765

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 24

Environmental Measures Report

Constraint Name: CO2 Constraint for Massachusetts                   Constraint #:  24

Constraint Type: Rate Limit [lb/MWh]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MWh]                          0.1000E+08  1800.      1800.      1800.      1800.      1800.

-Emissions at Affected Plants [MTons]       0.1030E+05 0.1075E+05 0.1035E+05 0.1049E+05 0.1107E+05 0.1107E+05

-Less Allowances Purchased [MTons] CO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] CO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.1030E+05 0.1075E+05 0.1035E+05 0.1049E+05 0.1107E+05 0.1107E+05

TBtu Consumed                                 100.4      112.5      106.3      107.8      114.0      114.0

Rate - [lb/MMBtu]                             205.3      191.2      194.8      194.7      194.2      194.2

TWh Generated                                 10.58      11.95      11.50      11.66      12.30      12.30

TWh Generated Qualifying                      10.58      11.95      11.50      11.66      12.30      12.30

Constraint Shadow Price [US$/Ton]             0.000      27.05      14.43      8.492      5.061      3.674

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 25

Environmental Measures Report

Constraint Name: CFS CT Plant Specific NOX Constraint               Constraint #:  25

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.5729     0.5729     0.5729     0.5729     0.5729     0.5729

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.5729     0.5729     0.5729     0.5729     0.5729     0.5729

TBtu Consumed                                 7.639      7.639      7.639      7.639      7.639      7.639

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                0.7894     0.7894     0.7894     0.7894     0.7894     0.7894

TWh Generated Qualifying                     0.7894     0.7894     0.7894     0.7894     0.7894     0.7894

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             4430.      0.000     0.1623E+05  0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 26

Environmental Measures Report

Constraint Name: BGV CT Plant Specific NOX Constraint               Constraint #:  26

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]       0.7738      1.155      1.155      1.155      1.155      1.155

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                0.7738      1.155      1.155      1.155      1.155      1.155

TBtu Consumed                                 10.32      15.40      15.40      15.40      15.40      15.40

Rate - [lb/MMBtu]                            0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

TWh Generated                                 1.057      1.573      1.573      1.573      1.564      1.564

TWh Generated Qualifying                      1.057      1.573      1.573      1.573      1.564      1.564

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             2667.      2855.      935.1      3902.      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 27

Environmental Measures Report

Constraint Name: BCX CT Plant Specific NOX Constraint               Constraint #:  27

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 28

Environmental Measures Report

Constraint Name: BCW CT Plant Specific NOX Constraint               Constraint #:  28

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      513.1      0.000      84.78      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 29

Environmental Measures Report

Constraint Name: BBC CT Plant Specific NOX Constraint               Constraint #:  29

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 30

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific NOX Constraint               Constraint #:  30

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 31

Environmental Measures Report

Constraint Name: BAI CT Plant Specific NOX Constraint               Constraint #:  31

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 32

Environmental Measures Report

Constraint Name: AWC CT Plant Specific NOX Constraint               Constraint #:  32

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      233.2      395.8      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 33

Environmental Measures Report

Constraint Name: AMB CT Plant Specific NOX Constraint               Constraint #:  33

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        1.090      1.090      1.090      1.090      1.090      1.090

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.090      1.090      1.090      1.090      1.090      1.090

TBtu Consumed                                 57.37      57.37      57.37      57.37      57.37      57.37

Rate - [lb/MMBtu]                            0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01 0.3800E-01

TWh Generated                                 7.547      7.547      7.547      7.547      7.547      7.547

TWh Generated Qualifying                      7.547      7.547      7.547      7.547      7.547      7.547

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 34

Environmental Measures Report

Constraint Name: AFN CT Plant Specific NOX Constraint               Constraint #:  34

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 35

Environmental Measures Report

Constraint Name: AFM CT Plant Specific NOX Constraint               Constraint #:  35

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 36

Environmental Measures Report

Constraint Name: AFL CT Plant Specific NOX Constraint               Constraint #:  36

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER

Run Year, Seasons Included: 2008 WINTER

Run Year, Seasons Included: 2010 WINTER

Run Year, Seasons Included: 2015 WINTER

Run Year, Seasons Included: 2020 WINTER

Run Year, Seasons Included: 2026 WINTER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.1500     0.1500     0.1500     0.1500     0.1500     0.1500

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

-Less Allowances Purchased [MTons] NOX       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] NOX            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000     0.3365E-01 0.3365E-01 0.3365E-01

TBtu Consumed                                 0.000      0.000      0.000     0.8411     0.8411     0.8411

Rate - [lb/MMBtu]                             0.000      0.000      0.000     0.8000E-01 0.8000E-01 0.8000E-01

TWh Generated                                 0.000      0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

TWh Generated Qualifying                      0.000      0.000      0.000     0.7696E-01 0.7696E-01 0.7696E-01

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 37

Environmental Measures Report

Constraint Name: CFS CT Plant Specific SO2 Constraint               Constraint #:  37

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        1.035     0.7592     0.7592     0.7592     0.7592     0.7592

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 1.035     0.7592     0.7592     0.7592     0.7592     0.7592

TBtu Consumed                                 13.80      13.80      13.80      13.80      13.80      13.80

Rate - [lb/MMBtu]                            0.1500     0.1100     0.1100     0.1100     0.1100     0.1100

TWh Generated                                 1.426      1.426      1.426      1.426      1.426      1.426

TWh Generated Qualifying                      1.426      1.426      1.426      1.426      1.426      1.426

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 38

Environmental Measures Report

Constraint Name: BGV CT Plant Specific SO2 Constraint               Constraint #:  38

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        2.514      4.558      4.558      4.558     0.6077     0.6077

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 2.514      4.558      4.558      4.558     0.6077     0.6077

TBtu Consumed                                 15.23      27.63      27.63      27.63      27.62      27.62

Rate - [lb/MMBtu]                            0.3300     0.3300     0.3300     0.3300     0.4400E-01 0.4400E-01

TWh Generated                                 1.557      2.823      2.823      2.823      2.807      2.807

TWh Generated Qualifying                      1.557      2.823      2.823      2.823      2.807      2.807

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             1095.      700.3      607.0      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 39

Environmental Measures Report

Constraint Name: BCX CT Plant Specific SO2 Constraint               Constraint #:  39

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 40

Environmental Measures Report

Constraint Name: BCW CT Plant Specific SO2 Constraint               Constraint #:  40

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 41

Environmental Measures Report

Constraint Name: BBC CT Plant Specific SO2 Constraint               Constraint #:  41

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 42

Environmental Measures Report

Constraint Name: BAJ CT Plant Specific SO2 Constraint               Constraint #:  42

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 43

Environmental Measures Report

Constraint Name: BAI CT Plant Specific SO2 Constraint               Constraint #:  43

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000

EPA216_IAQR_T4_Ratios_2003 -- Proposed IAQR with Trading Ratios for Title IV Allowances                        Page: 10. 44

Environmental Measures Report

Constraint Name: AWC CT Plant Specific SO2 Constraint               Constraint #:  44

Constraint Type: Rate Limit [lb/MMBtu]

Run Year, Seasons Included: 2005 WINTER   SUMMER

Run Year, Seasons Included: 2008 WINTER   SUMMER

Run Year, Seasons Included: 2010 WINTER   SUMMER

Run Year, Seasons Included: 2015 WINTER   SUMMER

Run Year, Seasons Included: 2020 WINTER   SUMMER

Run Year, Seasons Included: 2026 WINTER   SUMMER

Time Base: Seasonal/Annual                   2005-2007  2008-2009  2010-2012  2013-2017  2018-2022  2023-2030

Standard - [lb/MMBtu]                        0.3300     0.3300     0.3300     0.3300     0.3300     0.3300

-Emissions at Affected Plants [MTons]        0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Purchased [MTons] SO2       0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Sold [MTons] SO2            0.000      0.000      0.000      0.000      0.000      0.000

-Plus Allowances Banked [MTons]              0.000      0.000      0.000      0.000      0.000      0.000

-Less Allowances Withdrawn [MTons]           0.000      0.000      0.000      0.000      0.000      0.000

Total [MTons]                                 0.000      0.000      0.000      0.000      0.000      0.000

TBtu Consumed                                 0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MMBtu]                             0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated                                 0.000      0.000      0.000      0.000      0.000      0.000

TWh Generated Qualifying                      0.000      0.000      0.000      0.000      0.000      0.000

Rate - [lb/MWh]                               0.000      0.000      0.000      0.000      0.000      0.000

Constraint Shadow Price [US$/Ton]             0.000      0.000      0.000      0.000      0.000      0.000