Public Notification Handbook for

Transient Noncommunity Water Systems

3rd Revision, March 2023

Appendix A: Templates for TNCWSs

The pages that follow contain templates recommended for use by TNCWSs. They are generally designed for posting, and are tailored to water systems where consumers will not be able to boil or otherwise treat their water. You should modify the templates, if necessary, to meet the needs of your system (e.g., if you operate a campground and have an E. coli violation, you should provide information on boiling the water), but remember to include all 10 required elements of a public notice. Along with each template are instructions on how to complete the template, and suggestions for methods of delivery and modifying individual sections of the notice. These suggestions are designed to supplement the handbook, so you may see much of the information repeated here.

Each template also includes the mandatory health effects language from Appendix B to 40 CFR 141 Subpart Q (presented in italics in each notice, with an asterisk on either end). This information must be included as written; with additional violation or situation specific information added in the brackets.

You must also include the following italicized language in all notices, where applicable [40 CFR 141.205(d)]. This language will encourage word-of-mouth communication of the problem. Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

Tier 1 Templates

- RTCR E. coli MCL Violation Notice – Template NC1-1

- RTCR E. coli MCL Violation Notice in Spanish – Template NC1-1A

- Nitrate MCL Violation –Template NC1-2

- Nitrate MCL Violation Notice in Spanish – Template NC1-2A

- Nitrate Failure to Take a Confirmation Sample – Template NC1-3

- Special Notice: NCWS Allowed Up to 20 mg/L Nitrate – Template NC1-4

- NCWS Allowed > 20 mg/L Nitrate that Exceed 20 mg/L – Template NC1-5

- Chlorine Dioxide MRDL – Template NC1-6

- Combined Filter Effluent (CFE) Maximum Turbidity Exceedance, or Turbidity Single Exceedance – Template NC1-7

- Waterborne Disease Outbreak – Template NC1-8

- Fecal Indicator-Positive Source Sample – Template NC1-9

- Problem Corrected – Template NC1-10

Instructions for E. coli MCL Violation Notice – Template NC1-1

Template below

Description of Violation or Situation

An E. coli maximum contaminant level (MCL) violation requires Tier 1 public notification. This violation occurs when any public water system has:

- A total coliform-positive routine sample result followed by an E. coli-positive repeat sample result;

- An E. coli-positive routine sample result followed by a total coliform-positive repeat sample result;

- An E. coli-positive routine sample result and fails to take all required repeat samples; or

- A total coliform-positive repeat sample result and fails to test for E. coli.

You must provide public notice to persons served as soon as practical but no more than 24 hours after learning of the MCL violation [40 CFR 141.202(b)]. During this time, you must also contact your state. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

- Another method approved in writing by the state

You may need to use additional methods (e.g., newspaper or delivery of multiple copies to hospitals, clinics, or apartment buildings) since notice must be provided in a manner reasonably calculated to reach all persons served. If you post or hand deliver, EPA recommends printing your notice on your system’s letterhead, if you have it.

The notice on the reverse is appropriate for hand delivery or for publication in a newspaper. However, you may wish to modify it before using it for a radio or television broadcast. If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on each end. You will need to update the information presented in brackets with the appropriate information.

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Corrective Action

In your notice, you must describe corrective actions you are taking [40 CFR 141.205(a)(7)] and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. Listed below are some steps commonly taken by water systems with the presence of E. coli. Depending on the corrective action you are taking, you can use one or more of the following statements, if appropriate, or develop your own text:

- We are completing a comprehensive assessment of our water system and of our monitoring and operational practices to identify and correct any causes of the contamination.

- We are chlorinating and flushing the water system.

- We are switching to an alternate drinking water source.

- We are increasing sampling for coliform bacteria to determine the source of the contamination.

- We are repairing the wellhead seal.

- We are repairing, cleaning, and disinfecting the storage tank.

- We are restricting water intake from the river/lake/reservoir to prevent additional bacteria from entering the water system and restricting water use to emergencies.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is recommended that you notify health professionals in the area of the violation. People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know about the potential contamination so they can use bottled water.

It is a good idea to inform your consumers when the violation has been resolved. See Template 1-6 of the Revised Public Notification Handbook (2nd Revision of Document: EPA 816-R-09-013, March 2010) for a “problem corrected” notice template and Template NC1-10  of the Public Notification Handbook for Transient Non-community Water Systems, EPA 816-R-09-009, March 2010.

E. coli MCL Violation Notice – Template NC1-1

DRINKING WATER WARNING

E. coli is present in [Water System Name]’s water

BOIL YOUR WATER BEFORE USING

[Briefly describe the situation, such as: “E. coli bacteria were found in the water supply on [give date]” or “We did not perform required testing of the water system and must assume that E. coli bacteria are in the water as of [give date]]. These bacteria can make you sick, and are especially a concern for people with weakened immune systems.

Bacterial contamination can occur when increased run-off enters the drinking water source (for example, following heavy rains). It can also happen due to a break in the distribution system (pipes) or a failure in the water treatment process.

What should I do? What does this mean?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- *E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems.*

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice. People at increased risk should seek advice from their healthcare providers about drinking this water.

What is being done?

[Describe corrective action]. We will inform you when tests show no bacteria are present and you no longer need to boil your water. We anticipate resolving the problem within [estimated timeframe].

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by bacteria and other disease-causing organisms are available from the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for E. coli MCL Violation Notice in Spanish – Template NC1-1A

Template on Reverse

The template on reverse is a Spanish translation of Template NC1-1 for an E. coli maximum contaminant level (MCL) violation. All the instructions of Template NC1-1 apply. This template is an exact translation of the English template, so if you need to modify the English templates, you should modify this template accordingly. Schools or universities may be able to provide low-cost translations. See the discussion on translations in Chapter 3 for suggestions on multilingual notices.

E. coli MCL Violation Notice in Spanish – Template NC1-1A

AVISO SOBRE SU AGUA POTABLE

[E. coli está] presente en el agua del Sistema [Water System Name]

HIERVAN EL AGUA ANTES DE USARLA

[Briefly describe the situation in Spanish, such as: “E. coli fue encontrada en su servicio de agua el día [given date]” or “No hicimos las pruebas necesarias del servicio de agua y debemos suponer que la bacteria E. coli está en la agua a partir de [given date]]. Estas bacterias pueden enfermarle, y son especialmente peligrosas para personas con los sistemas inmunológicos débiles.

Contaminación bacteriana puede ocurrir cuando un exceso de aguas rebasa sus cauces y entran en las fuentes de agua potable (por ejemplo, después de una lluvia fuerte). También, puede ocurrir cuando se rompe un sistema de recolección de aguas negras (por ejemplo una tubería), o cuando hay una falla en el tratamiento de agua.

¿Qué debo hacer? ¿Qué es la significa de este?

- NO BEBA EL AGUA SIN HERVIRLA ANTES. Hierva toda el agua, déjela hervir por un minuto, y déjela reposar antes de usarla, o utilice agua embotellada. Agua hervida o embotellada debe ser usada para beber, hacer hielo, lavarse los dientes, lavar los platos y para preparar la comida hasta próximo aviso. El proceso de hervir mata a bacteria y otros organismos en el agua.

- *E. coli son bacterias cuya presencia indican que el agua está contaminada con desechos humanos o de animales. Los agentes patógenos humanos en estos desechos pueden causar consecuencias a corto plazo, como diarrea, cólicos, nausea, dolores de cabeza u otros síntomas. Pueden representar un peligro más grave para la salud de bebés, niños y niñas de corta edad, los ancianos y personas con sistemas inmunológicos en alto riesgo.*

- Los síntomas descritos arriba no ocurren solamente debido a los microbios; pueden ser resultados de otros factores. Sin embargo, si usted siente estos síntomas y los persisten, usted puede optar por hacer una consulta con su médico. Personas en situaciones de alto riesgo deben consultar con sus proveedores de servicios médicos.

¿Qué se está haciendo al respecto?

[Describe corrective action in Spanish]. Le informaremos cuando las pruebas demuestren que no hay bacterias y cuando usted ya no necesita hervir su agua. Anticipamos que resolveremos el problema el [date of expected resolution in Spanish day-month-year].

Para obtener más información, contacte a [name of contact] al [phone number] o [mailing address]. Reglas generales sobre las maneras de reducir el riesgo de infección por bacterias y otros organismos causantes de enfermedades están disponibles en el sitio web de Office of Ground Water and Drinking Water de la EPA en https://www.epa.gov/ground-water-and-drinking-water.

*Por favor, comparta esta información con otros que toman de esta fuente de agua, especialmente con aquellos que no hayan recibido el aviso directamente, por ejemplo: personas en apartamentos, hospitales, hogares de infantes, escuelas o comunidades de negocios. Usted puede compartirlo en un lugar público o distribuyendo unas copias a mano o por correo.*

Este aviso ha sido enviado a usted por [water system name]. Número de Identificación: ___________.

Fecha de distribución: ________.

Instructions for Nitrate MCL Violation Notice – Template NC1-2

Template on Reverse

Violating the nitrate maximum contaminant level (MCL) of 10 milligrams per liter (mg/L) requires Tier 1 public notification and you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time, you must also contact your state. You should also coordinate with your local health department. This template is also applicable to nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained.  If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Repeat Notices

If this is a repeat notice (as required by your state), or if your water system’s nitrate levels fluctuate around the MCL, you may wish to include an explanation similar to the following:

- On [give date], you were also notified of high nitrate levels that occurred during the [give quarter e.g., first, second, third or fourth] of the year. Since that time the water system has been monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed due to nitrates contained in fertilizer. It appears the high nitrates occur during the later summer and fall. Note that previous tests prior to [give year] show that we were meeting drinking water standards for nitrate.

Corrective Action

In your notice, describe corrective actions you are taking. The bullet below describes one action commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own:

- We are investigating water treatment and other options. These may include drilling a new well or buying water from another water system.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Nitrate MCL Violation Notice – Template NC1-2

DRINKING WATER WARNING

[Water System Name] water has high levels of nitrate -

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

On [give date], we received notice that the sample collected on [give date] showed nitrate levels of [level and units]. This is above the nitrate standard, or maximum contaminant level (MCL), of [state/federal MCL]. Nitrate in drinking water is a serious health concern for infants less than six months old.

Nitrate in drinking water can come from natural, industrial, or agricultural sources (including septic systems and run-off). Levels of nitrate in drinking water can vary throughout the year.

What should I do? What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. * Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Ice, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe all corrective actions being taken and when your water system expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed:______.

Instructions for Nitrate MCL Violation Notice in Spanish – Template NC1-2A

Template on Reverse

The template on reverse is a Spanish translation of Template NC1-2 for a nitrate maximum contaminant level (MCL) violation. All the instructions of Template NC1-2 apply. This template is an exact translation of the English template, so if you need to modify the English templates, you should modify this template accordingly. Schools or universities may be able to provide low-cost translations. See the discussion on translations in Chapter 3 for suggestions on multilingual notices.

Nitrate MCL Violation Notice in Spanish – Template NC1-2A

AVISO SOBRE SU AGUA POTABLE

Agua del sistema [Water System Name] tiene altos niveles de nitratos –

NO DAR DE BEBER ESTA AGUA A BEBES MENORES DE 6 MESES DE EDAD NI USARLA PARA HACER LECHE DE FORMULA

Recibimos un aviso el [give date of when notice was received] que la muestra tomada el [give date of when sample was taken] demuestra una concentración de nitrato de [level found and units in Spanish]. Este nivel está por encima de la norma, o nivel máximo de contaminación (NMC) de [state/federal MCL with units in Spanish]. Nitratos en agua potable puede generar serios problemas de salud para bebés menores de 6 meses de edad.

Nitratos en el agua pueden provenir de fuentes naturales, industriales, o de la agricultura (incluyendo descargas de tanques sépticos y lluvias). Las concentraciones de nitratos en el agua potable varían a lo largo del año.

¿Qué debo hacer?¿Qué es la significa de este?

- NO LE DE ESTA AGUA A BEBES. *Bebés menores de seis (6) meses que ingieran agua con nitratos en exceso del nivel máximo de contaminación (NMC) se pueden enfermar seriamente y, de no ser tratados, pueden morir. Los síntomas incluyen dificultad en respirar y síndrome de bebé azul.* El síndrome de bebé azul se refiere al color azulado que toma la piel del bebé. Los síntomas en los bebés pueden desarrollarse con rapidez, con el deterioro de su salud en los días subsiguientes. Si los síntomas ocurren en infantes menores de seis (6) meses de edad, busque atención médica inmediatamente.

- Hielo, jugo o leche en polvo para bebés menores de seis (6) meses de edad no debe prepararse con agua del grifo. Debe emplear agua embotellada u otra agua baja en nitratos hasta próximo aviso.

- No hierva el agua. Hervir, congelar, filtrar, o dejar el agua en reposo no reduce el nivel de nitratos. De hecho, al hervir el agua puede aumentar aún más la concentración de nitratos, debido a que los nitratos permanecen cuando parte del agua se evapora.

- Adultos e infantes mayores de seis (6) meses de edad pueden tomar el agua del grifo. (Los nitratos son peligrosos para los bebés debido a que ellos no pueden procesar los nitratos de la misma manera que los adultos). Sin embargo, si usted está embarazada o tiene algún problema de salud en particular, puede optar por hacer una consulta con su médico.

¿Qué se está haciendo al respecto?

[Describe all corrective actions being taken and when your water system expects to return to compliance in Spanish.]

Para mayor información, favor contactar a [name of contact] al [phone number] o [mailing address].

*Por favor comparta esta información con otros que pueden tomar de esta agua, colocando este aviso en lugares visibles, o remitiéndolo por correo, o entregándolo manualmente. Es de particular interés distribuir este aviso ampliamente si usted lo recibe representando un negocio, un hospital u hogar de infantes u hogar de ancianos o comunidad residencial.*

Este aviso ha sido enviado a usted por [water system name]. Numero de Identificación : ___________.

Fecha de distribución: ________.

Instructions for Nitrate Failure to Take a Confirmation Sample – Template NC1-3

Template on Reverse

Since failure to take a confirmation sample for nitrate within 24 hours after learning that an initial sample exceeded the maximum contaminant level (MCL) requires Tier 1 public notification, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period you must also contact your state. You should also coordinate with your local health department. This template is also applicable to missed confirmation samples for nitrite. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Repeat Notices

If this is a repeat notice (as required by your state), you may wish to include an explanation similar to the following:

- You were initially notified of our water system’s failure to take a confirmation sample following high nitrate level on [give date]. Since that time, we have taken a confirmation sample on [give date] that also resulted in a high nitrate level. We are currently monitoring the nitrate concentration [give sampling timeframe e.g., every three months]. Seasonal fluctuations in nitrate concentrations have been observed, due to nitrates contained in fertilizer. It appears that high nitrates occur during the later summer and fall. Note that prior to [give year] we were meeting drinking water standards for nitrate.

Corrective Action

In your notice, describe corrective actions you are taking. The bullet below describes one action commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own text:

- We are in the process of collecting a confirmation sample to determine if we have high nitrate levels. If the sample shows we are meeting our drinking water standards, you will not receive another notice. However, if the sample shows that we do have high nitrate levels in our water, another notification will be issued within 24 hours after we receive the results.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Nitrate Failure to Take a Confirmation Sample Notice – Template NC1-3

DRINKING WATER WARNING

[Water System Name] did not take a confirmation sample to determine if the water has high levels of nitrate –

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

*We are required to monitor your drinking water for nitrate on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for nitrate and therefore cannot be sure of the quality of your drinking water during that time.*

On [give date], we received notice that the sample collected on [give date] showed nitrate levels above the nitrate standard, or maximum contaminant level (MCL), of [give state/federal MCL]. We were required to take a confirmation sample within 24 hours. We did not complete the required confirmation sample monitoring. Nitrate in drinking water is a serious health concern for infants less than six months old.

Nitrate in drinking water can come from natural, industrial, or agricultural sources (including septic systems and run-off). Levels of nitrate in drinking water can vary throughout the year.

What should I do? What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. *Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Ice, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However if you are pregnant or have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe all corrective actions being taken and when your water system expects to return to compliance.] After receiving the results of our first sample, we failed to collect a second sample within 24 hours to confirm the results of the first sample. We have since collected the second sample and are waiting for the results.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed:______.

Special Notice: Instructions for NCWSs Allowed Up to 20 mg/L Nitrate Notice – Template NC1-4

Template on Reverse

NCWSs that have received approval by their state to exceed the nitrate maximum contaminant level of 10 milligrams per liter (mg/L) but no more than 20 mg/L are required to provide Tier 1 public notification. You do not incur a violation but are still required to provide public notice to persons served as soon as practical but no more than 24 hours from learning of the situation [40 CFR 141.202(b)]. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Continuous Notices

If you are granted permission by the state to exceed the nitrate MCL, you must provide continuous posting that the nitrate levels exceeded 10 mg/L and of the potential health effects of exposure [40 CFR 141.209(b)].

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are or providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Special Notice: NCWSs Allowed Up to 20 mg/L Nitrate Notice – Template NC1-4

DRINKING WATER WARNING

[Water System Name] water has high levels of nitrate –

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

Water sample results show nitrate levels of [level and units]. This is above the nitrate standard or maximum contaminant level (MCL), of 10 milligrams per liter (mg/L). Nitrate in drinking water is a serious health concern for infants less than six months old.

We have been given permission by [state] to provide water in excess of the standard as long as:

- Nitrate levels do not exceed 20 mg/L.

- The water is not made available to children under 6 months of age.

- We continuously post this notice meeting all public notice requirements.

- Local and state health officers are notified annually.

- No adverse health effects result.

What should I do? What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. *Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Ice, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

For more information, please contact [name of contact] at [phone number] or [mailing address].

* Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed:______.

Instructions for NCWSs Allowed > 20 mg/L Nitrate that Exceed 20 mg/L – Template NC1-5

Template on Reverse

Since exceeding the maximum contaminant level (MCL) of 20 milligrams per liter (mg/L) for NCWSs that have received approval by their state to exceed the nitrate (MCL) of 10 mg/L but no more than 20 mg/L requires Tier 1 public notification, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time period you must also contact your state. You should also coordinate with your local health department. This template is also applicable to nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Repeat Notices

If this is a repeat notice (as required by your state), or if your system’s nitrate levels fluctuate around the MCL, you may wish to include an explanation similar to the following:

- You were initially notified of high nitrate levels on [give date]. Since that time, we have been monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed, due to nitrates contained in fertilizer. It appears that high nitrates occur during the later summer and fall. Note that prior to [give year] we were meeting drinking water standards for nitrate.

Corrective Action

In your notice, describe corrective actions you are taking. The bullet below describes one action commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own:

- We are investigating water treatment and other options. These may include drilling a new well, mixing the water with low-nitrate water from another source, or buying water from another water system.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

NCWS Allowed > 20 mg/L Nitrate that Exceed 20 mg/L Notice – Template NC1-5

DRINKING WATER WARNING

[Water System Name] water has high levels of nitrate -

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

Water sample results show nitrate levels of [level and units]. This is above the nitrate standard or maximum contaminant level (MCL), of 10 milligrams per liter (mg/L). Nitrate in drinking water is a serious health concern for infants less than six months old. We have been given permission by [state] to provide water in excess of the standard as long as:

- Nitrate levels do not exceed 20 mg/L.

- The water is not made available to children under 6 months of age.

- We continuously post this notice meeting all public notice requirements.

- Local and state health officers are notified annually.

- No adverse health effects result.

On [give date], we received notice that the sample collected on [give date] showed nitrate levels of [level and units]. This is above the 20 mg/L level allowed by [state]. Nitrate in drinking water is a serious health concern for infants less than six months old.

Nitrate in drinking water can come from natural, industrial, or agricultural sources (including septic systems and run-off). Levels of nitrate in drinking water can vary throughout the year.

What should I do? What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. * Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.* Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Ice, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe corrective action and when system expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed:______.

Instructions for Chlorine Dioxide MRDL – Template NC1-6

Template on Reverse

If a system exceeds the chlorine dioxide maximum residual disinfectant level (MRDL) when one or more of the samples taken in the distribution system on the day after exceeding the MRDL at the entrance to the distribution system or if a system does not take required samples in the distribution system, Tier 1 public notification is required. You must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time, you must also contact your state. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Population at Risk

The language on the reverse lists “young children” as one of the groups at increased risk. Because the potential health effects of chlorine dioxide are based on tests on laboratory animals, there is no way to determine at exactly what age the water is safe to drink. If your consumers have questions, encourage them to err on the side of caution.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with chlorine dioxide violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are resetting the chlorine dioxide generator to generate the correct amount of chlorine dioxide.

- We are repairing the chlorine dioxide generator.

- We have already fixed the problem, but it will take additional time for the extra chlorine dioxide to be flushed from the distribution system (pipes).

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Chlorine Dioxide MRDL Notice – Template NC1-6

DRINKING WATER WARNING

PREGNANT WOMEN AND YOUNG CHILDREN

SHOULD NOT DRINK THE WATER

On [give date], we received notice that the sample collected on [give date] showed chlorine dioxide levels of [level and units]. This is above the standard, or maximum residual disinfectant level (MRDL) of 0.8 milligrams per liter (mg/L). Chlorine dioxide is used for disinfection, but too much of it over a short period of time may harm the development of children, infants, and fetuses.

Chlorine dioxide is used in small amounts every day to kill bacteria and other organisms that may be in your drinking water. A problem occurred with our chlorine dioxide generator, and too much chlorine dioxide was released.

What should I do? What does this mean?

- DO NOT USE THIS WATER IF YOU ARE PREGNANT OR GIVE IT TO YOUNG CHILDREN. Bottled water should be used until further notice. *Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant mothers who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.

- The chlorine dioxide violations reported today include exceedances of the EPA standard within the distribution system which delivers water to consumers. Violations of the chlorine dioxide standard within the distribution system may harm human health based on short-term exposures. Certain groups, including fetuses, infants, and young children, may be especially susceptible to nervous system effects from excessive chlorine dioxide exposure.* There are no obvious symptoms, but chlorine dioxide can affect development of the nervous system.

- Ice, juice, and formula for young children and for pregnant women should not be prepared with tap water.

- Adults who are not pregnant and older children can drink the tap water because their nervous systems are already developed. However, if you have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe corrective action and when you expect to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance – Template NC1-7

Template on Reverse

This template is intended for water systems where consumers will not be able to boil water. If your state has designated this turbidity single exceedance as a Tier 1 violation [40 CFR 141.202(a)], you must provide public notice to persons served within 24hours after it has been designated Tier 1 [40 CFR 141.202(b)]. Turbidity violations are Tier 2 by default, but may frequently be elevated to Tier 1 by your state. In addition, violations are automatically elevated if you are unable to consult with your state within 24 hours. In such cases, you must issue a notice within the next 24 hours. You may elevate the violation to Tier 1 yourself as well. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Instructions to Consumers

You may need to modify the instructions in the public notice based on your water system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation. If you do modify the notice, you must still include all required Public Notification (PN) Rule elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information. This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with a single turbidity exceedance. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are adding chemicals that reduce turbidity.

- We are sampling both untreated and treated water for the presence of coliform bacteria.

- We are inspecting and repairing the filters.

Source of the Problem

If you know why the turbidity is high, explain it in your notice. For instance, unusual conditions such as heavy rains and flooding can overburden the water plant and treated water may therefore not meet the standards. In addition, run-off from parts of the watershed could contain increased concentrations of sediment and animal waste.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice – Template NC1-7

DRINKING WATER WARNING

[Water System Name] has high turbidity levels

Bottled water is available from [provide location]

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply. A water sample taken [give date] showed turbidity levels of [number] turbidity units. This is above the standard of [standard] turbidity units. Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.

What should I do? What does this mean?

- *Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice. People at increased risk should seek advice from their healthcare providers about drinking this water.

What is being done?

[Describe corrective action and when the system expects to return to compliance.]

We will inform you when turbidity returns to appropriate levels and when you no longer need to boil your water. We anticipate resolving the problem within [estimated timeframe].

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Waterborne Disease Outbreak – Template NC1-8

Template on Reverse

Since a waterborne disease outbreak is a situation requiring Tier 1 public notification and you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the situation [40 CFR 141.202(b)]. During this time, you must also contact your state. You should also coordinate with your local health department. You must also issue a public notice if you are experiencing a waterborne emergency other than a waterborne disease outbreak, such as one caused by flooding or treatment failure. In such cases, you may be able to modify this template to apply to your situation. Check with your state for more direction. More information on waterborne disease outbreaks and emergencies is available from the Centers for Disease Control and Prevention (http://www.cdc.gov/healthywater/diseases.html, 1-800-232-4636). You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it. If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Instructions to Consumers

This template is intended for water systems where consumers will not be able to boil water. You may need to modify the instructions in the public notice based on your water system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation. Instructions should also depend on whether your system has elevated nitrate or arsenic levels; boiling water concentrates nitrates and arsenic and makes levels higher.

Describing the Outbreak

If known, list any organisms detected, the number of affected people, any water treatment problems contributing to the waterborne disease outbreak, and any sources of contamination, such as flooding.

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information. This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted. No federal mandatory health effects language exists for waterborne disease outbreaks. You may wish to use the sentence below, if appropriate, or contact your state or health department for other language.

- These symptoms are common to many diseases caused by microscopic organisms: Symptoms may include nausea, cramps, diarrhea, jaundice, and associated headaches and fatigue.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Corrective Action

In your notice, describe the corrective actions you are taking. Listed below are some steps commonly taken by water systems with waterborne disease outbreaks. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are repairing our filtration system.

- We are increasing sampling for disease-causing organisms.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)]. It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Waterborne Disease Outbreak Notice – Template NC1-8

DRINKING WATER WARNING

Disease-causing organisms have entered [Water System Name]’s water supply.

Bottled water is available from [provide location].

These organisms are causing illness in people served by [water system name]. We learned of a waterborne disease outbreak from [agency] on [give date].

What should I do? What does this mean?

- [Describe symptoms of the waterborne disease.] If you experience one or more of these symptoms and they persist, contact your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about this drinking water.

What is being done?

[Describe the corrective action and when the outbreak might end.]

We will inform you when you can use the water.

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Fecal Indicator-Positive Source Sample – Template NC1-9

Template on Reverse

Since detection of a fecal indicator (E. coli, enterococci or coliphage) in a ground water source sample is a situation requiring Tier 1 public notification, you must provide public notice to persons served as soon as practical but no more than 24 hours from learning of the violation [40 CFR 141.202(b)]. During this time, you must also contact your state. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers [40 CFR 141.202(c)]:

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

- Another method approved in writing by the state

You may need to use additional methods if needed to reach all persons served. If you post or hand deliver, print your notice on your system’s letterhead, if you have it.

If you do modify the notice on the reverse, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Instructions to Consumers

This template is intended for water systems where consumers will not be able to boil water. You may need to modify the instructions in the public notice based on your water system type. For instance, at a campground, you might tell consumers to boil the water before drinking or using for food preparation.

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Alternative Sources of Water

If you are providing bottled water, your notice should say where it can be obtained. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems that have detected a fecal indicator in their ground water source. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are increasing sampling at our sources to determine the source of the contamination.

- We are working with state officials to implement corrective actions to ensure water supplies are protected against contamination.

- We are providing water from an alternative source until the problem is resolved.

- We have discontinued use of the contaminated well and will rely on our other sources to meet demand.

- We are abandoning the contaminated well and will replace it with a well constructed to standards.

- We are pursuing treatment options for disinfection of the water from this source.

- We have installed temporary disinfection while we pursue long-term treatment or other options to eliminate contamination from this source.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

GWR Fecal Indicator-Positive Source Sample Notice – Template NC1-9

DRINKING WATER WARNING

[Water System Name]’s [Source] Tested Positive for Fecal Indicator

Bottled water is available from [provide location].

Our water system recently detected a fecal indicator [give contaminant, e.g., E. coli, enterococci, coliphage] (see definition below) in [source]. As our customers, you have a right to know what happened and what we are doing to correct this situation. On [give date], we collected a sample from [source]. The sample tested positive for [give contaminant, e.g., E. coli, enterococci, coliphage].

What should I do? What does this mean?

- *Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.*

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice. People at increased risk should seek advice from their healthcare providers about drinking this water.

What is being done?

[Describe corrective action.] We will inform you when tests show no [give contaminant, e.g., E. coli, enterococci, coliphage] and you can drink the water. We anticipate resolving the problem within [estimated timeframe].

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for “Problem Corrected” Notice – Template NC1-10

Template on Reverse

It is a good idea to issue a notice when a serious violation or situation has been resolved. Although EPA regulations do not require such notices, your state may require you to issue one. You should coordinate with your local health department as well. Below are some recommended methods for a “problem corrected” notice. You should use the same delivery methods you used for the original notice.

The notice on the reverse is very general and can be used for any violation or situation. However, to help restore consumers’ confidence in the water system, you should modify the notice to fit your situation. Although the public should have seen your initial notice, there may be additional information you learned after the notice was issued. Therefore, you should describe the violation or situation again and discuss how the problem was solved.

“Problem Corrected” Notice – Template NC1-10

DRINKING WATER PROBLEM CORRECTED

Customers of [water system name] were notified on [give date] of a problem with our drinking water and were advised to [describe recommended action]. We are pleased to report that the problem has been corrected and that it is no longer necessary to [describe recommended action]. We apologize for any inconvenience and thank you for your patience.

[Add further details here when appropriate.]

As always, you may contact [contact name] at [phone number] or [mailing address] with any comments or questions.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Tier 2 Templates

- SWTR Failure to Filter – Template NC2-1

- SWTRs Turbidity Exceedance – Template NC2-2

- SWTR Disinfection Treatment – Template NC2-3

- LT2ESWTR Uncovered Finished Water Reservoir Treatment Technique Violation – Template NC2-4

- LT2ESWTR Failure to Provide or Install an Additional Level of Treatment – Template NC2-5

- LT2ESWTR Unfiltered System Failure to Achieve Required Inactivation Level – Template NC2-6

- LT2ESWTR Filtered System Failure to Achieve Required Treatment Credit – Template NC2-7

- LT2ESWTR Unfiltered System Failure to Maintain Required Inactivation Level – Template NC2-8

- LT2ESWTR Unfiltered System Failure to Install Second Disinfectant – Template NC2-9

- Filter Backwash Recycling Rule Treatment Technique Violation – Template NC2-10

- RTCR Failure of a Seasonal System to Complete Start-Up Procedures – Template NC2-11

- RTCR Failure to Perform any Level 1 Assessment or a Level 2 Assessment that is Not Triggered by E. coli MCL violations or the Related Corrective – Template NC2-12

- RTCR Failure to Perform a Level 2 Assessment Triggered by an E. coli MCL violation or the Related Corrective Actions – Template NC2-13

- GWR Failure to Take Corrective Action within Required Time Frame – Template NC2-14

- GWR Failure to Maintain 4-log Treatment of Viruses – Template NC2-15

- Special Notice: LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring for Any Three Months – Template NC2-16

- Special Notice: LT2ESWTR Filtered System Failure to Determine and Report Bin Classification – Template NC2-17

- Special Notice: LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level – Template NC2-18

This page intentionally left blank.

Instructions for SWTR Failure to Filter – Template NC2-1

Template on Reverse

Since surface water treatment technique violations require Tier 2 public notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with surface water treatment technique violations. Depending on the corrective action you are taking, you can use one or more of the following statements, if appropriate, or develop your own text:

- Our treatment plant needs upgrades to meet the requirements.

- We are installing filtration. We expect that the filtration system will be operational by [month, year].

- We are monitoring for turbidity (cloudiness), disinfectant levels, and the presence of bacteria.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

SWTR Failure to Filter Notice – Template NC2-1

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Does Not Meet Treatment Requirements

Our water system recently violated a drinking water requirement. Although this situation does not require that you take immediate action, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

On [give date], the [state] ordered us to filter the water in addition to disinfecting. We are required to install this filtration because we no longer meet the requirements that allowed us to not provide filtration. However, we have not yet installed a filtration system.

What should I do?

- You do not need to boil your water. However, if you have specific health concerns, consult your doctor. A home filter will not necessarily solve the problem, because not all home filters protect against parasites. Call NSF International at 1(800) NSF-8010 or the Water Quality Association at 1(800) 749-0234 for information on appropriate filters.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours. We do not know of any cases of contamination. However, until improvements are made, there is an increased chance that disease-causing organisms could contaminate the water supply. *Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.* These symptoms, however, are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

Filtration is the best method for removing these organisms. [Describe corrective action.]

We anticipate resolving the problem within [estimated timeframe]. Until filtration is installed, you will receive a notice similar to this every three months.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for SWTRs Turbidity Exceedance – Template NC2-2

Template on Reverse

Since surface water treatment filtration treatment technique violations require Tier 2 public notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

| For Exceedances of Single Turbidity Limits | For Exceedances of Monthly Turbidity Limits |
| --- | --- |
| You must consult with your state as soon as practical but within 24 hours of learning of the violation. During the consultation, the agency may choose to elevate your turbidity exceedance to Tier 1. If consultation does not occur, the violation is automatically elevated to Tier 1 For a Tier 2 notice, describe your violation as follows in the second paragraph of the notice: “Normal turbidity levels at our plant are [number] turbidity units. A water sample taken [date] showed levels of [number] turbidity units. This was above the standard of [standard] units. Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.” | Use the following language to describe your violation and insert into the second paragraph of the template: “Water samples for [month] showed that [percentage] percent of turbidity measurements were over [standard] turbidity units – the standard is that no more than 5 percent of samples may exceed [standard] turbidity units per month. The turbidity levels are relatively low. However, their persistence is a concern. Normal turbidity levels at our plant are [number] units.” |

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with filtration treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We added chemicals that reduce turbidity.

- We sampled both untreated and treated water for the presence of coliform bacteria.

- We monitored chlorine levels and adjusted them as needed to compensate for the filtration problems.

- We inspected and cleaned the filters.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

SWTRs Turbidity Exceedance Notice – Template NC2-2

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Does Not Meet Treatment Requirements

Our water system recently violated a drinking water requirement. Although this was not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply. [Insert appropriate description of the violation from instructions on the previous page.]

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other actions. We do not know of any contamination, and none of our testing has shown disease-causing organisms in the drinking water.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe the corrective actions and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for SWTR Disinfection Treatment – Template NC2-3

Template on Reverse

Since surface water treatment disinfection treatment technique violations require Tier 2 public notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Description of the Violation

Include one of the following descriptions of violations, and modify to fit your situation.

- Not Enough Disinfection During Treatment - In order to ensure proper disinfection, water in the treatment plant must be in contact with enough chlorine or a similar disinfectant for a minimum amount of time. On [give date], this did not occur. Although chlorine quickly kills most bacteria, it is less effective against organisms such as viruses and parasites. For this reason, water needs to mix with chlorine for a longer time period to kill such organisms. The amount of time necessary, or the “contact time,” depends on the amount of disinfectant in the water and the temperature of the water.

- Disinfectant Residual - We routinely monitor for disinfectant residual in the distribution system. This measurement tells us whether we are effectively disinfecting the water supply. Disinfectant residual is the amount of chlorine or related disinfectant present in the pipes of the distribution system. If the amount of disinfectant is too low, organisms could grow in the pipes.

- Monthly exceedance - During the months of [give dates], disinfectant residual was undetectable in more than 5% of samples. The standard is that disinfectant may be undetectable in no more than 5% of samples each month for two months in a row.

- Single exceedance - On [give date], disinfectant levels dropped below 0.2 milligrams per liter (mg/L) for [give number of hours] hours. The standard is that levels may not drop below 0.2 mg/L for more than four hours.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with disinfection treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are sampling/we sampled both untreated and treated water for the presence of coliform bacteria.

- We are sampling/we sampled disinfectant levels and will adjust/adjusted the amount of disinfectant added as necessary to maintain adequate levels.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)]. It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

SWTR Disinfection Treatment Notice – Template NC2-3

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Does/Did Not Meet Treatment Requirements

Our water system recently violated a drinking water requirement. Although this situation does not require that you take immediate action, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

[Describe the violation - use descriptions from instructions on reverse.]

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours. Tests taken during this same time period did not indicate the presence of bacteria in the water.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.]

[Disinfectant residual levels/contact times] so far this month have met all requirements.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Uncovered Finished Water Reservoir Treatment – Template NC2-4

Template on Reverse

A system’s failure to cover an uncovered finished water reservoir, provide treatment of the reservoir’s discharge, or be in compliance with a state-approved schedule to cover the reservoir(s) or treat the reservoir(s) discharge by April 1, 2009, is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with this type of Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violation. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are currently working with state officials to revise our schedule for covering our uncovered finished water storage reservoir. We expect to have the state-approved schedule in place by [give date] and the reservoir covered by [give date]. Until our schedule receives state approval, you will receive a notice similar to this every three months.

- We are currently working with state officials to revise our schedule for treating the discharge from our uncovered finished water storage reservoir. We expect to have the state-approved schedule in place by [give date] and treatment in place by [give date]. Until the schedule receives state approval, you will receive a notice similar to this every three months.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Uncovered Finished Water Reservoir Treatment Notice – Template NC2-4

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Uncovered Finished Water Reservoir Violation at [Water System Name]

Our water system recently violated a drinking water requirement. Although this situation is not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

Water systems with uncovered finished water reservoirs are required to cover these reservoirs, treat the water from these reservoirs, or be in compliance with a state-approved schedule to cover the reservoir(s) or provide treatment. We have failed to meet this requirement.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

Uncovered finished water reservoirs are a pathway for contaminants to enter the drinking water supply. Therefore, it is necessary to cover the reservoirs or treat the discharge. *Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Filtered System Failure to Provide or Install an Additional Level of Treatment – Template NC2-5

Template on Reverse

A filtered system’s failure to provide or install an additional level of treatment appropriate for its LT2ESWTR bin classification by the required date, is a treatment technique (TT) violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are currently working to [install treatment/adjust our treatment processes] to achieve the required level of additional treatment.

- We are currently working with state officials to finalize plans for water treatment that will satisfy this requirement once it is installed.

- We have [installed treatment/made adjustments to our treatment processes] and are now achieving the required level of additional treatment.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Filtered System Failure to Provide or Install an Additional Level of Treatment – Template NC2-5

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Provide the Appropriate Level of Treatment Within Required Time Frame

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Cryptosporidium is a disease-causing microorganism that has been found in our raw water source. Our water system [give system name] was required to provide an additional level of treatment to address Cryptosporidium by [provide date]. We failed to do this by the required date.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We expect to achieve this additional level of treatment by [give date].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Achieve Required Inactivation Level – Template NC2-6

Template on Reverse

Based on Cryptosporidium monitoring results, an unfiltered system must meet inactivation requirements for Cryptosporidium by a required date. Failure to do this is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are currently working to adjust our treatment processes to achieve the required level of treatment.

- We are currently working with state officials and our engineers to finalize plans for water treatment that will satisfy this requirement once it is installed.

- We have made adjustments to our treatment processes and are now achieving the required level of treatment.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Achieve Required Inactivation Level Notice – Template NC2-6

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Provide the Appropriate Level of Treatment Within Required Time Frame

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Cryptosporidium is a disease-causing microorganism that may be in our raw water source. Our water system [give system name] was required to provide a specified level of treatment to address Cryptosporidium by [provide date]. We failed to do this by the required date.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We expect to achieve this specified level of treatment by [give date].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Filtered System Failure to Achieve Required Treatment – Template NC2-7

Template on Reverse

Based on Cryptosporidium monitoring results, some filtered systems are required to achieve additional treatment using a microbial toolbox option. A filtered system’s failure to achieve required treatment credit to meet the bin classification requirements, is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are taking steps to ensure the required level of treatment can be maintained at all times.

- The reason for the lapse in treatment has been identified and addressed.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Filtered System Failure to Achieve Required Treatment Notice – Template NC2-7

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Maintain the Required Level of Treatment

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Cryptosporidium is a disease-causing microorganism that has been found in our raw water source. Our water system [give system name] was required to maintain a specified level of additional treatment to address Cryptosporidium. During [provide date range], our system fell below this level.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Maintain Required Inactivation Level – Template NC2-8

Template on Reverse

Based on Cryptosporidium monitoring results, an unfiltered system must maintain specified inactivation levels to ensure adequate treatment for Cryptosporidium. Failure to do this is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with (Long Term 2 Enhanced Surface Water Treatment Rule) LT2ESWTR treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are taking steps to ensure the required level of treatment can be maintained at all times.

- The reason for the lapse in treatment has been identified and addressed.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Maintain Required Inactivation Level Notice – Template NC2-8

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Maintain the Required Level of Treatment

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Cryptosporidium is a disease-causing microorganism that may be in our raw water source. Our water system [give system name] was required to maintain a specified level of treatment to address Cryptosporidium. During [provide date range], our system fell below this level.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action and when the system returned or expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for LT2ESWTR Unfiltered System Failure to Install Second Disinfectant – Template NC2-9

Template on Reverse

An unfiltered system’s failure to install a second disinfectant to treat for Cryptosporidium by the required date, is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by unfiltered water systems with Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We will install a second disinfectant by [provide date] to satisfy this requirement.

- We are currently working with state officials and our engineers to finalize plans for water treatment that will satisfy this requirement once it is installed.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

LT2ESWTR Unfiltered System Failure to Install Second Disinfectant Notice – Template NC2-9

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Provide the Appropriate Level of Treatment Within Required Time Frame

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

Our unfiltered water system [give system name] was required to use a minimum of two disinfectants to meet our treatment requirement by [give date]. We failed to have the new [ultraviolet light (U.V.)/ chlorine dioxide/ozone] disinfection system installed by the required date.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available f at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

We expect to have the [U.V./chlorine dioxide/ozone] disinfection system installed by [give date]. We continue to disinfect the water with chlorine as we have in the past.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for Filter Backwash Recycling Rule Treatment Technique Violation – Template NC2-10

Template on Reverse

Since failure to recycle spent filter backwash, thickener supernatant, and liquids from dewatering processes before all processes of the direct filtration treatment train; failure to obtain state approval for the use of an alternative recycle location; or failure to pursue capital improvements are violations that require Tier 2 public notification, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Do not use overly technical terminology when describing treatment methods. You can use one or more of the following statements, if appropriate, or develop your own text:

- On [give date], we will no longer recycle our filter backwash and will not be in violation of this requirement.

- On [give date], the filter backwash will be piped to the beginning of our water treatment process, and we will no longer be in violation of this requirement.

- On [give date], the filter backwash and all other current recycle flows will be discharged to waste as approved by the state.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Filter Backwash Recycling Rule Treatment Technique Violation Notice – Template NC2-10

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Meet Treatment Requirements

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

The Filter Backwash Recycling Rule requires water systems that recycle liquids used for water treatment to recycle these liquids through the system’s existing filtration system or to an alternate location approved by the state. Our system did not return its water treatment recycle flows to the required location or a state-approved location by the required date of [give date].

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for RTCR Failure of a Seasonal System to Complete Start-Up Procedures – Template NC2-11

Template below

Description of Violation or Situation

A seasonal NCWS that fails to follow state-approved start-up procedures prior to serving water to the public after the system had been out of service has incurred a treatment technique (TT) violation. This violation requires Tier 2 public notification. Start-up procedures are approved by the state and may include, but are not limited to, activities such as:

- Inspecting all water system components, including source(s), treatment components, distribution lines, and storage tanks and addressing any issues.

- Activating the source and thoroughly flushing water through all pipes in the water system.

- Draining and re-filling storage tanks.

- Chlorinating the water in the system and leaving the chlorinated water in the system for at least 24 hours before flushing the water to waste.

- Collecting water samples at key locations within the system and ensuring the water system is not contaminated by bacteria.

You must provide public notice to persons served as soon as practical but no later than 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

NCWSs must use one of the following methods to deliver the notice to consumers [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for mailing, posting, or hand delivery. If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below). All posted notices must remain in place for as long as the violation or situation persists but in no case for less than seven days, even if the violation or situation is resolved.

Mandatory Language

Mandatory language on health effects (from 40 CFR 141.205(d)(2)) must be included as written if the required start-up procedure includes collecting coliform bacteria samples. The mandatory language is provided below and is presented in this notice in italics with an asterisk on each end. You will need to update the information presented in brackets with the appropriate information. If monitoring is not required as part of the start-up procedures the italicized mandatory language should be omitted and language must be used to appropriately describe the violation.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During [compliance period], we “did not complete all monitoring or testing” for [contaminant(s)], and therefore cannot be sure of the quality of your drinking water during that time.*

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Action

In your notice, you must describe corrective actions you are taking [40 CFR 141.205(a)(7)] and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. Do not use overly technical terminology when describing treatment methods. Listed below are some steps commonly taken by water systems with TT violations relating to incomplete start-up procedures. Depending on the corrective action you are taking, you can use the following statement, if appropriate, or develop your own text:

- We have completed the required start-up procedures and provided the appropriate certification to the state. The procedures included [describe what you did, for example, flushed the system, disinfected the system, collected total coliform bacteria samples, etc.].

- We have collected [number] coliform bacteria samples as required and [number] sample results were negative for total coliform bacteria.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

RTCR Failure of a Seasonal System to Complete Start-Up Procedures - Template NC2-11

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Complete Seasonal Start-Up Procedures

Before we open each year and serve water to the public we are required to complete certain start-up procedures to make sure the water we provide is safe to drink. This year we failed to [describe what you failed to do, for example, disinfect the water system or collect the required number of coliform bacteria samples] before providing water. As our customers, you have a right to know what happened and what we are doing to correct this situation.

Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During [compliance period], we “did not complete all monitoring or testing” for [contaminant(s)], and therefore cannot be sure of the quality of your drinking water during that time.*

What should I do?

- If you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare provider about drinking this water. You should also seek advice from your healthcare provider about using the water if you have an infant. General guidelines on ways to lessen the risk of infection by bacteria and other disease-causing organisms are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency, as we have completed the start-up procedures. If it had been, you would have been notified within 24 hours.

Failure to perform the required start-up procedures prior to serving water to the public has the potential to distribute contaminated water. When our system shuts down operation, the lack of pressure in our pipes can allow the entry of bacteria and other disease-causing microorganisms into the drinking water. By performing start-up procedures such as flushing the pipes, disinfecting the water, and collecting a coliform bacteria sample before we open, we can be sure that we are providing you with safe water.

What is being done?

[Describe corrective action including when you returned to compliance or resolved the situation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for RTCR Failure to Perform any Level 1 Assessment or a Level 2 Assessment that is Not Triggered by E. coli MCL Violations or the Related Corrective Actions – Template NC2-12

Template below

Description of Violation or Situation

A water system triggers a Level 1 assessment when:

- For systems taking 40 or more samples (including routine and repeat samples) per month, the water system exceeds 5.0 percent total coliform-positive samples for the month;

- For systems taking fewer than 40 samples (including routine and repeat samples) per month, the water system has two or more total coliform-positive samples in the same month; or

- The water system fails to take every required repeat sample after any single routine total coliform-positive sample.

A water system triggers a Level 2 assessment when:

- The water system has a second Level 1 assessment treatment technique (TT) trigger within a rolling 12-month period unless the state has determined a likely reason for the total coliform-positive samples that caused the initial Level 1 assessment TT trigger, and the state establishes that the system has fully corrected the problem; or,

- For water systems with approved reduced annual monitoring, the system has a Level 1 assessment TT trigger in two consecutive years.

TT violations related to triggered assessments occur when any public water system has:

- Failed to conduct the triggered Level 1 or Level 2 assessment within 30 days after learning that it has exceeded the trigger; or

- Failed to correct any sanitary defect found through a Level 1 or Level 2 assessment within 30 days or in accordance with a schedule acceptable to the state.

TT violations related to any Level 1 assessment or to a Level 2 assessment that is not triggered by an E. coli MCL violation require similar Tier 2 public notice. TT violations for Level 2 assessments that are triggered by E. coli MCL violations require different mandatory health effects language and are addressed in Template NC2-15.

You must provide public notice to persons served as soon as practical but no later than 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Check with your state to make sure you meet all its requirements.

NCWSs must use one of the following methods to deliver the notice to consumers [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for mailing, posting, or hand delivery. If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below). All posted notices must remain in place for as long as the violation or situation persists but in no case for less than seven days, even if the violation or situation is resolved.

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on each end.

*Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct assessments to identify problems and to correct any problems that are found.*

You are also required to include one or both of the following statements, also presented in this notice in italics with an asterisk on each end, as appropriate for the violation:

*We failed to conduct the required assessment.*

*We failed to correct all identified sanitary defects that were found during the assessment that we conducted.*

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also provided below and presented in this notice in italics with an asterisk on each end.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

Corrective Action

The specific cause(s) of total coliforms in the distribution system that triggered the assessment will likely differ from system to system. Your notice must describe the corrective action(s) you are taking [40 CFR 141.205(a)(7)] to address the TT violation and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. You can use one or more of the following statements, if appropriate, or develop your own text.

- We have begun to correct the sanitary defect(s) identified during an assessment of our water system by taking the following corrective actions: [Describe corrective actions].

- To ensure that our water system is protected against contamination, we are working with the state to implement the following corrective actions: [Describe corrective actions].

- We completed the required assessment and identified the cause of the sanitary defect to be addressed [describe the issue or problem found, for example, damage to the storage tank, a missing vent screen, etc.] We are currently correcting the problem on a schedule approved by [State Department of Public Health].

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved. See Template NC1-10 for a “problem corrected” notice template.

RTCR Failure to Perform any Level 1 Assessment or a Level 2 Assessment that is Not Triggered by E. coli MCL Violations or the Related Corrective Actions – Template NC2-12

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Perform Activities Required to Address Coliform Bacteria Contamination of the Water System

During recent routine monitoring, our water system tested positive for total coliforms. *Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treatment or distribution.

When this occurs, we are required to conduct assessments to identify problems and to correct any problems that are found.* [Describe the TT violation, using the mandatory language of *We failed to conduct the required assessment* by [Enter date the assessment was due] and/or *We failed to correct all identified sanitary defects that were found during the assessment(s)* by [Enter date correction was due].]

As our customers, you have a right to know what happened and what we are doing to correct this situation.

What should I do?

- You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare provider about drinking this water. You should also seek advice from your healthcare provider about using the water if you have an infant. General guidelines on ways to lessen the risk of infection by bacteria and other disease-causing organisms are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

Since total coliform bacteria are generally not harmful themselves, this is not an emergency. If it had been you would have been notified within 24 hours.

Failure to identify and correct the defects has the potential to cause continued distribution system contamination. Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

What is being done?

[Describe corrective action including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for RTCR Failure to Perform a Level 2 Assessment Triggered by an E. coli MCL Violation or the Related Corrective Actions – Template NC2-13

Template below

Description of Violation or Situation

A water system triggers a Level 2 assessment when:

- The water system has an E. coli maximum contaminant level (MCL) violation;

A TT violation related to a Level 2 assessment that was triggered by an E. coli MCL violation requires Tier 2 public notice with mandatory health effects language stating E. coli was detected in the water system. Violations of Level 2 assessments related to E. coli require Tier 2 public notice and occur when any public water system has:

- Failed to conduct the triggered Level 2 assessment within 30 days after learning that it has exceeded the trigger; or

- Failed to correct any sanitary defect found through a Level 2 assessment within 30 days or in accordance with a schedule acceptable to the state.

TT violations for Level 2 assessments that are triggered by more than one Level 1 assessment require different mandatory health effects language and are addressed in Template NC2-14.

You must provide public notice to persons served as soon as practical but no later than 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Check with your state to make sure you meet all its requirements.

NCWSs must use one of the following methods to deliver the notice to consumers [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

In addition, NCWSs must use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. Such methods could include newspapers, e-mail, or delivery to community organizations. If you mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for mailing, posting, or hand delivery. If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below). All posted notices must remain in place for as long as the violation or situation persists but in no case for less than seven days, even if the violation or situation is resolved.

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on each end.

*E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We violated the standard for E. coli, indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct a detailed assessment to identify problems and to correct any problems that are found.*

You are also required to include one or both of the following statements, also presented in this notice in italics with an asterisk on each end, as appropriate for the violation:

*We failed to conduct the required assessment.*

*We failed to correct all identified sanitary defects that were found during the assessment that we conducted.*

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also provided below and presented in this notice in italics with an asterisk on each end.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

Corrective Action

The specific cause(s) of E. coli in the distribution system will likely differ from system to system. Your notice must describe the corrective action(s) you are taking [40 CFR 141.205(a)(7)] and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. You can use one or more of the following statements, if appropriate, or develop your own text.

- We have begun to correct the sanitary defect(s) identified during an assessment of our water system by taking the following corrective actions. [Describe corrective actions].

- To ensure that our water supplies are protected against contamination, we are working with the state to implement the following corrective actions. [Describe corrective actions].

- We completed the required assessment and identified the cause of the sanitary defect to be addressed [describe the issue or problem found, for example, damage to the storage tank, a missing vent screen, etc.] We are currently correcting the problem on a schedule approved by [State Department of Public Health].

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved. See Template NC1-10 for a “problem corrected” notice template.

RTCR Failure to Perform a Level 2 Assessment Triggered by an E. coli MCL Violation or the Related Corrective Actions – Template NC2-13

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Correct a Problem Discovered During an Assessment of the Water System after Testing Positive for E. coli

During recent monitoring, our water system tested positive for E. coli. *E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We violated the standard for E. coli, indicating the need to look for potential problems in water treatment or distribution.

When this occurs, we are required to conduct a detailed assessment to identify problems and to correct any problems that are found.* [Describe the TT violation, using the mandatory language of *We failed to conduct the required assessment* by [Enter date the assessment was due] and/or *We failed to correct all identified sanitary defects that were found during the assessment(s)* by [Enter date correction was due]]

As our customers, you have a right to know what happened and what we are doing to correct this situation. You were notified of the E. coli in our water on [enter date when Tier 1 public notice of the MCL violation that triggered the assessment was provided] and on [enter date] that no additional contamination has been identified and that you do not need to boil your water or take other corrective actions. Although our recent sampling has indicated coliform bacteria are absent, we are still required to assess the system and correct any defects found.

What should I do?

- You still do not need to boil your water or take corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare provider about drinking this water. You should also seek advice from your healthcare provider about using the water if you have an infant. General guidelines on ways to lessen the risk of infection by bacteria and other disease-causing organisms are available from at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been you would have been notified within 24 hours.

Failure to identify and correct system defects has the potential to cause distribution system contamination. Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

What is being done?

[Describe corrective action including when you expect to return to compliance or resolve the situation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

This page intentionally left blank.

Instructions for GWR Failure to Maintain 4-log Treatment of Viruses – Template NC2-14

Template on Reverse

A ground water system’s failure to maintain required 4-log treatment of viruses for a period greater than four hours is a treatment technique violation that requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Ground Water Rule treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- We are increasing disinfection to maintain our proper residual levels.

- We are pursuing improvements to our treatment system so that we can maintain required treatment at all times.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

GWR Failure to Maintain 4-log Treatment of Viruses Notice – Template NC2-14

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failure to Meet Treatment Requirements

Our water system recently violated a drinking water requirement. Although this incident was not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

We are required to [treat/disinfect] our drinking water source [name source]. From [give date] to [give date] we did not meet one or more of our treatment requirements [provide sufficient levels of disinfectant/provide adequate contact time/meet alternative treatment criteria] due to [describe issue, e.g., malfunctioning equipment].

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available from at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

While we have not detected any evidence of contamination in, or other health threats to, our source water, we are still committed to restoring the required level of treatment to the water from [source] to eliminate the threat of contamination.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe]. OR The problem was resolved on [give date].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Instructions for GWR Failure to Take Corrective Action Within Required Time Frame – Template NC2-15

Template on Reverse

A system’s failure to take corrective action within the required timeframe or be in compliance with a state-approved corrective action plan and schedule for a fecal indicator-positive ground water source sample or significant deficiency under GWR is a treatment technique violation and requires Tier 2 public notification. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. Your state may have more stringent requirements for treatment technique violations (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Ground Water Rule treatment technique violations. You can use one or more of the following statements, if appropriate, or develop your own text:

- Although we did not meet our deadline, we are now in consultation with the state to develop a corrective action plan.

- The [source of contamination/significant deficiency] has been identified and addressed.

- We have implemented a short-term plan to address the immediate issue while we pursue the long-term solution.

Repeat Notices

For repeat notices, you should state how long the violation has been ongoing and remind consumers of when you sent out any previous notices. If you are making progress, describe it. Alternatively, if funding or other issues are delaying progress, let consumers know.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

GWR Failure to Take Corrective Action Within Required Time Frame Notice – Template NC2-15

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to [Correct a Significant Deficiency/Address a Fecal Indicator-Positive Source Sample] Within Required Time Frame.

Our water system recently violated a drinking water requirement. Although this incident was not an emergency, as our customers, you have a right to know what happened and what we did (are doing) to correct this situation.

[A routine inspection conducted on [give date] by the [insert state] found [describe significant deficiency in our water system]] OR

[Sampling conducted at our ground water source on [given date(s)] found indication of fecal contamination of our source(s)].

As required by Environmental Protection Agency’s (EPA’s) Ground Water Rule (GWR), we were required to take action to [correct this deficiency/address the fecal-indicator positive source sample]. However, we failed to take this action by the deadline established by [insert state name].

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by microbes are available from at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe] (or the problem was resolved on [give date]).

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Special Notice: Instructions for LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring For Any Three Months – Template NC2-16

Template on Reverse

A system’s failure to conduct required Cryptosporidium monitoring of its source water for any three months is a monitoring violation that requires Tier 2 public notification and special notice. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with LT2ESWTR monitoring violations. Depending on the corrective action you are taking, you can use one or more of the following statements, if appropriate, or develop your own text:

- We will begin collecting the required source water monitoring samples on [give date].

- We have since taken the required samples for source water monitoring.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Special Notice: LT2ESWTR Failure to Conduct Required Cryptosporidium Monitoring for Any Three Months Notice – Template NC2-16

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

*We are required to monitor the source of your drinking water for Cryptosporidium. Results of the monitoring are to be used to determine whether water treatment at the [treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We are required to complete this monitoring and make this determination by [required bin determination date]. We [‘‘did not monitor or test’’ or ‘‘did not complete all monitoring or testing’’] on schedule and, therefore, we may not be able to determine by the required date what treatment modifications, if any, must be made to ensure adequate Cryptosporidium removal. Missing this deadline may, in turn, jeopardize our ability to have the required treatment modifications, if any, completed by the deadline required, [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

What is being done?

[Describe corrective action.]  We will collect all required samples by [give date].

*For more information, please call [name of water system contact] of [water system name] at [phone number].*

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [water system name]. State Water System ID#: ___________.

Date distributed: ______.

Special Notice: Instructions for LT2ESWTR Filtered System Failure to Determine and Report Bin Classification – Template NC2-17

Template on Reverse

A filtered system’s failure to determine its bin classification by the required date requires a Tier 2 public notification and special notice, and a system’s failure to report its bin classification by the required date is a treatment technique violation. The template on the reverse meets both of these requirements. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violations. You can use the following language, if appropriate, or develop your own text:

- We determined our bin classification on [give date], and have notified the state.

- We are in the process of determining our bin classification and will notify the state upon completion.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-10 for a “problem corrected” notice template.

Special Notice: LT2ESWTR Filtered System Failure to Determine and Report Bin Classification Notice – Template NC2-17

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Determine Required Treatment Based on Cryptosporidium Level

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

*We are required to monitor the source of your drinking water for Cryptosporidium in order to determine by [give date] whether water treatment at the [provide treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We have not made this determination by the required date. Our failure to do this may jeopardize our ability to have the required treatment modifications, if any, completed by the required deadline of [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe] (or the problem was resolved on [give date]).

*For more information, please call [name of water system contact] of [water system name] at [phone number].*

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#: ___________. 
Date distributed: ______.

Special Notice: Instructions for LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level Notice – Template NC2-18

Template on Reverse

An unfiltered system’s failure to calculate and report its mean Cryptosporidium level by the required date is a treatment technique (TT) violation that requires Tier 2 public notification and special notice. The template on the reverse meets both of these requirements. You must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation [40 CFR 141.203(b)]. You must issue a repeat notice every three months for as long as the violation persists. Your state may have more stringent requirements for this monitoring violation (e.g., it may require you to provide water from an alternate source). Check with your state to make sure you meet all its requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)]. If you post or hand deliver, print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with Long Term 2 Enhanced Surface Water Treatment Rule (LT2ESWTR) treatment technique violations. You can use the following language, if appropriate, or develop your own text:

- We determined our mean Cryptosporidium level on [give date], and have notified the state.

- We are in the process of determining our mean Cryptosporidium level and will notify the state upon completion.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

It is a good idea to inform your consumers when the violation has been resolved, especially if you have regular customers. See Template NC1-1 for a “problem corrected” notice template.

Special Notice: LT2ESWTR Unfiltered System Failure to Calculate and Report Mean Cryptosporidium Level Notice – Template NC2-18

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

[Water System Name] Failed to Determine Cryptosporidium Level

Our water system recently violated a drinking water requirement. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we did (are doing) to correct this situation.

*We are required to monitor the source of your drinking water for Cryptosporidium in order to determine by [give date] whether water treatment at the [provide treatment plant name] is sufficient to adequately remove Cryptosporidium from your drinking water. We have not made this determination by the required date. Our failure to do this may jeopardize our ability to have the required treatment modifications, if any, completed by the required deadline of [give date].*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

What should I do?

- There is nothing you need to do. You do not need to boil your water or take other corrective actions. However, if you have specific health concerns, consult your doctor.

- If you have a severely compromised immune system, have an infant, are pregnant, or are elderly, you may be at increased risk and should seek advice from your healthcare providers about drinking this water. General guidelines on ways to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available at the EPA Ground Water and Drinking Water Website at https://www.epa.gov/ground-water-and-drinking-water.

What does this mean?

This is not an emergency. If it had been, you would have been notified within 24 hours.

*Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.*

These symptoms, however, are not caused only by organisms in drinking water, but also by other factors. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action.] We anticipate resolving the problem within [estimated timeframe] (or the problem was resolved on [give date]).

*For more information, please call [name of water system contact] of [water system name] at [phone number].*

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system name]. State Water System ID# _______.

Date distributed: _______

Tier 3 Templates

- LT2ESWTR Monitoring Violation (Tier 3) Notice – Template NC3-1

- Failure to Develop a Profile and/or Calculate a Benchmark Notice – Template NC3-2

- RTCR Failure to Report E. coli-positive Sampling Events to the State – Template NC3-3

- RTCR Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template NC3-4

- RCTR Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template NC3-5

- RCTR Failure to do Recordkeeping – Template NC3-6

This page intentionally left blank.

Instructions for LT2ESWTR Monitoring Violation – Template NC3-1

Template on Reverse

If you are required to provide Tier 3 notification, you must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Multiple monitoring violations can be serious, and your state may have more stringent requirements. The example in this template is for Cryptosporidium monitoring under LT2ESWTR. If a system fails to conduct Cryptosporidium monitoring of its source water for one or two months, they are required to issue Tier 3 public notification. (Note: failure to conduct required Cryptosporidium monitoring for any three months requires Tier 2 notification and special notice. See Template NC2-16 for an example.) Check with your state to make sure you meet its requirements.

You must use one of the following methods [40 CFR 141.204(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

You must post the notice until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, you should print your notice on your system’s letterhead, if available.

The notice on the reverse is appropriate for insertion in an annual notice, as long as public notification timing and delivery requirements are met [40 CFR 141.204(d)]. You may need to modify the template for a notice for individual monitoring violations. This example presents violations in a table; however, you may write out an explanation for each violation if you wish.

You may need to modify the notice if you had any monitoring violations for which monitoring later showed a maximum contaminant level (MCL) or other violation. In such cases, you should refer to the public notice you issued at that time. If you do modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Actions

In your notice describe corrective actions you took or are taking. Listed below are some steps commonly taken by water systems with monitoring violations. Choose the appropriate language, or develop your own text:

- We have since taken the required samples, as described in the last column of the table above. The samples showed we are meeting drinking water standards.

- We have since taken the required samples, as described in the last column of the table above. The sample for [contaminant] exceeded the limit. [Describe corrective action; use information from public notice prepared for violating the limit.]

- We plan to take the required samples soon, as described in the last column of the table above.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

LT2ESWTR Monitoring Violation Notice – Template NC3-1

DRINKING WATER NOTICE

Monitoring Requirements Not Met for [Water System Name]

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for Cryptosporidium and therefore cannot be sure of the quality of your drinking water during that time.*

Cryptosporidium is a disease-causing microorganism that may be present in our raw water source.

What This Means

This is not an emergency. There is nothing you need to do at this time.

The table below lists the contaminant(s) we did not properly test for during the last year, how often we are supposed to sample for [this contaminant/these contaminants], how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were (or will be) taken.

| Contaminant | Required sampling frequency | Number of samples taken | When samples should have been taken | When samples were taken |
| --- | --- | --- | --- | --- |
| Cryptosporidium (example) | Monthly | 0 | November 2016 | December 2016 |

Steps We Are Taking

[Describe corrective action.] We began collecting our monthly samples for Cryptosporidium on [give date] and will continue to follow our required monitoring schedule.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID#:____________

Date distributed: ____________

Instructions for Failure to Develop a Profile and/or Calculate a Benchmark – Template NC3-2

Template on Reverse

Failure to develop a disinfection profile for Giardia lamblia and viruses (a profile for viruses may be applicable under LT1ESWTR and is required under LT2ESWTR) or calculate a benchmark prior to making a significant change to your disinfection practice, requires Tier 3 notification. You must provide public notice to persons served within 12 months after you learn of the violation [40 CFR 141.204(b)]. Failure to develop a profile or calculate a benchmark can be serious and your state may have more stringent requirements. Check with your state to make sure you meet all requirements.

You must use one of the following methods [40 CFR 141.203(c)]:

- Posting in conspicuous locations

- Hand delivery

- Mail

- Another method approved in writing by the state

You must also use another method reasonably calculated to reach others if they would not be reached by the first method [40 CFR 141.203(c)].

You must post the notice until the violation is resolved. If the violation has already been resolved, you must post the notice for at least seven days [40 CFR 141.204(b)]. If you mail, post, or hand deliver, you should print your notice on your system’s letterhead, if available.

If you modify this notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Mandatory Language

Mandatory language on health effects (from Appendix B to 40 CFR 141 Subpart Q) must be included as written and is presented in this notice in italics with an asterisk on either end. You will need to update the information presented in brackets with the appropriate information.

This template also includes mandatory language encouraging further distribution to persons who may not have received the notice, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on either end. However, if you post the notice such that all possible users have access to the notice, this language is not applicable and can be omitted.

Corrective Actions

In your notice, describe corrective actions you took, or are taking. Listed below is a step commonly taken by water systems with a profiling and benchmarking violation. You can use the following language, if appropriate, or develop your own text:

- We are in the process of developing our disinfection profile and will calculate a benchmark as soon as the profile is complete.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

Failure to Develop a Profile and/or Calculate a Benchmark Notice – Template NC3-2

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Monitoring Requirements Not Met for [Water System Name]

We violated a drinking water requirement. [Prior to making any change to our disinfection practices, we are required to develop a year-long profile of our disinfection system to determine our inactivation levels for certain pathogenic organisms. Development of a profile requires monitoring disinfection parameters. We did not meet this requirement.] AND/OR

[Since we [are making/made] a change to our disinfection practice, we [are/were] required to calculate a benchmark to determine our lowest monthly inactivation level over the year. We did not calculate a benchmark.]

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we did not complete all monitoring or testing for the profile parameters and therefore cannot be sure of the quality of our drinking water during that time.*

What should I do?

There is nothing you need to do at this time. You may continue to drink the water. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

We [collected /will collect] all required samples on [give date]. [Describe corrective action.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses).  You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [system name]. State Water System ID# _______.

Date distributed: _______

Instructions for RTCR Failure to Report E. coli-positive Sampling Events to the State – Template NC3-3

Template on Reverse

Description of Violation or Situation

Failure to notify the state of events that are related to E. coli-positive sample results are reporting violations that require Tier 3 public notification. The reporting violations addressed by this Tier 3 template require similar public notification content and include:

- Failure to notify the state within 24 hours of an E. coli MCL violation.

- Failure to notify the state within 24 hours of an E. coli-positive sample result.

You must provide public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] and when you expect to return to compliance or resolve the situation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing reports to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

RTCR Failure to Report E. coli-positive Sampling Events to the State – Template NC3-3

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

Our system failed to notify the state drinking water program that we [enter either “detected E. coli bacteria in a water sample” or “have incurred an MCL violation for E. coli bacteria”]. We are required to notify the state of this information within 24 hours of when we learned of the situation but we failed to do so.

[If applicable, enter, “We notified you of the E. coli MCL violation on [enter date] and resolved the contamination problem on [enter date]”].

Although this situation does not create a risk to public health, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours. We will announce any emergencies on [media source].

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for RTCR Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template NC3-4

Template on Reverse

Description of Violation or Situation

Failure to notify the state of RTCR events that are not related to E. coli-positive sample results are reporting violations that require Tier 3 public notification. The reporting violations addressed by this Tier 3 template require similar public notification content and include:

- Failure to provide total coliform-positive or total coliform-negative sample results to the state in a timely manner.

- Failure to notify the state that an RTCR monitoring violation occurred with 10 days of when the violation occurred.

- Failure to notify the state within 24 hours of a Treatment Technique (TT) violation resulting from failure to perform assessments or corrective actions.

- Failure to submit the completed assessment form or monitoring report within 30 days of triggering the assessment.

- Failure to notify the state when each scheduled corrective action is completed based on the state-approved timeframe.

You must provide Tier 3 public notice to persons served within one year after you learn of the violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing reports to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

RTCR Failure to Report Monitoring Events to the State that are Not Related to E. coli-positive Sample Results – Template NC3-4

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

We are required to report [describe the information not reported, such as “the results of monitoring of your drinking water for specific contaminants on a regular basis” or “the results of our water system’s assessment by [enter date]]. Results of [enter applicable text, such as “regular monitoring” or “the assessment”, as applicable] are an indicator of whether or not your drinking water meets health standards. During [compliance period], we did not [describe what you did not report, such as “report the results of monitoring or of the assessment] for [contaminant(s)]”].

Our system failed to notify the state drinking water program as required by [enter date]. Although public health was not impacted, as our customers, you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. You do not need to boil your water or take other actions.

What is being done?

While we did not notify the state as quickly as we should have, we have [enter your corrective action] on [enter date]. We are no longer in violation.

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for RTCR Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template NC3-5

Template on Reverse

Description of Violation or Situation

Failure of a seasonal NCWS to certify to the state that they have completed all state-approved start up procedures before serving water to the public is a reporting violation that requires Tier 3 public notification.

You must provide public notice to persons served within one year after you learn of the reporting violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeat notice(s) are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have provided the missing certification to the state and have revised our procedures to ensure we comply with reporting requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

RTCR Failure to Provide the State a Certificate that Confirms Seasonal System Start-up Procedures have been Completed – Template NC3-5

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Reporting Requirement(s) Not Met for [Water System Name]

[Water System Name] failed to notify the state drinking water program that we completed the steps required to start-up our water system after we’d been shut down for the off-season. We are required to notify the state that we completed the required steps before we served water to the public.

Although this situation does not create a health risk, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours.

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.

Instructions for RTCR Failure to do Recordkeeping – Template NC3-6

Template on Reverse

Description of Violation or Situation

Failure to keep records of any assessment forms completed by you or a third-party, documentation of corrective actions, or summary reports of sanitary defects, as well as records of repeat samples taken that meet the criteria of an extension for the 24-hours of collecting repeat samples are recordkeeping violations that require Tier 3 public notification [40 CFR 141.204(a)(6)].

You must provide public notice to persons served within one year after you learn of the recordkeeping violation [40 CFR 141.204(b)]. Check with your state to make sure you meet all requirements.

NCWSs must use all of the following methods to deliver the notice to consumers [40 CFR 141.204(c)]:

- Posting in a conspicuous place throughout the system, or by hand delivery or mail, and

- Another method as needed to reach consumers not likely to receive a notice from methods noted above and approved in writing by the state. Such methods could include newspapers, e-mail, or delivery to community organizations.

If you:

- Post the notice, it must remain posted until the violation is resolved.

- Post the notice and the violation has already been resolved, you must still post the notice for at least seven days [40 CFR 141.204(b)].

- Mail, post, or hand deliver, EPA recommends printing your notice on your system’s letterhead, if available.

- Modify the notice, you must still include all required public notice elements from 40 CFR 141.205(a) and leave the mandatory language unchanged (see below).

Repeated notices are required annually if the violation or situation persists, unless otherwise directed by the state.

Mandatory Language

You must also include standard language to encourage the distribution of the public notice to all persons served, where applicable [40 CFR 141.205(d)]. This language is also presented in this notice in italics with an asterisk on each end.

Corrective Actions

In your notice, you must describe corrective actions you took, or are taking [40 CFR 141.205(a)(7)] including when your water system expects to return to compliance or resolve the violation [40 CFR 141.205(a)(8)]. You can use the following language, if appropriate, or develop your own:

- We have contacted the laboratories that performed the water testing and requested copies of the missing reports. We are no longer in violation.

- We have revised our procedures to ensure we comply with the recordkeeping requirements in the future. We are no longer in violation.

After Issuing the Notice

Make sure to send a copy of each type of notice and a certification that you have met all the public notification requirements to your state within 10 days after the original or any repeat notice(s) [40 CFR 141.31(d)].

RTCR Failure to do Recordkeeping – Template NC3-6

IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Recordkeeping Requirement(s) Not Met for [Water System Name]

[Water system name] failed to keep records of [describe the information not kept, such as “our water system’s assessment conducted on [enter date]” or “monitoring following a sample with coliform bacteria in which we received an extension to collect the sample from the state”]. We realize the importance of keeping complete records to document the quality of the water we provide and the efforts we take to ensure the water is safe to drink.

Although this situation does not create a risk to public health, as our customers you have a right to know what happened and what we did to correct the situation.

What should I do?

There is nothing you need to do at this time. If a situation arises where the water is no longer safe to drink, you will be notified within 24 hours. We will announce any emergencies on [media source].

What is being done?

[Describe your corrective actions including when your water system expects to return to compliance or resolve the violation].

For more information, please contact [name of contact] at [phone number] or [mailing address].

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by [water system name]. State Water System ID# _______.

Date distributed: _______.