## Assay Comparison
ASSAY RESULTS
In this sheet the results of two or three Assays are entered. Calibration dates are entered
so Assays having the same calibration uncertainty may treated correctly. (Assays having
a common calibration share the same calibration uncertainty.)
Enter the results for up to three separate assays in chronological order below.
Do Not Touch Variables in Green Area
ASSAY 1
Tolerance Factor for Shuirmann's
500 | = estimated concentration | [7 empty] | Two One-sided test |  | 1%
0.1% | = Expanded uncertainty (expressed as percentage of estimated concentration)
0.5 | = portion of expanded uncertainty2 due to calibration
5 | = number of measurements
1997-05-01 | = date of prior calibration
ASSAY 2
501 | = estimated concentration | [7 empty] | Pooled Variance (1 vs. 2) |  | Uncertainty 1 | Uncertainty 2
0.1% | = Expanded uncertainty (expressed as percentage of estimated concentration) | [7 empty] | 0.062583 |  | 0.25 | 0.2505
0.5 | = portion of expanded uncertainty2 due to calibration | [7 empty] | T-statistic
3 | = number of measurements | [7 empty] | 1.9432
1997-06-01 | = date of prior calibration
ASSAY 3 (if applicable)
502 | = estimated concentration | [7 empty] | Pooled Variance (1 vs. 3) |  | Uncertainty 1 | Uncertainty 3 | Pooled Variance (2 vs. 3) | Uncertainty 2 | Uncertainty 3
0.1% | = Expanded uncertainty (expressed as percentage of estimated concentration) | [7 empty] | 0.062667 |  | 0.25 | 0.251 | 0.062876 | 0.2505 | 0.251
0.5 | = portion of expanded uncertainty2 due to calibration | [7 empty] | T-statistic |  |  |  | T-statistic
3 | = number of measurements | [7 empty] | 1.9432 |  |  |  | 2.1318
1997-06-08 | = date of prior calibration
Number of different calibrations represented by the above data:
| N = | 3 | (If this value seems to be incorrect, check the dates
entered for the three assays. The earliest data should
be for Assay 1. Trailing spaces may cause N's formula
to interpret identical dates as different.)
COMPARISONS
Assay 1 vs Assay 2
Two One-Sided Equivalence
|  |  |  | with Assay 1 |  | Variance Components
|  | Lower | Upper | Lower Test | Upper Test | Calibration | Imprecision
Calibration | Assay | Confidence | Confidence | Signficance | Signficance |  |  | Total
1 | 1 |  |  | - | - | 0.125 | 0.125 | 0.25
2 | 2 | 0.64499 | 1.355 | TRUE | TRUE | 0.1255 | 0.1255 | 0.251 |  | 1 vs. 2 Match Tally | 1
"FALSE" indicates an inconsistency where the observed confidence interval of the difference is beyond the tolerance level.
Assay 1 vs Assay 3
Two One-Sided Equivalence
|  |  |  | with Assay 1 |  | Variance Components
|  | Lower | Upper | Lower Test | Upper Test | Calibration | Imprecision
Calibration | Assay | Confidence | Confidence | Signficance | Signficance |  |  | Total
1 | 1 |  |  | - | - | 0.125 | 0.125 | 0.25
3 | 3 | 1.6448 | 2.3552 | TRUE | TRUE | 0.126 | 0.126 | 0.252 |  | 1 vs. 3 Match Tally | 2
"FALSE" indicates an inconsistency where the observed confidence interval of the difference is beyond the tolerance level.
Nothing will appear here if no data have been entered for Assay 3.
Assay 2 vs Assay 3
Two One-Sided Equivalence
|  |  |  | with Assay 1 |  | Variance Components
|  | Lower | Upper | Lower Test | Upper Test | Calibration | Imprecision
Calibration | Assay | Confidence | Confidence | Signficance | Signficance |  |  | Total
2 | 2 |  |  | - | - | 0.1255 | 0.1255 | 0.251
3 | 3 | 0.56353 | 1.4365 | TRUE | TRUE | 0.126 | 0.126 | 0.252 |  | 2 vs. 3 Match Tally | 4
"FALSE" indicates an inconsistency where the observed confidence interval of the difference is beyond the tolerance level.
Nothing will appear here if no data have been entered for Assay 3.
[10 empty] | Total Matches | 7 | (right click to see comment)
OVERALL ESTIMATE |  |  |  |  | Case = | 18 | (right click to see comment)
The standard error of the estimate produced in an assay is equal to approximately 1/2 of
the "95% uncertainty." The inverse of the square of the standard error is the (raw)
weighting factor used in producing an overall estimate of the concentration. The raw
weights are adjusted (Adj. Wt.) so their sum is 1.00.
Variance
Calibration | Estimate | Exp Uncert. |  | Raw Wt. | Adj. Wt. | Wt.*Conc. | of Wt.*Est.
1 | 500 | 0.1% |  | 1000000 | 0.33333 | 166.6667 | 0.027778
2 | 501 | 0.1% |  | 1000000 | 0.33333 | 167 | 0.027889
3 | 502 | 0.1% |  | 1000000 | 0.33333 | 167.3333 | 0.028
501 | = overall estimate of the candidate standard's concentration
0.28925 | = Expanded uncertainty (concentration units)
0.05774% | = Expanded relative uncertainty
The standard error and expanded uncertainty displayed above do not account for uncertainty
in the reference standards used to calibrate the analytical instrument, or for the uncertainty
due to the dilution flow rate. In the first space below, enter the expanded uncertainty (typically 2
times the standard error) of the reference standards. If different calibration standards had
different uncertainties, enter the largest.
Example: If NIST SRMs were used in the calibration and their certified concentrations
were 100 +/- 1 ppm, 200 +/- 1 ppm, 300 +/- 2 ppm, 400 +/- 3 ppm and 500 +/- 4 ppm,
then the largest 95% uncertainty is for the 100 ppm standard: 1/100 = 0.01 or 1%.
(SRM uncertainties are expressed as two-sigma limits which are 95% confidence
intervals.)
In the second space below, enter the expanded uncertainty due to the dilution flow rate.
Note that flow rates should have a relative uncertainty of 1% or less.
Enter 0 if protocol G1 (no dilution) is used.
The third space below is for the expanded uncertainty when measuring multiple gases simultaneously.
This must be measured by a statistician, if however, this does not apply in your case put 0.
1% | = Expanded uncertainty (the two-sigma uncertainty) of the reference standard
0% | = Expanded uncertainty (the two-sigma uncertainty) of the dilution system flow rate (This only applies when the gas settings changed between the assy of the reference standard and the assay of the candidate standard are changed, otherwise it should be 0).
0% | = Expanded uncertainty (the two-sigma uncertainty) for interference corrections when measuring multiple gases simultaneously. This must be provided by a Statistician.
1.002% | =Expanded uncertainty of the candidate standard (including the contribution of the
reference standard)
Note on N68: The number of Total Matches can only take on 8 values; 0 - There are no matches 1 - Assay 1 & Assay 2 Match 2 - Assay 1 & Assay 3 Match 3 - Assay 1 & Assay 2 Match, and Assay 1 & Assay 3 Match* 4 - Assay 2 & Assay 3 Match 5 - Assay 1 & Assay 2 Match, and Assay 2 & Assay 3 Match* 6 - Assay 1 & Assay 3 Match, and Assay 2 & Assay 3 Match* 7 - Assay 1 & Assay 2 Match, and Assay 1 & Assay 3 Match, and Assay 2 & Assay 3 Match * In the case of 3, 5 or 6, they will be treated as 7
Note on G69: Case --> [cal no, cal no, cal no] 1 --> [1,-,-] 4 --> [1,1,-] 6 --> [1,2,-] 9 --> [1,1,1] 12 --> [1,1,2] 15 --> [1,2,2] 18 --> [1,2,3] 4 and 6 are cases where there is no 3rd Assay. In case 4, the two assays share a common calibration. In case 6, the two assays have different calibrations.

## CAL 1A
This worksheet computes the overall mean and uncertainty for the first two Assays.
This worksheet is applied if the first two Assays are from the same calibration.
This sheet is NOT appropriate.
This sheet requires that Assays 1 and 2 (but not 3) have the same calibration.
Uncertainty2 due to calibration (squared measurement units).
0.12525
Uncertainty2 due to imprecision |  |  | Raw Wt. | Adjusted Wt. | Estimate
Assay 1 | 0.125 | 4 | 8 | 0.501 | 250.4995
Assay 2 | 0.1255 | 2 | 7.9681 | 0.499 | 249.9995
Combined | 0.062625
Overall estimate of the concentration
500.499
95% Uncertainty of the estimate
0.0866%

## CAL 1B
This worksheet computes the overall mean and uncertainty for the three Assays.
This worksheet is applied only if all three Assays are from the same calibration.
This sheet is NOT appropriate.
This sheet requires that there are three Assays, all having the same calibration.
Uncertainty2 due to calibration (squared measurement units).
0.1255
Uncertainty2 due to imprecision |  | Raw Wt. | Adjusted Wt. | Estimate
Assay 1 | 0.125 | 8 | 0.33467 | 167.3327
Assay 2 | 0.1255 | 7.9681 | 0.33333 | 166.9987
Assay 3 | 0.126 | 7.9364 | 0.332 | 166.666
Combined | 0.041833
Overall estimate of the concentration
500.9973
95% Uncertainty of the estimate
0.08165%

## CAL 2A
This worksheet computes the overall mean and uncertainty for the last two Assays.
This worksheet is applied if the last two Assays are from the same calibration.
This sheet is NOT appropriate.
This sheet requires that Assays 2 and 3 (but not 1) have the same calibration.
Uncertainty2 due to calibration (squared measurement units).
0.12575
Uncertainty2 due to imprecision |  | Raw Wt. | Adjusted Wt. | Estimate
Assay 2 | 0.1255 | 7.9681 | 0.501 | 250.9995
Assay 3 | 0.126 | 7.9364 | 0.499 | 250.4995
Combined | 0.062875
Overall estimate of the concentration
501.499
95% Uncertainty of the estimate
0.0866%