## Sheet1. 1st Pilot Study
FIELD-SET 1: RESULTS FROM 1st PILOT-SCALE STUDY (FILE: gacpilot.xls)
Field 1-1: PWS And Treatment Plant Data |  | Field 1-2: Pilot-Scale GAC Design Parameters |  |  |  | Field 1-3: Pretreatment Used Prior To GAC1 |  |  | Field 1-4: Influent Water Quality For The 10- And 20-Minute, Pilot-Scale GAC Contactors1 | [14 empty] | Field 1-4: Influent Water Quality For The 10- And 20-Minute, Pilot-Scale GAC Contactors (continued) | [15 empty] | Field 1-4: Influent Water Quality For The 10- And 20-Minute, Pilot-Scale GAC Contactors (continued) | [9 empty] | Field 1-5: Effluent Water Quality For The 10-Minute, Pilot-Scale GAC Contactor1 | [16 empty] | Field 1-5: Effluent Water Quality For The 10-Minute, Pilot-Scale GAC Contactor (continued) | [18 empty] | Field 1-6: Effluent Water Quality For The 20-Minute, Pilot-Scale GAC Contactor1 | [16 empty] | Field 1-6: Effluent Water Quality For The 20-Minute, Pilot-Scale GAC Contactor (continued) | [18 empty] | Field 1-7: GAC Cost Parameters
|  | Input Design Parameters |  | US Standard Mesh Sizes |  |  |  |  | Group A, 15 influent samples per run | [40 empty] | Group B, 15 effluent samples per run | [35 empty] | Group C, 15 effluent samples per run
PWS Name | Savannah Water System | Carbon manufacturer | Norit Americas Inc. | US standard | Opening | Process | Description | Scale | Sample | Was sample | Sampling | Sampling | Operation | Bed | Bed | pH | Turbidity | Alkalinity | Temp. | Total | Calcium | Ammonia | Bromide | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | Sample | Was sample | Sampling | Sampling | Operation | Bed | pH | Turbidity | Temp. | Ammonia | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | Sample | Was sample | Sampling | Sampling | Operation | Bed | pH | Turbidity | Temp. | Ammonia | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | Cost Parameter | Parameter value
Public Water System Identification Number | GA0510003 | Carbon trade name | Hydrodarco 3000 | mesh size | (mm) | Coagulation | Alum dose Al2(SO4)3.5H2O 30mg/L | Full-scale | ID | duplicated? | date | time | time | volumes | volumes |  |  |  |  | Hardness | Hardness | [5 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6 | ID | duplicated? | date | time | time | volumes | [7 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6 | ID | duplicated? | date | time | time | volumes | [7 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6 | Capital Recovery Interest Rate (%) | 7
Water Industry Data Base Number (optional) | NA | Carbon type | Ligite | 4 | 4.75 | Flocculation | 3-stage | Full-scale |  | Y/N | MM/DD/YY | hh:mm | hh.hh | ( 20 minute) | ( 10 minute) | --- | ntu | mg/L as CaCO3 | oC | mg/L as CaCO3 | mg/L as CaCO3 | mg NH3-N / L | mg/L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  | Y/N | MM/DD/YY | hh:mm | hh.hh | (10 minute) | --- | ntu | oC | mg NH3-N / L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  | Y/N | MM/DD/YY | hh:mm | hh.hh | (20 minute) | --- | ntu | oC | mg NH3-N / L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Capital Recovery Period (years) | 20
|  | Pilot GAC influent TOC (mg/L) | 2.1 | 6 | 3.35 | Sedimentation | Conventional, 4 hours | Full-scale | START | --- | 1998-04-14 | 14:00 | 0 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | START | --- | 1998-04-14 | 14:00 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | START | --- | 1998-04-14 | 14:00 | 0 | 0 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Overhead & Profit Factor (% of construction costs) | 25
Official ICR Contact Person |  | Inner diameter of the pilot GAC column, D (mm) | 202 | 8 | 2.36 | Filtration | Rapid Sand Column (10 inches sand, 18 inches anthracite) | Pilot | A1 | N | 1998-04-15 | 14:30 | 24.5 | 73.5 | 147 | 6.9 | 0.102 | 9.6 | 19 | 20.4 | 14.2 | BMRL | BMRL | 2.1 | 0.046 | 2.1905 | 1.05 | 0.1 | 0.95 | 19 | 5.9 | 2 | NA | 5.2 | 1.6 | BMRL | BMRL | 6.8 | BMRL | 11 | 3.6 | BMRL | BMRL | 1.5 | NA | NA | NA | 14.6 | 16.1 | B1 | N | 1998-04-15 | 14:30 | 24.5 | 147 | 6.6 | 0.091 | 20 | BMRL | BMRL | BMRL | #VALUE! | 1.8 | 0.9 | 0.9 | 19 | 5.9 | 2 | BMRL | 2.9 | 2.4 | BMRL | BMRL | 5.3 | 2.2 | 2.7 | BMRL | BMRL | BMRL | 1 | NA | NA | NA | 4.9 | 5.9 | C1 | N | 1998-04-15 | 14:30 | 24.5 | 73.5 | 6.5 | 0.089 | 19.5 | BMRL | BMRL | BMRL | #VALUE! | 1.8 | 0.93 | 0.87 | 19 | 6 | 2 | BMRL | 2.1 | BMRL | BMRL | BMRL | 2.1 | 2.1 | 1.4 | BMRL | BMRL | BMRL | BMRL | NA | NA | NA | 3.5 | 3.5 | Special Sitework Factor (% of construction costs) | 10
Mailing Address |  | Manufacturer reported dry bed density, r (kg/m3) | 352 | 10 | 2 |  |  |  | A2 | N | 1998-04-29 | 10:00 | 356 | 1068 | 2136 | 6.6 | 0.193 | 8.2 | 18 | 17.2 | 12.6 | BMRL | BMRL | 1.6 | 0.04 | 2.5 | 0.76 | 0.3 | 0.46 | 20.5 | 6.1 | 2 | 140 | 7.1 | 2.5 | BMRL | BMRL | 9.6 | BMRL | 16 | 7.9 | BMRL | BMRL | 1.2 | NA | NA | NA | 23.9 | 25.1 | B2 | N | 1998-04-29 | 12:45 | 358.75 | 2152.5 | 6.1 | 0.225 | 18.5 | BMRL | 1.2 | 0.029 | 2.4167 | 1.52 | 1.05 | 0.47 | 20.5 | 6 | 2 | 140 | 3.8 | 2.1 | BMRL | BMRL | 5.9 | BMRL | 7.4 | 4.6 | BMRL | BMRL | 1 | NA | NA | NA | 12 | 13 | C2 | N | 1998-04-29 | 12:50 | 358.8333 | 1076.5 | 6 | 0.247 | 19 | BMRL | BMRL | BMRL | #VALUE! | 1.52 | 1.27 | 0.25 | 20.5 | 6 | 2 | 55 | 2.4 | BMRL | BMRL | BMRL | 2.4 | BMRL | 3.5 | 2.9 | BMRL | BMRL | BMRL | NA | NA | NA | 6.4 | 6.4 | Construction Contingencies (% of construction costs) | 15
|  | Pilot GAC mesh size, upper (US standard mesh) | 8 | 12 | 1.68 |  |  |  | A3 | N | 1998-05-18 | 10:40 | 812.6667 | 2438 | 4876 | 6.4 | 0.796 | 10.2 | 22 | 19.6 | 13.4 | BMRL | 35 | 1.6 | 0.13 | 8.125 | 0.95 | 0.06 | 0.89 | 24 | 6.1 | 2 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | B3 | N | 1998-05-07 | 11:45 | 549.75 | 3298.5 | 6.3 | 0.243 | 22 | BMRL | 1 | 0.038 | 3.8 | 1.64 | 1.17 | 0.47 | 22 | 6.1 | 2 | 140 | 3.8 | 2.7 | 1 | BMRL | 7.5 | BMRL | 4.7 | 2.7 | BMRL | BMRL | 1.6 | NA | NA | NA | 7.4 | 9 | C3 | N | 1998-05-18 | 10:40 | 812.6667 | 2438 | 6.1 | 0.206 | 24 | BMRL | BMRL | BMRL | #VALUE! | 1.59 | 0.9 | 0.69 | 24 | 6 | 2 | 62 | 2 | BMRL | BMRL | BMRL | 2 | 2.2 | 2.9 | 2.1 | BMRL | BMRL | BMRL | NA | NA | NA | 7.2 | 7.2 | Engineering Fee Factor (% of construction costs) | 10
Phone Number |  | Pilot GAC mesh size, lower (US standard mesh) | 30 | 16 | 1.18 |  |  |  | Avg-A4 | Y | 1998-06-04 | 12:40 | 1222.6667 | 3668 | 7336 | 6.7 | 0.218 | 25.6 | 27 | 19.2 | 14.8 | BMRL | 33 | 1.5 | 0.043 | 2.8667 | 1 | 0.14 | 0.86 | 26 | 6.6 | 2 | 150 | 12 | 4.5 | 1.2 | BMRL | 17.7 | BMRL | 13 | 7.4 | BMRL | BMRL | 2 | NA | NA | NA | 20.4 | 22.4 | Avg-B4 | Y | 1998-05-18 | 10:40 | 812.6667 | 4876 | 6.2 | 0.109 | 22 | BMRL | 1.1 | 0.03 | 2.7273 | 1.59 | 0.98 | 0.61 | 24 | 6.1 | 2 | 170 | 5.7 | 4.2 | 2 | BMRL | 11.9 | 2.2 | 8.7 | 4.8 | BMRL | BMRL | 2.4 | NA | NA | NA | 15.7 | 18.1 | Avg-C4 | Y | 1998-06-04 | 12:50 | 1222.8333 | 3668.5 | 6.2 | 0.101 | 28 | BMRL | BMRL | BMRL | #VALUE! | 1.27 | 1.19 | 0.08 | 25.3 | 6.1 | 2 | 76 | 4.4 | 1.8 | 2.2 | BMRL | 8.4 | 2.3 | 3.7 | 3.1 | BMRL | BMRL | 1.2 | NA | NA | NA | 9.1 | 10.3 | 1998 ENR Construction Cost Index (CCI base year 1913) | NA
FAX Number |  | Flow rate, Q (L/hr) | 114 | 20 | 0.85 |  |  |  | A5 | N | 1998-06-10 | 10:50 | 1364.8333 | 4094.5 | 8189 | 6.5 | 0.267 | 12 | 25 | 20.8 | 15.6 | BMRL | 25 | 0.9 | 0.05 | 5.5556 | 1.03 | 0.13 | 0.9 | 27 | 6.4 | 2 | 130 | 11 | 4.3 | 1.2 | BMRL | 16.5 | BMRL | 11 | 6.2 | BMRL | BMRL | 1.6 | NA | NA | NA | 17.2 | 18.8 | B5 | N | 1998-05-28 | 11:30 | 1053.5 | 6321 | 5.7 | 0.272 | 27 | BMRL | 0.9 | 0.032 | 3.5556 | 1.18 | 0.79 | 0.39 | 25.5 | 6 | 2 | 220 | 10 | 5.8 | 2.1 | BMRL | 17.9 | 3.3 | 9.9 | 7.7 | BMRL | BMRL | 3.1 | NA | NA | NA | 20.9 | 24 | C5 | N | 1998-06-10 | 10:55 | 1364.9167 | 4094.75 | 6.2 | 0.078 | 26.5 | BMRL | BMRL | BMRL | #VALUE! | 1.32 | 1.1 | 0.22 | 27 | 6.3 | 2 | 97 | 3.9 | 1.7 | 2 | BMRL | 7.6 | BMRL | 4.2 | 3.2 | BMRL | BMRL | BMRL | NA | NA | NA | 7.4 | 7.4 | 1998 Producers Price Index (PPI base year 1967 = 100) | NA
E-Mail Address (optional) |  |  |  | 30 | 0.6 |  |  |  | A6 | N | 1998-06-17 | 12:45 | 1534.75 | 4604.25 | 9208.5 | 6.3 | 0.075 | 10.8 | 27.5 | 20.2 | 15.4 | BMRL | 25 | 0.9 | 0.053 | 5.8889 | 1.05 | 0.17 | 0.88 | 27 | 6.4 | 2 | 150 | 11 | 4.3 | BMRL | BMRL | 15.3 | BMRL | 13 | 7.6 | BMRL | BMRL | 1.3 | NA | NA | NA | 20.6 | 21.9 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | C6 | N | 1998-06-17 | 10:35 | 1532.5833 | 4597.75 | 6 | 0.062 | 27 | BMRL | BMRL | 0.01 | #VALUE! | 1.33 | 0.83 | 0.5 | 26.5 | 6.2 | 2 | 100 | 3.7 | 2.3 | 1.9 | BMRL | 7.9 | BMRL | 5.1 | 3.8 | BMRL | BMRL | 1.1 | NA | NA | NA | 8.9 | 10 | Labor Rate + Fringe ($/work-hour) | 20
|  | Estimated Run Length |  | 40 | 0.425 |  |  |  | Avg-A7 | Y | 1998-07-29 | 10:50 | 2540.8333 | 7622.5 | 15245 | 6.5 | 0.091 | 13.2 | 28 | 18.8 | 14.8 | BMRL | 44 | 0.9 | 0.037 | 4.1111 | 1 | 0.24 | 0.76 | 28 | 6.5 | 2 | 160 | 9.6 | 5.2 | 2.1 | BMRL | 16.9 | BMRL | 10 | 7.6 | BMRL | BMRL | 3 | NA | NA | NA | 17.6 | 20.6 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | Avg-C7 | Y | 1998-07-29 | 11:00 | 2541 | 7623 | 6.3 | 0.071 | 28.5 | 0.1 | BMRL | 0.011 | #VALUE! | 1.27 | 0.9 | 0.37 | 27.5 | 6.3 | 2 | 160 | 5.4 | 3.1 | 3.3 | BMRL | 11.8 | BMRL | 6 | 5.9 | BMRL | 1.4 | 2.3 | NA | NA | NA | 13.3 | 15.6 | Labor Overhead Factor (% of labor) | 15
Technical ICR Contact Person |  | Bed volumes to 50% TOC breakthrough, BV50 | 8271.3167 | 50 | 0.3 |  |  |  | A8 | N | 1998-09-09 | 10:35 | 3548.5833 | 10645.75 | 21291.5 | 6.1 | 0.324 | 6.8 | 26 | 16.6 | 13 | BMRL | 24 | 1.8 | 0.049 | 2.7222 | 0.98 | 0.12 | 0.86 | 27 | 5.9 | 2 | 150 | 10 | 2.9 | BMRL | BMRL | 12.9 | BMRL | 16 | 9.2 | BMRL | BMRL | 1.9 | NA | NA | NA | 25.2 | 27.1 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | C8 | N | 1998-09-09 | 10:40 | 3548.6667 | 10646 | 6 | 0.138 | 26.5 | BMRL | 1.1 | 0.016 | 1.4545 | 1.39 | 0.84 | 0.55 | 26 | 5.9 | 2 | 150 | 6.4 | 2.5 | 1.2 | BMRL | 10.1 | BMRL | 9.1 | 7.5 | BMRL | BMRL | 1.7 | NA | NA | NA | 16.6 | 18.3 | Electric Rate ($/kW-h) | 0.0005
Mailing Address |  | Estimated run length, BVT (= 2 x BV50) | 16542.6334 | 60 | 0.25 | [7 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | Fuel Oil Rate ($/gal) | 0.5
|  |  |  | 70 | 0.21 | [7 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | Natural Gas Rate ($/ft3) | 0.00445
Phone Number |  | General Pilot Design Parameters |  | 80 | 0.18 | [7 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | Current Process Water Rate ($/1000 gal) | 0.59
FAX Number |  | Carbon particle diameter, d (mm) | 1.48 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | Modifications to Existing Plant (% of construction costs) | 40
E-Mail Address (optional) |  | Column cross-sectional area, A (m2) | 0.032047 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
|  | Hydraulic loading rate1, v (m/hr) | 3.5572 |  |  | 1: Design information, similar to that shown in Tables 6c and 6d of the ICR rule, must be included in | [6 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
Plant Name | I&D Water Plant | 1: If v is not in the range from 5 to 15 m/hr (2 to 6 gpm/ft2) then either Q or D must be adjusted. |  |  |  | the hard-copy Treatment Study Summary Report (see Section 10.0). The purpose of this table | [6 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
Treatment Plant Category | Conventional |  |  |  |  | is to list the pretreatment processes used in this particular pilot GAC run. | [6 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
Process Train Name | NA | 10-Minute EBCT Run | [10 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
ICR Treatment Plant Identification Number | 323 | Empty bed contact time, EBCT (min) | 10 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
PWSID Number of Plant (if assigned) | GA0510004 | Estimated run time, t (days) | 114.8794 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
Historical Minimum Water Temperature (oC) | 9 | Pilot column bed length, l (m) | 0.59287 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
Historical Average Water Temperature (oC) | 20.8 | Mass GAC required, m (kg) | 6.688 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
State Approved Plant Capacity (MGD) | 58 | [11 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
|  | 20-Minute EBCT Run | [10 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
|  | Empty bed contact time, EBCT (min) | 20 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
|  | Estimated run time, t (days) | 229.7588 | [9 empty] | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  |  |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
|  | Pilot column bed length, l (m) | 1.1857 | [5 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [14 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [15 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [9 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [16 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [18 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [16 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported
|  | Mass GAC required, m (kg) | 13.376 | [5 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [14 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [15 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [9 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [16 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [18 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [16 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured.
[9 empty] | 1: Do not enter the results from duplicate samples into the table above, instead enter the average value for the primary and duplicate analyses in the above table, and enter the results for the primary and duplicate analyses below. | [14 empty] | **: No data due to sample container being broken in transit. | [25 empty] | 1: Do not enter the results from duplicate samples into the table above, instead enter the average value for the primary and duplicate analyses in the above table, and enter the results for the primary and duplicate analyses below. | [35 empty] | 1: Do not enter the results from duplicate samples into the table above, instead enter the average value for the primary and duplicate analyses in the above table, and enter the results for the primary and duplicate analyses below.
[9 empty] | Group D, 3 duplicate influent samples per run | [40 empty] | Group D, 3 duplicate effluent samples per run | [35 empty] | Group D, 3 duplicate effluent samples per run
[9 empty] | Sample | Sample | Sampling | Sampling | Operation | Bed | Bed | pH | Turbidity | Alkalinity | Temp. | Total | Calcium | Ammonia | Bromide | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | Sample | Sample | Sampling | Sampling | Operation | Bed | pH | Turbidity | Temp. | Ammonia | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | Sample | Sample | Sampling | Sampling | Operation | Bed | pH | Turbidity | Temp. | Ammonia | TOC | UV254 | SUVA | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS | SDS
[9 empty] | ID | Type | date | time | time | volumes | volumes |  |  |  |  | Hardness | Hardness | [5 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6 | ID | Type | date | time | time | volumes | [7 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6 | ID | Type | date | time | time | volumes | [7 empty] | Cl2 dose | Free Cl2 residual | Cl2 demand | Chlorination temp. | Chlorination pH | Incubation time | TOX | CHCl3 | BDCM | DBCM | CHBr3 | THM4 | MCAA* | DCAA* | TCAA* | MBAA* | DBAA* | BCAA* | TBAA | CDBAA | DCBAA | HAA5 | HAA6
[11 empty] | MM/DD/YY | hh:mm | hh.hh | ( 20 minute) | ( 10 minute) | --- | ntu | mg/L as CaCO3 | oC | mg/L as CaCO3 | mg/L as CaCO3 | mg NH3-N / L | mg/L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  |  | MM/DD/YY | hh:mm | hh.hh | (10 minute) | --- | ntu | oC | mg NH3-N / L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  |  | MM/DD/YY | hh:mm | hh.hh | (20 minute) | --- | ntu | oC | mg NH3-N / L | mg/L | cm-1 | L/(mg*m) | mg/L | mg/L | mg/L | oC | --- | hours | mg Cl- /L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
[9 empty] | A4 | Primary | 1998-06-04 | 12:40 | 1222.6667 | 3668 | 7336 | 6.7 | 0.128 | 25.6 | 27 | 19.2 | 15 | BMRL | 0.033 | 1.5 | 0.043 | 2.8667 | 1 | NR | #VALUE! | 26 | 6.6 | 2 | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NR | NA | NA | NA | NR | NR | B4 | Primary | 1998-05-18 | 10:40 | 812.6667 | 4876 | 6.2 | 0.109 | 22 | BMRL | 1.1 | 0.03 | 2.7273 | 1.59 | 0.98 | 0.61 | 24 | 6.1 | 2 | 170 | 5.7 | 4.2 | 2 | BMRL | 11.9 | 2.2 | 8.7 | 4.8 | BMRL | BMRL | 2.4 | NA | NA | NA | 15.7 | 18.1 | C4 | Primary | 1998-06-04 | 12:50 | 1222.8333 | 3668.5 | 6.2 | 0.101 | 28 | BMRL | BMRL | BMRL | #VALUE! | 1.27 | 1.19 | 0.08 | 26 | 6.1 | 2 | 76 | 4.4 | 1.8 | 2.2 | BMRL | 8.4 | 2.3 | 3.7 | 3.1 | BMRL | BMRL | 1.2 |  |  |  | 9.1 | 10.3
[9 empty] | D-A4 | Duplicate | 1998-06-04 | 12:40 | 1222.6667 | 3668 | 7336 | 6.7 | 0.073 | 25.6 | 27 | 19.2 | 14.8 | BMRL | 0.033 | 1.4 | 0.04 | 2.8571 | 1 | 0.14 | 0.86 | 26 | 6.6 | 2 | 150 | 12 | 4.5 | 1.2 | BMRL | 17.7 | BMRL | 13 | 7.4 | BMRL | BMRL | 2 | NA | NA | NA | 20.4 | 22.4 | D-B4 | Duplicate | 1998-05-18 | 10:40 | 812.6667 | 4876 | 6.2 | 0.13 | 22 | BMRL | 1.3 | 0.032 | 2.4615 | 1.59 | 1.05 | 0.54 | 24 | 6.1 | 2 | 170 | 5.2 | 3.9 | 2.1 | BMRL | 11.2 | 2.2 | 7.8 | 4.6 | BMRL | BMRL | 2.4 | NA | NA | NA | 14.6 | 17 | D-C4 | Duplicate | 1998-06-04 | 12:50 | 1222.8333 | 3668.5 | 6.2 | 0.104 | 28 | BMRL | BMRL | BMRL | #VALUE! | 1.27 | 1.03 | 0.24 | 26 | 6.1 | 2 | 80 | 4.2 | 1.8 | 2 | BMRL | 8 | 2.1 | 3.7 | 3.3 | BMRL | BMRL | 1.3 |  |  |  | 9.1 | 10.4
[9 empty] | Avg-A4 | Average | --- | --- | --- | --- | --- | 6.7 | 0.1005 | 25.6 | 27 | 19.2 | 14.9 | #DIV/0! | 0.033 | 1.45 | 0.0415 | 2.8619 | 1 | 0.14 | #VALUE! | 26 | 6.6 | 2 | 150 | 12 | 4.5 | 1.2 | #DIV/0! | 17.7 | #DIV/0! | 13 | 7.4 | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | #DIV/0! | 20.4 | 22.4 | Avg-B4 | Average | --- | --- | --- | --- | 6.2 | 0.1195 | 22 | #DIV/0! | 1.2 | 0.031 | 2.5944 | 1.59 | 1.015 | 0.575 | 24 | 6.1 | 2 | 170 | 5.45 | 4.05 | 2.05 | #DIV/0! | 11.55 | 2.2 | 8.25 | 4.7 | #DIV/0! | #DIV/0! | 2.4 | #DIV/0! | #DIV/0! | #DIV/0! | 15.15 | 17.55 | Avg-C4 | Average | --- | --- | --- | --- | 6.2 | 0.1025 | 28 | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | 1.27 | 1.11 | 0.16 | 26 | 6.1 | 2 | 78 | 4.3 | 1.8 | 2.1 | #DIV/0! | 8.2 | 2.2 | 3.7 | 3.2 | #DIV/0! | #DIV/0! | 1.25 | #DIV/0! | #DIV/0! | #DIV/0! | 9.1 | 10.35
[9 empty] | RPD-A4 | RPD | --- | --- | --- | --- | --- | 0 | 54.7264 | 0 | 0 | 0 | 1.3423 | #VALUE! | 0 | 6.8966 | 7.2289 | 0.33278 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | RPD-B4 | RPD | --- | --- | --- | --- | 0 | 17.5732 | 0 | #VALUE! | 16.6667 | 6.4516 | 10.2426 | 0 | 6.8966 | 12.1739 | 0 | 0 | 0 | 0 | 9.1743 | 7.4074 | 4.878 | #VALUE! | 6.0606 | 0 | 10.9091 | 4.2553 | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 7.2607 | 6.2678 | RPD-C4 | RPD | --- | --- | --- | --- | 0 | 2.9268 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 14.4144 | 100 | 0 | 0 | 0 | 5.1282 | 4.6512 | 0 | 9.5238 | #VALUE! | 4.878 | 9.0909 | 0 | 6.25 | #VALUE! | #VALUE! | 8 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0.96618
[9 empty] | A7 | Primary | 1998-07-29 | 10:50 | 2540.8333 | 7622.5 | 15245 | 6.5 | 0.091 | 13.2 | 28 | 18.8 | 14.8 | BMRL | 0.044 | 0.9 | 0.037 | 4.1111 | 1 | 0.24 | 0.76 | 28 | 6.5 | 2 | 160 | 9.6 | 5.2 | 2.1 | BMRL | 16.9 | BMRL | 10 | 7.6 | BMRL | BMRL | 3 | NA | NA | NA | 17.6 | 20.6 |  | Primary |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | C7 | Primary | 1998-07-29 | 11:00 | 2541 | 7623 | 6.3 | 0.071 | 28.5 | 0.1 | BMRL | 0.011 | #VALUE! | 1.27 | 0.9 | 0.37 | 27.5 | 6.3 | 2 | 160 | 5.4 | 3.1 | 3.3 | BMRL | 11.8 | BMRL | 6 | 5.9 | BMRL | 1.4 | 2.3 |  |  |  | 13.3 | 15.6
[9 empty] | D-A7 | Duplicate | 1998-07-29 | 10:50 | 2540.8333 | 7622.5 | 15245 | 6.5 | 0.097 | 12.6 | 28 | 17.8 | 14.4 | BMRL | 0.045 | 0.7 | 0.036 | 5.1429 | 1 | 0.21 | 0.79 | 27 | 6.4 | 2 | 150 | 8.7 | 4.7 | 1.9 | BMRL | 15.3 | BMRL | 10 | 7.3 | BMRL | BMRL | 3 | NA | NA | NA | 17.3 | 20.3 |  | Duplicate |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 | D-C7 | Duplicate | 1998-07-29 | 11:00 | 2541 | 7623 | 6.3 | 0.08 | 28 | BMRL | BMRL | 0.011 | #VALUE! | 1.27 | 0.9 | 0.37 | 27 | 6.3 | 2 | 170 | 5.3 | 2.9 | 3 | BMRL | 11.2 | BMRL | 6.3 | 6 | BMRL | 1.3 | 2.3 |  |  |  | 13.6 | 15.9
[9 empty] | Avg-A7 | Average | --- | --- | --- | --- | --- | 6.5 | 0.094 | 12.9 | 28 | 18.3 | 14.6 | #DIV/0! | 0.0445 | 0.8 | 0.0365 | 4.627 | 1 | 0.225 | 0.775 | 27.5 | 6.45 | 2 | 155 | 9.15 | 4.95 | 2 | #DIV/0! | 16.1 | #DIV/0! | 10 | 7.45 | #DIV/0! | #DIV/0! | 3 | #DIV/0! | #DIV/0! | #DIV/0! | 17.45 | 20.45 |  | Average | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | Avg-C7 | Average | --- | --- | --- | --- | 6.3 | 0.0755 | 28.25 | 0.1 | #DIV/0! | 0.011 | #VALUE! | 1.27 | 0.9 | 0.37 | 27.25 | 6.3 | 2 | 165 | 5.35 | 3 | 3.15 | #DIV/0! | 11.5 | #DIV/0! | 6.15 | 5.95 | #DIV/0! | 1.35 | 2.3 | #DIV/0! | #DIV/0! | #DIV/0! | 13.45 | 15.75
[9 empty] | RPD-A74 | RPD | --- | --- | --- | --- | --- | 0 | 6.383 | 4.6512 | 0 | 5.4645 | 2.7397 | #VALUE! | 2.2472 | 25 | 2.7397 | 22.2985 | 0 | 13.3333 | 3.871 | 3.6364 | 1.5504 | 0 | 6.4516 | 9.8361 | 10.101 | 10 | #VALUE! | 9.9379 | #VALUE! | 0 | 4.0268 | #VALUE! | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE! | 1.7192 | 1.467 |  | RPD | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | RPD-C7 | RPD | --- | --- | --- | --- | 0 | 11.9205 | 1.7699 | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | 0 | 1.8349 | 0 | 0 | 6.0606 | 1.8692 | 6.6667 | 9.5238 | #VALUE! | 5.2174 | #VALUE! | 4.878 | 1.6807 | #VALUE! | 7.4074 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 2.2305 | 1.9048
[10 empty] | Primary |  |  | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  | Primary |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  | Primary |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
[10 empty] | Duplicate |  |  | -861590 | -2584770 | -5169540 | [10 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  | Duplicate |  |  | -861590 | -5169540 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0 |  | Duplicate |  |  | -861590 | -2584770 | [6 empty] | #DIV/0! |  |  | 0 | [8 empty] | 0 | [9 empty] | 0 | 0
[10 empty] | Average | --- | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 |  | Average | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 |  | Average | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0
[10 empty] | RPD | --- | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | RPD | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | RPD | --- | --- | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [14 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [15 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [9 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [16 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [18 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported | [16 empty] | BMRL = Below Minimum Reporting Level; NA = Not Analyzed; NR = Not Reported
[9 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [14 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [15 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [9 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [16 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [18 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured. | [16 empty] | *: These six species make up HAA6, but the other three HAA species, TBAA, CDBAA and DCBAA, should be reported if measured.
[32 empty] | A3 | 160 | 8.5 | 4.2 | BMRL | BMRL | 12.7 | BMRL | 12 | 5.1 | BMRL | BMRL | 2.6 | NA | NA | NA | 17.1 | 19.7
[32 empty] | 1st A4 dupl | 140 | 11 | 3.9 | BMRL | BMRL | 14.9 | BMRL | 12 | 6.2 | BMRL | BMRL | 1.9 |  |  |  | 18.2 | 20.1
Note on E8: Reviewer M.H. (8/30/99): Per utility, TOC Design value is confirmed.
Note on E10: Reviewer M.H. (8/30/99): Dry bed density was supplied by manufacturer.
Note on K6: Reviewer M.H. (8/30/99): Dose range reported 22.8-36.1 mg/L, reviewer entered the average.
Note on K8: Reviewer M.H. (11/2/99): Utility called to inform us that the sedimentation time was 4 hours.
Note on N16: Reviewer M.H. (11/10/99): The summary report submitted to the USEPA shows extensive TOC monitoring for the influent, 10 and 20 min EBCT. This data wasn't reported in the spreadsheets because official samples were "only taken when the increase in effluent TOC indicated breakthrough or when a steady state occurred."
Note on AB9: Reviewer M.H. (8/30/99): Reviewer changed bromide units from mg/L to ug/L.
Note on AD11: Reviewer M.H. (11/10/99): No response from utility regarding spike.
Note on AG11: Reviewer M.H. (8/30/99): Residual below 0.1 mg/L, reviewer changed DBPs to "NR".
Note on AG12: Reviewer M.H. (8/30/99): Residual result and DBP results pertain to the second sample in the first duplicate since the first sample's Cl2 residual was below 0.1 mg/L and its DBPs were changed to "NR"
Note on AG42: Reviewer M.H. (8/30/99): Residual reported as 0.9 mg/L, reviewer changed DBPs to "NR".
Note on AK9: Reviewer M.H. (8/30/99): Summary report confirms that residence time in the distribution system was 2 hours.
Note on AL11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AL42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AM11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AM42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AN11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AN42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AO11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AO42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AP11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AP42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AQ11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AQ42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AR11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AR42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AS11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AS42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AT11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AT42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AU11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AU42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AV11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AV42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AW11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AW42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AX11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AX42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AY11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AY42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on AZ11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on AZ42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on BA11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on BA42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on BB11: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 61.
Note on BB42: Reviewer M.H. (8/30/99): Reviewer changed DBPs to NR. Previous values were copied and pasted in row 62.
Note on BD13: Reviewer M.H. (8/30/99): Per utility, there were no more samples.
Note on BW5: Reviewer M.H. (11/10/99): Utility was asked to respond to the high 10 min effluent DBP breakthrough (higher than the influent), however, no response was provided by the utility.
Note on CB5: Reviewer M.H. (11/10/99): Utility was asked to respond to the high 10 min effluent DBP breakthrough (higher than the influent), however, no response was provided by the utility.
Note on CL5: Reviewer M.H. (11/10/99): Utility was asked to respond to the high 10 min effluent DBP breakthrough (higher than the influent), however, no response was provided by the utility.
Note on CM5: Reviewer M.H. (11/10/99): Utility was asked to respond to the high 10 min effluent DBP breakthrough (higher than the influent), however, no response was provided by the utility.
Note on CO16: Reviewer M.H. (8/30/99): Per utility, there were no more samples.
Note on EA18: Reviewer M.H. (10/11/99): Reviewer changed value from 4.45