## A-1 Calculations
[5 empty] | Step 1 |  |  |  |  | Steps 2 & 3 | Step 4 | Step 5 | Step 6 |  | Step 7 | [7 empty] | Step 8 | Steps 9 & 10 | Data Flags | Reapportionment Analysis - Revised Calculations
Plant Name | State | ORIS ID | Boiler ID | CAMD Unit ID | 2011 Ozone Season Heat Input (mmBtu) | 2012 Ozone Season Heat Input (mmBtu) | 2013 Ozone Season Heat Input (mmBtu) | 2014 Ozone Season Heat Input (mmBtu) | 2015 Ozone Season Heat Input (mmBtu) | Unit Level Average of 3 Highest Non-Zero Ozone Season Heat Inputs from 2011 to 2015 (mmBtu) | State Level Summation of Unit Level Three Year Average Ozone Season Heat Input (mmBtu) | Unit 's Percentage Share of State's Ozone Season Heat Input | Ozone Season NOX 2017 State Budget for Existing Units (tons) | Initial Heat Input Based 2017 Ozone Season NOX Allocation (tons) | 2008 Ozone Season NOX Emissions (tons) | 2009 Ozone Season NOX Emissions (tons) | 2010 Ozone Season NOX Emissions (tons) | 2011 Ozone Season NOX Emissions (tons) | 2012 Ozone Season NOX Emissions (tons) | 2013 Ozone Season NOX Emissions (tons) | 2014 Ozone Season NOX Emissions (tons) | 2015 Ozone Season NOX Emissions (tons) | Ozone Season NOX Maximum Historic Baseline (tons) | Final Transport Rule Unit Level NOX Ozone Season Allocation 2017 (tons) | EIA Data Substitution | Calculate X - O to determine if reaportionment is applied. | If AB = (+), then include the heat input for each source to determine reapportionment | For reaportionment if O < X (portion of max heat rate for past 5 years is less than maximum emission rate for past 8 years) |  |  | Calculated Allocations - Revised for OK Cogen | % Diff of EPA All. And Calc All. | Total Allocation Check
Calculation | [9 empty] | Average of three highest non-zero values in columns F - J | Sum column K values to get State level totals | Column K divided by column L |  | Column M x column N | [8 empty] | Highest value of columns P - W | (Lesser of columns X and O + reapportionment if O < X |  | If (-), then O > X and no reapportionment | If (+), Heat Input (MMBtu) | Fraction of Total Heat Input | Min of X,O | Reaportionment
AES Shady Point | Oklahoma | 10671 | 1A | 90961 |  |  |  |  | 3069468.219 | 3069468.219 | 341045301.96 | 0.0090002 | 11408.18 | 102.6756 | [7 empty] | 198.292 | 198.292 | 128 |  | 95.6164 | 3069468.219 | 0.012877 | 102.6756 | 25.1034 | 127.779 | 0.17266 | 128
AES Shady Point | Oklahoma | 10671 | 1B | 90962 |  |  |  |  | 3098715.803 | 3098715.803 | 341045301.96 | 0.0090859 | 11408.18 | 103.654 | [7 empty] | 203.029 | 203.029 | 130 |  | 99.375 | 3098715.803 | 0.013 | 103.654 | 25.3425 | 128.9965 | 0.77189 | 129
AES Shady Point | Oklahoma | 10671 | 2A | 90963 |  |  |  |  | 2995952.609 | 2995952.609 | 341045301.96 | 0.0087846 | 11408.18 | 100.2165 | [7 empty] | 206.107 | 206.107 | 125 |  | 105.8905 | 2995952.609 | 0.012569 | 100.2165 | 24.5021 | 124.7186 | 0.22511 | 125
AES Shady Point | Oklahoma | 10671 | 2B | 90964 |  |  |  |  | 2963254.549 | 2963254.549 | 341045301.96 | 0.0086887 | 11408.18 | 99.1227 | [7 empty] | 205.376 | 205.376 | 124 |  | 106.2533 | 2963254.549 | 0.012431 | 99.1227 | 24.2347 | 123.3574 | 0.51821 | 123
Anadarko | Oklahoma | 3006 | 3 | 2028 | 133467.957 | 150086.181 | 12800.658 | 3316.029 | 2207.561 | 98784.932 | 341045301.96 | 0.00028965 | 11408.18 | 3.3044 | 10.084 | 0.391 | 0.193 | 17.399 | 20.391 | 1.213 | 0.306 | 0.244 | 20.391 | 4 |  | 17.0866 | 98784.932 | 0.00041442 | 3.3044 | 0.8079 | 4.1123 | -2.808 | 4
Anadarko | Oklahoma | 3006 | 7 | 8326 | 4541.812 | 7815.133 | 1238.012 | 74648.428 | 179234.634 | 87232.7317 | 341045301.96 | 0.00025578 | 11408.18 | 2.918 | 2.446 | 1.981 | 0.732 | 0.159 | 0.266 | 0.043 | 2.606 | 6.252 | 6.252 | 4 |  | 3.334 | 87232.7317 | 0.00036596 | 2.918 | 0.71342 | 3.6314 | 9.2146 | 4
Anadarko | Oklahoma | 3006 | 8 | 8328 | 5660.9 | 8440.104 | 1828.615 | 102894.692 | 287814.341 | 133049.7123 | 341045301.96 | 0.00039012 | 11408.18 | 4.4506 | 2.354 | 2.277 | 0.633 | 0.22 | 0.328 | 0.069 | 4.014 | 11.174 | 11.174 | 6 |  | 6.7234 | 133049.7123 | 0.00055817 | 4.4506 | 1.0881 | 5.5387 | 7.6878 | 6
Anadarko | Oklahoma | 3006 | 9 | 90429 | 41507.169 | 46134.357 | 26592.832 | 295179.458 | 339269.838 | 226861.2177 | 341045301.96 | 0.00066519 | 11408.18 | 7.5887 |  | 0.139 | 7.175 | 1.839 | 2.236 | 1.144 | 11.652 | 12.048 | 12.048 | 9 |  | 4.4593 | 226861.2177 | 0.00095173 | 7.5887 | 1.8554 | 9.444 | -4.9335 | 9
Anadarko | Oklahoma | 3006 | 10 | 90430 | 31748.947 | 46205.086 | 23001.369 | 277067.333 | 360320.616 | 227864.345 | 341045301.96 | 0.00066814 | 11408.18 | 7.6222 |  | 0.144 | 6.512 | 1.41 | 2.287 | 1.01 | 11.214 | 12.912 | 12.912 | 10 |  | 5.2898 | 227864.345 | 0.00095593 | 7.6222 | 1.8636 | 9.4858 | 5.1423 | 9
Anadarko | Oklahoma | 3006 | 11 | 90431 | 38283.784 | 43770.937 | 20674.496 | 246623.66 | 356086.5 | 215493.699 | 341045301.96 | 0.00063186 | 11408.18 | 7.2084 |  | 0.062 | 6.432 | 1.731 | 2.164 | 0.943 | 9.92 | 13.068 | 13.068 | 9 |  | 5.8596 | 215493.699 | 0.00090404 | 7.2084 | 1.7624 | 8.9708 | 0.32451 | 9
Anadarko Plant | Oklahoma | 3006 | 4 | 90966 |  |  |  |  | 736756.894 | 736756.894 | 341045301.96 | 0.0021603 | 11408.18 | 24.645 | [7 empty] | 8.886 | 8.886 | 9 |  | -15.759 |  |  | 8.886 |  |  |  | 9
Anadarko Plant | Oklahoma | 3006 | 5 | 90967 |  |  |  |  | 1118066.091 | 1118066.091 | 341045301.96 | 0.0032784 | 11408.18 | 37.4 | [7 empty] | 13.514 | 13.514 | 14 |  | -23.886 |  |  | 13.514 |  |  |  | 14
Anadarko Plant | Oklahoma | 3006 | 6 | 90968 |  |  |  |  | 1335829.182 | 1335829.182 | 341045301.96 | 0.0039169 | 11408.18 | 44.6843 | [7 empty] | 17.355 | 17.355 | 17 |  | -27.3293 |  |  | 17.355 |  |  |  | 17
Chouteau Power Plant | Oklahoma | 7757 | 1 | 3155 | 1690022.015 | 2695833.644 | 1704143.602 | 1177991.305 | 2299246.261 | 2233074.5023 | 341045301.96 | 0.0065477 | 11408.18 | 74.6977 | 29.589 | 24.712 | 28.648 | 17.477 | 30.326 | 17.295 | 10.521 | 19.728 | 30.326 | 30 |  | -44.3717 |  |  | 30.326 |  |  |  | 30
Chouteau Power Plant | Oklahoma | 7757 | 2 | 3156 | 1786930.598 | 2742217.239 | 2080948.646 | 1508911.816 | 1604751.97 | 2203365.4943 | 341045301.96 | 0.0064606 | 11408.18 | 73.704 | 25.797 | 25.435 | 36.044 | 22.133 | 30.748 | 20.742 | 14.018 | 16.048 | 36.044 | 36 |  | -37.66 |  |  | 36.044 |  |  |  | 36
Chouteau Power Plant | Oklahoma | 7757 | 3 | 90617 | 1751203.488 | 2880624.447 | 2323422.783 | 1766885.298 | 2293282.393 | 2499109.8743 | 341045301.96 | 0.0073278 | 11408.18 | 83.5968 |  |  |  | 7.43 | 9.12 | 7.96 | 6.226 | 7.062 | 9.12 | 9 |  | -74.4768 |  |  | 9.12 |  |  |  | 9
Chouteau Power Plant | Oklahoma | 7757 | 4 | 90618 | 2106231.452 | 2984165.838 | 2627158.464 | 1939519.423 | 2534857.851 | 2715394.051 | 341045301.96 | 0.007962 | 11408.18 | 90.8316 |  |  |  | 8.906 | 9.703 | 8.262 | 6.784 | 7.688 | 9.703 | 10 |  | -81.1286 |  |  | 9.703 |  |  |  | 10
Comanche (8059) | Oklahoma | 8059 | 7251 | 3452 | 2355465.77 | 3027043.986 | 2331456.398 | 830554.201 | 400900.65 | 2571322.0513 | 341045301.96 | 0.0075395 | 11408.18 | 86.0123 | 612.754 |  | 466.633 | 551.602 | 875.124 | 552.462 | 231.689 | 101.421 | 875.124 | 108 |  | 789.1117 | 2571322.0513 | 0.010787 | 86.0123 | 21.0293 | 107.0417 | 0.88736 | 107
Comanche (8059) | Oklahoma | 8059 | 7252 | 3453 | 2036003.63 | 1118658.978 | 2376483.692 | 827743.473 | 402644.072 | 1843715.4333 | 341045301.96 | 0.0054061 | 11408.18 | 61.6734 | 651.61 | 963.796 | 701.3 | 509.268 | 303.686 | 523.844 | 227.343 | 88.48 | 963.796 | 77 |  | 902.1226 | 1843715.4333 | 0.0077347 | 61.6734 | 15.0786 | 76.7521 | 0.32196 | 77
Grand River Dam Authority | Oklahoma | 165 | 1 | 95 | 18403551.827 | 13685148.857 | 11137886.148 | 11098937.544 | 12995996.89 | 15028232.5247 | 341045301.96 | 0.044065 | 11408.18 | 502.7038 | 2745.886 | 2630.597 | 2652.768 | 3393.021 | 2734.145 | 962.376 | 991.866 | 1046.303 | 3393.021 | 629 |  | 2890.3172 | 15028232.5247 | 0.063046 | 502.7038 | 122.907 | 625.6108 | 0.53883 | 626
Grand River Dam Authority | Oklahoma | 165 | 2 | 96 | 18269014.798 | 16338246.291 | 15658303.544 | 14282766.467 | 11908353.943 | 16755188.211 | 341045301.96 | 0.049129 | 11408.18 | 560.4716 | 3075.166 | 3379.613 | 3234.582 | 3111.553 | 3153.759 | 1338.859 | 1169.796 | 906.415 | 3379.613 | 701 |  | 2819.1414 | 16755188.211 | 0.070291 | 560.4716 | 137.0307 | 697.5023 | 0.49896 | 698
Green Country Energy, LLC | Oklahoma | 55146 | CTGEN1 | 4006 | 3024873.843 | 4885756.939 | 3244306.84 | 3599882.151 | 4268153.511 | 4251264.2003 | 341045301.96 | 0.012465 | 11408.18 | 142.2075 | 54.392 | 54.049 | 57.408 | 43.201 | 61.859 | 39.365 | 51.921 | 54.384 | 61.859 | 62 |  | -80.3485 |  |  | 61.859 |  |  |  | 62
Green Country Energy, LLC | Oklahoma | 55146 | CTGEN2 | 4007 | 3511384.726 | 5018229.213 | 3454452.923 | 3363115.073 | 4060370.097 | 4196661.3453 | 341045301.96 | 0.012305 | 11408.18 | 140.381 | 38.231 | 62.792 | 46.823 | 55.658 | 65.5 | 44.056 | 44.67 | 53.823 | 65.5 | 66 |  | -74.881 |  |  | 65.5 |  |  |  | 66
Green Country Energy, LLC | Oklahoma | 55146 | CTGEN3 | 4008 | 2040433.056 | 4687391.602 | 3855250.933 | 3421368.96 | 4558723.621 | 4367122.052 | 341045301.96 | 0.012805 | 11408.18 | 146.083 | 47.289 | 53.354 | 48.664 | 28.727 | 60.198 | 42.837 | 44.745 | 53.839 | 60.198 | 60 |  | -85.885 |  |  | 60.198 |  |  |  | 60
Horseshoe Lake | Oklahoma | 2951 | 6 | 2000 | 2728198.859 | 2784077.705 | 293185.629 | 1626279.001 | 981552.406 | 2379518.5217 | 341045301.96 | 0.0069771 | 11408.18 | 79.5964 | 327.312 | 376.688 | 397.182 | 350.967 | 375.581 | 36.381 | 199.729 | 120.434 | 397.182 | 100 |  | 317.5856 | 2379518.5217 | 0.0099825 | 79.5964 | 19.4607 | 99.0571 | 0.94294 | 99
Horseshoe Lake | Oklahoma | 2951 | 7 | 2001 | 4653859.599 | 3830768.339 | 2988490.111 | 2132490.002 | 335162.428 | 3824372.683 | 341045301.96 | 0.011214 | 11408.18 | 127.9277 | 200.762 | 315.642 | 300.843 | 365.274 | 318.601 | 227.157 | 183.125 | 26.402 | 365.274 | 160 |  | 237.3463 | 3824372.683 | 0.016044 | 127.9277 | 31.2773 | 159.2049 | 0.49691 | 159
Horseshoe Lake | Oklahoma | 2951 | 8 | 2002 | 4244154.151 | 6019650.701 | 3154859.356 | 1181171.196 | 909173.9 | 4472888.0693 | 341045301.96 | 0.013115 | 11408.18 | 149.6209 | 93.565 | 163.386 | 426.907 | 270.188 | 497.537 | 299.609 | 158.739 | 128.638 | 497.537 | 187 |  | 347.9161 | 4472888.0693 | 0.018765 | 149.6209 | 36.5811 | 186.202 | 0.42673 | 186
Horseshoe Lake | Oklahoma | 2951 | 9 | 2003 | 185581.491 | 94721.325 | 53165.408 | 311000.066 | 346427.578 | 281003.045 | 341045301.96 | 0.00082395 | 11408.18 | 9.3997 | 1.56 | 3.67 | 1.874 | 7.801 | 3.934 | 2.162 | 9.976 | 16.448 | 16.448 | 12 |  | 7.0483 | 281003.045 | 0.0011789 | 9.3997 | 2.2982 | 11.6979 | 2.5176 | 12
Horseshoe Lake | Oklahoma | 2951 | 10 | 1999 | 168484.915 | 91273.245 | 50907.257 | 319982.218 | 334325.993 | 274264.3753 | 341045301.96 | 0.00080419 | 11408.18 | 9.1743 | 1.795 | 3.128 | 10.187 | 7.2 | 4.093 | 2.281 | 14.456 | 16.805 | 16.805 | 11 |  | 7.6307 | 274264.3753 | 0.0011506 | 9.1743 | 2.243 | 11.4174 | -3.7942 | 11
Hugo | Oklahoma | 6772 | 1 | 2908 | 14053803.458 | 12443868.028 | 15779222.982 | 15100852.7 | 12161798.876 | 14977959.7133 | 341045301.96 | 0.043918 | 11408.18 | 501.0222 | 1437.613 | 1350.668 | 1264.223 | 1289.423 | 1123.681 | 1472.071 | 1465.099 | 1078.693 | 1472.071 | 627 |  | 971.0488 | 14977959.7133 | 0.062835 | 501.0222 | 122.4958 | 623.518 | 0.55535 | 624
McClain Energy Facility | Oklahoma | 55457 | CT1 | 4808 | 4764423.039 | 5209352.743 | 3965514.558 | 3648239.711 | 5410266.624 | 5128014.1353 | 341045301.96 | 0.015036 | 11408.18 | 171.5353 | 58.15 | 74.112 | 68.568 | 70.557 | 81.247 | 58.803 | 52.759 | 77.519 | 81.247 | 81 |  | -90.2883 |  |  | 81.247 |  |  |  | 81
McClain Energy Facility | Oklahoma | 55457 | CT2 | 4809 | 5355734.617 | 4911199.392 | 4389373.819 | 3776631.686 | 5193702.386 | 5153545.465 | 341045301.96 | 0.015111 | 11408.18 | 172.3893 | 61.105 | 78.974 | 72.339 | 73.598 | 75.61 | 67.02 | 55.923 | 73.536 | 78.974 | 79 |  | -93.4153 |  |  | 78.974 |  |  |  | 79
Mooreland | Oklahoma | 3008 | 1 | 2029 |  | 267927.077 | 22550.565 | 6086.515 | 26841.454 | 105773.032 | 341045301.96 | 0.00031014 | 11408.18 | 3.5382 | 11.089 | 4.062 | 10.763 |  | 48.648 | 3.457 | 1.372 | 6.812 | 48.648 | 4 |  | 45.1098 | 105773.032 | 0.00044374 | 3.5382 | 0.86505 | 4.4032 | -10.0807 | 4
Mooreland | Oklahoma | 3008 | 2 | 2030 | 1404730.334 | 1292672.657 | 1178776.035 | 1110082.069 | 1746617.275 | 1481340.0887 | 341045301.96 | 0.0043435 | 11408.18 | 49.5518 | 90.301 | 127.984 | 103.642 | 114.176 | 105.607 | 77.38 | 109.537 | 172.733 | 172.733 | 62 |  | 123.1812 | 1481340.0887 | 0.0062145 | 49.5518 | 12.115 | 61.6668 | 0.53749 | 62
Mooreland | Oklahoma | 3008 | 3 | 2031 | 1600846.426 | 1080048.034 | 653392.663 | 482996.365 | 421942.984 | 1111429.041 | 341045301.96 | 0.0032589 | 11408.18 | 37.178 | 49.343 | 94.483 | 138.025 | 113.295 | 71.472 | 40.811 | 34.628 | 28.395 | 138.025 | 47 |  | 100.847 | 1111429.041 | 0.0046627 | 37.178 | 9.0897 | 46.2677 | 1.5581 | 46
Muskogee | Oklahoma | 2952 | 3 | 2004 | [6 empty] | 341045301.96 | 0 | 11408.18 | 0 | 175.052 | [7 empty] | 175.052 |  |  | 175.052 | 0 | 0 | 0 | 0 | 0 |  | 0
Muskogee | Oklahoma | 2952 | 4 | 2005 | 14645468.461 | 14714429.854 | 11346598.966 | 14015058.887 | 407652.847 | 14458319.0673 | 341045301.96 | 0.042394 | 11408.18 | 483.6399 | 2117.101 | 2453.146 | 2460.357 | 2216.218 | 1991.086 | 1897.722 | 2190.645 | 39.287 | 2460.357 | 605 |  | 1976.7171 | 14458319.0673 | 0.060655 | 483.6399 | 118.246 | 601.8858 | 0.51474 | 602
Muskogee | Oklahoma | 2952 | 5 | 2006 | 13526094.244 | 13585713.889 | 13404319.112 | 17495093.545 | 13286088.517 | 14868967.226 | 341045301.96 | 0.043598 | 11408.18 | 497.3763 | 2727.569 | 2256.884 | 2428.6 | 2211.739 | 1880.599 | 2115.262 | 1289.875 | 929.361 | 2727.569 | 622 |  | 2230.1927 | 14868967.226 | 0.062378 | 497.3763 | 121.6044 | 618.9807 | 0.48541 | 619
Muskogee | Oklahoma | 2952 | 6 | 2007 | 15873980.927 | 15669397.678 | 13181624.19 | 7224451.47 | 11503681.565 | 14908334.265 | 341045301.96 | 0.043714 | 11408.18 | 498.6932 | 3056.669 | 2403.917 | 2508.878 | 2691.038 | 2374.719 | 1838.901 | 1241.052 | 1497.05 | 3056.669 | 624 |  | 2557.9758 | 14908334.265 | 0.062543 | 498.6932 | 121.9264 | 620.6195 | 0.54174 | 621
Mustang | Oklahoma | 2953 | 1 | 2008 | 364304.828 | 202390.02 | 129584.614 | 127563.784 | 67379.07 | 232093.154 | 341045301.96 | 0.00068053 | 11408.18 | 7.7637 | 4.134 | 14.882 | 49.247 | 26.621 | 14.734 | 9.229 | 10.992 | 8.155 | 49.247 | 10 |  | 41.4833 | 232093.154 | 0.00097367 | 7.7637 | 1.8982 | 9.6618 | 3.3819 | 10
Mustang | Oklahoma | 2953 | 2 | 2009 | 421621.333 | 268951.224 | 133631.079 | 180958.964 | 39378.661 | 290510.507 | 341045301.96 | 0.00085182 | 11408.18 | 9.7178 | 2.748 | 11.086 | 38.3 | 24.423 | 15.978 | 8.173 | 12.737 | 3.961 | 38.3 | 12 |  | 28.5822 | 290510.507 | 0.0012187 | 9.7178 | 2.3759 | 12.0937 | -0.7806 | 12
Mustang | Oklahoma | 2953 | 3 | 2010 | 2562029.243 | 1802438.73 | 686474.611 | 290335.617 | 268648.735 | 1683647.528 | 341045301.96 | 0.0049367 | 11408.18 | 56.3191 | 215.275 | 142.425 | 185.24 | 318.315 | 270.872 | 71.358 | 43.928 | 38.143 | 318.315 | 70 |  | 261.9959 | 1683647.528 | 0.0070632 | 56.3191 | 13.7695 | 70.0886 | -0.1266 | 70
Mustang | Oklahoma | 2953 | 4 | 2011 | 4363918.03 | 3343121.562 | 2999936.809 | 817506.365 | 769130.589 | 3568992.1337 | 341045301.96 | 0.010465 | 11408.18 | 119.385 | 618.768 | 490.673 | 397.387 | 810.482 | 618.143 | 495.945 | 135.724 | 137.548 | 810.482 | 149 |  | 691.097 | 3568992.1337 | 0.014973 | 119.385 | 29.1887 | 148.5737 | 0.28611 | 149
Mustang | Oklahoma | 2953 | 5A-1 | 90979 |  |  |  |  | 5761.5 | 5761.5 | 341045301.96 | 1.6894e-05 | 11408.18 | 0.19273 | [7 empty] | 2.017 | 2.017 | 0 |  | 1.8243 | 5761.5 | 2.4171e-05 | 0.19273 | 0.04712 | 0.23985 |  | 0
Mustang | Oklahoma | 2953 | 5A-2 | 90980 |  |  |  |  | 5761.5 | 5761.5 | 341045301.96 | 1.6894e-05 | 11408.18 | 0.19273 | [7 empty] | 2.017 | 2.017 | 0 |  | 1.8243 | 5761.5 | 2.4171e-05 | 0.19273 | 0.04712 | 0.23985 |  | 0
Mustang | Oklahoma | 2953 | 5B-1 | 90981 |  |  |  |  | 5125.5 | 5125.5 | 341045301.96 | 1.5029e-05 | 11408.18 | 0.17145 | [7 empty] | 1.794 | 1.794 | 0 |  | 1.6225 | 5125.5 | 2.1502e-05 | 0.17145 | 0.041918 | 0.21337 |  | 0
Mustang | Oklahoma | 2953 | 5B-2 | 90982 |  |  |  |  | 2932.4 | 2932.4 | 341045301.96 | 8.5983e-06 | 11408.18 | 0.098091 | [7 empty] | 1.027 | 1.027 | 0 |  | 0.92891 | 2932.4 | 1.2302e-05 | 0.098091 | 0.023982 | 0.12207 |  | 0
Northeastern | Oklahoma | 2963 | 3302 | 2018 | 7877877.193 | 6957295.033 | 4455656.047 | 1010287.057 | 344724.627 | 6430276.091 | 341045301.96 | 0.018855 | 11408.18 | 215.0968 | 1458.776 | 905.732 | 1772.455 | 1945.881 | 1716.997 | 907.958 | 103.324 | 33.752 | 1945.881 | 269 |  | 1730.7842 | 6430276.091 | 0.026976 | 215.0968 | 52.5894 | 267.6862 | 0.48841 | 268
Northeastern | Oklahoma | 2963 | 3313 | 2019 | 15036138.448 | 14605961.715 | 16401727.526 | 17836753.764 | 14654298.844 | 16424873.246 | 341045301.96 | 0.04816 | 11408.18 | 549.4223 | 2390.137 | 3026.332 | 2780.26 | 2939.359 | 1106.574 | 1606.161 | 1403.488 | 980.695 | 3026.332 | 687 |  | 2476.9097 | 16424873.246 | 0.068905 | 549.4223 | 134.3292 | 683.7516 | 0.47284 | 684
Northeastern | Oklahoma | 2963 | 3314 | 2020 | 16360545.485 | 14565496.305 | 16167021.155 | 14092113.099 | 12901609.299 | 15697687.6483 | 341045301.96 | 0.046028 | 11408.18 | 525.0975 | 2990.975 | 2933.108 | 2492.337 | 3244.078 | 1097.767 | 1574.56 | 1082.856 | 866.548 | 3244.078 | 657 |  | 2718.9805 | 15697687.6483 | 0.065855 | 525.0975 | 128.382 | 653.4796 | 0.53584 | 653
Northeastern | Oklahoma | 2963 | 3301A | 2016 | 4537700.191 | 4891997.849 | 3802708.625 | 3314657.148 | 2544135.193 | 4410802.2217 | 341045301.96 | 0.012933 | 11408.18 | 147.5441 | 73.635 | 61.384 | 74.532 | 88.236 | 87.856 | 68.669 | 63.79 | 46.618 | 88.236 | 88 |  | -59.3081 |  |  | 88.236 |  |  |  | 88
Northeastern | Oklahoma | 2963 | 3301B | 2017 | 4718497.954 | 4522602.675 | 4368881.32 | 3096951.25 | 3079964.552 | 4536660.6497 | 341045301.96 | 0.013302 | 11408.18 | 151.7542 | 85.246 | 61.015 | 72.073 | 73.223 | 73.277 | 75.136 | 52.864 | 56.409 | 85.246 | 85 |  | -66.5082 |  |  | 85.246 |  |  |  | 85
Oklahoma Cogeneration LLC | Oklahoma | 50558 | CC01 | 90991 | 1959370 | 1456596 | 1018766 | 316237 | 284731 | 1478244 | 341045301.96 | 0.0043345 | 11408.18 | 49.4482 | 126 | 105 | 145 | 163 | 130 | 96 | 29 | 43 | 163 | 12 |  | 113.5518 | 1478244 | 0.0062015 | 49.4482 | 12.0897 | 61.5379 | -412.8156 | 62
Oneta Energy Center | Oklahoma | 55225 | CTG-1 | 4187 | 3224013.55 | 3962016.63 | 3046023.581 | 2974407.72 | 4562330.042 | 3916120.074 | 341045301.96 | 0.011483 | 11408.18 | 130.9967 | 38.245 | 45.792 | 63.466 | 56.44 | 65.371 | 59.074 | 60.132 | 81.678 | 81.678 | 82 |  | -49.3187 |  |  | 81.678 |  |  |  | 82
Oneta Energy Center | Oklahoma | 55225 | CTG-2 | 4188 | 3201389.133 | 3497851.926 | 2654787.182 | 3020684.419 | 4372870.936 | 3690703.9983 | 341045301.96 | 0.010822 | 11408.18 | 123.4564 | 33.097 | 48.752 | 63.801 | 57.041 | 62.141 | 50.503 | 60.05 | 79.577 | 79.577 | 80 |  | -43.8794 |  |  | 79.577 |  |  |  | 80
Oneta Energy Center | Oklahoma | 55225 | CTG-3 | 4189 | 3419843.485 | 3334069.209 | 2525902.347 | 2677616.532 | 4580192.298 | 3778034.9973 | 341045301.96 | 0.011078 | 11408.18 | 126.3776 | 34.783 | 54.603 | 52.812 | 56.698 | 60.013 | 48.575 | 55.499 | 74.385 | 74.385 | 74 |  | -51.9926 |  |  | 74.385 |  |  |  | 74
Oneta Energy Center | Oklahoma | 55225 | CTG-4 | 4190 | 3000645.799 | 3371770.005 | 2959106.812 | 2764797.856 | 4807111.429 | 3726509.0777 | 341045301.96 | 0.010927 | 11408.18 | 124.6541 | 34.356 | 62.467 | 66.819 | 56.053 | 63.241 | 60.352 | 57.087 | 82.673 | 82.673 | 83 |  | -41.9811 |  |  | 82.673 |  |  |  | 83
Ponca | Oklahoma | 762 | 2 | 565 | 20311.23 | 2014.119 | 1432.323 | 0.185 | 6702.295 | 9675.8813 | 341045301.96 | 2.8371e-05 | 11408.18 | 0.32366 | 0.492 | 0.136 | 0.174 | 1.917 | 0.127 | 0.09 | 0 | 0.416 | 1.917 | 0 |  | 1.5933 | 9675.8813 | 4.0592e-05 | 0.32366 | 0.079133 | 0.4028 |  | 0
Ponca | Oklahoma | 762 | 3 | 566 | 378068.485 | 423106.604 | 77717.13 | 200395.234 | 171100.641 | 333856.7743 | 341045301.96 | 0.00097892 | 11408.18 | 11.1677 | 17.085 | 6.43 | 11.587 | 15.474 | 17.209 | 3.254 | 8.495 | 7.389 | 17.209 | 14 |  | 6.0413 | 333856.7743 | 0.0014006 | 11.1677 | 2.7304 | 13.8981 | 0.72761 | 14
Ponca | Oklahoma | 762 | 4 | 89334 | 83012.415 | 186383.97 | 23042.42 | 46674.49 | 57162.207 | 108852.864 | 341045301.96 | 0.00031917 | 11408.18 | 3.6412 | 2.862 | 1.695 | 5.385 | 2.995 | 6.664 | 0.856 | 1.87 | 2.316 | 6.664 | 5 |  | 3.0228 | 108852.864 | 0.00045666 | 3.6412 | 0.89024 | 4.5314 | 9.3712 | 5
Redbud Power Plant | Oklahoma | 55463 | CT-01 | 4817 | 4862939.163 | 6628641.243 | 3677760.146 | 4376521.878 | 7468257.591 | 6319945.999 | 341045301.96 | 0.018531 | 11408.18 | 211.4062 | 25.056 | 28.083 | 26.787 | 29.376 | 34.227 | 24.525 | 24.271 | 38.62 | 38.62 | 39 |  | -172.7862 |  |  | 38.62 |  |  |  | 39
Redbud Power Plant | Oklahoma | 55463 | CT-02 | 4818 | 4555704.007 | 5748420.347 | 4819740.27 | 5505093.689 | 6808479.934 | 6020664.6567 | 341045301.96 | 0.017654 | 11408.18 | 201.395 | 22.248 | 32.134 | 22.751 | 29.27 | 32.335 | 26.899 | 32.082 | 36.936 | 36.936 | 37 |  | -164.459 |  |  | 36.936 |  |  |  | 37
Redbud Power Plant | Oklahoma | 55463 | CT-03 | 4819 | 5047457.243 | 6183199.225 | 5359072.058 | 5828258.925 | 6672154.3 | 6227870.8167 | 341045301.96 | 0.018261 | 11408.18 | 208.3262 | 21.133 | 26.011 | 24.701 | 28.89 | 34.033 | 31.509 | 33.376 | 39.622 | 39.622 | 40 |  | -168.7042 |  |  | 39.622 |  |  |  | 40
Redbud Power Plant | Oklahoma | 55463 | CT-04 | 4820 | 5029509.837 | 4582708.287 | 4493607.861 | 3991751.813 | 6803224.562 | 5471814.2287 | 341045301.96 | 0.016044 | 11408.18 | 183.0356 | 22.337 | 26.833 | 29.118 | 32.112 | 26.842 | 30.927 | 23.902 | 36.508 | 36.508 | 37 |  | -146.5276 |  |  | 36.508 |  |  |  | 37
Riverside (4940) | Oklahoma | 4940 | 1501 | 2660 | 6222961.909 | 3785869.681 | 3457341.2 | 457245.284 | 188598.739 | 4488724.2633 | 341045301.96 | 0.013162 | 11408.18 | 150.1507 | 597.265 | 772.061 | 492.695 | 782.386 | 437.447 | 424.248 | 56.229 | 18.924 | 782.386 | 188 |  | 632.2353 | 4488724.2633 | 0.018831 | 150.1507 | 36.7106 | 186.8613 | 0.60572 | 187
Riverside (4940) | Oklahoma | 4940 | 1502 | 2661 | 6307009.636 | 6684520.126 | 4904690.499 | 264625.507 | 313353.1 | 5965406.7537 | 341045301.96 | 0.017492 | 11408.18 | 199.5466 | 705.109 | 593.705 | 775.276 | 960.434 | 907.206 | 573.767 | 31.049 | 33.983 | 960.434 | 250 |  | 760.8874 | 5965406.7537 | 0.025026 | 199.5466 | 48.7875 | 248.3341 | 0.66635 | 248
Riverside (4940) | Oklahoma | 4940 | 1503 | 1871 | 321618.8 | 256339.9 | 50102.4 | 50949.2 | 111470.9 | 229809.8667 | 341045301.96 | 0.00067384 | 11408.18 | 7.6873 | 38.452 | 1.045 | 3.574 | 21.851 | 20.107 | 9.413 | 2.52 | 7.372 | 38.452 | 10 |  | 30.7647 | 229809.8667 | 0.0009641 | 7.6873 | 1.8795 | 9.5668 | 4.3324 | 10
Riverside (4940) | Oklahoma | 4940 | 1504 | 1872 | 308812.2 | 232830.2 | 42736.7 | 27572.5 | 120583.5 | 220741.9667 | 341045301.96 | 0.00064725 | 11408.18 | 7.384 | 17.229 | 0.661 | 2.549 | 86.833 | 11.24 | 8.603 | 2.152 | 8.104 | 86.833 | 9 |  | 79.449 | 220741.9667 | 0.00092605 | 7.384 | 1.8053 | 9.1893 | -2.1031 | 9
Seminole (2956) | Oklahoma | 2956 | 1 | 2012 | 7276466.473 | 7231097.801 | 5441625.767 | 581067.149 | 1965854.604 | 6649730.0137 | 341045301.96 | 0.019498 | 11408.18 | 222.4377 | 532.803 | 660.035 | 511.775 | 765.748 | 755.384 | 444.546 | 61.153 | 186.788 | 765.748 | 278 |  | 543.3103 | 6649730.0137 | 0.027897 | 222.4377 | 54.3842 | 276.8218 | 0.4238 | 277
Seminole (2956) | Oklahoma | 2956 | 2 | 2013 | 7914160.47 | 6688176.678 | 5785874.997 | 501298.92 | 2815665.249 | 6796070.715 | 341045301.96 | 0.019927 | 11408.18 | 227.3328 | 689.295 | 909.043 | 507.281 | 945.198 | 723.731 | 477.022 | 54.476 | 325.428 | 945.198 | 284 |  | 717.8652 | 6796070.715 | 0.028511 | 227.3328 | 55.581 | 282.9139 | 0.38245 | 283
Seminole (2956) | Oklahoma | 2956 | 3 | 2014 | 7877916.998 | 7889246.973 | 5828963.117 | 2068522.56 | 4443604.735 | 7198709.0293 | 341045301.96 | 0.021108 | 11408.18 | 240.8013 | 658.855 | 338.879 | 517.577 | 605.718 | 641.222 | 615.599 | 165.533 | 361.153 | 658.855 | 301 |  | 418.0537 | 7198709.0293 | 0.0302 | 240.8013 | 58.8739 | 299.6753 | 0.4401 | 300
Sooner | Oklahoma | 6095 | 1 | 2773 | 14492320.179 | 12970206.827 | 12982242.541 | 16295046.465 | 14203708.717 | 14997025.1203 | 341045301.96 | 0.043974 | 11408.18 | 501.6599 | 2611.871 | 2225.557 | 2407.012 | 2159.986 | 2195.951 | 2139.889 | 1209.216 | 959.684 | 2611.871 | 627 |  | 2110.2111 | 14997025.1203 | 0.062915 | 501.6599 | 122.6517 | 624.3117 | 0.42876 | 624
Sooner | Oklahoma | 6095 | 2 | 2774 | 16114964.195 | 13070591.289 | 14196638.694 | 12684629.427 | 14480180.638 | 14930594.509 | 341045301.96 | 0.043779 | 11408.18 | 499.4378 | 2868.782 | 2120.253 | 2190.444 | 2580.09 | 1922.037 | 1107.741 | 881.22 | 1009.064 | 2868.782 | 625 |  | 2369.3442 | 14930594.509 | 0.062637 | 499.4378 | 122.1084 | 621.5462 | 0.55261 | 622
Southwestern | Oklahoma | 2964 | 8002 | 2021 | 683953.656 | 56826.437 | 192920.729 | 117045.362 | 352238.246 | 409704.2103 | 341045301.96 | 0.0012013 | 11408.18 | 13.7049 | 7.242 | 26.767 | 62.032 | 115.513 | 7.668 | 26.639 | 15.92 | 48.966 | 115.513 | 17 |  | 101.8081 | 409704.2103 | 0.0017188 | 13.7049 | 3.3507 | 17.0556 | -0.327 | 17
Southwestern | Oklahoma | 2964 | 8003 | 2022 | 4104929.064 | 3851790.723 | 2873574.159 | 1945321.024 | 2322871.407 | 3610097.982 | 341045301.96 | 0.010585 | 11408.18 | 120.76 | 1318.469 | 1000.107 | 1153.866 | 1176.294 | 1185.031 | 356.02 | 224.959 | 296.352 | 1318.469 | 151 |  | 1197.709 | 3610097.982 | 0.015145 | 120.76 | 29.5248 | 150.2849 | 0.47358 | 150
Southwestern | Oklahoma | 2964 | 8004 | 1873 | 375991.1 | 351912.6 | 89721.2 | 71823.6 | 93536.6 | 273813.4333 | 341045301.96 | 0.00080287 | 11408.18 | 9.1592 | 4.425 | 2.11 | 3.686 | 22.902 | 18.747 | 5.111 | 3.355 | 7.589 | 22.902 | 11 |  | 13.7428 | 273813.4333 | 0.0011487 | 9.1592 | 2.2394 | 11.3986 | -3.6235 | 11
Southwestern | Oklahoma | 2964 | 8005 | 1874 | 376330.9 | 309336.4 | 72399.9 | 82263.8 | 95746.1 | 260471.1333 | 341045301.96 | 0.00076374 | 11408.18 | 8.7129 | 4.226 | 1.847 | 3.096 | 20.977 | 16.486 | 3.635 | 3.977 | 7.466 | 20.977 | 11 |  | 12.2641 | 260471.1333 | 0.0010927 | 8.7129 | 2.1302 | 10.8432 | 1.4258 | 11
Southwestern | Oklahoma | 2964 | 801N | 2023 | 353019.583 | 367255.601 | 93574.245 | 13786.335 | 50631.064 | 271283.143 | 341045301.96 | 0.00079545 | 11408.18 | 9.0746 | 4.348 | 12.802 | 29.094 | 47.436 | 45.922 | 12.38 | 1.54 | 6.172 | 47.436 | 11 |  | 38.3614 | 271283.143 | 0.0011381 | 9.0746 | 2.2187 | 11.2933 | -2.666 | 11
Southwestern | Oklahoma | 2964 | 801S | 2024 | 352920.412 | 426814.283 | 93552.934 | 13959.287 | 43929.135 | 291095.8763 | 341045301.96 | 0.00085354 | 11408.18 | 9.7373 | 4.002 | 9.86 | 23.202 | 41.982 | 53.126 | 10.789 | 1.593 | 4.853 | 53.126 | 12 |  | 43.3887 | 291095.8763 | 0.0012212 | 9.7373 | 2.3807 | 12.118 | -0.98367 | 12
Spring Creek Power Plant | Oklahoma | 55651 | CT-01 | 5035 | 353531.908 | 409355.107 | 27742.739 | 11451.991 | 44310.748 | 269065.921 | 341045301.96 | 0.00078894 | 11408.18 | 9.0004 | 1.668 | 3.264 | 3.36 | 3.908 | 4.748 | 0.314 | 0.121 | 0.519 | 4.748 | 5 |  | -4.2524 |  |  | 4.748 |  |  |  | 5
Spring Creek Power Plant | Oklahoma | 55651 | CT-02 | 5036 | 358197.662 | 360107.763 | 37536.925 | 9957.078 | 43953.907 | 254086.444 | 341045301.96 | 0.00074502 | 11408.18 | 8.4994 | 2.529 | 14.054 | 2.941 | 3.709 | 3.828 | 0.387 | 0.097 | 0.411 | 14.054 | 11 |  | 5.5546 | 254086.444 | 0.0010659 | 8.4994 | 2.078 | 10.5774 | 3.8421 | 11
Spring Creek Power Plant | Oklahoma | 55651 | CT-03 | 5037 | 363243.098 | 285385.158 | 30473.472 |  | 23734.08 | 226367.2427 | 341045301.96 | 0.00066375 | 11408.18 | 7.5721 | 1.855 | 13.327 | 2.928 | 4.001 | 3.201 | 0.335 |  | 2.806 | 13.327 | 9 |  | 5.7549 | 226367.2427 | 0.00094965 | 7.5721 | 1.8513 | 9.4234 | -4.705 | 9
Spring Creek Power Plant | Oklahoma | 55651 | CT-04 | 5038 | 342944.499 | 296233.86 | 33308.721 | 6033.118 | 30714.21 | 224162.36 | 341045301.96 | 0.00065728 | 11408.18 | 7.4984 | 2.938 | 15.955 | 2.413 | 3.254 | 2.819 | 0.315 | 0.054 | 2.863 | 15.955 | 9 |  | 8.4566 | 224162.36 | 0.0009404 | 7.4984 | 1.8333 | 9.3317 | -3.6851 | 9
Tenaska Kiamichi Generating Station | Oklahoma | 55501 | CTGDB1 | 4899 | 4106353.855 | 5714938.988 | 3424275.824 | 3900949.17 | 3517653.092 | 4574080.671 | 341045301.96 | 0.013412 | 11408.18 | 153.0059 | 82.797 | 76.666 | 71.596 | 73.658 | 91.992 | 66.197 | 71.29 | 62.372 | 91.992 | 92 |  | -61.0139 |  |  | 91.992 |  |  |  | 92
Tenaska Kiamichi Generating Station | Oklahoma | 55501 | CTGDB2 | 4900 | 4023474.387 | 5987471.669 | 3503399.275 | 3836372.606 | 3500287.294 | 4615772.8873 | 341045301.96 | 0.013534 | 11408.18 | 154.4005 | 80.992 | 81.48 | 75.572 | 72.169 | 100.089 | 59.273 | 66.551 | 62.847 | 100.089 | 100 |  | -54.3115 |  |  | 100.089 |  |  |  | 100
Tenaska Kiamichi Generating Station | Oklahoma | 55501 | CTGDB3 | 4901 | 4111000.269 | 5782873.41 | 3842722.696 | 3474059.452 | 3370668.84 | 4578865.4583 | 341045301.96 | 0.013426 | 11408.18 | 153.1659 | 80.114 | 80.175 | 74.46 | 75.495 | 84.405 | 70.528 | 62.193 | 62.341 | 84.405 | 84 |  | -68.7609 |  |  | 84.405 |  |  |  | 84
Tenaska Kiamichi Generating Station | Oklahoma | 55501 | CTGDB4 | 4902 | 4114049.031 | 5882597.572 | 3809292.641 | 3641688.093 | 3386384.185 | 4601979.748 | 341045301.96 | 0.013494 | 11408.18 | 153.9391 | 76.466 | 81.94 | 70.231 | 77.622 | 87.701 | 65.969 | 66.183 | 64.468 | 87.701 | 88 |  | -66.2381 |  |  | 87.701 |  |  |  | 88
Tulsa | Oklahoma | 2965 | 1402 | 2025 | 1102922.39 | 1104548.062 | 548895.099 | 194221.786 | 787108.233 | 998192.895 | 341045301.96 | 0.0029269 | 11408.18 | 33.3902 | 134.617 | 72.125 | 97.286 | 111.081 | 113.296 | 56.189 | 27.565 | 89.782 | 134.617 | 42 |  | 101.2268 | 998192.895 | 0.0041876 | 33.3902 | 8.1636 | 41.5538 | 1.0624 | 42
Tulsa | Oklahoma | 2965 | 1403 | 2026 | 284314.955 |  |  |  |  | 284314.955 | 341045301.96 | 0.00083366 | 11408.18 | 9.5105 | 10.941 | 8.571 | 19.203 | 34.29 |  |  |  |  | 34.29 | 12 |  | 24.7795 | 284314.955 | 0.0011928 | 9.5105 | 2.3252 | 11.8358 | 1.3687 | 12
Tulsa | Oklahoma | 2965 | 1404 | 2027 | 1027755.364 | 872103.328 | 789281.903 | 1064145.693 | 856028.729 | 988001.4617 | 341045301.96 | 0.002897 | 11408.18 | 33.0493 | 96.387 | 51.052 | 97.771 | 102.266 | 89.941 | 71.925 | 108.338 | 85.631 | 108.338 | 41 |  | 75.2887 | 988001.4617 | 0.0041449 | 33.0493 | 8.0803 | 41.1295 | -0.31596 | 41
Weleetka | Oklahoma | 2966 | 4 | 90969 |  |  |  |  | 58506.4 | 58506.4 | 341045301.96 | 0.00017155 | 11408.18 | 1.9571 | [7 empty] | 20.478 | 20.478 | 2 |  | 18.5209 | 58506.4 | 0.00024545 | 1.9571 | 0.47849 | 2.4356 | -21.7782 | 2
Weleetka | Oklahoma | 2966 | 5 | 90970 | [6 empty] | 341045301.96 | 0 | 11408.18 | 0 | [8 empty] | 0 |  |  | 0 |  |  | 0 |  |  |  | 0
Weleetka | Oklahoma | 2966 | 6 | 90971 |  |  |  |  | 3701.6 | 3701.6 | 341045301.96 | 1.0854e-05 | 11408.18 | 0.12382 | [7 empty] | 1.296 | 1.296 | 0 |  | 1.1722 | 3701.6 | 1.5529e-05 | 0.12382 | 0.030273 | 0.15409 |  | 0
[10 empty] | 341045301.96 |  | 1 | [10 empty] | State Level All. = | 11408 |  | TOTAL | 238368207.2677 | 1 | 9458.7086 | 1949.4714 | 9923.038 |  | 11411
[28 empty] | Difference between Min X,O and State All. = | 1949.4714 | to determine reapportionment
Note on F56: EIA Data for May-Sept for total fuel consumed (mmBTU).
Note on G56: EIA Data for May-Sept for total fuel consumed (mmBTU).
Note on H56: EIA Data for May-Sept for total fuel consumed (mmBTU).
Note on I56: EIA Data for May-Sept for total fuel consumed (mmBTU).
Note on J56: CEMS Data for May-Sept for total fuel consumed (mmBTU).
Note on P56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on Q56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on R56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on S56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on T56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on U56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on V56: Adrienne Burchett: Published EIA heat input and accepted emission factors. See Tables 1 and 2.
Note on W56: Adrienne Burchett: CAMD

## A-2 OK Cogen Summary
Attachment A-2
Oklahoma Cogeneration, LLC
Historical Ozone Season Data Based on EIA Published Data and Accepted Emission Calculation Methodology
Summary of Historical Operating Hours, Fuel Consumption, and Emissions (2008 - 2015)
Table 1
Historical Heat Input Rate and Emissions Summaries for Past Ozone Seasons Using Published EIA Data, Accepted Emission Factors, and CEMS Data (when available)
Ozone Season | Total Operations | Startup (SU) and Shutdown (SD) Operations | Duct Firing Hours | Gas Turbine Heat Input from EIA | Gas Turbine Heat Input During SU & SD | Duct Burner Heat Input from EIA | Total Fuel Consumption from EIA | Gas Turbine Normal Ops NOx Emissions c | Gas Turbine SU & SD NOx Emissions c | Duct Burner NOx Emissions c | Total NOx Emissions c | Notes
| Hours | Hours | Hours | MMBTU | MMBTU | MMBTU | MMBTU | Tons | Tons | Tons | Tons
2008-01-01 | 1990 | 56.2167 | 100.55 | 1465055 | 41387.1902 | 21955 | 1487010 | 115.0068 | 10.3468 | 0.58181 | 125.9354 | b
2009-01-01 | 1389.4 | 56.2167 | 145.9333 | 1185566 | 47969.3167 | 16404 | 1201970 | 93.0669 | 11.9923 | 0.43471 | 105.494 | b
2010-01-01 | 1935.7 | 62.296 | 617.1667 | 1651538 | 53150.9073 | 83671 | 1735209 | 129.6457 | 13.2877 | 2.2173 | 145.1507 | b
2011-01-01 | 2060.4 | 57.0833 | 560.3167 | 1884478 | 52209.4185 | 74892 | 1959370 | 147.9315 | 13.0524 | 1.9846 | 162.9685 | b
2012-01-01 | 1668.9 | 80.56 | 257 | 1420029 | 68546.6692 | 36567 | 1456596 | 111.4723 | 17.1367 | 0.96903 | 129.578 | b
2013-01-01 | 1194 | 77.1833 | 103 | 1006842 | 65084.9428 | 11924 | 1018766 | 79.0371 | 16.2712 | 0.31599 | 95.6243 | b
2014-01-01 | 373.4 | 19.9 | 10.2667 | 315280 | 16802.5495 | 957 | 316237 | 24.7495 | 4.2006 | 0.02536 | 28.9755 | b
2015-01-01 | 359.7 | a-1 | a-1 | a-1 | a-1 | a-1 | 284731.4 | a-1 | a-1 | a-1 | 43.1 | a-1
2016-01-01 | 971 | a-2 | a-2 | a-2 | a-2 | a-2 | 732462 | a-2 | a-2 | a-2 | 44.8 | a-2
NOx Emission Factors (2008 - 2014)
Table 2
Operations For Each Emission Factor |  |  | NOx Emission Factor b | NOx Emission Factor Units | NOx Emission Factor Basis
Gas Turbine, Normal Operations |  |  | 0.157 | lb/MMBTU | b-1
Gas Turbine, Startup and Shutdown |  |  | 0.5 | lb/MMBTU | b-2
Duct Burner |  |  | 0.053 | lb/MMBTU | b-3
a-1 | Based on temporary CEMS data. Emissions are reported for the combined stack, only.
a-2 | Based on permanent CEMS data. Emissions are reported for the combined stack, only.
b | NOx emission factors are based on the best available emission calculation methodology at the time:
b-1 | 1989 Stack Test, 100% Gas Turbine Load, No Duct Firing, Steam Injection Operational (NOx emission controls)
Since gas turbine and duct burner emissions are considered separately, each emission factor represents the emissions from the respective unit, only.
b-2 | GE 7E Gas Turbine Technical Bulletin (GER-3435.pdf, Page 7, Figure 7 at maximum firing temperature of 2,075 oF).
b-3 | 1996 Stack Test, Duct Burner Contribution, Only
c | Emissions Calculation Equations:
Emissions (Tons) = [ Emission Factor (lb/MMBTU) * Fuel Consumption (MMBTU) ] / 2000 (lb/Ton) ]
Total Emissions (Tons) = Gas Turbine Normal Ops Emissions (Tons) + Gas Turbine SU & SD Emissions (Tons) + Duct Burner Emissions (Tons)