Case Study #1: The Strange Case of the Missing Ocular

While inspecting a microbiological laboratory, an assessor noted the presence of a single stereoscopic microscope with a missing ocular.  Having reviewed the laboratory’s SOP for Total Coliform analysis prior to the on-site assessment, the assessor knew the procedure called for the use of a stereoscopic microscope for counting coliform colonies.  The assessor asked the analyst, an immigrant from a former Soviet Union Republic, if she used the microscope for standard plate counts, and she responded in the affirmative.  The laboratory logbook supported the analyst’s statement that she had performed the standard plate counts.

Suspecting that the analyst had fabricated the data, the assessor compiled the objective evidence, and discussed the findings with laboratory management during the exit briefing.  Laboratory management was able to produce records showing that they had rented a microscope to complete the plate counts, and returned it the previous day.  The analyst, due to either cultural differences or language barriers, was uncomfortable explaining that the laboratory did not have properly functioning equipment, but had used rented equipment.

Study Questions:

- What are the morals of this story?

Answer:	-Don’t jump to conclusions.

-Interview, don’t interrogate.

-Assemble objective evidence and discuss your observations impartially.

-It is possible that observations can be resolved with management before you leave the site, saving you a lot or trouble when it comes time to preparing the report

-Respect cultural differences

2.	Describe the objective evidence that the assessor should have compiled.

Answer:	-Describe condition, and note serial number of the microscope in assessor’s logbook.

-Make a copy of the analyst’s logbook, showing information recorded for the analysis in question.  Sign and date the back of the copy, add an exhibit number, and record the exhibit number in the assessor’s logbook.

-Record the interview with the analyst.  Include names of participants, and place and date of interview.  Document the analyst’s responses to questions as accurately as possible.

Case Study #2:  Easy Does it

While analyzing samples an ICP analyst noted that the method blank for one batch of samples contained concentrations of several target analytes at concentrations exceeding the reporting limit.  The analyst rejected the data, and requested the redigestion of the batch.

After the samples had been redigested, the analyst noted that the all sample volumes were 90 mL; however, the method blank volume was 100mL.  The analyst, suspecting a shortcut, reported the observation to the QA Manager.

The QA Manager interviewed the technician, who had been employed by the laboratory for 6 months.  The technician had received sample preparation training and ethics training during his first month on the job.  He also had 8 years of experience in environmental sampling and analysis.  The technician admitted having simply transferred the original sample digestates into new containers and assigned a redigestion batch number.  The new “method blank” was acidified, deionized water.

The technician admitted to the shortcut, but claimed it was the first time he had ever done anything improper.

Study Questions:

- What types of improper practices have occurred?

Answer:	Misrepresentation of QC results.  If the sample prep log shows that the samples were redigested, then there is also fabrication.

2.	What specific red flag pointed to the problem?

Answer:	Unexplained discrepancies in sample volumes between QC and analytical samples in the same batch.

- What other red flags might have been apparent to either internal or third party assessors?

Answer:	Lack of data integrity policy; gaps in training records, bottleneck departments, inadequate back-up, emphasis on production, inadequate internal assessments, lack of data surveillance

- What are some laboratory quality system elements that can promote the early detection and correction of this type of improper practice?

Answer:	Ethics training, “no-fault reporting”,  prompt investigation of reported problems, and follow-up to ensure implementation of corrective action.

- What steps could an assessor (either internal or third party) take to make sure this is an isolated incident, and not an indicator of a more serious vulnerability?

Answer:	-Look at root causes.  Interview the analyst – determine why he took the shortcut (trying to meet hold times, eager to get home, just plain lazy?)

-Evaluate underlying factors, (inadequate resources or excessive overtime) that would indicate either acute or chronic production pressures.

-Look at the data.  Select random batches of data for the period of time the analyst was employed.  Look for sudden improvement between the method blank results for original and reanalyzed samples.  Look at the sample prep logs for evidence of fabrication.

Case Study #3 – Assessor Clousseau

This is what happened:

According to the sampling and analysis plan, marine water microbiological samples to be analyzed for enterococci were to be kept cool under ice and reach the laboratory within 4 hours following collection.  Analysis was to begin within 8 hours following collection.  Samples were collected at 8:00 am, but because the sample custodian took an extended lunch that day, the samples could not be delivered until 2:00 pm.  The custodian failed to note sample temperature upon receipt, the presence or absence of ice, or that the samples had been delivered outside of hold time.

The samples were analyzed for streptococci, but were reported as enterococci.

Study Question:

1.	You are a third party assessor, contracted to perform a compliance assessment for the project in question.  You are to be commended for uncovering this debacle, but exactly how did you do it?  Where did you start?  Trace the trail.

Answer:	(It could have happened like this)

Upon reviewing the summary analytical report, you noticed on the copy of the Chain of Custody (CoC) form, that the recorded sample collection time was 8:00 am, but the recorded sample receipt time was 2:05 pm.  This exceeded the specified sample receipt hold time, but you weren’t too concerned about this.  The CoC failed to note sample temperature, or the presence of ice. You were mostly concerned about sample preservation and whether the samples had been analyzed within the 8-hour hold time.

The analytical report showed that the samples had been analyzed by 4:00 pm; however you decided it would be a good idea to confirm this as well.

Once on-site, you checked the sample receipt logbook, which did not note the temperature, but it did indicate that ice was present in the cooler.  It also showed that the sample had been transferred to the microbiology section immediately.

Analytical report in hand, you visited the microbiology lab, and examined the enterocci bench sheets.  There was no entry for sample ID’s correlating with your sample ID’s.  Perplexed, you interviewed the technician on duty, who informed you that he had not worked that day, but the other technician had worked that day.  To track down the sample, you asked to see all microbiology bench sheets for the day.  When you reviewed the streptococci bench sheets, you found one corresponding to your samples.

Case Study #4 – Dip and Swirl

An assessor evaluating randomly selected laboratory reports for the past year noticed a significant reduction in the number of base/neutral and acid-extractable samples requiring re-extraction because of low surrogate recoveries.  No reason for the improvement was readily apparent, and the assessor pointed out the observation during the exit brief.

The QA Manager conducted an after-hours check of the GC/MS laboratory, and discovered a small, unmarked vial containing a glass rod, near one of the instruments. Analysis of the contents revealed the vial contained a low-level surrogate solution.  Under surveillance the next day, the analyst was observed occasionally dipping the glass rod into the vial, and then into selected samples.  In this manner, she was raising surrogate recoveries in those samples for which initial results were too low.

Study Questions:

1.	What other data assessment red flags might have been observed?

Answer:	-Unexplained discrepancies in QC performance between analysts

-Too-perfect QC results (i.e. higher than expected surrogate recovery for poor-performing analytes)

2.	What Quality System vulnerabilities might exist?

Answer:	-Unclear communication of either expected behavior or improper practices

-Inadequate internal assessments

-Lack of data surveillance

-Inadequate secondary data review

Case Study #5 – The Oil Slick

To support a high-visibility emergency response effort involving an oil spill adjacent to a drinking water reservoir, a laboratory was contracted to perform rapid turnaround analysis for total recoverable petroleum hydrocarbons using Infrared Spectroscopy.  Results were being used to guide the soil removal, an around-the-clock operation, which had been going on for a week.

Results for samples delivered to the laboratory at 4:00 pm were to be reported by 8:00 pm.  The on-duty analyst reported the sample results, all of which were non-detects, by 5:00 pm, just before the end of the first shift.  At 5:00 pm, however, the second shift analyst noticed that the glassware dedicated for this project was in the oven, where it had been placed the night before.  (The glassware cleaning SOP required a 2-hour glassware-baking period at 100 degrees C, following cleaning.)   It would have been impossible to have performed the analysis, cleaned the glassware, and returned it to the oven in the hour between the time samples were received and results reported.  The second shift analyst reported the observation to the QA Manager.

The next day following questioning, the first analyst, who had been employed at the lab for two years, admitted to fabricating the data.  He had actually developed a strip chart recording showing the standards, quality control results and sample results.

Study Questions:

1.	What are some technical area red flags that could have been observed?

Answer:	Neat, clean, logbooks

Emphasis on production

Materials inventory does not match throughput

Sample throughput exceeds time required to process samples

2.	What are some data assessment red flags that could have been observed?

Answer:	Reports missing secondary review signatures/dates

Reappearing quality control results

Unexpected sample results

Too perfect QC results

3.	What quality system red flags could be apparent?

Answer:	Lack of data integrity policy

Poor coordination procedures for accepting new work

Unclear roles and responsibilities

Lack of data surveillance

4.	What should the QA Manager do first?  Can this be handled internally?

Answer:	In this case, even though the problem was discovered through an internal process, the erroneous results have potential human health and ecological impacts.  The QA Manager needs to conduct an investigation to determine the extent of the fabrication, but in the meantime, the effectiveness of the spill response could be compromised.  The Project Manager for the spill response should be informed immediately.

5.	What should be done to determine the impacts of this improper practice?

Answer:	The laboratory should begin reanalyzing samples, as this is the only way to be sure the rest of the data are not fabricated.  The laboratory should work with the PM to determine which samples are most critical and reanalyze these first.

The laboratory should perform data assessment, and possibly reanalysis to spot-check other projects supported by the analyst during his term of employment.  Depending on the nature of other projects supported, an independent investigation may be called for.  The laboratory should also examine its procedures for coordinating work through shift changes.

- The QA Manager recommended that the analyst be retrained.  Is this effective corrective action?

Answer:	Probably not.  Terminating the analyst’s employment is probably called for, given the seriousness of the problem, and the extent to which he/she was willing to go to falsify information.   The analyst knew how to do it right, but chose to do it wrong.

Case Study #6 – Name that Tune

You are reviewing the data package for pre-assessment PT samples for volatile organics by SW-846 Method 8260, and you notice that the BFB Tune was performed 7 days after the PT sample was analyzed.   During the on-site assessment, you bring this to the GC/MS supervisor’s attention, and he explains the discrepancy as a computer glitch.

Study Questions:

1.	What should you do?

Answer:	-Compare extraction worksheets to analysis worksheets.

-Pull the audit trail for both the day of PT analysis as well as the day of the apparent BFB tune.

-Interview the sample prep technician.

-Interview the analyst.

- Assuming the audit trail confirms that the tune file has been overwritten, what should you do?

Answer:	-Assemble the objective evidence.

-Follow your assessment program’s guidelines for referral.

-Report the observation during the exit debrief.

- What would you expect to see in the laboratory’s Corrective Action Plan?

Answer:	-Description of action with respect the analyst (e.g. termination)

-Description of action with respect to the GC/MS Supervisor (e.g. reprimand, retraining)

-Procedures for improving secondary data review

-Actions for improving effectiveness of internal assessments

-Data surveillance procedures

-Data integrity/ethics training

Case Study #7 – Time Warp

A large Architectural Engineering (AE) firm used its in-house laboratory to support Remedial Investigations (RI) and Feasibility Studies (FS) at several Superfund sites.  The Statement of Work required 14-day hold times for the GC/MS analyses of ground water samples, and imposed significant financial penalties for failure to meet hold times.  During an internal assessment, the QA Manager for the firm discovered that some employees had changed the date and time on the GC/MS clock, to make it appear samples had been analyzed within hold times, when they had not.  The firm subsequently disclosed the problem to EPA, which triggered an investigation including paper assessments and electronic tape audits.  The impacts of the practices included:

- Invalidation of a portion of the data used in the RI/FS

- Resampling and reanalysis of some ground water samples

- Costs of the follow-up paper assessments and tape audits

- Referral for criminal investigation, and

- Delays in site closure

Study Questions:

1.	What system vulnerabilities could have alerted assessors to the potential for these practices?

Answer:	-Commercial and financial pressures

- Inadequate resources

- Inadequate back-up

- Lack of management commitment to data integrity

- Lack of ethics training

- Lack of timely follow-up to corrective action

- Weaknesses in internal assessments

2.	What red flags might have been apparent if a project compliance assessment had been conducted during the course of the project?

Answer:	- Reported sample throughput exceeds capacity

- Inadequate sample processing time

- Excessive overtime

- Bottleneck departments

- Emphasis on production

- Poor communication lines between client services and technical management

- Weak internal assessments

- Unclear communication of expected practices or unacceptable behavior

- Lack of secondary review

- Disabled audit trails

- Incomplete assessment files

- Lack of timely follow-up to corrective action

3.	What assessment tools would have been most effective in identifying the system vulnerabilities and red flags.

Answer:	-Analyst interviews, data assessment