## Example standard curve
EPA Method 1611 Calculation Spreadsheet
October 2012
EPA 821-R-12-013
Lab Prepared Standard Curves Example |  |  | SUMMARY OUTPUT
Sequences | Log Sequences | CT
40000 | 4.6021 | 22.64 | Regression Statistics
4000 | 3.6021 | 26.05 | Multiple R | 0.99887
400 | 2.6021 | 29.47 | R Square | 0.99775
100 | 2 | 31.89 | Adjusted R Square | 0.99759
40000 | 4.6021 | 22.58 | Standard Error | 0.18589
4000 | 3.6021 | 26.01 | Observations | 16
400 | 2.6021 | 29.99
100 | 2 | 32.1 | ANOVA
40000 | 4.6021 | 22.2 |  | df | SS | MS | F | Significance F
4000 | 3.6021 | 26.12 | Regression | 1 | 214.4533 | 214.4533 | 6205.8152 | 6.1378e-20
400 | 2.6021 | 30.02 | Residual | 14 | 0.4838 | 0.034557
100 | 2 | 31.93 | Total | 15 | 214.9371
40000 | 4.6021 | 22.47
4000 | 3.6021 | 25.92 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
400 | 2.6021 | 29.85 | Intercept | 39.4294 | 0.15723 | 250.7777 | 5.6669e-27 | 39.0922 | 39.7667 | 39.0922 | 39.7667
100 | 2 | 32.31 | X Variable 1 | -3.6959 | 0.046916 | -78.777 | 6.1378e-20 | -3.7965 | -3.5953 | -3.7965 | -3.5953
To do the statistical analysis of your data:
1. Click on tools at top of screen - check to see if you have "data analysis" as an option, if you do,
skip to step 3.
2. If not, click on options instead, then add-ins, then check the box next to Analysis Tool Pack,
click on OK, then wait while the program loads (your screen will go black and then come back), when
its done click on tools again and you should see "data analysis" as an option at the bottom
3. Click on data analysis, regression, OK
4. Click on the icon for the input y range in the resulting Regression window, a much smaller box
should appear with the "regression" heading over it - using your mouse, highlight the CT values on
the main spreadsheet, the selected cells, e.g. "$C$3:$C$18" should appear in the box, close
the small window to accept these values
5. Click on the icon for the input x range, and this time highlight the log sequences , and accept
as in step 4
6. Click on the radio button for the output range, then click on the icon in the box- small window
appears as above, click on cell F3 on main spreadsheet - $F$3 should appear in small window
(very important to use this and ONLY this cell, or else the rest of the spreadsheets will not work)
then close small window to accept this output range
7. Click on OK in Regression window - you should see a summary output table (filling cells F3 to G10),
an ANOVA table (cells F12 to K16), and an intercept-X variable table (F18-N20)
To make a standard curve with equation: |  |  | Figure 1. Standard Curve
1. Highlight the log sequences AND the CT values using your mouse
2. Click on the chart wizard icon on the toolbar, which looks like a bar graph, under chart type
select XY scatter, click next to see the chart and finish to get it
3. At this point it is easier to finish playing with the chart before you move it - right click in the white
space under the word series on the right of the chart
4. Options, chart title - type in either referee prepared or laboratory prepared, as appropriate - note
that everything you type shows up immediately on the chart. For value (x) axis, type log sequences,
and for value (y) axis, type CT, and click ok
5. Click on chart word at top of screen, add trendline, options tab, click on box to the left of both
display equation on chart and "display R-squared value on chart," click OK
6. You can move the equation and the R squared information by clicking on any of the squares around
this information and dragging it to where you want
Note on O26: ychambers: Figure 1. Standard Curve

## Lab-prep Std curve
Laboratory Prepared Standard Curves
Only populate cells highlighted in yellow. |  |  | For summary data output, follow instructions given on the "Example standard curve" tab and place cursor in cell F3
Standard Curve
Date:
Sequences | Log Sequences | CT
4000 | 3.6021
400 | 2.6021
100 | 2
40 | 1.6021
4000 | 3.6021
400 | 2.6021
100 | 2
40 | 1.6021
4000 | 3.6021
400 | 2.6021
100 | 2
40 | 1.6021

## Lab Calibrators
| Laboratory-Prepared Calibrators |  |  | Only populate cells highlighted in yellow.
Example calculation for starting conc of 10^9 cells/ml in undiluted cell suspension: (10^9 cells/ml) divided by dilution factor (100) multiplied by volume of dilution added to calibrator sample (0.01ml) = 100,000 cells
Calibrator ID | Calibrator ID | Entero CT | SPC CT | dCT | Estimated number of cells from calibrator/filter (based on spec reading): |  |  | cells
Calib 1: | Diluted (1:5) |  |  | 0 | Estimated CFU/calibrator sample (based on plate counts): |  |  | CFU
Calib 2: |  |  |  | 0 | Crude Extract
Calib 3: |  |  |  | 0 | Intercept value (from genomic std curve sheet): |  | 0
[5 empty] | X-variable (from genomic std curve sheet): |  | 0
Diluted | Average CT: | #DIV/0! | #DIV/0! | #DIV/0!
| Standard deviation: | #DIV/0! |  |  | Log sequences/rxn @ avg CT: | Diluted (1:5) | #DIV/0!
[5 empty] | Sequences/rxn @ avg CT: |  | #DIV/0!
[5 empty] | Sequences / 3000 ul extract: |  | #DIV/0!
[5 empty] | Sequences / CFU : |  | #DIV/0!
[5 empty] | Amplification factor (based on genomic std curve): |  | #DIV/0!

## BioBall Calibrators
| BioBall® Calibrators |  |  |  | Only populate cells highlighted in yellow.
| BioBall® | 550 | CFU
Calibrator ID | Calibrator ID | Entero CT | SPC CT | dCT
Calib 1: | Undiluted |  |  | 0 |  | Estimated CFU/calibrator sample (based on manufacturer's lot mean value): |  |  | CFU
Calib 2: |  |  |  | 0 |  | Crude Extract
Calib 3: |  |  |  | 0 |  | Intercept value (from genomic std curve sheet): |  | 0
[6 empty] | X-variable (from genomic std curve sheet): |  | 0
Undiluted | Average CT: | #DIV/0! | #DIV/0! | #DIV/0!
| Standard deviation: | #DIV/0! |  |  |  | Log sequences/rxn @ avg CT: | Undiluted | #DIV/0!
[6 empty] | Sequences/rxn @ avg CT: |  | #DIV/0!
[6 empty] | Sequences / 600 ul extract: |  | #DIV/0!
[6 empty] | Sequences / CFU : |  | #DIV/0!
[6 empty] | Amplification factor (based on genomic std curve): |  | #DIV/0!

## Lab ddCT - Water Matrix
PBS and Water Matrix Samples
Only populate/modify cells highlighted in yellow.
Calibrator | Sample | Crude Extract
ID | Dilution | Entero CT | SPC CT | dCT
Calib 1 | Undiluted | 0 | 0 | 0
Calib 2 | Undiluted | 0 | 0 | 0
Calib 3 | Undiluted | 0 | 0 | 0
Diluted 1:5 | avg: | 0 | 0 | 0
| avg+3: |  | 3
Estimated CFU/calibrator (from calib sheet): |  |  | 0
Avg sequences/calibrator (from calib. sheet): |  |  | #DIV/0!
Amplification Factor (from calib. sheet): |  |  | #DIV/0!
Crude Extracts
Sample | Sample | Extract |  |  |  |  | Ratio | Estimated Calibrator | Measured | Estimated Calibrator | Calibrator
ID | Dilution | Entero CT | SPC CT | dCT | Calib dCT | ddCT | calib/test | Sequences | Sequences (N) | Cells (CFU) | Cell Eqivalents (CCEs) | CCEs are the final reporting units
No-template | N/A |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked PBS | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked Water | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked Water | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
PBS - spiked | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected

## BioBall ddCT-Water Matrix
PBS and Water Matrix Samples
Only populate/modify cells highlighted in yellow.
Calibrator | Sample | Crude Extract
ID | Dilution | Entero CT | SPC CT | dCT
Calib 1 | Undiluted | 0 | 0 | 0
Calib 2 | Undiluted | 0 | 0 | 0
Calib 3 | Undiluted | 0 | 0 | 0
Undiluted | avg: | 0 | 0 | 0
| avg+3: |  | 3
Estimated CFU/calibrator (from calib sheet): |  |  | 0
Avg sequences/calibrator (from calib. sheet): |  |  | #DIV/0!
Amplification Factor (from calib. sheet): |  |  | #DIV/0!
Crude Extracts
Sample | Sample | Extract |  |  |  |  | Ratio | Estimated Calibrator | Measured | Estimated Calibrator | Calibrator
ID | Dilution | Entero CT | SPC CT | dCT | Calib dCT | ddCT | calib/test | Sequences | Sequences (N) | Cells (CFU) | Cell Eqivalents (CCEs) | CCEs are the final reporting units
No-template | N/A |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked PBS | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked Water | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Unspiked Water | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
PBS - Spiked | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected
Water Sample ID | 1:5 |  |  | 0 | 0 | 0 | #DIV/0! | #DIV/0! | none detected | 0 | none detected