## Form Green LTCP-EZ p1
FORM | United States Environmental Protection Agency CSO Green Long-Term Control Plan Template for Small Communities |  |  |  |  | Page 1
GREEN LTCP-EZ
GENERAL INFORMATION
1. Community | Community name |  |  | NPDES permit number |  | Date
Information
| Name of the entity that owns and operates your facility |  |  | Facility name
Street address
City, State, and ZIP Code
| Telephone number |  | Fax number | E-mail address
2. System Type |  | CSS with a WWTP
(check one) |  | CSS without a WWTP
3. CSS | a | Area of CSS in acres |  |  | 3a
| b | Number of CSO outfalls |  |  | 3b
4. WWTP | a | Primary treatment capacity in MGD |  |  | 4a
| b | Secondary treatment capacity in MGD |  |  | 4b
| c | Average dry weather flow in MGD |  |  | 4c
NINE MINIMUM CONTROLS
5. NMC |  | Previously submitted documentation attached.
Schedule 1-- NMC attached.
SENSITIVE AREAS
6. Sensitive Areas | a | Are sensitive areas present?
No. No. Provide explanation of how determination was made and continue to Line 7.
Explanation:
Yes. Continue to Line 6b.
| b | Enter the type(s) of sensitive areas for all CSO receiving waters.
| c | List the permitted CSOs that may impact sensitive areas. Add detail on impacts where available.
| d | Are sensitive areas impacted by CSO discharges?
No. Continue to Line 7.
Yes. Check instructions to see if use of this Template is appropriate.
WATER QUALITY CONSIDERATIONS
7. Water Quality | a | Have local waterbodies been listed as impaired?
Considerations |  | No. Provide explanation of how determination was made and continue to Line 8.
Explanation:
Yes
| b | List causes or sources of impairment below. Check instructions to see if use of this Template is appropriate.
| c | Has a TMDL been scheduled for the impaired waterbodies?
No
Yes. If yes, provide date:

## Form Green LTCP-EZ p2
FORM |  | United States Environmental Protection Agency CSO Green Long-Term Control Plan Template for Small Communities | [5 empty] | Page 2
GREEN LTCP-EZ
Community Name | [6 empty] | NPDES number | Date
SYSTEM CHARACTERIZATION
8. Location |  | Map or sketch of the CSS. Attach Schedule 2--MAP.
[5 empty] | CSO 001 | CSO 002 | CSO 003 | CSO 004
9. CSO Information | a | Permitted CSO number |  | 9a
| b | Description of location |  | 9b
| c | Latitude/Longitude |  | 9c
| d | Receiving water |  | 9d
10. CSS Information | a | Sub-sewershed area (acres) |  | 10a
| b | Principal land use |  | 10b
11. Pipe, Capacity and | a | Type of CSO hydraulioc control |  | 11a
Flow Information | b | CSO hydraulic control capacity (MGD) |  | 11b
| c | Name of interceptor or downstream pipe |  | 11c
PUBLIC PARTICIPATION
12. Public |  | Description of public participation activities. Attach Schedule 3--PUBLIC PARTICIPATION.
Participation
CSO VOLUME
13. CSO |  | Analysis of the volume of combined sewage that needs to be stored, treated, or eliminated. Attach Schedule 4--CSO VOLUME.
Volume |  | Separate documentation of the analysis of combined sewage volume. Attach documentation.
EVALUATION OF CSO CONTROLS
14. CSO |  | Evaluation of CSO control alternatives. Attach Schedules 5a and 5b--CSO CONTROL.
Controls |  | Separate documentation of the evaluation of CSO control alternatives. Attach documentation.
AFFORDABILITY
15. Affordability |  | Evaluation of financial capability. Attach Schedule 6--CSO AFFORDABILITY.
| a | Check the appropriate affordability burden from Schedule 6--CSO AFFORDABILITY.
Low Burden
Medium Burden
High Burden
(Form Green LTCP-EZ)

## Form Green LTCP-EZ p3
FORM GREEN | United States Environmental Protection Agency CSO Green Long-Term Control Plan Template for Small Communities |  |  | Page 3
LTCP-EZ
Community Name |  |  | NPDES number | Date
0
RECOMMENDED CSO CONTROL PLAN
16. Recommended
CSO Control | a. CSO Controls: | Summary of CSO Controls:
Plan
b. Summary of Cost of CSO Controls:
c. Financing Plan:
d. Implementation Schedule:
(Form Green LTCP-EZ)

## 1 - NMC
Schedule 1. NMC | Schedule 1. NMC - Nine Minimum Controls
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  | Attachment | 01
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  | NPDES number |  | Date
0
For guidance on NMC documentation, see Combined Sewer Overflows Guidance for Nine Minimum Controls (http://www.epa.gov/npdes/pubs/owm0030.pdf).
NMC-1: Proper operations and regular maintenance programs for the CSS and CSO outfalls
NMC-2: Maximum use of the CSS for storage
NMC-3: Review and modification of pretreatment requirements
NMC-4: Maximization of flow to the POTW for treatment
NMC-5: Elimination of CSOs during dry weather
NMC-6: Control of solid and floatable materials in CSOs
NMC-7: Pollution prevention programs
NMC-8: Public notification
NMC-9: Monitoring to effectively characterize CSO impacts and the efficacy of CSO controls

## 2 - MAP
Schedule 2. MAP | Schedule 2. MAP - Map or Sketch of Combined Sewer System
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  | Attachment | 02
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  | NPDES number |  | Date
0
Map or sketch of your combined sewer system showing contributing areas, CSOs, interceptors, and WWTP as applicable.

## 3 - PP
Schedule 3. PP | Schedule 3. Public Participation
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  | Attachment | 03
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  | NPDES number |  | Date
0
Description of your Public Participation program.

## AFF (hidden)
Cost Per Household |  | Current WWT Costs
| 100 | Annual Operations and Maintenance Expenses (Excluding Depreciation). See instructions. | 100
| 101 | Annual Debt Service (Principal and Interest). See instructions. | 101
| 102 | Subtotal. Add line 100 and 101. | 102 | 0
Projected WWT and CSO costs (Current Dollars)
| 103 | Estimated Annual Operations and Maintenance Expenses (Excluding Depreciation). See instructions. | 103
| 104 | Annual Debt Service (Principal and Interest). See instructions. | 104
| 105 | Subtotal. Add line 103 and 104. | 105 | 0
| 106 | Total Current and Projected WWT and CSO costs. Add line 102 and 105. | 106 | 0
| 107 | Residential Share of Total WWT and CSO Costs. See instructions. | 107
| 108 | Total number of Households in Service Area. See instructions. | 108
| 109 | Cost Per Household. Add line 107 and 108. | 109 | 0
Residential Indicator |  | Median Household Income (MHI)
| 201 | Census Year MHI. See instructions. | 201
| 202 | MHI Adjustment Factor. See instructions. | 202
| 203 | Adjusted MHI. Multiply line 201 by 202. | 203 | 0
| 204 | Annual WWT and CSO control Cost Per Household (CPH). Line 109. | 204 | 0
Residential Indicator:
| 205 | Annual Wastewater and CSO control CPH as % MHI. Divide line 204 by 203, then multiply by 100. | 205 | #DIV/0!
Bond Rating |  | Most Recent General Obligation Bond Rating. See instructions.
Date:
Rating Agency:
| 301 | Rating: | 301
Most Recent Revenue (Water/Sewer or Sewer) Bond. See instructions.
Date:
Rating Agency:
Bond Insurance (Yes/No):
| 302 | Rating: | 302
| 303 | Summary Bond Rating. See instructions. | 303
Overall Net Debt | 401 | Direct Net Debt (G.O. Bonds Exluding Double-Barreled Bonds). See instructions. | 401
| 402 | Debt of Overlapping Entities (Proportionate Share of Multijurisdictional Debt). See instructions. | 402
| 403 | Overall Net Debt. Add lines 401 and 402. | 403 | 0
| 404 | Market Property Value (MPV). See instructions. | 404
| 405 | Overall Net Debt as a Percent of Full MPV. Divide line 403 by 404, then multiply by 100. | 405 | #DIV/0!
Unemployment Rate | 501 | Unemployment Rate - Permittee. See instructions. | 501
Source:
| 502 | Unemployment Rate - County (use if permittee's rate is unavailable). See instructions. | 502
Source:
Benchmark:
| 503 | Average National Unemployment Rate. See instructions. | 503
Source:
Household Income | 601 | Median Household Income - Permittee. Line 203. | 601 | 0
Source:
Benchmark:
| 602 | Census Year National MHI. See instructions. | 602
| 603 | MHI Adjustment Factor. Line 202. | 603 | 0
| 604 | Adjusted MHI. Multiply line 602 by line 603. | 604 | 0
Source:
Property Tax Revenues | 701 | Full Market Value of Real Property. Line 404. | 701 | 0
| 702 | Property Tax Revenues. See instructions. | 702
| 703 | Property Tax Revenues as a Percent of Full MPV. Divide line 702 by 701, then multiply by 100. | 703 | #DIV/0!
Collection Rate | 801 | Property Tax Revenue Collected. Line 702. | 801 | 0
| 802 | Property Taxes Levied. See instructions. | 802
| 803 | Property Tax Revenue Collection Rate. Divide line 801 by 802, then multiply by 100. | 803 | #DIV/0!
Financial Capability |  | Indicator |  | Column A: Acutual Value | Column B: Score
| 901 | Bond Rating. Line 303. | 901 | 0
| 902 | Overall Net Debt as a percent of Full MPV. Line 405. | 902 | #DIV/0!
| 903 | Unemployment Rate. Line 501. | 903 | 0
| 904 | Median Household Income. Line 601. | 904 | 0
| 905 | Property Tax Revenues as a Percent of Full MPV. Line 703. | 905 | #DIV/0!
| 906 | Property Tax Revenue Collection Rate. Line 803. | 906 | #DIV/0!
| 907 | Sum of Column B | 907 | 0
| 908 | Permittee Indicators Score. Divide line 907 by number of entries in column A. | 908 | 0
Matrix Score | 1001 | Residential Indicator Score. Line 205. | 1001 | #DIV/0!
| 1002 | Permittee Financial Capability Indicators Score. Line 908. | 1002 | 0
| 1003 | Financial Capability Matrix Category. See matrix | 1003

## 4 - CSOVOL
Schedule 4. CSOVOL | Schedule 4. CSO VOLUME - Simplified Rational Method for Estimating the Volume of Combined Sewage To Be Treated, Stored, or Eliminated
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  | Attachment | 04
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  |  |  | NPDES number |  | Date
0
|  |  |  | CSO 001 | CSO 002 | CSO 003 | CSO 004
Sub-sewer- | 1 | Sub-sewershed area (acres). Line 10a on Form Green LTCP-EZ. | 1
shed Area | 2 | Principal land use. Line 10b on Form Green LTCP-EZ. | 2
| 3 | Sub-sewershed runoff coefficient. Use Table 1. | 3
Runoff | 4 | Design storm rainfall for 1-hour, 3-month storm (in/hr). See instructions. | 4
| 5 | Calculated runoff rate (acre inch per hour). Multiply lines 1, 3 and 4. | 5
| 6 | Peak runoff rate in MGD. Multiply line 5 by 0.6517. | 6
Dry Weather Flow Within the CSS | 7 | Dry weather flow rate (MGD). See instructions. | 7
Flow Within
the CSS
Peak Wet | 8 | Peak flow rate (MGD). Add lines 6 and 7. | 8
Weather Flow
Overflow | 9 | CSO hydraulic control capacity (MGD). Line 11b on Form Green LTCP-EZ. | 9
| 10 | Ratio of CSO hydraulic control capacity to peak flow rate. Divide line 9 by | 10
line 8. Enter 1.0 if line 8 is less than line 9.
| 11 | Overflow fraction of combined sewage. Determine from line 10 | 11
using instructions.
| 12 | 24-hr rainfall (inches). Multiply Line 4 by 2.1. | 12
| 13 | Volume of runoff (MG). Multiply lines 1, 3 and 12, then by 0.02715. | 13
| 14 | Volume of dry weather flow (MG). Enter value from line 7. | 14
| 15 | Total volume of flow (MG). Add lines 13 and 14. | 15
| 16 | Volume of excess combined sewage (MG) at individual CSO | 16
hydraulic controls during 24-hour rainfall period. Multiply line 11 by line 15.
Diversion | 17 | Diversion fraction of combined sewage. Determine from line 10 | 17
using Table 2.
| 18 | Volume of runoff diverted to WWTP (MG). Multiply line 13 by line 17. | 18
| 19 | Total volume of combined sewage conveyed to WWTP during 24-hour | 19
rainfall period (MG). Add lines 14 and 18.
Conveyance | 20 | Peak rate of collected combined sewage diverted to the WWTP | 20
within sub-sewersheds. Enter smaller of line 8 and line 9.
| 21 | Peak rate of combined sewage conveyed to WWTP (MGD). | 21
Add up sub-sewershed values on line 20.
| 22 | Peak rate of sewage from non-CSO areas (MGD). | 22
| 23 | Peak rate of sewage from satellite communities (MGD). | 23
| 24 | Peak rate of sewage conveyed to WWTP (MGD). | 24
Add lines 21, 22 and 23.
Treatment | 25 | Primary treatment capacity (MGD). Line 4a on Form Green LTCP-EZ. | 25
| 26 | Ratio of primary capacity to peak rate of sewage conveyed to WWTP. | 26
Divide line 25 by line 24. Enter 1.0 if line 24 is less than line 25.
| 27 | Fraction of combined sewage untreated at WWTP. Determine from | 27
line 26 using instructions.
| 28 | Sum of combined sewage (MG) conveyed to WWTP during 24-hour | 28
rainfall period. Add up sub-sewershed values on line 19.
| 29 | Dry weather flow from non-CSO areas (MGD). | 29
| 30 | Volume of sewage from non-CSO areas during 24-hour rainfall | 30
period (MG).
| 31 | Dry weather flow from satellite communites (MGD). | 31
| 32 | Volume of sewage from satellite communities during 24-hour rainfall | 32
period (MG).
| 33 | Total volume of sewage during 24-hour rainfall event (MG). | 33
Add lines 28, 30 and 32.
| 34 | Volume of combined sewage untreated at WWTP. Multiply line | 34
33 by line 27. Enter 0.0 if line 25 is greater than line 24.
CSO Volume | 35 | Volume of combined sewage overflow at CSO Outfalls (MG). | 35
Add up sub-sewershed values on line 16.
| 36 | Volume of combined sewage overflow at WWTP (MG). | 36
Enter value from line 34.

## 5A - RUNOFF CONTROLS
Schedule 5A. RUNOFF | Schedule 5A. CSO CONTROL - Evaluation of Green Infrastructure Runoff Controls
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  | Attachment | 05
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  |  |  | NPDES number |  | Date
0
|  |  |  | CSO 001 | CSO 002 | CSO 003 | CSO 004
Impervious | 1 | Sub-sewershed area (acres). Line 10a on Form Green LTCP-EZ. | 1
Area | 2 | Fraction of directly connected impervious area within sub-sewershed. | 2
| 3 | Directly connected impervious area (acres) within sub-sewershed. Multiply | 3
line 1 by line 2.
Retention | 4 | Fraction of sub-sewershed to be developed over planning horizon. | 4
Standard or | 5 | Directly connected impervious area (acres) managed. Multiply line 3 by line 4. | 5
Goal | 6 | Depth of runoff retention standard or goal (inches). See instructions. | 6
Runoff | 7 | Runoff retained from managed directly connected impervious area (acre-in). | 7
Reduction |  | Multiply product of lines 5 and 6 by 0.95.
| 8 | Runoff reduction volume (MG). Multiply line 7 by 0.02715. | 8
Green Roofs | 9 | 24-hour rainfall (inches). Line 12 on Schedule 4. | 9
| 10 | Number of existing buildings with green roofs expected to be installed. | 10
| 11 | Average roof area (sq ft) of buildings with green roofs to be installed. | 11
| 12 | Average green roof runoff reduction rate. See instructions. | 12
| 13 | Runoff to CSS elimated due to green roof installation. Multiply product of | 13
lines 9, 10, 11, and 12 by 0.5922.
| 14 | Green roof runoff reduction volume (MG). Divide line 13 by 1,000,000. | 14
| 15 | Unit cost per square foot for green roof installation. See instructions. | 15
| 16 | Fraction of publicly owned or subsidized buildings with green roofs. | 16
| 17 | Estimated public cost of cumulative green roof installation. Multiply line 10, | 17
11, 15, and 16.
Bioretention | 18 | Number of bioretention facilities being installed. | 18
| 19 | Average directly connected impervious area (sq ft) being managed by each | 19
bioretention facility.
| 20 | Average bioretention runoff reduction rate. See instructions. | 20
| 21 | Runoff to CSS elimated due to bioretenion facility installation. Multiply | 21
product of lines 9, 18, 19, and 20 by 0.5922.
| 22 | Biotention runoff reduction volume (MG). Divide line 21 by 1,000,000. | 22
| 23 | Unit cost per square foot for bioretention installation. See instructions. | 23
| 24 | Fraction of publicly owned or subsidized bioretention facilities being installed. | 24
| 25 | Estimated public cost of cumulative bioretention installation. Divide product, | 25
of lines 18, 19, 23, and 24 by 10.
Vegetated | 26 | Cumulative directly connected impervious area (sq ft) being managed by | 26
Swales |  | vegetated swales.
| 27 | Cumulative footprint area (sq ft) of vegetated swales. | 27
| 28 | Average vegetated swale runoff reduction rate. See instructions. | 28
| 29 | Runoff to CSS elimated due to vegetated swale installation. Multiply | 29
product of lines 9, 26, and 28 by 0.5922.
| 30 | Vegetated swale runoff reduction volume (MG). Divide line 29 by 1,000,000. | 30
| 31 | Unit cost per square foot for vegetated swale installation. See instructions. | 31
| 32 | Fraction of publicly owned or subsidized vegetated swales being installed. | 32
| 33 | Estimated public cost of cumulative vegetated swale installation. Multiply lines | 33
27, 31, and 32.
Permeable | 34 | Cumulative area (sq ft) of directly connected pavement replaced with | 34
Pavement |  | permeable pavement.
| 35 | Average permeable pavement runoff reduction rate. See instructions. | 35
| 36 | Runoff to CSS elimated due to permeable pavement installation. Multiply | 36
product of lines 9, 34, and 35 by 0.5922.
| 37 | Permeable pavement runoff reduction volume (MG). Divide line 36 by | 37
1,000,000.
| 38 | Unit cost per sq ft for permeable pavement installation. See instructions. | 38
| 39 | Fraction of publicly owned or subsidized permable pavement installations. | 39
| 40 | Estimated public cost of cumulative permable pavement installation. Multiply | 40
lines 34, 38, and 39.
Rain Barrels | 41 | Number of buildings with rain barrels/cisterns expected to be installed. | 41
and Cisterns | 42 | Average volume (gallons) of the rain barrels/cisterns. | 42
| 43 | Average rain barrel/cistern runoff reduction rate. See instructions. | 43
| 44 | Runoff to CSS elimated due to rain barrel/cistern installation. Multiply | 44
lines 41, 42, and 43.
| 45 | Rain barrel/cistern runoff reduction volume (MG). Divide line 44 by | 45
1,000,000.
| 46 | Unit cost per rain barrel/cistern capacity (gallons). See instructions. | 46
| 47 | Fraction of publicly owned or subsidized rain barrels/cisterns. | 47
| 48 | Estimated public cost of cumulative rain barrel/cistern installations. Mulitply | 48
lines 41, 42, 46 and 47.
Schedule 5A. RUNOFF | Schedule 5A. CSO CONTROL - Evaluation of Green Infrastructure Runoff Controls
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  | Attachment | 05
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  |  |  | NPDES number |  | Date
0
|  |  |  | CSO 001 | CSO 002 | CSO 003 | CSO 004
Cumulative | 49 | Runoff reduction volume (MG) derived from retention standard. Line 8. | 49
Runoff | 50 | Runoff reduction volume (MG) derived from sum of individual practices. | 50
Reduction |  | Add lines 14, 22, 30, 37, and 45.
Check | 51 | Planning check. Divide line 50 by line 49. | 51
See instructions. Adjust lines 4 to 48 until line 51 is greater than or
equal to 1.00 or less than 1.05.
Runoff | 52 | Original volume of runoff (MG). Line 13 on Schedule 4. | 52
Recalculation | 53 | Runoff reduction volume (MG). Line 8. | 53
| 54 | Revised volume of runoff (MG). Subtract line 53 from line 52. | 54
| 55 | Runoff reduction factor. Divide line 54 by line 52. | 55
Peak Wet- | 56 | Original peak runoff rate (MGD). Line 6 on Schedule 4. | 56
Weather | 57 | Revised peak runoff rate (MGD). Multiply line 56 by line 55. | 57
Flow Rate | 58 | Dry-weather flow rate (MGD). Line 7 on Schedule 4. | 58
Recalculation | 59 | Revised peak flow rate (MGD). Add lines 57 and 58. | 59
Revised | 60 | CSO hydraulic control capacity (MGD). Line 11b on Form Green LTCP-EZ. | 60
Overflow | 61 | Revised ratio of CSO hydraulic control capacity to peak flow rate. Divide | 61
line 60 by line 59. Enter 1.0 if line 59 is less than line 60.
| 62 | Revised overflow fraction of combined sewage. Determine from line 61 | 62
using instructions.
| 63 | Volume of dry-weather flow (MG). Line 14 on Schedule 4. | 63
| 64 | Revised total volume of flow (MG). Add lines 54 and 63. | 64
| 65 | Revised volume of excess combined sewage (MG) at individual CSO | 65
hydraulic controls during 24-hour rainfall period. Multiply line 62 by line 64.
Revised | 66 | Diversion fraction of combined sewage. Determine from line 61 | 66
Diversion |  | using Table 2.
| 67 | Revised volume of runoff diverted to WWTP (MG). Multiply line 54 by line 66. | 67
| 68 | Revised total volume of combined sewage conveyed to WWTP during | 68
24-hour rainfall period (MG). Add lines 63 and 67.
Revised | 69 | Revised peak rate of collected combined sewage diverted to the WWTP | 69
Conveyance |  | within sub-sewersheds. Enter the smaller of line 59 and line 60.
| 70 | Revised peak rate of combined sewage conveyed to WWTP (MGD). | 70
Add up sub-sewershed values on line 69.
| 71 | Peak rate of sewage from non-CSO areas (MGD). Line 22 on Schedule 4. | 71
| 72 | Peak rate of sewage from satellites (MGD). Line 23 on Schedule 4. | 72
| 73 | Revised peak rate of sewage conveyed to WWTP (MGD). | 73
Add lines 70, 71 and 72.
Revised | 74 | Primary treatment capacity (MGD). Line 4a on Form Green LTCP-EZ. | 74
Treatment | 75 | Revised ratio of primary capacity to peak rate of sewage conveyed to | 75
WWTP. Divide line 74 by line 73. Enter 1.0 if line 73 is less than line 74.
| 76 | Revised fraction of combined sewage untreated at WWTP. Determine from | 76
line 75 using instructions.
| 77 | Revised sum of combined sewage (MG) conveyed to WWTP during | 77
24-hour rainfall period. Add up sub-sewershed values on line 68.
| 78 | Volume of sewage from non-CSO areas during 24-hour rainfall | 78
period (MG). Line 30 on Schedule 4.
| 79 | Volume of sewage from satellite communities during 24-hour rainfall | 79
period (MG). Line 32 on Schedule 4.
| 80 | Revised total volume of sewage during 24-hour rainfall event (MG). | 80
Add lines 77, 78 and 79.
| 81 | Revised volume of combined sewage untreated at WWTP. Multiply line | 81
80 by line 76. Enter 0.0 if line 74 is greater than line 73.
CSO Volume | 82 | Revised volume of combined sewage overflow at CSO Outfalls (MG). | 82
Recalculation |  | Add up sub-sewershed values on line 65.
| 83 | Revised volume of combined sewage overflow at WWTP (MG). | 83
Enter value from line 81.

## 5B - NETWORK & WWTP CONTROLS
Schedule 5B. NETWORK | Schedule 5B. CSO CONTROL - Evaluation of Network and WWTP CSO Controls
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  | Attachment | 06
Sequence #
Community name shown on FORM GREEN LTCP-EZ |  |  |  |  | NPDES number |  | Date
0
Conveyance | 1 | Peak rate of sewage conveyed to WWTP (MGD). Line 24 on Schedule 4 | 1
and |  | or Line 73 on Schedule 5A. See instructions.
Treatment at | 2 | Primary treatment capacity (MGD). Line 25 on Schedule 4. | 2
WWTP | 3 | Difference between primary treatment capacity and peak rate of sewage | 3 |  |  | 0
conveyed to WWTP (MGD). Enter -0- if line 2 is greater than line 1.
Enter difference if line 2 is less than line 1.
| 4 | Additional primary treatment capacity required (MGD). See instructions. | 4
| 5 | Unit cost of primary treatment per MGD. See instructions. | 5 |  | 0 | 0
| 6 | Estimated cost of new primary treatment capacity at WWTP. | 6 |  | 0 | 0
Multiply line 4 by line 5.
| 7 | Volume of storage required at WWTP (MG). Enter value from line 3. | 7 |  | 0 | 0
| 8 | Unit cost of additional storage at WWTP in ($/MG). See instructions. | 8
| 9 | Estimated cost of storage at WWTP. Multiply line 7 by line 8. | 9
|  |  |  | CSO 001 | CSO 002 | CSO 003 | CSO 004
Sewer | 10 | 24-hour design rainfall (inches). Line 12 on Schedule 4. | 10
Separation | 11 | Sub-sewershed area to be separated (acres). | 11
| 12 | Runoff coefficient of area to be separated. Line 3 on Schedule 4. | 12
| 13 | Runoff to CSS eliminated due to sewer separation (gallons). | 13
Multiply the product of lines 10, 11, and 12 by 27,156.
| 14 | Volume reduction (MG). Divide line 13 by 1,000,000. | 14
| 15 | Unit cost for separation per acre. See instructions. | 15
| 16 | Estimated cost of sewer separation. Multiply line 11 by line 15. | 16
Off-Line | 17 | Volume reduction to be achieved with storage (MG). | 17
Storage |  | Enter proposed volume of storage required.
| 18 | Unit cost per MG of storage. See instructions. | 18
| 19 | Estimated cost of storage. Multiply line 17 by line 18. | 19
Summary of | 20 | Volume reduction from CSO controls in sub-sewershed (MG). | 20
Control and |  | Add lines 14 and 17.
Costs | 21 | Cost of CSO controls in sub-sewershed. Add lines 16 and 19. | 21
Totals | 22 | Total volume reduction in sub-sewersheds (MG). | 22 | 0
Add up volumes across line 20.
| 23 | Total cost of CSO controls in sub-sewersheds. Add up costs across line 21. | 23 | 0
| 24 | Total cost of additional treatment and/or storage at WWTP. Add costs on | 24
|  | line 6 and line 9 or leave blank if no controls are planned for WWTP. |  | 0

## 6 - FINANCIAL CAPABILITY
Schedule 6. FINANCIAL CAPABILITY |  |  |  | SCHEDULE 6: FINANCIAL CAPABILITY
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  |  | Attachment |  | 07
Sequence #
Community name shown on FORM GREEN LTCP-EZ | [5 empty] | NPDES number |  |  | Date
Current | 1 |  | Annual operations and maintenance expenses (excluding depreciation). See instructions. |  |  |  |  | 1
Costs | 2 |  | Annual debt service (principal and interest). See instructions. |  |  |  |  | 2
| 3 |  | Current Costs. Add lines 1 and 2. |  |  |  |  | 3
Projected | 4 |  | Projected annual operations and maintenance expenses (excluding depreciation). See instructions. |  |  |  |  | 4
Costs | 5 |  | Present value adjustment factor. See instructions. |  |  |  |  | 5
(Current | 6 |  | Present value of projected costs. Multiply line 4 by line 5. |  |  |  |  | 6
Dollars) | 7 |  | Projected debt costs. See instructions. |  |  |  |  | 7
| 8 |  | Annualization factor. See instructions. |  |  |  |  | 8
| 9 |  | Annual debt service (principal and interest) for projected WWT facilities and CSO controls. |  |  |  |  | 9
Multiply line 7 by line 8.
| 10 |  | Projected Costs. Add lines 6 and 9. |  |  |  |  | 10 | 0
Total Costs | 11 |  | Total current and projected WWT and CSO costs. Add lines 3 and 10. |  |  |  |  | 11 | 0
Cost Per | 12 |  | Residential WWT flow (MGD). See instructions. |  |  |  |  | 12
Household | 13 |  | Total WWT flow (MGD). See instructions. |  |  |  |  | 13
| 14 |  | Fraction of total WWT flow attributable to residential users. Divide line 12 by line 13. |  |  |  |  | 14
| 15 |  | Residential share of total costs. Mulitply line 11 by line 14. |  |  |  |  | 15
| 16 |  | Number of households in service area. See instructions. |  |  |  |  | 16
| 17 |  | Cost Per Household (CPH). Divide line 15 by line 16. |  |  |  |  | 17
Median | 18 |  | Census Year MHI. See instructions. |  |  |  |  | 18
Household | 19 |  | MHI adjustment factor. See instructions. |  |  |  |  | 19
Income | 20 |  | Adjusted MHI. Multiply line 18 by line 19. |  |  |  |  | 20
Residential | 21 |  | Annual WWT/CSO control CPH as % adjusted MHI. Divide line 17 by line 20, then multiply by 100. |  |  |  |  | 21
Indicator | 22 |  | Residential Indicator. See instructions. |  |  |  |  | 22
Bond Rating | 23 | a | Date of most recent general obligation bond. |  |  |  |  | 23a
|  | b | Rating agency (Moody's or Standard and Poor's). |  |  |  |  | 23b
|  | c | Rating (Moody's Aaa-C or Standard and Poor's AAA-D). |  |  |  |  | 23c
| 24 | a | Date of most recent revenue (water or sewer) bond. |  |  |  |  | 24a
|  | b | Rating agency (Moody's or Standard and Poor's). |  |  |  |  | 24b
|  | c | Bond insurance (Yes/No). |  |  |  |  | 24c
|  | d | Rating (Moody's Aaa-C or Standard and Poor's AAA-D). |  |  |  |  | 24d
| 25 |  | Bond Rating Benchmark. See instructions. |  |  |  |  | 25
Overall Net | 26 |  | Direct net debt (G.O. bonds excluding double-barreled bonds). See instructions. |  |  |  |  | 26
Debt | 27 |  | Debt of overlapping entities (proportionate share of multijurisdictional debt). See instructions. |  |  |  |  | 27
| 28 |  | Overall net debt. Add lines 26 and 27. |  |  |  |  | 28
| 29 |  | Full market property value (MPV). See instructions. |  |  |  |  | 29
| 30 |  | Overall net debt as a percent of full MPV. Divide line 28 by line 29, then multiply by 100. |  |  |  |  | 30
| 31 |  | Net Debt Benchmark. See instructions. |  |  |  |  | 31
Unemploy- | 32 |  | Unemployment rate for permittee service area. See instructions. |  |  |  |  | 32
ment Rate |  |  | Source:
| 33 |  | Unemployment rate for permitee's county (use if permittee's rate is unavailable). See instructions. |  |  |  |  | 33
Source:
| 34 |  | Average national unemployment rate. See instructions. |  |  |  |  | 34
Source:
| 35 |  | Unemployment Rate Benchmark. See instructions. |  |  |  |  | 35
Schedule 6. FINANCIAL CAPABILITY |  |  |  | SCHEDULE 6: FINANCIAL CAPABILITY
(FORM GREEN LTCP-EZ) |  | Ø Attach to FORM GREEN LTCP-EZ |  |  |  |  | Attachment
Sequence #
Community name shown on FORM GREEN LTCP-EZ | [5 empty] | NPDES number |  |  | Date
Median | 36 |  | Median household income - permittee. Copy from line 20. |  |  |  |  | 36
Household |  |  | Source:
Income | 37 |  | Census Year national MHI. See instructions. |  |  |  |  | 37
Source:
| 38 |  | MHI adjustment factor. Copy from line 19. |  |  |  |  | 38
| 39 |  | Adjusted national MHI. Multiply line 37 by line 38. |  |  |  |  | 39
| 40 |  | MHI Benchmark. See instructions. |  |  |  |  | 40
Financial | 41 |  | Full market value of real property (MPV). Copy from line 29. |  |  |  |  | 41
Management | 42 |  | Property tax revenues. See instructions. |  |  |  |  | 42
Indicators | 43 |  | Property tax revenues as a percent of full MPV. Divide line 42 by line 41, then multiply by 100. |  |  |  |  | 43
| 44 |  | Property Tax Benchmark. See instructions. |  |  |  |  | 44
Property Tax | 45 |  | Property Taxes Levied. See instructions. |  |  |  |  | 45
and Collection | 46 |  | Property Tax Revenue Collection Rate. Divide line 42 by line 45, then multiply by 100. |  |  |  |  | 46
Rate | 47 |  | Collection Rate Benchmark. See instructions. |  |  |  |  | 47
Matrix Score | 48 |  | Enter benchmark and corresponding score. |  |  | Benchmark | Score
|  | a | Bond Rating. From line 25. |  | 48a | 0
|  | b | Net Debt. From line 31. |  | 48b | 0
|  | c | Unemployment Rate. From line 35. |  | 48c | 0
|  | d | Median Household Income. From line 40. |  | 48d | 0
|  | e | Property Tax. From line 44. |  | 48e | 0
|  | f | Collection Rate. From line 47. |  | 48f | 0
|  | g | Sum. Sum up scores. |  | 48g |  | 0
| 49 |  | Permittee indicators score. Divide line 48g by the number of scores. |  |  |  |  | 49
| 50 |  | Permittee Financial Capability Indicators Benchmark. See instructions. |  |  |  |  | 50
| 51 |  | Residential indicator benchmark. Copy from line 22. |  |  |  |  | 51
| 52 |  | Financial Capability (High Burden, Medium Burden, or Low Burden). See instructions. |  |  |  |  | 52
Note on D3: Jeff Strong: these cells are overlapping (The CSO Affordability is cut off). Should they be overlapping?
Note on D53: Jeff Strong: these cells are overlapping (The CSO Affordability is cut off). Should they be overlapping?

## Form LTCP (old) (hidden)
LTCP | United States Environmental Protection Agency
Small Community Long-Term Control Plan Template
| Your community's name |  |  |  |  | State or Federal NPDES permit number
Name of the entity that owns and operates your facility
Street address
City, town, or post office, state and ZIP code
| Telephone number |  | Fax number |  |  | E-mail address
System | 1 | o CSS with a POTW
| 2 | o CSS without a POTW
Check only one | 3 | o POTW without a CSS
Combined Sewer | 4 | Area of Combined Sewer system in acres |  |  |  |  | 4
System | 5 | Number of CSO Outfalls |  |  |  |  | 5
POTW | 6 | Wastewater Treatment Plant Capacity in MGD |  |  |  |  | 6
| 7 | Wet weather or maximum day capacity in MGD (if different from above) |  |  |  |  | 7
| 8 | Average dry weather sanitary flow in MGD |  |  |  |  | 8
Nine Minimum | 9 | o Previously submitted documentation or Schedule NMC attached. See instructions.
Controls
Sensitive Areas | 10 | Are sensitive areas present and impacted by CSO discharges? See instructions.
o No. Continue with question 11.
o Yes. Enter the type(s) of sensitive areas below and check instructions to see if this form is applicable to you.
Water Quality | 11 | Have local waterbodies been listed as impaired?
Considerations |  | o No. Continue with question 12.
o Yes. Indicate the causes of impairment below and instructions to see if this form is applicable to you.
o Check this box if a TMDL has been scheduled for the impaired waterbodies.
System | 12 | o Map or sketch of CSS is attached. See instructions
Characterization
|  |  |  | (a) CSO 01 | (b) CSO 02 | (c) CSO 03 | (d) CSO 04
CSOs | 13 | Permitted CSO number | 13
| 14 | Description of location | 14
| 15 | Latitude and longitude | 15
| 16 | Receiving water | 16
CSS Areas | 17 | Contributing Area (acres) | 17
| 18 | Principal Land Use | 18
| 19 | Estimated % Impervious | 19
CSS Capacity | 20 | Type of CSO Regulator | 20
| 21 | CSO regulator capacity (MGD) | 21
| 22 | Interceptor that receives diverted flow | 22
Public | 23 | o Previously submitted documentation or Schedule PP attached. See instructions.
Participation
LTCP | 24 | o Estimation of overflow to be controlled. Attach Schedule SRM.
| 25 | o Recommended control alternatives and costs. Attach Schedule VR.

## Sheet3 (hidden)
Cost Per Household |  | Current WWT Costs
| 100 | Annual Operations and Maintenance Expenses (Excluding Depreciation). See instructions. | 100
| 101 | Annual Debt Service (principal and Interest). See instructions. | 101
| 102 | Subtotal. Add line 100 and 101. | 102 | 0
Projected WWT and CSO costs (Current Dollars)
| 103 | Estimated Annual Operations and Maintenance Expenses (Excluding Depreciation). See instructions. | 103
| 104 | Annual Debt Service (Principal and Interest). See instructions. | 104
| 105 | Subtotal. Add line 103 and 104. | 105 | 0
| 106 | Total Current and Projected WWT and CSO costs. Add line 102 and 105. | 106 | 0
| 107 | Residential Share of Total WWT and CSO Costs. See instructions. | 107
| 108 | Total number of Households in Service Area. See instructions. | 108
| 109 | Cost Per Household. Add line 107 and 108. | 109 | 0
Residential Indicator |  | Median Household Income (MHI)
| 201 | Census Year MHI. See instructions. | 201
| 202 | MHI Adjustment Factor. See instructions. | 202
| 203 | Adjusted MHI. Multiply line 201 by 202. | 203 | 0
| 204 | Annual WWT and CSO control Cost Per Household (CPH). Line 109. | 204 | 0
Residential Indicator
| 205 | Annual Wastewater and CSO control CPH as % MHI. Divide line 204 by 203, then multiply by 100. | 205 | #DIV/0!
Bond Rating |  | Most Recent General Obligation Bond Rating. See instructions.
Date:
Rating Agency:
| 301 | Rating: | 301
Most Recent Revenue (Water/Sewer or Sewer) Bond. See instructions.
Date:
Rating Agency:
Bond Insurance (Yes/No):
| 302 | Rating: | 302
| 303 | Summary Bond Rating. See instructions. | 303
Overall Net Debt as % of MPV | 401 | Direct Net Debt (G.O. Bonds Exluding Double-Barreled Bonds). See instructions. | 401
| 402 | Debt of Overlapping Entities (Proportionate Share of Multijurisdictional Debt). See instructions. | 402
| 403 | Overall Net Debt. Add lines 401 and 402. | 403 | 0
| 404 | Market Property Value (MPV). See instructions. | 404
| 405 | Overall Net Debt as a Percent of FullMPV. Divide line 403 by 404, then multiply by 100. | 405 | #DIV/0!
Unemployment Rate | 501 | Unemployment Rate - Permittee. See instructions. | 501
Source:
| 502 | Unemployment Rate - County (use if permittee's rate is unavailable). See instructions. | 502
Source:
Benchmark:
| 503 | Average National Unemployment Rate. See instructions. | 503
Source:
Median Household Income | 601 | Median Household Income - Permittee. Line 203. | 601 | 0
Source:
Benchmark:
| 602 | Census Year National MHI. See instructions. | 602
| 603 | MHI Adjustment Factor. Line 202. | 603 | 0
| 604 | Adjusted MHI. Multiply line 602 by line 603. | 604 | 0
Source:
Property Tax Revenues as % of MPV | 701 | Full Market Value of Real Property. Line 404. | 701 | 0
| 702 | Property Tax Revenues. See instructions. | 702
| 703 | Property Tax Revenues as a Percent of Full MPV. Divide line 702 by 701, then multiply by 100. | 703 | #DIV/0!
Property Tax Revenue Collection Rate | 801 | Property Tax Revenue Collected. Line 702. | 801 | 0
| 802 | Property Taxes Levied. See instructions. | 802
| 803 | Property Tax Revenue Collection Rate. Divide line 801 by 802, then multiply by 100. | 803 | #DIV/0!
Financial Capability Summary |  | Indicator |  | Column A: Acutual Value | Column B: Score
| 901 | Bond Rating. Line 303. | 901 | 0
| 902 | Overall Net Debt as a percent of Full MPV. Line 405. | 902 | #DIV/0!
| 903 | Unemployment Rate. Line 501. | 903 | 0
| 904 | Median Household Income. Line 601. | 904 | 0
| 905 | Property Tax Revenues as a Percent of Full MPV. Line 703. | 905 | #DIV/0!
| 906 | Property Tax Revenue Collection Rate. Line 803. | 906 | #DIV/0!
| 907 | Sum of Column B | 907 | 0
| 908 | Permittee Indicators Score. Divide line 907 by number of entries in column A. | 908 | 0
Financial Capability Matrix Score | 1001 | Residential Indicator Score. Line 205. | 1001 | #DIV/0!
| 1002 | Permittee Financial Capability Indicators Score. Line 908. | 1002 | 0
| 1003 | Financial Capability Matrix Category. See matrix | 1003

## VR (old) (hidden)
Schedule VR | Schedule VR - Estimate of Volume Reduction
(Form LTCP) |  | Ø Attach to Form LTCP |  |  |  |  | Attachment | 04
Sequence #
Community name shown on Form LTCP | [5 empty] | NPDES number
WWTP | 1 | Total sewage conveyed to WWTP (MGD). From SRM line 27. |  | 1 | #REF!
Operation | 2 | Primary treatment capacity (MGD). From SRM line 28. |  | 2 | 4
| 3 | Expansion in primary treatment capacity (MGD). |  | 3 | 3
| 4 | Estimated cost of expansion. Multiply line 3 by $200,000. |  | 4 | 600000
| 5 | Available treatment capacity. Add line 2 to line 3. |  | 5 | 7
| 6 | Unused treatment capacity. Subtract line 5 from line 1. |  | 6 | #REF!
If negative, enter -0-.
If positive, you may be able to adjust regulators to send more flow.
| 7 | Reduction in CSO volume from flow maximization. Divide line 6 by 24.0. |  | 7 | #REF!
[5 empty] | (a) CSO 01 | (b) CSO 02 | (c) CSO 03 | (d) CSO 04
Residential | 8 | 1-hour design storm rainfall (inches). Copy from SRM line 5. |  | 8 | #REF! | #REF! | #REF! | #REF!
| 9 | Number of dwellings. See instructions. |  | 9 | 50 |  | 70
| 10 | Rainfall captured (gal). Multiply line 8 by line 9, then multiply by 748.1 |  | 10 | #REF! | #REF! | #REF! | #REF!
| 11 | Volume reduction (MG). Divide line 11 by 1,000,000. |  | 11 | #REF! | #REF! | #REF! | #REF!
| 12 | Estimated cost. Multiply line 9 by $400. |  | 12 | 20000 | 0 | 28000 | 0
Commercial | 13 | Number of buildings. See instructions. |  | 13 |  | 6 | 4
| 14 | Rainfall captured (gal). Multiply line 13 by line 8, then multiply by 3,117 |  | 14 | #REF! | #REF! | #REF! | #REF!
| 15 | Volume reduction (MG). Divide line 14 by 1,000,000. |  | 15 | #REF! | #REF! | #REF! | #REF!
| 16 | Estimated cost. Multiply line 13 by $2,500 |  | 16 | 0 | 15000 | 10000 | 0
Separation | 17 | Acres to be separated. |  | 17 | 10 | 20 | 10
| 18 | Average imperviousness. From SRM line 3. |  | 18 | #REF! | #REF! | #REF! | #REF!
| 19 | Impervious acres to be separated. Multiply line 18 by line 17. |  | 19 | #REF! | #REF! | #REF! | #REF!
| 20 | Runoff to be separated (acre-inches/hour). Multiply line 1 by line 19 |  | 20 | #REF! | #REF! | #REF! | #REF!
| 21 | Volume reduction (MG). Multiply line 20 by 0.0272. |  | 21 | #REF! | #REF! | #REF! | #REF!
| 22 | Estimated cost. Multiply line 17 by $25,000. |  | 22 | 250000 | 500000 | 250000 | 0
Offline | 23 | Estimated total CSO volume (MG). Add all Form SRM line 22 entries. |  | 23 | #REF!
Storage | 24 | Non-storage volume reductions (MG). |  | 24 | #REF!
Add together all values on lines 7, 11, 15, and 21.
| 25 | Offline storage needed (MG). Subtract line 24 from line 23. |  | 25 | #REF!
If negative, enter -0-
| 26 | Estimated cost. Multiply line 25 by $2,000,000. |  | 26 | #REF!
Total Cost | 27 | Estimated total cost |  | 27 | #REF!
Add together all values on lines 4, 12, 16, 22, and 26.