## HH June 2018
|  |  |  | USEPA Certified Hydronic Heaters June 2018 |  |  |  |  | *Not able to calculate (NAC) – the test method (EN 303-5) does not provide a process for calculating the annual average particulate emissions rate (grams/hr).
Out of Production? | Manufacturer | Model Name | Model Number | Recommended Fuel | Annual Avg. Emission Rate (lb/mmBtu) | Max Heat Output Rating (Btu/hr) | 8-hour Output Rating (BTU/hr) | Annual Average Efficiency (%HHV) | Annual Avg. Emission Rate (gr/hr)* | Carbon Monoxide (required for certifications under the 2015 NSPS) g/hr | Thermal Storage Required
| Advanced Climate Technologies, LLC |  | CP 500 | Pellets | 0.03 | 532000 | 532000 | 88 | NAC |  | X
| Advanced Climate Technologies, LLC |  | CP 850 | Pellets | 0.02 | 840000 | 840000 | 88 | NAC |  | X
| Advanced Climate Technologies, LLC |  | CP 1000 | Pellets | 0.03 | 1030000 | 1030000 | 87 | NAC |  | X
| Advanced Climate Technologies, LLC |  | CP 1700 | Pellets | 0.01 | 1650000 | 1650000 | 89 | NAC |  | X
| Alternate Heating Systems | Wood Gun | E155 | cord wood | 0.32 | 147632 |  | 53 | 5.09
| Central Boiler | E-Classic | 1450 | cord wood | 0.18 | 214000 | 120529 | 78 | 4.7
| Central Boiler | E-Classic | 3250 IR | cord wood | 0.18 | 245000 | 244174 | 69 | 3.81
| Central Boiler | Maxim | M255P/M255PE | Pellets | 0.04 | 165215 | 165215 | 82 | 0.8
| Central Boiler | Classic Edge | 350 | cord wood | 0.18 | 177802 | 67702 | 79 | 3.6
| Central Boiler | Classic Edge | 550 | cord wood | 0.31 | 162170 | 81168 | 70 | 5.2
| Central Boiler | Classic Edge | 750 | cord wood | 0.18 | 240362 | 186669 | 72.3 | 4.6
| DECTRA | GARN | WHS-2000H | cord wood | 0.071 | 200000 | 105050 | 74 | 1.69
| DECTRA | GARN | WHS-2000V | cord wood | 0.07 | 200000 | 105050 | 74 | 1.69
| DECTRA | GARN | WHS-1500H | cord wood | 0.14 | 177000 | 87179 | 65 | 2.88
| DECTRA | GARN | WHS-1500V | cord wood | 0.14 | 177000 | 87179 | 65 | 2.88
| DECTRA | GARN | WHS-1000H and WHS-1000V | cord wood | 0.2 | 160000 | 160000 | 77 | NAC | 0.47
Y | Earth Manufacturing, LLC | Klear Sky | 400 | cord wood | 0.3 | 70770 | 45786 | 47 | 5.1
| Econoburn Boilers | EBW | 200-170 | cord wood | 0.16 | 171638 |  | 60 | NAC |  | x
| Effecta Energy Solutions |  | Komplett III Light 20 KW | pellets | 0.02 | 68000 | 68000 | 85 | NAC |  | X
| Effecta Energy Solutions |  | Komplett III Light 25 kW | pellets | 0.02 | 85000 | 85000 | 86 | NAC |  | X
| Effecta Energy Solutions |  | Komplett III Light 35 kW | pellets | 0.02 | 120000 | 120000 | 85 | NAC |  | X
| Effecta Energy Solutions |  | Smart 55 | Cord wood | 0.04 | 183573 | 183573 | 83 | NAC | 0.64 | x
| Effecta Energy Solutions |  | Smart 40 | Cord wood | 0.07 | 142600 | 142600 | 75 | NAC | 0.4 | X
| ESIM | USV | 100GS | cord wood | 0.2 | 350367 |  | 61 | 7.55
| Evoworld, Inc |  | HP 14 | Pellets | 0.01 | 47800 | 47800 | 88 | NAC |  | X
| Evoworld, Inc |  | P 28 | Pellets | 0.02 | 94200 | 94200 | 85 | NAC |  | X
| Evoworld, Inc |  | P 50 | Pellets | 0.01 | 163000 | 163000 | 90 | NAC |  | X
| Evoworld, Inc |  | P 100 | Pellets | 0.02 | 360000 | 360000 | 88 | NAC |  | X
| Evoworld, Inc |  | P 200 | Pellets | 0.02 | 699000 | 699000 | 86 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 8 | Pellets | 0.04 | 35800 | 35800 | 88 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 15 | Pellets | 0.03 | 50800 | 50800 | 87 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 20 | Pellets | 0.03 | 68200 | 68200 | 87 | NAC |  | X
| Advanced Climate Technologies, LLC |  | CP 500 | pellets | 0.028 | 532000 | 532000 | 88% |  |  | x
| Advanced Climate Technologies, LLC |  | CP 850 | pellets | 0.023 | 840000 | 840000 | 88% |  |  | x
| Advanced Climate Technologies, LLC |  | CP 1000 | pellets | 0.03 | 1030000 | 1030000 | 87% |  |  | x
| Advanced Climate Technologies, LLC |  | CP 1700 | pellets | 0.014 | 1650000 | 1650000 | 89% |  |  | x
| Central Boiler | Maxim | M255 P | pellets | 0.04 | 187424 | 187424 | 82% | 0.8
| Central Boiler | Maxim | M255 PE | pellets | 0.04 | 187424 | 187424 | 82% | 0.8
| Central Boiler | Maxim | M250 | pellets | 0.07 | 212453 | 212453
| Evoworld, Inc |  | HP 14 | pellets | 0.012 | 47800 | 47800 | 88% |  |  | x
| Evoworld, Inc |  | P 28 | pellets | 0.019 | 95500 | 95500 | 85% |  |  | x
| Evoworld, Inc |  | P 50 | pellets | 0.014 | 163000 | 163000 | 90% |  |  | x
| Evoworld, Inc |  | P 100 | pellets | 0.019 | 360000 | 360000 | 88% |  |  | x
| Evoworld, Inc |  | P 200 | pellets | 0.023 | 699000 | 699000 | 86% |  |  | x
| Hargassner | WTH | 100S | pellets | 0.1 | 331832 | 331832 | 76% | 3.9
| Heatmor | 200 SSP | 200 SSP | pellets | 0.07 | 170000 | 170000 | 69% | 1.1
| Heizomat GmBH/Heizomat Canada, Inc. |  | RHK AK 30 | pellets | 0.044 | 142000 | 142000 | 86% |  |  | x
| Hargassner | WTH | 100L/R | wood chips | 0.26 | 331320 | 331320 | 75% | 8.8
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 25 | Pellets | 0.03 | 85300 | 85300 | 87 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 32 | Pellets | 0.03 | 109000 | 109000 | 87 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 38 | Pellets | 0.02 | 130000 | 130000 | 86 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 48 | Pellets | 0.03 | 164000 | 164000 | 86 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 60 | Pellets | 0.03 | 200000 | 200000 | 86 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 80 | Pellets | 0.03 | 273000 | 273000 | 87 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | P4 Unit 100 | Pellets | 0.03 | 341000 | 341000 | 88 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | T4-130 | Pellets | 0.02 | 444000 | 444000 | 85 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | PE1 Pellet 35 | Pellets | 0.05 | 121300 | 121300 | 80 | 0.68 | 0.074
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | PE1 Pellet 20 | Pellets | 0.05 | 67744 | 67744 | 78 | 0.42 | 0.073
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | S3 Turbo 50 | cord wood | 0.12 | 166194 | 166194 | 73 | NAC |  | X
| Fröling Heizkessel- und Behälterbau Ges.m.b.H | FHG | 20/30 | cord wood | 0.18 | 70000 |  | 69 | NAC |  | x
| Fröling Heizkessel- und Behälterbau Ges.m.b.H |  | T4-150 | Pellets | 0.02 | 512000 | 512000 | 85 | NAC |  | X
| Greentech Manufacturing Inc. | Crown Royal | RS7400E | cord wood | 0.24 | 296192 | 116597 | 61 | 8
| Greentech Manufacturing Inc. | Crown Royal | RS7200E | cord wood | 0.13 | 184508 | 184508 | 60 | 2.46
| Greentech Manufacturing Inc. | Crown Royal | RS7300E | cord wood | 0.29 | 189599 | 60612 | 54 | 6.2
| Hardy Manufacturing Co., Inc. | KB | 125 | cord wood | 0.3 | 119457 | 60261 | 61 | 4.1
| Hardy Manufacturing Co., Inc. | KB | 165 | cord wood | 0.31 | 150000 | 73573 | 57 | 3.9
| Hawken Energy | GX Series | GX 10 | cord wood | 0.14 | 144870 | 76887 | 64 | 2.2
| Hawken Energy | GX Series | GX15 | cord wood | 0.18 | 176116 | 73234 | 70 | 3.7
| Hawken Energy | GX Series | GX30 | cord wood | 0.17 | 242090 | 104865 | 67 | 4.9
| Heatmor |  | 400-4S | cord wood | 0.28 | 400000 | 160599 | 76 | 10.7
| Heatmor | X Series | 200X | cord wood | 0.3 | 184459 | 54019 | 62 | 8.1
| Heatmor |  | 350X | cord wood | 0.31 | 255582 | 89753 | 58 | 9.2
| Heatmor | 200 SSP | 200 SSP | cord wood | 0.32 | 180000 | 162793 | 69 | NAC
| Heizomat Canada, Inc. |  | RHK AK 30 | pellets | 0.04 | 142000 | 142000 | 86 | NAC |  | X
| Hydronic Specialty Supply, Inc. | Drummer | Drummer 35 | cord wood | 0.32 | 115000 |  | 60 | NAC |  | x
| LMF Manufacturing Ltd. |  | AHB-170P | pellets | 0.99 | 77771 |  | 54 |  | 0.47
| Mahoning Outdoor Furnace | Mahoning Skye | Series V | cord wood | 0.18 | 110000 | 82594 | 54 | 2.4
| Maine Energy Systems, LLC |  | PE16 | pellets | 0.023 | 57000 | 57000 | 86 | NAC |  | x
| Maine Energy Systems, LLC |  | PE32 | pellets | 0.019 | 109000 | 109000 | 85 | NAC |  | x
| Maine Energy Systems, LLC |  | PE64 | pellets | 0.021 | 229000 | 229000 | 87 | NAC |  | x
| Maine Energy Systems, LLC | PE/PES | 12-20 | pellets | 0.07 | 67694 |  | 75 | 0.7
| Maine Energy Systems, LLC | PES | 25-32 | pellets | 0.06 | 99797 |  | 81 | 0.8
| Maine Energy Systems, LLC | PE/PES | 36-56 | pellets | 0.07 | 199408 |  | 86 | 1.7
| Maine Energy Systems, LLC | EasyPell | 16-20kW | pellets | 0.1 | 68000 |  | 75
| Marway Welding | Phase | 2-200 | cord wood | 0.26 | 139576 | 65336 | 39 | 3.75
| Nature's Comfort LLC | GT Series | GT-6000 | cord wood | 0.22 | 250000 | 100959 | 73 | 5.7
| NBE Production | Kedel | RTB54 | pellets | 0.08 | 60000 |  | 70 | 0.68
| NBE Production | Kedel | RTB102 | pellets | 0.07 | 87379 |  | 73 | 0.87
| NBE Production | Kedel | RTB170 | pellets | 0.08 | 162000 |  | 79 | 1.76
| NBE Production | Kedel | RTB54(TS) | pellets | 0.03 | 58000 | 58000 | 85 | NAC |  | x
| NBE Production | Kedel | RTB102(TS) | pellets | 0.037 | 86000 | 86000 | 85 | NAC |  | x
| NBE Production | Kedel | RTB170(TS) | pellets | 0.042 | 156000 | 156000 | 86 | NAC |  | x
| Northwest Mfg Inc | Woodmaster | Ultra 30 | pellets | 0.09 | 102716 | 102716 | 59 | 1.6
| Northwest Mfg Inc | Woodmaster | CleanFire 400 | cord wood | 0.07 | 102408 | 102408 | 67 | 1.04
| Northwest Mfg Inc | Woodmaster | Mini Boiler | pellets | 0.11 | 101577 | 101577 | 65 | 1.4
| Pellergy, LLC/Windhager Zentralheizung Technik GmbH |  | Alpha-60 | pellets | 0.016 | 51900 | 51900 | 86 | NAC |  | x
| Pellergy, LLC/Windhager Zentralheizung Technik GmbH |  | Alpha-100 | pellets | 0.014 | 88400 | 88400 | 86 | NAC |  | x
| Piney Manufacturing | Optimizer | 350 | cord wood | 0.3 | 400000 | 160421 | 65 | 7.3
| Piney Manufacturing | Enviro Chip | 500 | wood chips | 0.19 | 280000 |  | 73 | 5.4
| Polar Furnace Manufacturing Inc. | G-Class | G3 | cord wood | 0.08 | 200000 | 142533 | 72 | 1.96
| Polar Furnace Manufacturing Inc. | G-Class | G-Class G2Plus | cord wood | 0.07 | 183307 | 108982 | 73 | 1.34 | 1.7
| Polar Furnace Manufacturing Inc. | G-Class | G2 | cord wood | 0.19 | 200000 | 66897 | 67 | 3.53
Y | Profab Industries | Empire Elite | 200/XT200 | cord wood | 0.31 | 185983 | 64047 | 61 | 5.96
| Steel Tech, Inc. | G Series | G200-2/G200s | cord wood | 0.07 | 232000 | 111315 | 75 | 1.7
| Steel Tech, Inc. | G Series | G100/G100s | cord wood | 0.07 | 125000 |  | 68 | 1
| Steel Tech, Inc. | G Series | G400/G400s | cord wood | 0.23 | 350000 | 180409 | 74 | 9
| Varmebaronen AB/ Smokeless Heat, LLC | Pellmax | 200 UB | Pellets | 0.03 | 83100 | 83100 | 85 | NAC |  | X
| Varmebaronen AB | Vedolux | 30 | cord wood | 0.19 | 109529 | 109529 | 62 |  | 0.13 | x
| Varmebaronen AB | Vedolux | 37 | cord wood | 0.11 | 132119 | 132119 | 69 |  | 0.1 | x
| Varmebaronen AB | Vedolux | 55 | cord wood | 0.11 | 170418 | 170418 | 67 |  | 0.12 | x
| Varmebaronen AB | Vedolux | 450 | cord wood | 0.04 | 130731 | 130731 | 75 |  | 0.04 | x
| Varmebaronen AB | Vedolux | 650 | cord wood | 0.08 | 201743 |  | 73 |  | 0.46 | x
| Varmebaronen AB | Vedolux | 350 | cord wood | 0.08 | 118724 | 118724 | 74 |  | 0.07 | x
| Viessmann Holzheiztechnik GmbH |  | Pyrot 150 | Pellets | 0.01 | 494000 | 494000 | 85 | NAC |  | X
| Viessmann Holzheiztechnik GmbH |  | Pyrot 540 | Pellets | 0.02 | 1700000 | 1700000 | 88 | NAC |  | X
| Viessmann Holzheiztechnik GmbH |  | Pyrotec 390 | Pellets | 0.04 | 1430000 | 1430000 | 86 | NAC |  | X
| Viessmann Holzheiztechnik GmbH |  | Pyrotec 530 | Pellets | 0.06 | 1860000 | 1860000 | 87 | NAC |  | X
| Viessmann Holzheiztechnik GmbH |  | Pyrotec 720 | Pellets | 0.06 | 2470000 | 2470000 | 85 | NAC |  | X
| WEbiomass, Inc. | Woodpecker |  | pellets | 0.19 | 153000 |  | 72 | 3.3
| Windhager Zentralheizung Technik GmbH |  | BioWin 152 | pellets | 0.02 | 55000 | 55000 | 87 | NAC |  | X
| Windhager Zentralheizung Technik GmbH |  | BioWin 102 | Pellets | 0.02 | 36900 | 36900 | 88 | NAC |  | X
| Windhager Zentralheizung Technik GmbH |  | BioWin 262 | Pellets | 0.02 | 94500 | 94500 | 87 | NAC |  | X
| Windhager, North America, LLC/Windhager Zentralheizung Technik GmbH |  | BioWin 100 | pellets | 0.016 | 34800 | 34800 | 87 | NAC |  | x
| Windhager, North America, LLC/Windhager Zentralheizung Technik GmbH |  | BioWin 150 | pellets | 0.016 | 51900 | 51900 | 86 | NAC |  | x
| Windhager, North America, LLC/Windhager Zentralheizung Technik GmbH |  | BioWin 260 | pellets | 0.014 | 88400 | 88400 | 86 | NAC |  | x
| Windhager, North America, LLC/Windhager Zentralheizung Technik GmbH |  | BioWin 350 | pellets | 0.016 | 119000 | 119000 | 85 | NAC |  | x
| Windhager, North America, LLC/Windhager Zentralheizung Technik GmbH |  | BioWin 600 | pellets | 0.021 | 202000 | 202000 | 85 | NAC |  | x
Y | Wood Boiler USA | Pellet Burner Easy | 35 | Pellet | 0.04 | 429452 | 429452 | 67
Y | Wood Boiler USA |  | E4 | cord wood | 0.25 | 161455 | 77308 | 61 | 4.5
Y | Wood Boiler USA |  | Blaze HE | cord wood | 0.27 | 166109 | 60000 | 58 | 5.3
END of LIST
Recently added heaters in red italics
Hydronic heaters that meet the 2020 residential hydronic heater particulate matter emission limit: 0.10 lb/mmBtu (crib wood) or 2020 residential hydronic heater cord wood alternative compliance option for particulate matter emission limit: 0.15 lb/mmBtu (cord wood) are highlighted in green.