## SAMPDATA
CLIENT | PROJECT | PROJECTNUM | LabName | SAMPLENAME | LABSAMPID | MATRIX | RPTMATRIX | SAMPDATE | PREPDATE | ANADATE | BATCH | METHODCODE | METHODNAME | PREPNAME | ANALYTE | CASNUMBER | SURROGATE | TIC | Result | DL | RL | UNITS | RPToMDL | BASIS | DILUTION | SPIKELEVEL | RECOVERY | UPPERCL | LOWERCL | ANALYST | PSOLIDS | LNOTE | ANOTE | LATITUDE | LONGITUDE | sComment | SNOTE1 | SNOTE2 | SNOTE3 | SNOTE4 | SNOTE5 | SNOTE6 | SNOTE7 | SNOTE8 | SNOTE9 | SNOTE10 | ANALYTEORDER
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A1a | 1805005-01 | Water | Water | 04/30/2018 07:19:00 | 05/09/2018 00:00:00 | 05/10/2018 12:48:54 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A1b | 1805005-02 | Water | Water | 04/30/2018 07:32:00 | 05/09/2018 00:00:00 | 05/10/2018 12:49:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.79 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A2a | 1805005-03 | Water | Water | 04/30/2018 08:15:00 | 05/09/2018 00:00:00 | 05/10/2018 13:11:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 36.9 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A2b | 1805005-04 | Water | Water | 04/30/2018 08:24:00 | 05/09/2018 00:00:00 | 05/10/2018 12:51:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A3a | 1805005-05 | Water | Water | 04/30/2018 09:06:00 | 05/09/2018 00:00:00 | 05/10/2018 12:51:54 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U |  |  | MS/MSD | [10 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A3b | 1805005-06 | Water | Water | 04/30/2018 09:14:00 | 05/09/2018 00:00:00 | 05/10/2018 12:54:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.12 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A4 Equip | 1805005-07 | Water | Water | 04/30/2018 09:38:00 | 05/09/2018 00:00:00 | 05/10/2018 13:00:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A3a (Dup) | 1805005-08 | Water | Water | 04/30/2018 09:06:00 | 05/09/2018 00:00:00 | 05/10/2018 13:02:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | FB1 | 1805005-09 | Water | Water | 04/30/2018 09:49:00 | 05/09/2018 00:00:00 | 05/10/2018 13:03:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A4a | 1805005-10 | Water | Water | 04/30/2018 09:58:00 | 05/09/2018 00:00:00 | 05/10/2018 13:05:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.25 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | A4b | 1805005-11 | Water | Water | 04/30/2018 10:09:00 | 05/09/2018 00:00:00 | 05/10/2018 13:06:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 4.61 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B1a | 1805005-12 | Water | Water | 04/30/2018 10:51:00 | 05/09/2018 00:00:00 | 05/10/2018 13:07:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B1b | 1805005-13 | Water | Water | 04/30/2018 10:58:00 | 05/09/2018 00:00:00 | 05/10/2018 13:09:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B2a | 1805005-14 | Water | Water | 04/30/2018 11:40:00 | 05/09/2018 00:00:00 | 05/10/2018 13:12:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B2b | 1805005-15 | Water | Water | 04/30/2018 11:48:00 | 05/09/2018 00:00:00 | 05/10/2018 13:16:57 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.23 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B3a | 1805005-16 | Water | Water | 04/30/2018 12:29:00 | 05/09/2018 00:00:00 | 05/10/2018 13:18:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 4.53 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B3b | 1805005-17 | Water | Water | 04/30/2018 12:36:00 | 05/09/2018 00:00:00 | 05/10/2018 13:19:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.96 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B4a | 1805005-18 | Water | Water | 04/30/2018 13:10:00 | 05/09/2018 00:00:00 | 05/10/2018 13:40:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 33.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | B4b | 1805005-19 | Water | Water | 04/30/2018 13:41:00 | 05/09/2018 00:00:00 | 05/10/2018 13:41:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 28.0 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C1a | 1805005-20 | Water | Water | 04/30/2018 15:02:00 | 05/09/2018 00:00:00 | 05/10/2018 13:22:57 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.12 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C1b | 1805005-21 | Water | Water | 04/30/2018 15:27:00 | 05/09/2018 00:00:00 | 05/10/2018 13:24:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C2a | 1805005-22 | Water | Water | 04/30/2018 16:06:00 | 05/09/2018 00:00:00 | 05/10/2018 13:49:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 42.1 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C2b | 1805005-23 | Water | Water | 04/30/2018 16:14:00 | 05/09/2018 00:00:00 | 05/10/2018 13:26:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 3.39 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C3a | 1805005-24 | Water | Water | 04/30/2018 14:16:00 | 05/09/2018 00:00:00 | 05/10/2018 13:50:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 27.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C3b | 1805005-25 | Water | Water | 04/30/2018 14:26:00 | 05/09/2018 00:00:00 | 05/10/2018 13:33:54 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.62 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C5Aa | 1805005-26 | Water | Water | 05/01/2018 06:29:00 | 05/09/2018 00:00:00 | 05/10/2018 13:55:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 44.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C5Ab | 1805005-27 | Water | Water | 05/01/2018 06:43:00 | 05/09/2018 00:00:00 | 05/10/2018 14:27:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 59.2 | 1.00 | 2.00 | mg/L | TRUE | NA | 20 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C6a | 1805005-28 | Water | Water | 05/01/2018 07:06:00 | 05/09/2018 00:00:00 | 05/10/2018 14:00:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 36.8 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C6b | 1805005-29 | Water | Water | 05/01/2018 07:15:00 | 05/09/2018 00:00:00 | 05/10/2018 14:06:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 25.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C7a | 1805005-30 | Water | Water | 05/01/2018 07:48:00 | 05/09/2018 00:00:00 | 05/10/2018 14:07:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 31.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C7b | 1805005-31 | Water | Water | 05/01/2018 08:02:00 | 05/09/2018 00:00:00 | 05/10/2018 14:12:27 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 37.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | FB2 | 1805005-32 | Water | Water | 05/01/2018 07:39:00 | 05/09/2018 00:00:00 | 05/10/2018 13:53:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C7 equip | 1805005-33 | Water | Water | 05/01/2018 07:38:00 | 05/09/2018 00:00:00 | 05/10/2018 13:54:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C7b Dup | 1805005-34 | Water | Water | 05/01/2018 08:02:00 | 05/09/2018 00:00:00 | 05/10/2018 14:29:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 36.5 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C8a | 1805005-35 | Water | Water | 05/01/2018 08:35:00 | 05/09/2018 00:00:00 | 05/10/2018 14:30:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 17.1 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C8b | 1805005-36 | Water | Water | 05/01/2018 08:42:00 | 05/09/2018 00:00:00 | 05/10/2018 14:11:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.95 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C9a | 1805005-37 | Water | Water | 05/01/2018 10:00:00 | 05/09/2018 00:00:00 | 05/10/2018 14:13:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.48 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C9b | 1805005-38 | Water | Water | 05/01/2018 10:21:00 | 05/09/2018 00:00:00 | 05/10/2018 14:14:42 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.69 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C10a | 1805005-39 | Water | Water | 05/01/2018 11:05:00 | 05/09/2018 00:00:00 | 05/10/2018 14:39:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 8.33 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C10b | 1805005-40 | Water | Water | 05/01/2018 11:12:00 | 05/09/2018 00:00:00 | 05/10/2018 14:40:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 16.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C11a | 1805005-41 | Water | Water | 05/01/2018 11:46:00 | 05/09/2018 00:00:00 | 05/10/2018 14:23:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C11b | 1805005-42 | Water | Water | 05/01/2018 11:52:00 | 05/09/2018 00:00:00 | 05/10/2018 14:23:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.57 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | K | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C12a | 1805005-43 | Water | Water | 05/01/2018 12:41:00 | 05/09/2018 00:00:00 | 05/10/2018 14:24:54 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C12b | 1805005-44 | Water | Water | 05/01/2018 12:47:00 | 05/09/2018 00:00:00 | 05/10/2018 14:25:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C13a | 1805005-45 | Water | Water | 05/01/2018 13:30:00 | 05/09/2018 00:00:00 | 05/10/2018 14:28:12 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | C13b | 1805005-46 | Water | Water | 05/01/2018 13:39:00 | 05/09/2018 00:00:00 | 05/10/2018 14:31:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D1a | 1805005-47 | Water | Water | 05/01/2018 14:19:00 | 05/09/2018 00:00:00 | 05/10/2018 14:32:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D1b | 1805005-48 | Water | Water | 05/01/2018 14:26:00 | 05/09/2018 00:00:00 | 05/10/2018 14:43:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D2a | 1805005-49 | Water | Water | 05/01/2018 15:00:00 | 05/09/2018 00:00:00 | 05/10/2018 14:45:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.86 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D2b | 1805005-50 | Water | Water | 05/01/2018 15:06:00 | 05/09/2018 00:00:00 | 05/10/2018 15:10:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 32.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D3a | 1805005-51 | Water | Water | 05/01/2018 15:41:00 | 05/09/2018 00:00:00 | 05/10/2018 15:12:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 21.1 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D3b | 1805005-52 | Water | Water | 05/01/2018 15:48:00 | 05/09/2018 00:00:00 | 05/10/2018 15:13:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 23.4 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D4a | 1805005-53 | Water | Water | 05/01/2018 16:19:00 | 05/09/2018 00:00:00 | 05/10/2018 15:15:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 20.5 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D4b | 1805005-54 | Water | Water | 05/01/2018 16:26:00 | 05/09/2018 00:00:00 | 05/10/2018 15:16:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 50.6 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D5a | 1805007-01 | Water | Water | 05/02/2018 06:38:00 | 05/09/2018 00:00:00 | 05/10/2018 14:56:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.29 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D5b | 1805007-02 | Water | Water | 05/02/2018 06:46:00 | 05/09/2018 00:00:00 | 05/10/2018 14:57:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.36 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D6a | 1805007-03 | Water | Water | 05/02/2018 07:17:00 | 05/09/2018 00:00:00 | 05/10/2018 14:58:57 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D6b | 1805007-04 | Water | Water | 05/02/2018 07:29:00 | 05/09/2018 00:00:00 | 05/10/2018 15:00:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D7 equip | 1805007-05 | Water | Water | 05/02/2018 08:01:00 | 05/09/2018 00:00:00 | 05/10/2018 15:01:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | FB3 | 1805007-06 | Water | Water | 05/02/2018 08:03:00 | 05/09/2018 00:00:00 | 05/10/2018 15:02:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D7a Dup | 1805007-07 | Water | Water | 05/02/2018 08:12:00 | 05/09/2018 00:00:00 | 05/10/2018 15:27:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 33.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D7a | 1805007-08 | Water | Water | 05/02/2018 08:12:00 | 05/09/2018 00:00:00 | 05/10/2018 15:55:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U |  |  | MS/MSD | [10 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D7b | 1805007-09 | Water | Water | 05/02/2018 08:19:00 | 05/09/2018 00:00:00 | 05/10/2018 15:58:12 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 36.8 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D8a | 1805007-10 | Water | Water | 05/02/2018 08:55:00 | 05/09/2018 00:00:00 | 05/10/2018 15:59:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 42.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D8b | 1805007-11 | Water | Water | 05/02/2018 09:11:00 | 05/09/2018 00:00:00 | 05/10/2018 15:21:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D9a | 1805007-12 | Water | Water | 05/02/2018 09:45:00 | 05/09/2018 00:00:00 | 05/10/2018 15:22:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D9b | 1805007-13 | Water | Water | 05/02/2018 09:54:00 | 05/09/2018 00:00:00 | 05/10/2018 15:28:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.29 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D10a | 1805007-14 | Water | Water | 05/02/2018 10:29:00 | 05/09/2018 00:00:00 | 05/10/2018 16:00:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 14.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D10a Dup | 1805007-15 | Water | Water | 05/02/2018 10:29:00 | 05/09/2018 00:00:00 | 05/10/2018 15:30:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D10b | 1805007-16 | Water | Water | 05/02/2018 10:41:00 | 05/09/2018 00:00:00 | 05/10/2018 16:00:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D10b Dup | 1805007-17 | Water | Water | 05/02/2018 10:41:00 | 05/09/2018 00:00:00 | 05/10/2018 17:24:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 16.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D11a | 1805007-18 | Water | Water | 05/02/2018 11:19:00 | 05/09/2018 00:00:00 | 05/10/2018 17:25:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 32.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | D11b | 1805007-19 | Water | Water | 05/02/2018 11:42:00 | 05/09/2018 00:00:00 | 05/10/2018 17:43:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 23.9 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E1a | 1805007-20 | Water | Water | 05/02/2018 12:41:00 | 05/09/2018 00:00:00 | 05/10/2018 17:45:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 27.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E1b | 1805007-21 | Water | Water | 05/02/2018 12:58:00 | 05/09/2018 00:00:00 | 05/10/2018 17:46:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 25.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E2a | 1805007-22 | Water | Water | 05/02/2018 13:28:00 | 05/09/2018 00:00:00 | 05/10/2018 16:12:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.52 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E2b | 1805007-23 | Water | Water | 05/02/2018 13:37:00 | 05/09/2018 00:00:00 | 05/10/2018 16:14:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 3.15 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E2a Dup | 1805007-24 | Water | Water | 05/02/2018 13:28:00 | 05/09/2018 00:00:00 | 05/10/2018 16:15:08 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.58 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E2b Dup | 1805007-25 | Water | Water | 05/02/2018 13:37:00 | 05/09/2018 00:00:00 | 05/10/2018 16:16:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 3.16 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E3a | 1805007-26 | Water | Water | 05/02/2018 14:03:00 | 05/09/2018 00:00:00 | 05/10/2018 17:27:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 6.58 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E3b | 1805007-27 | Water | Water | 05/02/2018 14:09:00 | 05/09/2018 00:00:00 | 05/10/2018 17:28:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 7.40 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E4a | 1805007-28 | Water | Water | 05/02/2018 14:37:00 | 05/09/2018 00:00:00 | 05/10/2018 17:28:57 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 23.3 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E4b | 1805007-29 | Water | Water | 05/02/2018 14:43:00 | 05/09/2018 00:00:00 | 05/10/2018 17:29:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 26.8 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E5a | 1805007-30 | Water | Water | 05/02/2018 15:08:00 | 05/09/2018 00:00:00 | 05/10/2018 16:58:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 38.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E5b | 1805007-31 | Water | Water | 05/02/2018 15:13:00 | 05/09/2018 00:00:00 | 05/10/2018 17:00:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 26.9 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E6a | 1805007-32 | Water | Water | 05/02/2018 15:38:00 | 05/09/2018 00:00:00 | 05/10/2018 17:26:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.15 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E6b | 1805007-33 | Water | Water | 05/02/2018 15:44:00 | 05/09/2018 00:00:00 | 05/10/2018 17:36:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.15 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E7a | 1805007-34 | Water | Water | 05/02/2018 16:09:00 | 05/09/2018 00:00:00 | 05/10/2018 17:37:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E7b | 1805007-35 | Water | Water | 05/02/2018 16:35:00 | 05/09/2018 00:00:00 | 05/10/2018 17:39:27 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E8a | 1805007-36 | Water | Water | 05/03/2018 08:40:00 | 05/09/2018 00:00:00 | 05/10/2018 17:40:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E8b | 1805007-37 | Water | Water | 05/03/2018 08:48:00 | 05/09/2018 00:00:00 | 05/10/2018 17:01:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E10a | 1805007-38 | Water | Water | 05/03/2018 07:15:00 | 05/09/2018 00:00:00 | 05/10/2018 17:02:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.13 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E10a Dup | 1805007-39 | Water | Water | 05/03/2018 07:15:00 | 05/09/2018 00:00:00 | 05/10/2018 17:03:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 1.22 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK | [16 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E10b | 1805007-40 | Water | Water | 05/03/2018 07:27:00 | 05/09/2018 00:00:00 | 05/10/2018 17:04:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | FB4 | 1805007-41 | Water | Water | 05/03/2018 07:36:00 | 05/09/2018 00:00:00 | 05/10/2018 17:06:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E10 Equip | 1805007-42 | Water | Water | 05/03/2018 07:13:00 | 05/09/2018 00:00:00 | 05/10/2018 17:07:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E9a | 1805007-43 | Water | Water | 05/03/2018 09:53:00 | 05/09/2018 00:00:00 | 05/10/2018 17:08:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  |  |  | AK |  |  | U | [13 empty] | 1
Water Division, WECA Region 5 | Central Sands | CB022018 | US EPA Region 5 Chicago Regional Laboratory | E9b | 1805007-44 | Water | Water | 05/03/2018 10:02:00 | 05/09/2018 00:00:00 | 05/10/2018 17:42:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 20.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 |  |  |  |  | AK | [16 empty] | 1

## QCDATA
LABNAME | LABSAMPID | QCTYPE | MATRIX | PREPDATE | ANADATE | BATCH | METHODCODE | METHODNAME | PREPNAME | ANALYTE | CASNUMBER | SURROGATE | TIC | RESULT | DL | RL | UNITS | RPToMDL | BASIS | DILUTION | SOURCEID | SOURCERES | SPIKELEVEL | RECOVERY | RPD | UPPERCL | LOWERCL | RPDCL | ANALYST | PSOLIDS | LNOTE | ANOTE | ANALYTEORDER
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK1 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 12:44:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | *, U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK2 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 12:55:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK3 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 13:13:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK4 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 13:28:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK5 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 13:44:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK6 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 14:01:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK7 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 14:18:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK8 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 14:34:12 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLK9 | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 14:50:15 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKA | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 15:06:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKB | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 15:23:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKC | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 15:52:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKD | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 16:04:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKE | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 16:21:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKF | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 16:54:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKG | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 17:10:30 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKH | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 17:32:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BLKI | Blank | Water | 05/09/2018 00:00:00 | 05/10/2018 17:47:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | [8 empty] | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS1 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 12:45:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.18 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 109 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS2 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 12:56:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.11 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 105 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS3 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 13:14:42 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.19 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 109 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS4 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 13:30:09 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.22 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 111 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS5 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 13:45:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.10 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 105 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS6 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 14:02:51 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.21 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 111 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS7 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 14:19:21 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.21 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 111 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS8 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 14:35:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.20 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 110 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BS9 | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 14:51:54 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.16 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 108 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSA | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 15:07:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.20 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 110 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSB | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 15:24:00 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.17 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 108 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSC | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 15:53:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.60 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 130 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSD | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 16:05:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.12 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 106 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSE | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 16:22:48 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.15 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 107 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSF | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 16:55:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.11 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 105 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSG | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 17:11:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.14 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 107 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSH | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 17:33:18 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.16 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 108 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-BSI | LCS | Water | 05/09/2018 00:00:00 | 05/10/2018 17:48:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.12 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 2.000 | 106 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-DUP1 | Duplicate | Water | 05/09/2018 00:00:00 | 05/10/2018 12:52:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805005-05 | U | [5 empty] | 20 | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-DUP2 | Duplicate | Water | 05/09/2018 00:00:00 | 05/10/2018 13:56:42 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 42.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 | 1805005-26 | 44.3 |  |  | 5 |  |  | 20 | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-DUP3 | Duplicate | Water | 05/09/2018 00:00:00 | 05/10/2018 14:41:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805005-47 | U | [5 empty] | 20 | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-DUP4 | Duplicate | Water | 05/09/2018 00:00:00 | 05/10/2018 15:56:33 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805007-08 | U | [5 empty] | 20 | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-DUP5 | Duplicate | Water | 05/09/2018 00:00:00 | 05/10/2018 17:30:45 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 27.2 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 | 1805007-29 | 26.8 |  |  | 1 |  |  | 20 | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MRL1 | MRL Check | Water | 05/09/2018 00:00:00 | 05/10/2018 12:47:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 0.10 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 |  |  | 0.1000 | 95 |  | 136 | 49 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MS1 | Matrix Spike | Water | 05/09/2018 00:00:00 | 05/10/2018 12:53:24 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.45 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805005-05 | U | 2.000 | 123 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MS2 | Matrix Spike | Water | 05/09/2018 00:00:00 | 05/10/2018 13:58:03 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 44.1 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 | 1805005-26 | 44.3 | 2.000 | -11 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MS3 | Matrix Spike | Water | 05/09/2018 00:00:00 | 05/10/2018 14:42:36 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 2.36 | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805005-47 | U | 2.000 | 118 |  | 110 | 90 |  | AK |  |  |  | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MS4 | Matrix Spike | Water | 05/09/2018 00:00:00 | 05/10/2018 17:23:06 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | U | 0.05 | 0.10 | mg/L | TRUE | NA | 1 | 1805007-08 | U | 2.000 |  |  | 110 | 90 |  | AK |  |  | U | 1
US EPA Region 5 Chicago Regional Laboratory | B18E022-MS5 | Matrix Spike | Water | 05/09/2018 00:00:00 | 05/10/2018 17:31:39 | B18E022 | Nitrate-Nitrite N DA, Enzymatic reduction | ASTM D7781-14 | General Preparation | Nitrate-Nitrite N |  | FALSE | FALSE | 29.7 | 0.50 | 1.00 | mg/L | TRUE | NA | 10 | 1805007-29 | 26.8 | 2.000 | 145 |  | 110 | 90 |  | AK |  |  |  | 1

## LNOTE
QUALIFIER | DESCRIPTION
* | This Quality Control measure meets the requirements of the CRL SOP for this analyte.
K | The identification of the analyte is acceptable; the reported value may be biased high. The actual value is expected to be less than the reported value.
U | The analyte was not detected at or above the reported limit.