Emergency Response

Planning Template for Public

Drinking Water Systems

Rural Community Assistance Corporation

www.rcac.org

Produced for the Rural Community Assistance Partnership (RCAP) National Network

by Rural Community Assistance Corporation, Western RCAP

RCAP Safety and Security Education Program

Emergency Response

Planning Template for Public

Drinking Water Systems

RCAP Regional Offices:

If you need technical assistance to complete your Emergency Response Plan, please contact one of our regional offices listed below.

Western RCAP

Midwest RCAP

Great Lakes RCAP

Southern RCAP

RCAP National Office

Southeast RCAP

Northeast RCAP

| Regional Offices | Contact Number | Web Address |
| --- | --- | --- |
| RCAP National Office | 888/321-7227 | www.rcap.org |
| Western RCAP | 916/447-2854 | www.rcac.org |
| Southeast RCAP | 866/928-3731 | www.southeastrcap.org |
| Great Lakes RCAP | 800/775-9767 | www.glrcap.org |
| Southern RCAP | 479/443-2700 | www.crg.org |
| Northeast RCAP | 800/488-1969 | www.rcapsolutions.org |
| Midwest RCAP | 952/758-4334 | www.map-inc.org |

This material is based upon work supported in part under a grant by the Rural Utilities Service, United States Department of Agriculture. Any opinions, findings, and conclusions or recommendations expressed in this material are solely the responsibility of the authors and do not necessarily represent the official views of the Rural Utilities Service. Additional funding provided by U.S. Department of Health and Human Services and revised by RCAC (August 2005) based on materials developed by the Washington State Department of Health, Training and Outreach Section, Division of Drinking Water.

For additional copies of this publication, call 888/321-7227or visit RCAP’s web site

at www.rcap.org.

This publication is being distributed under the auspices of Rural Community Assistance Partnership.

Contents

Planning Template	2

Introduction	2

How to use the template	2

The requirement for an emergency response plan	2

Section  1. System Information	3

Section  2. Chain of Command – Lines of Authority	4

Section  3. Events that Cause Emergencies	5

Section  4. Emergency Notification	6

Section  5. Effective Communication	10

Section  6. Response Actions for Specific Events	11

Section  7. Alternative Water Sources	17

Section  8. Returning to Normal Operation	18

Section  9. Plan Approval	19

Planning Template

Introduction

Preparing an emergency response plan is an essential part of managing a drinking water system. Rural Community Assistance Partnership, Inc has developed this template for public water systems serving 3,300 population or fewer to help them develop such plans.

How to use the template

Developing an emergency response plan can take a lot of time and effort. The purpose of this document is to make the job easier and help create a plan that works for your water system. The document is intended for use by any water system and may be modified to fit the specific needs of each system. This document can be used as a starting point based on what is relevant for the type, size, and complexity of the system.

The template is just a guide; you may modify it in any way that works for your system – add sections, take them out, or rearrange them if you wish. You may also use a completely different format for your plan if you find one that works better for your system.

Since this document may contain sensitive information, make sure to keep it stored in a safe and secure location. It is recommended you have one copy stored on-site and one off-site to ensure the document is available in the event you are unable to access your offices or facilities. The document is available electronically on the web at:  http://www.rcap.org

You should also keep up-to-date plans and schematics of your treatment facility and distribution system (storage tanks, pump stations, etc), as well as up-to-date operations manuals.  These should be kept in at least two secure locations, one being with the final version of this emergency response plan.

Section 1.
System Information

Keep this basic information easily accessible to authorized staff for emergency responders, repair people, and the news media.

System information

| System Identification Number |  |  |  |
| --- | --- | --- | --- |
| System Name and Address |  |  |  |
| Directions to the System |  |  |  |
| Basic Description and Location of System Facilities |  |  |  |
| Location/Town |  |  |  |
| Population Served and Service Connections from Division of Drinking Water Records | ________ people | ________ connections |  |
| System Owner |  |  |  |
| Name, Title, and Phone Number of Person Responsible for Maintaining and Implementing the Emergency Plan |  |  | _______________ Phone _______________ Cell _______________ Pager |
| Location of treatment and distribution schematics and operations manuals |  |  |  |

Section 2.
Chain of Command – Lines of Authority

The first response step in any emergency is to inform the person at the top of this list, who is responsible for managing the emergency and making key decisions.

Chain of command – lines of authority

| Name and Title | Responsibilities During an Emergency | Contact Numbers |
| --- | --- | --- |

Section 3.
Events that Cause Emergencies

The events listed below may cause water system emergencies. They are arranged from highest to lowest probable risk.

Events that cause emergencies

| Type of Event | Probability or Risk (High-Med-Low) | Comments |
| --- | --- | --- |

Section 4.
Emergency Notification

Notification call-up lists - Use these lists to notify first responders of an emergency.

| Emergency Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Local Law Enforcement |  |  |  |  |
| Fire Department |  |  |  |  |
| Emergency Medical Services |  |  |  |  |
| Water Operator (if contractor) |  |  |  |  |
| EPA Contact |  |  |  |  |
| Hazmat Hotline |  |  |  |  |
| Interconnected Water System |  |  |  |  |
| Neighboring Water System (not connected) |  |  |  |  |
| RCAP Contact |  |  |  |  |
| Rural Water Contact |  |  |  |  |

| Priority Customers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Hospitals or Clinic(s) |  |  |  |  |
| Public or Private Schools |  |  |  |  |
| Wastewater Treatment Plant |  |  |  |  |
| Adult Care Facility |  |  |  |  |

| State, Federal or Tribal Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| State or Tribal Police |  |  |  |  |
| Regulatory Agency State/Federal/Tribal |  |  |  |  |
| Authorized Testing Laboratory |  |  |  |  |

| Service / Repair Notifications |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Electric Utility Co. |  |  |  |  |
| Electrician |  |  |  |  |
| Gas/Propane Supplier |  |  |  |  |
| Water Testing Lab. |  |  |  |  |
| Sewer Utility Co. |  |  |  |  |
| Telephone Co. |  |  |  |  |
| Plumber |  |  |  |  |
| Pump Supplier |  |  |  |  |
| “Call Before You Dig” |  |  |  |  |
| Rental Equipment Supplier |  |  |  |  |
| Chlorine Supplier |  |  |  |  |
| Other Chemical Supplier |  |  |  |  |
| Well Drilling Co. |  |  |  |  |
| Pipe Supplier |  |  |  |  |

| Media Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Night or Cell Phone | Email |
| Newspaper - Local |  |  |  |  |
| Newspaper – Regional/State/Tribal |  |  |  |  |
| Radio |  |  |  |  |
| Radio |  |  |  |  |
| TV Station |  |  |  |  |

Notification procedures

Notify water system customers of potential water shortage

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Alert local law enforcement, state, federal, or tribal drinking water officials, and local health agencies

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Contact service and repair contractors

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Contact neighboring water systems, if necessary

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Procedures for issuing a health advisory

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Other procedures as necessary

| Who is Responsible: |  |
| --- | --- |
| Procedures: |  |

Section 5.
Effective Communication

Communication with customers, the news media, and the general public is a critical part of emergency response.

Designated public spokesperson

Designate a spokesperson (and alternate) and contact your local primacy agency for delivering messages to the news media and the public.

Designate a spokesperson and alternates

| Spokesperson | Alternate |
| --- | --- |

Health advisories

During events when water quality and human health are in question, it may be necessary to issue a health advisory that gives advice or recommendations to water system customers on how to protect their health when drinking water is considered unsafe. These advisories are issued when the health risks to the consumers are sufficient, in the estimation of the water system, state or tribal, or local health officials, to warrant such advice.

Health advisories usually take the form of a drinking water warning or boil water advisory. Communication during these times is critical. Health advisories should always be well thought out and provide very clear messages.

The U.S. Environmental Protection Agency has put together a number of tools, including fact sheets, brochures, forms, and templates to help prepare for a health advisory. These are on the web at:  http://www.epa.gov/safewater/pn.html

Section 6.
Response Actions for Specific Events

In any event, there are a series of general steps to take:

- Analyze the type and severity of the emergency;

- Take immediate actions to save lives;

- Take action to reduce injuries and system damage;

- Make repairs based on priority demand, and

- Return the system to normal operation.

The following tables identify the assessment, set forth immediate response actions, define what notifications need to be made, and describe important follow-up actions.

- Power outage

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Distribution line break

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Chlorine treatment equipment failure

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Treatment equipment

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Source pump failure

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Microbial (coliform, E. coli) contamination

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Chemical contamination

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Vandalism or terrorist attack

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Reduction or loss of water in the well

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Drought

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Flood

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Earthquake

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Hazardous materials spill in vicinity of sources or system lines

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Electronic equipment failure

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Cyber attack

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

- Other

| # Assessment |  |
| --- | --- |
| Immediate Actions |  |
| Notifications |  |
| Follow-up Actions |  |

Section 7.
Alternative Water Sources

Intertie to adjacent water supply system

| Water Systems Within One-Quarter Mile of our System | Feasibility of Connecting |
| --- | --- |

Alternate source(s) of water

| Alternative Sources | Names | Phone | Availability | Is the Water Safe for Drinking? |
| --- | --- | --- | --- | --- |
| Bottled water Suppliers for potable water use |  |  |  |  |
| Tanker trucks in the area available to deliver bulk water for non potable use |  |  |  |  |

Section 8.
Returning to Normal Operation

Returning to normal operations

| Action | Description and Actions |
| --- | --- |

Section 9.
Plan Approval

Plan approval

This plan is officially in effect when reviewed, approved, and signed by the following people:

| Name/Title | Signature | Date |
| --- | --- | --- |

Disclaimer

This document contains information on how to plan for protection of the assets of your water system. The work necessarily addresses problems in a general nature. You should review local, state, tribal (if applicable), and federal laws and regulations to see how they apply to your specific situation.

Knowledgeable professionals prepared this document using current information. The authors make no representation, expressed or implied, that this information is suitable for any specific situation. The authors have no obligation to update this work or to make notification of any changes in statutes, regulations, information, or programs described in this document. Publication of this document does not replace the duty of water systems to warn and properly train their employees and others concerning health and safety risks and necessary precautions at their water systems.

Rural Community Assistance Partnership, Inc. assumes no liability resulting from the use or reliance upon any information, guidance, suggestions, conclusions, or opinions contained in this document.

Rural Community Assistance Partnership, Inc.

1522 K Street, N.W., Suite 400

Washington, D.C. 20005

888/321-7227