IESWTR MONTHLY REPORT TO EPA FOR COMPLIANCE DETERMINATION

CONVENTIONAL OR DIRECT FILTRATION SYSTEMS SERVING 10,000 or more

(Due to EPA by 10th day of the following month)

Month __________		System/Treatment Plant ______________________________________PWSID _______________

Year ___________		Type of Filtration ___________________________________________

Combined Effluent Turbidity Performance Criteria (DATA ON PAGE 2)

- Total number of combined effluent filtered water turbidity measurements made = _________

- Total Number of combined effluent filtered water turbidity measurements that are less than or equal to  0.3 NTU = __________

- The percentage of turbidity measurements meeting the specified limits = B/A x 100= ________/________ x 100 = _________%

- Record the date and turbidity value for any measurements exceeding 1 NTU: if none, enter “none”

| Time and Date of Exceedance | Highest Turbidity ( NTU) | Time and Date EPA Was Notified |
| --- | --- | --- |

- In addition to submitting the attached monitoring report for Individual Filter (IF) monitoring, include the status of any filter profiles, self-assessments, and Comprehensive Performance Evaluation reports which were required.

Disinfection Performance Criteria

- Point-of-Entry Minimum Disinfectant Residual Criteria

- The minimum residual concentration must not drop below 0.2 mg/L OR the higher value (>0.2 mg/L) needed each day for adequate inactivation of Giardia and viruses.

| Date | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L) | Date | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L) | Date | Minimum Disinfectant Residual at Point of Entry to Distribution System (mg/L) |
| --- | --- | --- | --- | --- | --- |
| 1 |  | 11 |  | 21 |  |
| 2 |  | 12 |  | 22 |  |
| 3 |  | 13 |  | 23 |  |
| 4 |  | 14 |  | 24 |  |
| 5 |  | 15 |  | 25 |  |
| 6 |  | 16 |  | 26 |  |
| 7 |  | 17 |  | 27 |  |
| 8 |  | 18 |  | 28 |  |
| 9 |  | 19 |  | 29 |  |
| 10 |  | 20 |  | 30 |  |
|  |  |  |  | 31 |  |

| Days the POE Residual Was < 0.2 mg/L |  |  |
| --- | --- | --- |
| Time/Day | Duration of Low Level (indicate the hrs) | Time and Date Reported to EPA |

- Distribution System Disinfectant Residual Criteria MEASURED WHEN TAKING TCR (BACT) SAMPLES

A = # of samples this month that disinfectant residual was measured in distribution system = ____________

C = # of samples this month that disinfectant residual was NOT detected  when you measured = __________

V = C / A * 100 = ___________ %		For the previous month, V = ________%

_____________________________________________________________________________________________________

Prepared by ______________________________________		Date_________________________

MONTHLY REPORTING SHEET FOR COMBINED FILTER EFFLUENT (CFE) TURBIDITY

CONVENTIONAL OR DIRECT FILTRATION SYSTEMS

MONTH ______________			SYSTEM NAME _____________________________________________

YEAR ________________			PWS ID# _____________________________________________________

REQUIRED # OF 4-HOUR TURBIDITY READINGS/DAY =   ________  (UNLESS PLANT OFF – INDICATE “PO” IN EACH CELL)

**REPORT MAXIMUM TURBIDITY READING THAT DAY, EVEN IF IT WAS BETWEEN 4 HOUR READINGS

DO NOT REPORT RESULTS COLLECTED DURING BACKWASH, FILTER-TO-WASTE, OR ANY TIME WATER IS NOT BEING PRODUCED FOR CONSUMPTION

| DATE | 1ST (NTU) | 2ND (NTU) | 3RD (NTU) | 4TH (NTU) | 5TH (NTU) | 6TH (NTU) | ** DAILY MAX (NTU) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |

DATE OF LAST CALIBRATION OF CFE TURBIDIMETER _____________________________

Monthly Report to the Primacy Agency for Individual Filter (IF) Turbidity Monitoring

This report is only required for a PWS that utilizes conventional or direct filtration and serves > 10,000 people. These PWSs must record the turbidity from every filter every 15 minutes   Grab sampling every 4 hrs is allowed if the continuous IF turbidimeter fails but for no more than 5 working days.  Report is due within 10 days of the next month.

Date which the IF turbidimeters were last calibrated ______________________________

Month:_________ Year:________ System/Treatment Plant__________________________________________________

PWSID #____________ Prepared By____________________________________________________________________

|  | List all filters* that exceeded turbidity levels of .5 NTU after 4 hrs., 1.0 NTU and 2.0 NTU in 2 consecutive IF readings taken 15 minutes apart. | If 1.0 NTU** was exceeded was a filter profile completed within 7 days?. | If 0.5 NTU** was exceeded 4 hrs after a backwash or filter startup was a filter profile completed within 7 days? | If 1.0 NTU*** was exceeded in the same filter 3 months in a row was a self assessment completed in 14 days? | If 2.0 NTU*** was exceeded in the same filter 2 months in a row was a 3rd party CPE arranged in 30 days and completed & submitted in 90 days? |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |
| 21 |  |  |  |  |  |
| 22 |  |  |  |  |  |
| 23 |  |  |  |  |  |
| 24 |  |  |  |  |  |
| 25 |  |  |  |  |  |
| 26 |  |  |  |  |  |
| 27 |  |  |  |  |  |
| 28 |  |  |  |  |  |
| 29 |  |  |  |  |  |
| 30 |  |  |  |  |  |
| 31 |  |  |  |  |  |

* For each filter, attach information identifying those turbidity readings (at 15 min. apart) that caused the exceedance (s).

** If the IF exceedance(s) was caused by obvious reasons (e.g. valve malfunction, etc.) submit written explanation describing the situation that caused the turbidity exceedance.in lieu of the filter profile

*** If a PWS has reported an obvious reason for an exceedance in column 3 & 4  it does not count in one of the consecutive months.