## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Carbon Dioxide
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 12
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 76.51
Control Device Configuration | AVERAGE BED TEMPERATURE,SCRUBBER WATER PH,WESP POWER
AVERAGE BED TEMPERATURE,SCRUBBER WATER PH,WESP POWER,WET SCRUBBER
INCINERATOR,VENTURI SCRUBBER
New Candidate Factor Value | 2880

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Test City | Test State | ERT Project Data Set | Submission_ID
5820 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  | Edmonds | WA | PDS | 80333849
3460 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | City of Edmonds Wastewater Treatment Plant | VENTURI SCRUBBER |  |  |  | Edmonds | WA | PDS | 80342074
2020 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  | Union Beach | NJ | PDS | 80372348
4010 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2019 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  | Union Beach | NJ | PDS | 80372414
3560 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2019 | Westside Water Reclamation Facility | THERMAL OXIDIZER / INCINERATOR | VENTURI SCRUBBER | VENTURI SCRUBBER |  | Vancouver | WA | PDS | 80668940
3060 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 80744756
2680 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2018 | Bayshore Regional Sewerage Authority | WET SCRUBBER | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER | Union Beach | NJ | PDS | 80758423
488 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  | Union Beach | NJ | PDS | 80820061
488 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2020 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  | Union Beach | NJ | PDS | 80825014
2900 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2021 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 81149775
3050 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2021 | Bayshore Regional Sewerage Authority | AVERAGE BED TEMPERATURE | SCRUBBER WATER PH | WESP POWER |  | Union Beach | NJ | PDS | 81170979
3080 | Method 3A CO2 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2022 | Northwest Bergen County Utilities Authority | WET SCRUBBER |  |  |  | Waldwick | NJ | PDS | 81505546