## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | Nitrogen oxides (NOx)
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 17
Number of individual test data values excluded from the calculation | 2
Composite Test Rating | 73.31
Control Device Configuration | AFTERBURNER,WET SCRUBBER, WET ESP, SCRUBBER, ESP, VENTURI SCRUBBER, WET SCRUBBER, IMPINGEMENT TYPE WET SCRUBBER
New Candidate Factor Value | 5.17

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Control_4 | Control_5 | Test City | Test State | ERT Project Data Set | Submission_ID
1.78 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Enfield Sewage Treatment Plant | IMPINGEMENT TYPE WET SCRUBBER |  |  |  |  | Enfield | CT | PDS | 80507186
3.35 | Method 7E | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2022 | City of Erie Wastewater Treatment Facility | FURNACE WET OXYGEN | CEMS OXYGEN | GAS SCRUBBER (GENERAL, NOT CLASSIFIED) | TOTAL WATER FLOW RATE | ELECTROSTATIC PRECIPITATOR - WET (WESP) | Erie | PA | PDS | 81662879
3.5 | Method 7E | LB | TONS DRIED SLUDGE FED | 60 | ADL | 2018 | Erie Waste Water Treatment Plant | ELECTROSTATIC PRECIPITATOR - DRY (DESP) | VENTURI SCRUBBER |  |  |  | Erie | PA | PDS | 80305567
3.76 | Method 7E | LB | TONS DRIED SLUDGE FED | 72 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80756726
3.77 | Method 7E | LB | TONS DRIED SLUDGE FED | 75 | ADL | 2016 | Erie Waste Water Treatment Plant | VENTURI SCRUBBER |  |  |  |  | Erie | PA | PDS | 80135251
3.92 | Method 7E | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2021 | City of Erie Wasterwater Treatment Facility | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  |  | Erie | PA | PDS | 81662895
4.16 | Method 7E | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2020 | City of Erie Wasterwater Treatment Facility | WET SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81116400
4.4 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  |  |  | Atlantic City | NJ | PDS | 80756246
4.66 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2020 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 81081160
4.77 | Method 7E | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2021 | City of Erie Wastewater Treatment Facility | GAS SCRUBBER (GENERAL, NOT CLASSIFIED) | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81178265
4.77 | Method 7E | LB | TONS DRIED SLUDGE FED | 73 | ADL | 2021 | City of Erie Wastewater Treatment Facility | GAS SCRUBBER (GENERAL, NOT CLASSIFIED) | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81178297
4.79 | Method 7E | LB | TONS DRIED SLUDGE FED | 70.5 | ADL | 2020 | City of Erie Wastewater Treatment Facility | WET SCRUBBER | ELECTROSTATIC PRECIPITATOR - WET (WESP) |  |  |  | Erie | PA | PDS | 81116369
5.45 | Method 7E | LB | TONS DRIED SLUDGE FED | 64 | ADL | 2015 | City of Palo Alto Water Quality Control Plant | AFTERBURNER | WET SCRUBBER |  |  |  | Palo Alto | CA | PDS | 80121521
7.54 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Glastonbury Sewage Treatment Plant | IMPINGEMENT TYPE WET SCRUBBER |  |  |  |  | Glastonbury | CT | PDS | 80485555
7.76 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  |  |  | Atlantic City | NJ | PDS | 80756572
8.14 | Method 7E | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2015 | Anchorage Water and Wastewater Utility (AWWU) | VENTURI SCRUBBER |  |  |  |  | Anchorage | AK | PDS | 80123866
11.3 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 80 | ADL |  | Stratford Sewage Treatment Plant | IMPINGEMENT TYPE WET SCRUBBER |  |  |  |  | Stratford | CT | PDS | 80613935

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 6.62 | Method 7E | LB | TONS DRIED SLUDGE FED | 32 | ADL | 2016 | City of Palo Alto Water Quality Control Plant | AFTERBURNER | WET SCRUBBER |  | Palo Alto | CA | PDS | 80180329
Data value does not improve the factor quality rating. | 6.12 | Method 7E | LB | TONS DRIED SLUDGE FED | 29.5 | ADL | 2017 | Erie Waste Water Treatment Plant | ELECTROSTATIC PRECIPITATOR - DRY (DESP) | VENTURI SCRUBBER |  | Erie | PA | PDS | 80266619