## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100802
Does the SCC contain more than 15 sources? | Yes
Pollutant | Other Hexachlorodibenzo-p-dioxins
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 3
Number of individual test data values excluded from the calculation | 1
Composite Test Rating | 77.28
Control Device Configuration | AFTERBURNER,VENTURI SCRUBBER
AFTERBURNER,WET SCRUBBER
New Candidate Factor Value ¹ | 8.43e-11

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Test City | Test State | ERT Project Data Set | Submission_ID
3.83e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 75 | BDL | 2017 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | VENTURI SCRUBBER | Kansas City | MO | PDS | 80272499
8.7e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | DLL | 2017 | Atlantic County Utilities Authority | WET SCRUBBER | AFTERBURNER |  | Atlantic City | NJ | PDS | 80756418
1.28e-10 | Method 23 | LB | TONS DRIED SLUDGE FED | 78.5 | BDL | 2017 | Atlantic County Utilities Authority | AFTERBURNER | WET SCRUBBER |  | Atlantic City | NJ | PDS | 80756246

## Data Excluded
Reason for Exclusion | Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Test City | Test State | ERT Project Data Set | Submission_ID
Data value does not improve the factor quality rating. | 1.07e-11 | Method 23 | LB | TONS DRIED SLUDGE FED | 25 | BDL | 2016 | Blue River Wastewater Treatment Plant | AFTERBURNER | VENTURI SCRUBBER | Kansas City | MO | PDS | 80162371