## Summary
Key Parameters | Results
Combined Data Set SCC List | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | Nitrogen oxides (NOx)
Units | LB
Activity | TONS SLUDGE BURNED
Factor Quality Rating | Moderately Representative
Number of individual test data values used to calculate the emissions factor | 6
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 75.74
Control Device Configuration | IMPINGEMENT SCRUBBER,VENTURI SCRUBBER
MULTIPLE CYCLONES,VENTURI SCRUBBER,WET SCRUBBER
New Candidate Factor Value | 1.26

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Control_1 | Control_2 | Control_3 | Test City | Test State | ERT Project Data Set | Submission_ID
0.373 | Method 7E | LB | TONS SLUDGE BURNED | 70.5 | ADL | 2017 | ALCOSAN (Allegheny County Sanitary Authority) | VENTURI SCRUBBER | MULTIPLE CYCLONES | WET SCRUBBER | Pittsburgh | PA | PDS | 80263031
0.378 | Method 7E | LB | TONS SLUDGE BURNED | 75 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  | Cuyahoga Heights | OH | PDS | 81069127
0.423 | Method 7E | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  | Cleveland | OH | PDS | 81078289
1.23 | Method 7E | LB | TONS SLUDGE BURNED | 74.5 | ADL | 2016 | City of Edmonds WWTP | SCRUBBER |  |  | Edmonds | WA | PDS | 80333970
1.9 | Method 7E | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  | Cuyahoga Heights | OH | PDS | 80721141
3.28 | Method 7E | LB | TONS SLUDGE BURNED | 78.5 | ADL | 2020 | Southerly Wastewater Treatment Center | IMPINGEMENT SCRUBBER | VENTURI SCRUBBER |  | Cleveland | OH | PDS | 80721217