## Summary
Key Parameters | Results
SCC | 50100803
Does the SCC contain more than 15 sources? | Yes
Pollutant | LEAD
Units | LB
Activity | TONS DRIED SLUDGE FED
Factor Quality Rating | Minimally Representative
Number of individual test data values used to calculate the emissions factor | 3
Number of individual test data values excluded from the calculation | 0
Composite Test Rating | 56.68
Control Device Configuration | VENTURI SCRUBBER
New Candidate Factor Value ¹ | 0.004

## Data Included
Individual Test Data Value | Individual Test Method | Individual Test Data Units | Individual Test Data Activity | Individual Test Rating | Detection Limit Flag | Year of Test | Facility Name | Test City | Test State | ERT Project Data Set | Submission_ID
6.42e-06 | Method 29 | LB | TONS DRIED SLUDGE FED | 78.5 | ADL | 2018 | City of Edmonds Wastewater Treatment Plant | Edmonds | WA | PDS | 80333849
0.002 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 45 | ADL |  | NW Bergen Sewer Authority | Waldwick | NJ | PDS | 80594002
0.01 | EPA Method 5 (modifi | LB | TONS DRIED SLUDGE FED | 60 | ADL |  | Port of Washington Waste Water Treatment Plant | Long Island | NY | PDS | 80604677