## Instructions
US Environmental Protection Agency
WIFIA Program
PEA Questionnaire
WIFIA PEA Questionnaire
General Information
The Programmatic Environmental Assessment (PEA) Environmental Questionnaire helps verify the applicability of the PEA for a Water Infrastructure Finance and Innovation Act (WIFIA)-funded project. Compliance with other federal and state environmental laws and regulations is required, as appropriate and applicable. These could include, for example, those requiring site-specific consultations with other federal, state, Tribal governments and agencies (such as consultation under the Endangered Species Act (ESA) or National Historic Preservation Act (NHPA)); completing National Environmental Policy Act (NEPA)-like requirements of the state; or complying with certain state requirements for water and wastewater systems. Completing the PEA questionnaire can be an iterative process. The document may be revised after its initial submittal following project changes or clarifying questions made by EPA. The borrower should submit a completed PEA questionnaire including all relevant information and supporting documents listed in this checklist.
General Instructions
All questions should be answered fully based on all available information. All resources impacts should be evaluated. All supporting documentation should be attached. Attach or provide project maps of the entire project and each project component. Additional maps may be provided for clarify. Maps should be labeled appropriately with relevant streets and roadways; map surroundings should be visible. Provide ArcGIS shapefiles of project components, as applicable.
Worksheet 1. Project Questions 1-4
COLUMNS A-B (Project Name/ Description): Include each of the project components or subprojects outlined in the WIFIA Application Section E.
COLUMN C (New/Replacement/Rehabilitation): Identify if components are new, replacements or rehabilitation.
COLUMN D (Stage of Design): Select the stage of design associated with that project component.
COLUMN E (Street Address or nearest intersection): Identify the street address for the project component, if no street address is available provide the nearest intersection.
COLUMN F (Site coordinates): Provide site latitude and longitude in decimal degrees.
COLUMN G (Current/past site use): Describe the current and past use of the project site.
COLUMN H (Landcover/vegetation): Describe the landcover or vegetation occuring at the project site.
Worksheet 2. Q5 Permit Table
COLUMNS A-F (Q5): Describe any environmental permits or approvals necessary for the proposed project (e.g., federal, state, local) and describe the status of any permits and approvals. Please add additional rows if other environmental approvals are anticipated. Include supporting documentation as attachments, list the file names below. (List may not be exhaustive. Add any additional authorizations or approvals required.)
Worksheet 3. Q6 Ground Disturbance
COLUMNS A-D (Q6): Identify the estimated amount of ground-disturbing work for each project component or element, include the estimated maximum depth of ground-disturbance and area of ground disturbance. Note: The excel formatted PEA Questionnaire may be alternatively used as well.
Worksheets A-M. Impact Assessment
Assess anticipated impacts for each environmental resource. For each resource select from the drop-down if there are no impacts, less than significant impacts, or potentially significant impact as described in each resource section in the PEA. • No Impact: Select “no impact, no potential to affect” if there is no potential for the project to affect a resource (e.g. the replacement of a valve doesn't involve ground disturbance, geology or soils), or select "no impact, not present" when the resource type is not present (e.g., the project falls outside a coastal zone), or select "no impact, present but not affected" when the resource is present but not be affected the proposed action (e.g. there are wetlands on site but they are being fully avoided). • Less Than Significant Impact: Select “less than significant impact” if the resource identify will be impacted by the project or if the incorporation of mitigation measures will reduce an effect from “potentially significant impact” to “less than significant impact”. • Potentially Significant Impact: Select “potentially significant impact” if impacts remain significant despite the incorporation of mitigation measures, or if impacts fall outside the scope of those considered in the PEA. Select this response for a proposed action that is likely to have significant effects or when the significance of the effects is unknown.
PEA EXAMPLES TO REDUCE RESOURCE IMPACTS: Select from the drop-down if the example measures to reduce impacts are not applicable to the project component, not incorporated into the project component or have been incorporated into the project component. These example measures are not exhaustive. Additional measures to reduce impacts beyond the examples should be included in the narrative description.
NARRATIVE DESCRIPTION: Provide a narrative for each selected “less than significant impact” or “potentially significant impact”. Narrative descriptions should Include a description of the impact(s) (both construction and operational impacts), provide acreages or linear footage of impacts as appropriate to describe the amount of impact, if known. Include a description of associated mitigation measures, Best Management Practices (BMPs), and/or Standard Operating Procedures (SOPs) incorporated into the project to avoid, minimize or compensate for impacts (include only those not already addressed in the PEA Examples to Reduce Resource Impacts section). Provide adequate supporting references and citations for impact and mitigation assessments.

## 1. Project Questions 1-4
Q1 WIFIA Borrower: | SFPUC Wastewater Enterprise
Q2 WIFIA Project Name: | Wastewater Capital Plan Resilience Projects
Q3 Identify which project type(s) best describe the project: | Wastewater Project | Repair, Rehabilitation, and Replacement Projects
Q4 | [7 empty] | Attachments
Project Component | Project Description | New/Replacement/Rehabilitation | Current Stage of Design | Street Address or Nearest Intersection | Site Coordinates (in Decimal Degrees) | Current/Past Site Use | Site Land Cover or Vegetation
Westside Pump Station Reliability Improvements (Westside Pump Station) | To increase reliability of the bar screens, both the existing east and west bar screens will be replaced. A cross-connection from the west to the east channels will be constructed to address the scenario where the east bar screen is partially blinded or out of service during a wet weather event. The cross-connection would allow flows above the cross-connection elevation to cross back into the east channel and the east pump chamber to be pumped through the 48-inch force main while the flows that remain in the west channel are pumped via the west chamber pumps through the 54-inch force main to Vault 3 and on. The cross-connection will be sized to allow 65 million gallons per day (mgd) of flow to cross back into the east channel. Six ventilation fans in the Main Building will be replaced. The project scope also includes constructing a new parallel 54-inch pipeline from the west end of the pump discharge manifold to Vault 3 to provide redundancy for the existing 54-inch force main. The pipe will head west from the Manifold Room and continue south under the Great Highway to Vault 3. The existing pump manifold will be redesigned to accommodate bi-directional flow from the pumps to the two parallel pipelines. A new two-story underground addition to the Main Building will be constructed to the west of the existing Manifold Room to house a knife gate valve on the new 54-inch parallel pipeline. The new flowmeter for the parallel pipeline will be housed in a new underground vault under the Great Highway. Vault 3 will be modified to accommodate the new 54-inch parallel pipeline. Automated flushing systems for the new and existing knife gate valves will be installed to streamline valve operations. The portion of the existing abandoned 54-inch reinforce concrete pipe pipeline from Vault 3 to the Transport Storage WST in conflict with the new construction will be demolished. A portion of the existing 42-inch deluge/flushing system Westside Pump Station pipeline will be relocated and replaced with a 16-inch ductile iron pipe pipeline. In addition, a portion of the existing 12-inch Valosin Containing Protein sewer line will be relocated and two new sewer manholes provided. To meet the level of service goal of providing redundancy for electrical power, new primary and redundant power feeds will be provided by PG&E. The new primary feed will originate on 47th Avenue. The new redundant feed will originate at an existing PG&E vault and head west . An underground vault will be constructed to house the selector switch equipment to switch between the primary and redundant feeds. The project includes reconstruction of the roadway and curb ramp upgrades at five intersections on Sloat Boulevard affected by the redundant feed construction. A new Electrical Building will be constructed at the northwest corner of the Westside Pump Station facility to house the new transformer, switchgear, substations, batteries, and VFDs for the West Chamber Pumps. Once the new feeds and the Electrical Building are commissioned, the existing transformer and associated electrical equipment in the Main Building will be removed. A new ground-floor Electrical Room will also be added to the Main Building to house new electrical equipment. A new pedestrian path servicing the new Electrical Building will be constructed from the east side of the North Yard to a new pedestrian gate on Sloat Boulevard. A retaining wall will be constructed to the east of the path to support the existing slope. To maintain site security and continue the site perimeter fencing, new fencing will be installed along the east side of the path. Landscaping will be provided in the reconfigured planters in front of the new Electrical Building and the modified Main Building. The existing art installation will be relocated in a new planting area on the north side of the new Electrical Building. | Rehabilitation | Construction | Located at 2900 Great Highway, in District 7 in San Francisco, CA | Latitude 37.73485, Longitude 122.50661 | Existing Facility | Paved, walled open courtyard, with the long axis along the Great Highway. A sandy landscaped area surrounded by concrete walls, planter boxes and a public art installation separates the North Courtyard from Sloat Boulevard
North Shore Pump Station Wet Weather Improvements (North Shore Pump Station) | The SFPUC proposes to upgrade dry weather pumps, upgrade to the electrical system, replace barscreens, modernize the personnel elevator, do limited electrical improvements at SEP930, and replace the roof. It was determined that in order to meet the level of service goals for the program, redundant wet weather capacity is needed at the facility by upgrading the existing dry weather pumps. The objective of this project is to provide redundant wet weather pumping capability and provide 75 MGD of redundant capacity at NSS to prevent sewage discharge if pump failure were to occur due to inoperability of existing wet weather pumps. The NSS Wet Weather Improvements Project would replace four existing DW pumps inside the existing NSS with larger pumps to provide the redundant capacity. Associated structural and electrical upgrades and modifications would be employed to accommodate the increased pumps and electrical demand. To further ensure reliability of the redundant system, two DW coarse bar screens would be replaced within NSS east and west dry weather channels. The outlet sluice gate hydraulic actuators, immediately downstream of the bar screens, would also be replaced. Additional upgrades include replacement of the NSS heating, ventilation and air conditioning (HVAC) system, re-roofing of the NSS, modernization of the personnel elevator, replacement of lighting fixtures, and upgrade of the process dewatering system. The only exterior alteration to the NSS would be the roof replacement. However, limited ground disturbance and excavation would be required to implement this portion of the proposed project. | Rehabilitation | Construction | 111 Bay Street, San Francisco, CA | Latitude 37.80605, Longitude 122.40847 | Currently existing North Shore Pump Station | Urban Developed
Wawona Area Stormwater Improvement Project (Wawona Stormwater) | The project would mitigate flooding at and around this neighborhood. The project would install approximately 1.3 miles of new gravity-driven, combined sewer mains to redirect upstream stormwater flows along the streets. The project would also install new high-capacity inlets. In total, there are approximately 12 new locations for additional inlets and catch basins. These improvements will re-establish sewer capacity in the existing sewer and improve the drainage of overland flows. The project involves cut and cover installation of sewer, trenchless sewer construction, and pavement resurfacing. The remainder of work will either be trenchless or completed with cut and cover construction methods. In any location where cut and cover occurs, pavement resurfacing will also occur. Construction of new water transmission and distribution mains would occur along the sewer alignment installed by cut and cover methods. Staging would occur on paved streets and some grass-covered areas. | New | Construction | Intersection of 15th Avenue and Wawona Street in San Francisco, CA | Latitude 37.73788, Longitude 122.470543 | Urban area along Vicente Street. | Urban Developed
New Treasure Island Wastewater Treatment Plant Project (Treasure Island) | The proposed project would construct a new wastewater treatment plant at or near the existing treatment plant site. The objective of the project is to build a new wastewater treatment plant that will provide reliable service for residents and meet the recycled water demands of the future redevelopment on the island. The existing facility was built by the U.S. Navy over 50 years ago and is past its useful life and no longer reliable. The existing facility is also not capable of providing recycled water and meeting the needs of the residents on the redeveloped island. The new wastewater treatment plant would be constructed immediately adjacent and to the south of the existing plant site. The new plant would have the capacity to treat an estimated 1.3 mgd average dry-weather flow and a peak wet-weather flow of 3.9 mgd. The preliminary treatment would remove rags, large objects, and grit. The secondary treatment process would use a membrane bioreactor to remove biochemical oxygen demand and suspended solids. The membrane bioreactor is a combination of suspended growth biological treatment system (activated sludge) in combination with membrane filtration equipment which is used to perform solid-liquid separation. All effluent produced from the new water resource recovery facility will be high-quality tertiary water with no human contact restrictions. Any additional recycled water that is produced and not put into the recycled water distribution system will be discharged to a receiving wetland. Solids generated in the treatment processes would be thickened and hauled to another SFPUC site for digestion. The resulting biosolids would be trucked to an off-site landfill or suitable location for land application. In addition, the new plant will be designed to achieve the disinfected tertiary treatment. About 0.43 to 0.98 mgd of the Title 22 effluent would be diverted from the treatment plant for landscape irrigation, urban farming, and toilet flushing. The remainder of the disinfected effluent from the treatment plant would be directed to the proposed wetlands. (See Attachment 4.0: Memo 1, April 2019.) The project area includes a single parcel where the new treatment plant will be constructed and a second parcel that would be used solely as a staging area. The existing plant site will not be altered, though portions of the parcel may be used as a temporary staging area. (See Attachment 4.1: Project Location map.) | New | Planning/Early Design | Northeast corner of Treasure Island in San Francisco, CA | Latitude 37.82948, Longitude 122.36964 | The project site recently went through land clearing | Unvegetated Land | Attachment 4.0: Memo 1, April 2019 Attachment 4.1: Project Location Map
Folsom Area Stormwater Improvements Project Phase 2 (Folsom Stormwater) | The primary objective of this Project is to address the current Sewer System Improvement Program level of service. The LOS for Stormwater Management includes the integration of green and grey infrastructure to manage stormwater and minimize flooding in a statistically derived storm lasting three hours, with a total of 1.3 inches of rainfall and a defined peak rainfall intensity (five-year three-hour storm, or LOS storm). The project will construct a 4,000-linear-foot, 12-foot-internal-diameter stormwater tunnel. The project will also construct nearly 12,500 linear feet of upstream components, including deepening an existing reinforced concrete box sewer, new reinforced concrete box sewer, upsizing existing pipe sewers, new auxiliary pipe sewers, and junction structures to divert flow toward the new stormwater tunnel. | New | 30% Design | Mission neighborhood surrounding 17th, 18th and Folsom Streets in San Francisco, CA | Latitude 37.76589, Longitude 122.40631 | The project area is developed and in an urban setting. | Urban Developed
Yosemite Creek Daylighting (Yosemite Creek) | The Upper Yosemite Creek Daylighting Project is one of eight Early Implementation Projects (EIPs) that the SFPUC will construct in San Francisco’s urban watersheds as part of the Sewer System Improvement Program (SSIP). The goal of the EIPs is to demonstrate the use of performance-based green infrastructure technologies to remove or attenuate stormwater from the combined sewer system (CSS). The SSIP Program Management Consultant (PMC) team, in coordination with the SFPUC, determined the optimal project location and preferred design concept during the previous planning phases. The Upper Yosemite Creek Daylighting EIP is in the Yosemite watershed. The project is set in the northeast portion of McLaren Park starting at Yosemite Marsh, running down Oxford Street and Wayland Street to the Louis Sutter athletic fields. The Upper Yosemite Creek Daylighting EIP is a creek daylighting project designed to reduce stormwater inflow to the CSS and excess flows in the surrounding area, reduce potable water use, increase biodiversity, enhance existing park amenities, improve the community, and facilitate educational opportunities. Currently, stormwater runoff from most of McLaren Park drains into Yosemite Marsh, McNab Lake, or directly onto the adjacent streets. When the water surfaces in Yosemite Marsh and McNab Lake reach the outlet elevations, stormwater spills into the CSS. The stormwater that flows or seeps directly onto the streets is collected by catch basins that are routed to the CSS. The Upper Yosemite Creek Daylighting EIP consists of daylighting approximately 1,700 feet of Yosemite Creek between Bacon/Oxford Streets (Yosemite Marsh) and Wayland/University Streets to convey stormwater adjacent to, or within, the right-of-way and through McLaren Park before returning to the CSS. An additional 400-foot section of storm drain pipe will be needed to convey flow underground through one residential block of Wayland Street, resulting in a total length of the main stem of approximately 2,100 linear feet. Three inline bioretention basins will capture and infiltrate stormwater while creating natural habitat space for native plant species. Overflow from McNab Lake will be filtered and directed into a subsurface storage cistern under the Louis Sutter soccer field. Water collected in the cistern will be recirculated through the creek in the wintertime to promote infiltration and used to irrigate the soccer field and vegetation associated with this project during the dry season. Approximately 0.9 million gallons of collected stormwater will be used to meet irrigation demands within the park during a typical rainfall year. A resting and gathering space called the Yosemite Station will be created along the creek to provide public amenity, awareness, and education opportunities. | Rehabilitation | Planning/Early Design | Northern edge of McLaren Park in District 10 in San Francisco, CA | Latitude 37.72288, Longitude 122.41433 | The project is located on the northeast edge of McLaren Park. Project improvements would be adjacent to, or within, the right-of-way and through McLaren Park before returning to the existing combined sewer system. | Urban park
Note on I5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Unsure if this should be within a table or have its own tab

## 2. Q5 Permit Table
Permit Table
Q5
Project Component | Permit/Authorization | Purpose | Responsible Agency | Status | Date Issued/Application Date/Expected Approval Date
Westside Pump Station | Clean Water Act Section 404 | Impacts to US wetlands and waters | USACE/State
| Clean Water Act Section 401 | Water quality certification | EPA/State
| Section 10 of the Rivers and Harbors Act of 1899 and/or Section 103 of the Marine Protection, Research, and Santuaries Act | Impacts to navigable waters | USACE
| Clean Water Act Section 402 |  | EPA/State
| Section 408 (Section 14 of the Rivers and Harbors Act of 1899) | Permission for alteration of USACE owned or operated assets | USACE
| Floodplain Permit |  | State/Local
| Farmland Policy Protection Act |  | USDA
| Coastal Zone Permit/Approval |  | State Coastal Zone Management Agency | Received | Approved May 2018, Extended 2020, Amended Feb. 2021
Treasure Island | Clean Water Act Section 404 | Impacts to US wetlands and waters | USACE/State
| Clean Water Act Section 401 | Water quality certification | EPA/State
| Section 10 of the Rivers and Harbors Act of 1899 and/or Section 103 of the Marine Protection, Research, and Santuaries Act | Impacts to navigable waters | USACE
| Clean Water Act Section 402 |  | EPA/State
| Section 408 (Section 14 of the Rivers and Harbors Act of 1899) | Permission for alternation of USACE owned or operated assets | USACE
| Floodplain Permit |  | State/Local
| Farmland Policy Protection Act |  | USDA
| Coastal Zone Permit/Approval |  | State Coastal Zone Management Agency
| BAAQMD Authority to Construct and Permit to Operate |  | Bay Area Air Quality Management District | To Be Submitted | TBD
| National Pollutant Discharge Elimination System (NPDES) Permit |  | Regional Water Quality Control Board | To Be Submitted | TBD
Yosemite Creek | Clean Water Act Section 404 | Impacts to US wetlands and waters | USACE/State | To Be Submitted | End of 2023
| Clean Water Act Section 401 | Water quality certification | EPA/State | To Be Submitted | End of 2023
| Section 10 of the Rivers and Harbors Act of 1899 and/or Section 103 of the Marine Protection, Research, and Santuaries Act | Impacts to navigable waters | USACE
| Clean Water Act Section 402 |  | EPA/State
| Section 408 (Section 14 of the Rivers and Harbors Act of 1899) | Permission for alternation of USACE owned or operated assets | USACE
| Floodplain Permit |  | State/Local
| Farmland Policy Protection Act |  | USDA
| Coastal Zone Permit/Approval |  | State Coastal Zone Management Agency
| Section 1600 Streambed and Lake Alteration Agreement |  | CA Department of Fish and Wildlife | To Be Submitted | End of 2023
Note on B21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Additonal permits not on PEA table

## 3. Q6 Ground Disturbance
Ground Disturbance
Q6
Project Component | Estimated Volume of Ground Disturbance | Estimate Maximum Depth of Excavation | Estimated Area (length x width) of Ground Disturbance
Westside Pump Station Reliability Improvements (Westside Pump Station)
North Shore Pump Station Wet Weather Improvements (North Shore Pump Station)
Wawona Area Stormwater Improvement Project (Wawona Stormwater)
New Treasure Island Wastewater Treatment Plant Project (Treasure Island)
Folsom Area Stormwater Improvements Project Phase 2 (Folsom Stormwater)
Yosemite Creek Daylighting (Yosemite Creek)

## A. Land Use
A.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Land Use | Anticipated Impact
1. Conversions of Prime Farmland, Unique Farmland, or Farmland of Statewide Importance (Farmland), to non-agricultural use as defined under the Farmland Protection Act 7 U.S.C. 4201 et seq. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
2. Conflicts with any applicable land use plan, policy, act, or regulation of an agency with jurisdiction over the project (including, but not limited to, the general plan, habitat conservation plan, specific plan, local plan, or zoning ordinance). | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Land Use Impacts:
Compatibility with state and local government and private programs and policies. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Measures agreed upon in coordination with stakeholders. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
A1
A2

## B. Air Quality
B.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Air Quality | Anticipated Impact
1. Conflicts with or delays in implementation of any applicable federal, state, or local air quality plan. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Violations of any federal air quality standards or contributions to an existing or projected air quality violation (including protected areas designated as mandatory Federal “Class I”). | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Increases in any criteria pollutant for which the project region is in non-attainment under an applicable federal or state ambient air quality standard (including releasing emissions which exceed quantitative thresholds for ozone precursors). | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
4. Releases of objectionable odors, such as hydrogen sulfide. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Air Quality Impacts:
Odor minimizing facility design or emission control devices. | Not Applicable | Not Applicable | Not Applicable | Incorporated | Not Applicable | Not Applicable
Use of energy efficient technologies, such as anti-idling measures for construction vehicles. | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated
Use of dust suppression techniques, such as water for dust suppression, reducing vehicle speeds, cover truck loads during transit, rumble strips, truck washing stations during construction. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Narrative Description
B1
B2
B3
B4 |  |  |  | Although the proposed project would result in an increase in throughput of wastewater, implementation of updated treatment equipment and processes as well as odor control technology with the proposed project would be expected to result in a reduction in potential odors compared to existing conditions. There are existing regulatory mechanisms contained in Regulation 7 through which any potential odor impacts would be verified by use of a dynamic olfactometer and corrections made until no odor complaints are received over a one year period. Finally, the proposed project would increase the existing buffer distance between the plant and the nearest residences. Consequently odor impacts are expected to be less than significant, and no mitigation is required.

## C. Noise and Vibration
C.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Noise and Vibration | Anticipated Impact
1. Generation of noise levels in excess of standards established in the local general plan or noise ordinance, or applicable standards of other agencies; or generation of noise resulting in public health impacts. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Permanent increases in ambient noise levels in the project vicinity above levels existing without the project. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Temporary or periodic increases in ambient noise levels in the project vicinity above levels existing without the project. | Less Than Significant Impact | Less Than Significant Impact | Less Than Significant Impact | Less Than Significant Impact | Less Than Significant Impact | Less Than Significant Impact
4. Generation of vibration that could increase the risk of structural damage. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Noise Impacts:
Compliance with local ordinances and land use designations. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Placing intakes and exhausts facing away from sensitive receivers. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Attenuation of fan noise and pump and motor noise. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Use of general noise reduction measures. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Narrative Description
C1
C2 |  |  |  | Operation of stationary sources at the proposed public utility facilities would increase existing noise levels, potentially exceeding noise level standards. Stationary sources such as pump stations can generate noise levels in excess of Land Use Compatibility Guidelines threshold recommendations, depending on the types and location of nearby land uses. Pursuant to Mitigation Measure M-NO-6 and M-NO-1a, utility and industrial stationary noise sources would be designed with adequate noise attenuating features to achieve acceptable regulatory noise standards for industrial uses as well as to achieve acceptable levels at the property lines of nearby residences or other noise sensitive uses, as determined by the local Compatibility Guidelines for Community Noise standards.
C3 | The noisiest pieces of equipment anticipated for use would be the pile/drill combo rig, crane, concrete mixer trucks and excavator, which would be used for construction of the secant pile wall and excavations. These would generate noise at 85 dBA at 50 feet or 76 dBA at 100 feet. Demolition and grading activities and construction within the pump station itself would produce intermittent noise at lesser volumes. Project construction noise at receptors would be buffered by distance to between 64 and 70 dBA, which is well below the City’s noise threshold. The SFPUC and its construction contractor would implement Standard Construction Measure Number 5, which includes complying with provisions of the San Francisco Construction Noise Ordinance and implementing best management practices to reduce noise levels; therefore, no impacts are expected. | The closest residential sensitive receptors are located approximately 500 feet to the west and are separated from wastewater treatment facilities such as the construction area, buildings, pump station walls, and major entry/exit roads. The SFPUC and its construction contractor would implement Standard Construction Measure Number 5, which includes complying with provisions of the San Francisco Construction Noise Ordinance and implementing best management practices to reduce noise levels; therefore, no impacts are expected. | Construction impact equipment would generate the most noise but are exempt from the Noise Control Ordinance. Pipe ramming would occur approximately 10 to 20 feet below the road surface (depending on the shaft location), and any noise would be attenuated. Pipe ramming would be limited to twice a day for approximately 1 hour each time (once mid-morning and once mid-afternoon). Due to the limited duration of the Project, and temporary nature of the work activities, adverse noise effects would not be expected. |  | While some short-term and intermittent noise would be generated as a result of Project activities, the noise would be comparable to pipeline installation projects common in San Francisco. Most construction activities would require intermittent construction activity for approximately two to four weeks in any given city block. Construction impact equipment would generate the most noise but are exempt from the Noise Control Ordinance. Project activities would primarily be conducted between 7:00 a.m. to 5:00 p.m. Monday through Friday, and potentially on weekends. Evening work, including with impact equipment, may be required at various intersections for up to 2 nights at each location. Due to the limited duration of the Project, and temporary nature of the construction activities, adverse noise effects would not be expected. | The SFPUC and its construction contractor would implement Standard Construction Measure 5, which includes complying with provisions of the San Francisco Construction Noise Ordinance and implementing best management practices to reduce noise levels, therefore, impacts to noise effects are not expected.
C4

## D. Geology & Soils
D.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Geology and Soils | Anticipated Impact
1. Exposure of people or structures to hazards from unstable soils, landslide, lateral spreading, subsidence, liquefaction or collapse. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Increase in soil erosion or loss of topsoil. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Loss of economic viable mineral deposits, scientifically significant paleontological resources, or unique geological features. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Impacts to Geology and Soil:
Use of erosion control and site stabilization BMPs. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Implementation of a stormwater pollution prevention plan and fugitive dust control plan. | Incorporated | Not Applicable | Not Applicable | Incorporated | Not Applicable | Not Applicable
Implementation of effective site selection and design. | Incorporated | Incorporated | Not Applicable | Incorporated | Incorporated | Not Applicable
Narrative Description
D1
D2
D3

## E. Water Resources
E.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Water Resources | Anticipated Impact
1. Violations of any federal water quality standards or waste discharge requirements, including degradation of water quality. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Depletion or contamination of groundwater supplies (including sole-source aquifers) or negatively interfere with groundwater recharge. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Alteration of the drainage pattern of a water resource that would result in an increase in erosion or flooding on- or off-site. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
4. Soil erosion or stormwater runoff that increases sediment, pollutants, or contaminates into streams, rivers, or other water resources. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
5. Floodplain modification, development within, or redirection, as defined by Executive Order 11988. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | Less Than Significant Impact | No Impact- Not Present | No Impact- Not Present
6. Increase in flood risk affecting loss on human safety, health, and welfare. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
7. Loss, degradation, or destruction of wetlands and waterbodies through direct removal, filling, hydrological interruption, or other means. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | Less Than Significant Impact
8. Alteration of wild and scenic rivers as defined by the Wild and Scenic River Act 16 U.S.C. 1271 et seq. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
9. Conflicts with the Rivers and Harbors Act, 33 U.S.C. 403. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
10. Conflicts with the Coastal Barrier Resources Act, 16 U.S.C. 3501 et seq. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
11. Conflicts with the enforceable policies of a state's federally approved coastal management program (the Coastal Zone Management Act, 16 U.S.C. 1451 et seq.). | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Impacts to Water Resources:
Use of appropriate erosion and sediment control measures, BMPs, and site stabilization. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Implementation of effective site selection and design. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
E1
E2
E3
E4
E5 |  |  |  | A portion of the project site is within a 100-year floodplain. The new wastewater treatment plant would be adjacent to the existing wastewater treatment plant. The treated effluent under the new wastewater treatment process would have superior water quality than under the existing WWTP. Wetlands are proposed for effluent storage and potential polishing prior to discharge. With Title 22 effluent disinfection, there would be no contact restrictions for the wetlands.
E6
E7 | [5 empty] | The project would involve disturbance to Yosemite Marsh, which is a water of the U.S. and State. The proposed project would be required to obtain various federal and State permits to comply with water quality protection laws and regulations and, including a Section 404 permit from the U.S. Army Corps of Engineers and a Section 401 permit, from the Regional Water Quality Control Board. The Project would obtain CDFW 1600 Agreement from the California Department of Fish and Wildlife. Therefore, adverse water quality effects to Yosemite Marsh are not anticipated.
E8
E9
E10
E11 | The WSS project site is located within the California Coastal Zone, subject to zoning controls and development and management regulations under the California Coastal Act of 1976. The northernmost portion of the site is within the coastal area for which the California Coastal Commission retains jurisdiction. Project development would require a Coastal Development Permit. SFPUC obtained a Coastal Development Permit in 2018, an extension to the permit in 2020, and an amendment based on the current project description in 2021.

## F. Biological Resources
F.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Biological Resources | Anticipated Impact
1. Jeopardizes the continued existence of any federally threatened or endangered species as identified by the U.S. Fish and Wildlife Service (USFWS) or National Marines Fisheries Service (NMFS) in the Endangered Species Act 16 U.S.C. Ch. 35 § 1531 et seq. | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected
2. Adversely modify, fragment, or degrade of critical habitat by the USFWS or NMFS. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
3. Modification, fragmentation, or degradation of biological sensitive areas other than designated critical habitat. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
4. Harm to fauna, including mammals, birds, reptiles, amphibians, fish, and invertebrates. | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected | No Impact- Present but Not Affected
5. Changes in vegetation type (native to the region), particularly if the vegetation type in the region is already highly fragmented because of human activity. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | Less Than Significant Impact
6. Potential to injure or disturb marine mammals in U.S. waters as protected under Marine Mammal Protection Act as defined under 16 U.S.C 1361-1407. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
7. Reduction in the quality or quantity of Essential Fish Habitat as designated in accordance with the Magnuson Stevens Fisheries Conservation and Management Act. | No Impact- Present but Not Affected | No Impact- Not Present | No Impact- Not Present | No Impact- Present but Not Affected | No Impact- Not Present | No Impact- Not Present
8. Disturbances to Bald or Golden Eagles as defined under 16 U.S.C. 668 et seq. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
9. Disturbances to migratory birds as defined under 16 U.S.C. 703-712 as amended. | Less Than Significant Impact | Less Than Significant Impact | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | Less Than Significant Impact
10. Conflicts with the provisions of an adopted Habitat Conservation Plan as approved under section 10 (a) (1) (B) of the ESA or other federal habitat conservation plan. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
11. Introduction or spread of invasive species as identified under Executive Order 13112. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
12. Loss of or damage to wildlife resources due to the control or modification of any stream or other body of water protected by the Fish and Wildlife Coordination Act 16 U.S.C. 661-667e | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Impacts to Biological Resources:
Implementation of avoidance and minimization measures, and BMPs. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Adoption of recommendations and conservation measures from USFWS, NMFS and/or the National Oceanic and Atmospheric Administration. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Prevention of spills and leaks from vehicles and equipment. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Implementation of measures to minimize soil compaction and the transportation of noxious, invasive and pest species. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
F1
F2
F3
F4
F5 | [5 empty] | The proposed project would remove 15 trees and re-locate 4 trees. Native species trees will not be removed. However, based on the arborist report, the trees to be removed would be considered as Significant Trees under San Francisco’s Urban Forestry Ordinance.
F6
F7
F8
F9 | The survey did identify the potential for nesting migratory birds to be present in trees and brush east of substation, although the potential for raptor nests appears to be low. Consistent with Standard Construction Measure 7, if project construction begins during the nesting season (between February 15 and August 15), a nesting bird survey of the project site would be conducted prior to the beginning of tree removal. | Two street trees would be removed. In accordance with SFPUC Standard Construction Measure Number 7, trees would be surveyed for nesting birds before removal between February 15 and August 31 to ensure active migratory bird nests (containing eggs or chicks), if present, are not destroyed. Therefore, adverse effects to biological resources would not be expected. A bird/bat survey was conducted for the roof (multiple levels) and tank areas where project work will occur. |  |  |  | The proposed project would remove 15 trees and re-locate 4 trees. None of the trees that would be removed or relocated without following our SCM for nesting bird surveys.
F10
F11
F12

## G. Cultural Resources
G.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Cultural Resources | Anticipated Impact
1. Potential adverse effects to federally listed and eligible historical properties, including prehistoric and historic sites, historic districts and traditional cultural properties, as defined in 36 CFR part 800. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
2. Modification of unique paleontological resources or site or unique geologic features. | No Impact- Not Present | Less Than Significant Impact | No Impact- Not Present | No Impact- Not Present | Less Than Significant Impact | Less Than Significant Impact
3. Disturbance of human remains, including those interred outside of formal cemeteries. | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present | No Impact- Not Present
4. Conflicts with Native American Graves Protection and Repatriation Act, as defined in 25 U.S.C. § 3001 et seq. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
5. Conflicts with the Archaeological Resources Protection Act, as defined in 16 U.S.C. §§ 470AA-MM | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Impacts to Cultural Resources:
Implementation of effective site selection and design. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Implementation of avoidance and minimization measures identified in consultation with the State Historic Preservation (SHPO) and/or Tribal Historic Preservation Officer (THPO).
Conduct surveys prior to construction. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Development of an unanticipated discoveries plan. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Narrative Description
G1
G2 |  | The limited excavation for the demolition of the ferrous chloride equipment pad to the south would disturb the ground to a depth of up to 4 feet below the existing paved surface. An undefined historic-era deposit was identified in the area. The CRHR eligibility of this resource has not been evaluated but it has been assumed to be potentially eligible for purposes of this assessment based on potential to yield data on post‐Gold Rush activity along the waterfront. The proposed excavation and grading could extend close to the top of this deposit as presently understood but is not expected to penetrate the deposit and thus would avoid it. |  |  | A City Archaeologist conducted the archeological review for the Project and found many of the project alignments are modeled as very high to high sensitivity for prehistoric resources associated with the historic surface, and many project areas modeled as very high sensitivity for buried and/or submerged prehistoric resources. Archaeological Measure III (Archeological Testing/Data Recovery) would be included in the Project. Archaeological Measure II requires archaeological monitoring and preparation of an Archeological Monitoring Plan (AMP). With the inclusion of these measures, no impact to archaeological resources are anticipated. | While the proximity to this natural fresh water source suggests that the project area could be sensitive for prehistoric resources, the fact that no resources have been recorded at this location despite the relatively recent and intensive development suggests that the potential for prehistoric archaeological resources is low, possibly because of the distance from the resource-rich bay shore. The potential to encounter historic period resource therefore also appears to be low. Nonetheless, SFPUC Standard Construction Measure 9, Archaeological Measure 1 (Archaeological Discovery) is included in the project. With the inclusion of this measure, no significant effects to archaeological resources are anticipated.
G3
G4
G5

## H. SocioEco & EJ
H.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Socioeconomic and Environmental Justice | Anticipated Impact
1. Changes to the demographics around project location, such as population growth. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Modifications to economic factors such as per capita income, unemployment rate, or poverty. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Alterations to social assets, such as housing or public services. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
4. Disproportionate high and adverse human health environmental effects on minority population and low-income populations as defined under Executive Order 12898. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Socioeconomic and Environmental Justice Impacts:
Implementation of construction mitigation measures. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Measures identified as a result of conducting meaningful public engagement to environmental justice communities. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
H1
H2
H3
H4

## I. Transport & Traffic
I.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Transportation and Traffic | Anticipated Impact
1. Changes to traffic patterns around the project area including, but not limited to, the arrival and departure of construction workers, vehicles hauling equipment and materials to the site, road closures or detours, and slower movement and larger turning radii of truck going to project site. | Less Than Significant Impact | Less Than Significant Impact | Less Than Significant Impact | No Impact- No Potential to Affect | Less Than Significant Impact | Less Than Significant Impact
PEA Examples to Reduce Transportation and Traffic Impacts:
Mitigation measures identified in coordination with local agencies. | Incorporated | Incorporated | Incorporated | Not Applicable | Incorporated | Incorporated
Use of warning signage, flag persons. | Incorporated | Incorporated | Incorporated | Not Applicable | Incorporated | Incorporated
Use of lane closures and detours as necessary. | Incorporated | Incorporated | Incorporated | Not Applicable | Incorporated | Incorporated
Narrative Description
I1 | Project construction would entail excavation within and closure of the northbound lanes of the Great Highway north of the zoo entrance for up to 30 months and in the curb lane of Sloat Blvd for about six weeks. . Construction would also entail temporary closure of the sidewalk on the south side of Sloat Blvd. adjacent to the WSS for a period of up to 30 months. As per Standard Construction Measure 4, the SFPUC would implement traffic control measures throughout construction to minimize traffic impacts. | Project staging would require the temporary occupancy of approximately 200 feet of sidewalk and parking lane on North Point Street. Construction staging and delivery vehicles may temporarily impede traffic flow on project streets and surrounding streets. If necessary, through traffic may be temporarily detoured around the construction site to avoid conflicts with construction equipment. . Implementation of the Transportation Management Plan would minimize disruption to the public and address public safety and travel during construction. | Portions of the affected streets would be closed during work hours, but the contractor would keep at least one lane of traffic open during construction, and a flagger would be on duty to maintain traffic flow. Local access would be maintained at all times. The proposed Project could temporarily delay or require rerouting bus lines and relocation of bus stops during Project activities, as the project may require temporary use of the traffic lanes and bus stops for construction vehicles or equipment or materials staging. As roadways would remain open and a flagger would be on duty to maintain traffic flow in the project area, and the SFMTA review and approval process would be followed, adverse impacts to transportation are not anticipated. |  | Project activities would require temporary use of traffic lanes, parking lanes and/or bus stops during construction and for equipment and materials staging. These activities could temporarily delay or require rerouting of through traffic including bus lines. Some streets would be closed temporarily during construction. Any necessary detours and/or rerouted bus lines would be clearly identified. When feasible, at least one lane of traffic would be open during construction, and a flagger would be on duty to maintain traffic flow. Local access to residence and business driveways would be maintained at all times. | The proposed project would convert two street blocks from two-way streets to one-way streets. It was determined that the one way conversion of the streets would not affect traffic volumes at intersections or pattern of circulation. The proposed one-way street conversions would need to be approved by the SFMTA and comply with applicable SFMTA regulations to ensure that traffic and transportation would not be adversely affected by the proposed project.

## J. Utilities & Comm. Services
J.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Utilities and Community Services | Anticipated Impact
1. Changes to electric, cable, gas, sewer, water, stormwater, and other existing utility services. | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Changes to community services, such as open space, recreational and cultural facilities. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- Present but Not Affected
PEA Examples to Reduce Impacts to Utilities and Community Services:
Identification and avoidance of utilities. | Not Incorporated | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Coordination with service providers and minimization of service interruption. | Incorporated | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Mitigation measures identified in coordination with park and recreational resource managers/agencies. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
J1 | Several existing utilities under the Great Highway will be affected by the shoring and excavation for the project. The portion of the existing abandoned 54-inch RCP pipeline from Vault 3 to the WST in conflict with the new construction will be demolished. A portion of the existing 42-inch deluge/flushing system WSP pipeline will be relocated and replaced with a 16-inch DIP pipeline. In addition, a portion of the existing 12-inch VCP sewer line will be relocated and two new sewer manholes provided. |  |  | Sanitary sewer overflows may occur when a lift/pump station fails, if sewer lines become plugged, or if the volume of flows is high enough to overwhelm the system. The current collection system has this risk. Under the proposed project, to prevent potential Sanitary Sewer Overflows, the proposed lift/pump stations would include redundant pumps, alarm systems, and emergency back-up power generators. Because of these risk reduction features, the proposed project would have a less than significant effect regarding Sanitary Sewer Overflows, and no mitigation is required.
J2

## K. Hazards, Toxics & Waste
K.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Hazardous & Toxic Materials and Waste | Anticipated Impact
1. Accidental releases, spills, or improper storage and disposal of hazardous materials. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | Less Than Significant Impact | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Conflicts with Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA), Resource Conservation and Recovery Act (RCRA), Solid Waste Disposal Act, Toxic Substances Control Act, and Emergency Planning and Community Right-to-Know Act. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Generation or increase in the amount of sewage sludge that is not in compliance with EPA standards for the use or disposal of sewage sludge. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Hazardous & Toxic Materials and Waste Impacts:
Mitigation measures identified through compliance with applicable hazardous and toxic materials laws and regulations. | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated | Not Incorporated
Implementation of environmental protection measures, BMPs, and Standard Operating Procedures (SOPs). | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Development or Adoption of an Emergency Plan/Emergency Response Plan (or similar). | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Narrative Description
K1 |  |  |  | There are environmentally-restricted areas where residual petroleum contamination has been left in place. Construction activities can be implemented in these and non-environmentally-restricted areas in accordance with the Soil and Groundwater Management Plan (SGMP). The proposed new wastewater treatment plant would require the storage and handling of water treatment chemicals as part of wastewater treatment operations. If accidentally released, these chemicals could cause human health effects to plant personnel and surrounding populations and could cause adverse environmental effects if released to the environment. However, the chemical storage and handling systems are stringently regulated by RCRA and locally enforced by DTSC. Incorporation of these legally required design features would reduce the potential for spills resulting from the storage and handling of hazardous materials that would be used at the new or upgraded treatment plant. In addition, there is an existing treatment plant that uses similar quantities of hazardous materials that would not significantly change with the proposed project. No mitigation would be required.
K2
K3

## L. Human Health & Safety
L.
| Westside Pump Station | North Shore Pump Station | Wawona Stormwater | Treasure Island | Folsom Stormwater | Yosemite Creek
Human Health & Safety | Anticipated Impact
1. Creating occupational health hazards for workers during construction or operation. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
2. Creating or contributing to environmental health or public health risks and safety risks that may disproportionately affect children, consistent with Executive Order 13045. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
3. Creating or contributing to public health risk of immediate injury or long-term health hazards. | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect | No Impact- No Potential to Affect
PEA Examples to Reduce Human Health and Safety Impacts:
Implementation of a health and safety plan. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Limiting site access to authorized personnel only. | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Implementation of fugitive dust minimization measures. | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated | Incorporated
Narrative Description
L1
L2
L3

## M. Other ENV
M.
[Project Component]
Other Environmental Impacts | Anticipated Impact
1
2
Narrative Description
M1
M2

## Drop Down Menus
Template Drop Downs
Project Questions
Component | Design Stage | Indv. Project Type
New | Planning/Early Design | Wastewater Project
Replacement | 30% Design | Drinking Water Project
Rehabilitation | 60% Design | Energy Efficiency Enhancement Project
| 90% Design | Repair, Rehabilitation, and Replacement Projects
| Final Design | Brackish or Seawater Desalination Projects
| Construction | Drought Prevention, Reduction, or Mitigation Projects
Acquisition of Real Property Projects
Combination Wastewater or Drinking Water Projects
Other (Provide Explanation)
Permit Table
Status
Received
Application Submitted
To Be Submitted
Not Applicable
Unclear if needed at this time
Sections A-M
Impacts | PEA
No Impact- No Potential to Affect | Not Applicable
No Impact- Not Present | Not Incorporated
No Impact- Present but Not Affected | Incorporated
Less Than Significant Impact
Potentially Significant Impact