## Unit
Prime Mover |  | Unit Operational Status |  | Program Codes |  | Unit Type |  | Unit primary fuel |  | Unit SO2 (scrubber) first control device |  | Unit NOx first control device
PRMVR |  | UNTOPST |  | PRGCODE |  | BOTFIRTY |  | FUELU1 |  | SO2CTLDV |  | NOXCTLDV
Code | Description | Code | Description |  |  | Code | Description | Code | Description | Code | Description | Code | Description
BA | Battery energy storage | CN | Cancelled (previously reported as “planned”) | ARP | Acid Rain Program | ARCH | Arch-fired boiler | AB | Agricultural byproduct | ACI | Activated carbon injection system | CM | Combustion modification/fuel reburning
BT | Binary cycle turbine | CO | New unit under construction | CSNOX | Cross-State Air Pollution Rule for NOx (annual) | CC | Combined cycle | BFG | Blast furnace gas | CD | Circulating dry scrubber | DLNB | Dry low NOx premixed technology
CA | Combined cycle steam turbine | Future | Planned new generator | CSOSG1, CSOSG2, CSOCG3 | Cross-State Air Pollution Rule NOx Ozone Season Program (Group 1, Group 2, Group 3) | CELL | Cell burner boiler | BIT | Bituminous coal | DA | Dual alkali | EW | Electrostatic precipitator, hot side, without flue gas conditioning
CC | Combined cycle - total unit | IP | Planned new generator canceled, indefinitely postponed, or no longer in resource plan | CSSO2G1, CSSO2G2 | Cross-State Air Pollution Rule for SO2 (Group 1, Group 2) | CT | Combustion turbine | BLQ | Black liquor | DL | Dry lime flue gas desulfurization unit | H2O | Water injection
CE | Compressed air energy storage | L | Regulatory approvals pending (not under construction) | MATS | Mercury and Air Toxics Standards | CYCLONE | Cyclone firing | COG | Coke oven gas | DSI | Dry sorbent (powder) injection type | LNB | Low NOx burner
CP | Concentrated solar power energy storage | OA | Out of service (returned or will be returned to service) | NHNOX | New Hampshire’s special NOx Program | DUCTBURNER | Duct burner | DFO | Distillate fuel oil, light fuel oil, FO2, diesel oil | EK | Electrostatic precipitator, cold side, without flue gas conditioning | LNBO | Low NOx burner with overfire air
CS | Combined cycle - single shaft | OP | Operating – in service | NSPS4T | New Source Performance Standards Subpart TTTT Program | ENGINE | Internal combustion engine | GEO | Geothermal | FBL | Fluidized bed | LNC1 | Low NOx burner technology with close-coupled overfire air
CT | Combined cycle combustion turbine | OS | Out of service (not expected to be returned to service) | RGGI | Regional Greenhouse Gas Initiative | FLUIDIZED | Fluidized bed firing (circulating, bubbling, or pressurized fluidized bed) | H | Hydrogen | JB | Jet bubbling reactor (wet) scrubber | LNC2 | Low NOx burner technology with separated OFA
FC | Fuel cell | OT | Other | SIPNOX | NOx SIP Call | IGC | Integrated gasification combined cycle | JF | Jet fuel | LIJ | Lime injection | LNC3 | Low NOx burner technology with close-coupled and separated overfire air
FW | Flywheel energy storage | P | Planned for installation but regulatory approvals not initiated (not under construction) | TXSO2 | Texas SO2 Trading Program | KILN | Cement kiln | KER | Kerosene | MA | Mechanically aided type (wet) scrubber | LNCB | Low NOx burner technology for cell burners
GT | Combustion (gas) turbine | RE | Retired – no longer in service |  |  | OTHER BOILER | Other boiler | LFG | Landfill gas | MO | Magnesium oxide | NH3 | Ammonia injection
HA | Hydrokinetic turbine - axial flow | SB | Stand-by (long-term storage) |  |  | OTHER TURBINE | Other turbine | LIG | Lignite coal | O | Other (EPA/CAPD) | O | Other
HY | Hydroelectric turbine | SC | Cold stand-by (reserve); deactivated |  |  | PROCESS | Refinery process heater | MSW | Municipal solid waste | OT | Other equipment (EIA-860) | OFA | Overfire air
IC | Internal combustion engine (diesel) | T | Regulatory approvals received (not under construction) |  |  | STOKER | Stoker, spreader, vibrating gate, or slinger boiler | MWH | Electricity used for energy storage (megawatt hour) | PA | Packed type (wet) scrubber | SCR | Selective catalytic reduction (EPA/CAPD)
OT | Other turbine | TS | Testing, construction complete, but not yet in commercial operation |  |  | TANGENTIAL | Tangential, concentric, or corner fired boiler | NG | Natural gas | SB | Sodium based | SN | Selective noncatalytic reduction (EIA-860)
PS | Hydraulic turbine - reversible (pumped storage) | U | Under construction, less than 50% constructed |  |  | TURBO | Turbo | NUC | Nuclear | SD | Spray dryer type/dry FGD/semi-dry FGD | SNCR | Selective noncatalytic reduction (EPA/CAPD)
PV | Photovoltaic | V | Under construction, more than 50% constructed |  |  | VERTICAL | Vertically-fired boiler | OBG | Other biomass gas (digester gas, methane, and other biomass gases) | SP | Spray type (wet) scrubber | SR | Selective catalytic reduction (EIA-860)
ST | Steam turbine (boiler, nuclear, geothermal, and solar steam) | PL | Planned (expected to go into commercial service within 10 years) |  |  | VERTICAL/ARCH | Vertical or arch fired boiler | OBL | Other biomass liquids | TR | Tray type (wet) scrubber | STM | Steam injection
WS | Wind turbine - offshore |  |  |  |  | WALL | Wall-fired | OBS | Other biomass solid | VE | Venturi type (wet) scrubber
WT | Wind turbine - onshore | [6 empty] | OG | Other gas | WL | Wet lime flue gas desulfurization unit
[8 empty] | OTH | Other | WLS | Wet limestone
[8 empty] | PC | Petroleum coke
[8 empty] | PG | Gaseous propane
[8 empty] | PRG | Process gas
[8 empty] | PUR | Purchased steam
[8 empty] | RC | Refined coal
[8 empty] | RFO | Residual fuel oil, heavy fuel oil, petroleum
[8 empty] | RG | Refinery gas
[8 empty] | SGC | coal-derived synthetic gas
[8 empty] | SLW | Sludge waste
[8 empty] | SUB | Subbituminous coal
[8 empty] | SUN | Solar
[8 empty] | TDF | Tire-derived fuel
[8 empty] | WAT | Water
[8 empty] | WC | Waste coal
[8 empty] | WDL | Wood, wood waste liquid
[8 empty] | WDS | Wood, wood waste solid
[8 empty] | WH | Waste heat
[8 empty] | WND | Wind
[8 empty] | WO | Waste oil

## Generator
Generator status |  | Generator prime mover type |  | Generator primary fuel
GENSTAT |  | PRMVR |  | FUELG1
Code | Description | Code | Description | Code | Description
CN | Cancelled (previously reported as "planned") | BA | Battery energy storage | AB | Agricultural by-products
IP | Planned new generator canceled, indefinitely postponed, or no longer in resource plan | BT | Binary cycle turbine | BFG | Blast furnace gas
L | Regulatory approvals pending (not under construction) | CA | Combined cycle steam turbine | BIT | Bituminous coal
OA | Out of service (returned or will be returned to service) | CC | Combined cycle - total unit | BLQ | Black liquor
OP | Operating – in service | CE | Compressed air energy storage | COG | Coke oven gas
OS | Out of service (not expected to be returned to service) | CP | Concentrated solar power energy storage | DFO | Distillate fuel oil, diesel, No. 1, No. 2, and No. 4 fuel oils
OT | Other | CS | Combined cycle - single shaft | GEO | Geothermal
P | Planned for installation but regulatory approvals not initiated (not under construction) | CT | Combined cycle combustion turbine | JF | Jet fuel
RE | Retired – no longer in service | FC | Fuel cell | KER | Kerosene
SB | Stand-by (long-term storage) | FW | Flywheel energy storage | LFG | Landfill gas
T | Regulatory approvals received (not under construction) | GT | Combustion (gas) turbine | LIG | Lignite coal
TS | Testing, construction complete, but not yet in commercial operation | HA | Hydrokinetic turbine - axial flow | MSW | Municipal solid waste
U | Under construction, less than 50% constructed | HY | Hydroelectric turbine | MWH | Electricity
V | Under constructions, more than 50% constructed | IC | Internal combustion engine (diesel) | NG | Natural gas
|  | OT | Other turbine | NUC | Nuclear material
|  | PS | Hydraulic turbine - reversible (pumped storage) | OBG | Other biomass gas (digester gas, methane, and other biomass gases)
|  | PV | Photovoltaic | OBL | Other biomass liquids
|  | ST | Steam turbine (boiler, nuclear, geothermal, and solar steam) | OBS | Other biomass solids
|  | WS | Wind turbine - offshore | OG | Other gas
|  | WT | Wind turbine - onshore | OTH | Other unknown
|  |  |  | PC | Petroleum coke
|  |  |  | PG | Gaseous propane
|  |  |  | PRG | Process gas
|  |  |  | PUR | Purchased steam
|  |  |  | RC | Refined coal
|  |  |  | RFO | Residual fuel oil
|  |  |  | SGC | Synthesis gas – coal-derived
|  |  |  | SGP | Synthesis gas – petroleum coke
|  |  |  | SLW | Sludge waste
|  |  |  | SUB | Subbituminous coal
|  |  |  | SUN | Solar
|  |  |  | TDF | Tire-derived fuel
|  |  |  | WAT | Water
|  |  |  | WC | Waste coal
|  |  |  | WDL | Wood waste liquid (excluding Black liquor)
|  |  |  | WDS | Wood, wood waste solid
|  |  |  | WH | Waste heat
|  |  |  | WND | Wind
|  |  |  | WO | Waste oil

## Plant
Plant primary fuel |  | Plant primary fuel category
PLPRMFL |  | PLFUELCT
Code | Description | Category | Description
AB | Agricultural byproduct | BIOMASS | Biomass fuel types
BFG | Blast furnace gas | OFSL | Other fossil fuel types
BIT | Bituminous coal | COAL | Coal fuel types
BLQ | Black liquor | BIOMASS | Biomass fuel types
COG | Coke oven gas | COAL | Coal fuel types
DFO | Distillate fuel oil, light fuel oil, FO2, diesel oil | OIL | Oil fuel types
GEO | Geothermal steam | GEOTHERMAL | Geothermal fuel type
H | Hydrogen | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
JF | Jet fuel | OIL | Oil fuel types
KER | Kerosene | OIL | Oil fuel types
LFG | Landfill gas | BIOMASS | Biomass fuel types
LIG | Lignite coal | COAL | Coal fuel types
MSW | Municipal solid waste | BIOMASS | Biomass fuel types
MWH | Electricity used for energy storage (megawatt hour) | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
NG | Natural gas | GAS | Gas fuel types
NUC | Nuclear material | NUCLEAR | Nuclear fuel type
OBG | Other biomass gas | BIOMASS | Biomass fuel types
OBL | Other biomass liquid | BIOMASS | Biomass fuel types
OBS | Other biomass solid | BIOMASS | Biomass fuel types
OG | Other gas | OFSL | Other fossil fuel types
OTH | Other (unknown) | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
PC | Petroleum coke | OIL | Oil fuel types
PRG | Process gas | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
PUR | Purchased fuel (unknown) | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
RC | Refined coal | COAL | Coal fuel types
RFO | Residual fuel oil, heavy fuel oil, Petroleum | OIL | Oil fuel types
SGC | Coal-derived synthetic gas | COAL | Coal fuel types
SLW | Sludge waste | BIOMASS | Biomass fuel types
SUB | Subbituminous coal | COAL | Coal fuel types
SUN | Sun | SOLAR | Solar fuel type
TDF | Tire-derived fuel | OFSL | Other fossil fuel types
WAT | Water | HYDRO | Hydro fuel type
WC | Waste coal | COAL | Coal fuel types
WDL | Wood, wood waste liquid | BIOMASS | Biomass fuel types
WDS | Wood, wood waste solid | BIOMASS | Biomass fuel types
WH | Waste heat | OTHF | Other fuel: waste heat, hydrogen, purchased, or unknown
WND | Wind | WIND | Wind fuel type
WO | Waste oil | OIL | Oil fuel types

## Balancing Authority
Balancing Authority Code | Balancing Authority Name
BACODE | BANAME
AEC | PowerSouth Energy Cooperative
AECI | Associated Electric Cooperative, Inc.
AMPL | Anchorage Municipal Light & Power
AVA | Avista Corporation
AVRN | Avangrid Renewables LLC
AZPS | Arizona Public Service Company
BANC | Balancing Authority of Northern California
BPAT | Bonneville Power Administration
CEA | Chugach Electric Assn Inc
CHPD | Public Utility District No. 1 of Chelan County
CISO | California Independent System Operator
CPLE | Duke Energy Progress East
CPLW | Duke Energy Progress West
CSTO | Constellation Energy Control and Dispatch, LLC
DEAA | Arlington Valley, LLC - AVBA
DOPD | PUD No. 1 of Douglas County
DUK | Duke Energy Carolinas
EEI | Electric Energy, Inc.
EPE | El Paso Electric Company
ERCO | Electric Reliability Council of Texas, Inc.
FMPP | Florida Municipal Power Pool
FPC | Duke Energy Florida Inc
FPL | Florida Power & Light Company
GCPD | Public Utility District No. 2 of Grant County, Washington
GLHB | Gridforce Energy Management, LLC
GRID | GridLiance
GRIF | Griffith Energy, LLC
GRIS | Gridforce South
GVL | Gainesville Regional Utilities
GWA | NaturEner Power Watch, LLC (GWA)
HECO | Hawaiian Electric Co Inc
HGMA | New Harquahala Generating Company, LLC - HGBA
HST | City of Homestead
IID | Imperial Irrigation District
IPCO | Idaho Power Company
ISNE | ISO New England Inc.
JEA | JEA
LDWP | Los Angeles Department of Water and Power
LGEE | LG&E and KU Services Company as agent for Louisville Gas and Electric Company and Kentucky Utilities
MISO | Midcontinent Independent Transmission System Operator, Inc..
NA | No balancing authority
NBSO | New Brunswick System Operator
NEVP | Nevada Power Company
NSB | New Smyrna Beach, Utilities Commission of
NWMT | NorthWestern Energy (NWMT)
NYIS | New York Independent System Operator
OVEC | Ohio Valley Electric Corporation
PACE | PacifiCorp - East
PACW | PacifiCorp - West
PGE | Portland General Electric Company
PJM | PJM Interconnection, LLC
PNM | Public Service Company of New Mexico
PSCO | Public Service Company of Colorado
PSEI | Puget Sound Energy
SC | South Carolina Public Service Authority
SCEG | South Carolina Electric & Gas Company
SCL | Seattle City Light
SEC | Seminole Electric Cooperative
SEPA | Southeastern Power Administration
SOCO | Southern Company Services, Inc. - Trans
SPA | Southwestern Power Administration
SRP | Salt River Project
SWPP | Southwest Power Pool
TAL | City of Tallahassee
TEC | Tampa Electric Company
TEPC | Tucson Electric Power Company
TIDC | Turlock Irrigation District
TPWR | City of Tacoma, Department of Public Utilities, Light Division
TVA | Tennessee Valley Authority
WACM | Western Area Power Administration - Rocky Mountain Region
WALC | Western Area Power Administration - Desert Southwest Region
WAUW | Western Area Power Administration UGP West
WWA | NaturEner Wind Watch, LLC
YAD | Alcoa Power Generating, Inc. - Yadkin Division

## eGRID Subregion
eGRID subregion acronym | eGRID subregion name
SUBRGN | SRNAME
AKGD | ASCC Alaska Grid
AKMS | ASCC miscellaneous
AZNM | WECC Southwest
CAMX | WECC California
ERCT | ERCOT all
FRCC | FRCC all
HIMS | HICC miscellaneous
HIOA | HICC Oahu
MROE | MRO East
MROW | MRO West
NEWE | NPCC New England
NWPP | WECC Northwest
NYCW | NPCC NYC/Westchester
NYLI | NPCC Long Island
NYUP | NPCC Upstate NY
PRMS | Puerto Rico miscellaneous
RFCE | RFC East
RFCM | RFC Michigan
RFCW | RFC West
RMPA | WECC Rockies
SPNO | SPP North
SPSO | SPP South
SRMV | SERC Mississippi Valley
SRMW | SERC Midwest
SRSO | SERC South
SRTV | SERC Tennessee Valley
SRVC | SERC Virginia/Carolina

## NERC Region
NERC region acronym | NERC region name
NERC | NERCNAME
AK | Alaska
HI | Hawaii
MRO | Midwest Reliability Organization
NA | No NERC region
NPCC | Northeast Power Coordinating Council
PR | Puerto Rico
RFC | Reliability First Corporation
SERC | SERC Reliability Corporation
TRE | Texas Regional Entity
WECC | Western Electricity Coordinating Council