## Intake Form
Electric School Bus (ESB) Charging Station Planning Form
[LOCATION SHORT NAME]
LOCATION CONTACT AND INFO
Location Address |  |  | Point of Contact Name |  | Email |  | Phone Number
STEP 1 UTILITY CONTACT AND INFO
Utility Name |  |  | Utility Point of Contact Name |  | Email |  | Phone Number |  | Customer Account Number
What energy rates or demand charges are applicable at this location?
What incentives are offered by your utility that may be incorporated into this program?
STEP 2 EXISTING FLEET INFO
Total Bus Fleet Size at Location | Total # of ESBs Currently at Location | Total # of Level 2 Chargers Currently Installed | Total # of DC Fast Chargers Currently Installed | Is there a Potential Central Fast Charging Area at the Location? | Total Type A Buses at Location | Total Type C & D Buses at Location | Total White Fleet Vehicles at Location | Is Mid-Day Charging a Possibility? | Comments
STEP 3 ELECTRIC SCHOOL BUS ACQUISITION PLANS
Year One |  |  |  | Year Two |  |  |  | Future Years
Total ESBs to be Acquired This Year | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max) | Number and Types of Chargers to be Installed This Year | Total ESBs to be Acquired This Year | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max) | Number and Types of Chargers to be Installed This Year | Total ESBs to be Acquired | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max)
STEP 4 POTENTIAL CHARGER LOCATIONS
Area 1 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in This Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
Area 2 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in This Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
Area 3 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in this Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
STEP 5 CALCULATE POWER NEEDS
Energy Per Route (kWh) Bus Efficiency (kWh/mi) x Route Distance
Power Needs Per Charger (kW) Energy (kWh) / Dwell Time (hours)
Required Energy Per Charging Session (kWh) Charger Power Needs (kW) x Dwell Time (hours)
STEP 6 ADDITIONAL QUESTIONS
Who owns the facilities and parking lots where the chargers will be sited?
Are there permitting requirements?
Do you have a facility load management system or demand meter?
Will charging access be limited to fleet vehicles (by a fence or network)? Is workplace charging a possibility at this location?
Please provide a map of the parking lot and building indicating the location where chargers are proposed and where the transformers and service panels are located.
Do you have a dedicated electrician at your facility?
Do you have any additional comments, questions, or concerns?
For assistance, please contact CleanSchoolBusTA@nrel.gov

## Fleet Example
Electric School Bus (ESB) Charging Station Planning Form
Main St. Depot
LOCATION CONTACT AND INFO
Location Address |  |  | Point of Contact Name |  | Email |  | Phone Number
1 Main St., Golden, CO |  |  | John Smith |  | john.smith@###.gov |  | (111) 222-3333
STEP 1 UTILITY CONTACT AND INFO
Utility Name |  |  | Utility Point of Contact Name |  | Email |  | Phone Number |  | Customer Account Number
Mountain Energy |  |  | Jane Smith |  | jane.smith@###.com |  | (222) 333-4444 |  | 12345
What energy rates or demand charges are applicable at this location? |  |  |  | $0.14/kW Energy Charge $2/kW Demand Charge No TOU Charges
What incentives are offered by your utility that may be incorporated into this program? |  |  |  | Commercial Make Ready (link here)
STEP 2 EXISTING FLEET INFO
Total Bus Fleet Size at Location | Total # of ESBs Currently at Location | Total # of Level 2 Chargers Currently Installed | Total # of DC Fast Chargers Currently Installed | Is there a Potential Central Fast Charging Area at the Location? | Total Type A Buses at Location | Total Type C & D Buses at Location | Total White Fleet Vehicles at Location | Is Mid-Day Charging a Possibility? | Comments
100 | 0 | 0 | 0 | YES | 50 | 50 Type C | 5 | YES | White fleet to be electrified by 2025
STEP 3 ELECTRIC SCHOOL BUS ACQUISITION PLANS
Year One |  |  |  | Year Two |  |  |  | Future Years
Total ESBs to be Acquired This Year | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max) | Number and Types of Chargers to be Installed This Year | Total ESBs to be Acquired This Year | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max) | Number and Types of Chargers to be Installed This Year | Total ESBs to be Acquired | Expected Route Distance of ESBs (Min/Max) | Mid-Day Dwell Time (Min/Max)
10 | 30/50 | 2.5/4 hrs | 10 Level 2/1 DCFC | 10 | 30/50 | 2.5/4 hrs | 10 Level 2/1 DCFC | 10 per year | 30/50 | 2.5/4 hrs
STEP 4 POTENTIAL CHARGER LOCATIONS
Area 1 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in This Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Parking Area 1 |  |  | 50 | 0 | 0 | 0 | 50 | 10 | 0
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
| East bus parking area. Start with chargers along walls. |  |  |  | 5 | 240V/600A | 400A | 100 | 15 kVA | 10 kVA
Area 2 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in This Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
Area 3 | Location Name/Description |  |  | Total Parking Spaces | Number of ESBs Currently in this Area | Number of Level 2 Chargers Currently in This Area | Number of DC Fast Chargers Currently in This Area | Distance: Parking Spaces to Service Panel (feet) | How Many Parking Spaces are Along a Wall? | How Many Parking Spaces Have Unused Wall Outlets?
| Location Comments |  |  |  | Service Panel Spare Breaker Positions | Service Panel Main Breaker Rating (voltage and amps) | Service Panel Peak Load (amps) | Distance: Parking Spaces to Transformer (feet) | Transformer Rating (kVA) | Transformer Peak Load (kVA)
STEP 5 CALCULATE POWER NEEDS
Energy Per Route (kWh) Bus Efficiency (kWh/mi) x Route Distance
Power Needs Per Charger (kW) Energy (kWh) / Dwell Time (hours)
Required Energy Per Charging Session (kWh) Charger Power Needs (kW) x Dwell Time (hours)
STEP 6 ADDITIONAL QUESTIONS
Who owns the facilities and parking lots where the chargers will be sited?
Are there permitting requirements?
Do you have a facility load management system or demand meter?
Will charging access be limited to fleet vehicles (by a fence or network)? Is workplace charging a possibility at this location?
Please provide a map of the parking lot and building indicating the location where chargers are proposed and where the transformers and service panels are located.
Do you have a dedicated electrician at your facility?
Do you have any additional comments, questions, or concerns?
For assistance, please contact CleanSchoolBusTA@nrel.gov

## Sheet1 (hidden)
OPTIONS
YES
NO