## Weigh Room Audit
LOW-VOLUME GRAVIMETRIC WEIGH LAB SYSTEMS REVIEW
Analyst: |  |  |  |  | Audit Date:
Location: |  |  |  |  | Auditor:
| Audit Questions | Response |  |  | Comments
|  | Yes | No | N/A
I. Routine Operations & Site Housekeeping
List any visible sources that may impact the weigh lab. Is the room access restricted? Is the equipment located inside the weigh room only that which is required for daily weighing operations?
Is there an anteroom? Describe its condition.
What is being done to control drafts in the weigh room? Is the microbalance located so that it is not impacted by drafts?
Is the weighing table stable so vibrations do not affect the balance?
Is the balance checked to determine if it is in fact leveled? If so, at what frequency? Visually inspect balance to determine if level.
Is the balance grounded?
Is the balance left in the "On" position at all times?
Is the autocalibration feature on the microbalance on or off?
What is the readability and repeatability of the balance?
Is the balance certified annually by an outside source? When was the balance last certified? Where are the records of this maintained? Request copy of documentation.
What anti-static prevention device(s) is in place?
Are polonium strips used to eliminate static? Are they purchased in advance? If so, how far in advance? How often are they replaced? What is the date stamped on the current strips?
What device (LIMS, datalogger, etc) is used to monitor temperature and RH readings? What is the resolution of data collected? What procedure is utilized to verify these readings and at what frequency?
Is the datalogger calibrated/certified annually? When was the last certification? Where are the records maintained? Request copy.
At what frequency are the temperature and humidity sensors certified by an outside source? When was the most recent certification? Where are these records maintained? Request copies of documentation.
Is the temperature maintained at 20-23°C, with a temperature control range of ≤ 2°C over a 24-hour period? How is control demonstrated?
Is the relative humidity maintained at 30-40%, with a standard deviation of ≤5% over a 24-hour period? How is control demonstrated?
How and where is temperature & RH data review documented? Frequency?
Are pre & post sampling RH differences calculated? Where is this documented?
If the temperature or RH is found to be out of specification, what corrective action is taken? Are weigh sessions halted?
Are maintenance/service contracts in place for climate control unit, sensors, and software in the lab?
Is electronic data backed-up at a defined frequency? How long? Where is it stored?
Print and review temperature and RH graphs for three prior weigh sessions (one for each year under review). Obtain the 24-hr means and SDs for temp and RH for those sessions.
Are there two sets of weights being used: a primary set and a working set? Are they at least Class 2 weights?
Do the weights bracket the weight of the filters being utilized?
How frequently are the weights recertified by an outside source? Where is this documented? Request copies of documentation.
At what frequency are the working weights verified against the primary weights? Where is this documented? Request copies of documentation.
Who is responsible for ensuring that all standards are certified at their required frequencies? How is this tracked?
Is a logbook used to document environmental conditions, weighing sessions, balance checks, weight checks, lot blank stability test results, etc, as well as lab maintenance activities? If not, how and where is this information documented? Are entries signed and dated?
On what frequency and how is the weigh lab cleaned? Describe daily, monthly, & yearly cleaning regimes.
How are sample cassettes, including stainless steel backing screens, cleaned? At what frequency are they cleaned? Are they inspected for cracks or other damage? Do both halves fit tightly together when assembled?
Is there a separate location designated specifically for cooler packing/unpacking? If so, describe its location and condition.
II. Sample Conditioning
Where are new lots of filters stored once they are received from EPA?
Describe the lot blank test procedure.
What were the results of the most recent lot stability test? Request copy of documentation.
Are all filters visually inspected for defects both pre and post-sampling? What technique is used to inspect the filters? What criteria would cause a filter to be rejected? Give examples.
Are all filters pre-conditioned prior to both the initial and final weighing sessions? How long is the conditioning period? Where are they conditioned? If on a metallic shelf, is it grounded?
How is the conditioning period affected if the weigh room conditions are out of tolerance?
Are the filters conditioned in petri dishes or slides? Are the lids on the slides or are they slightly ajar?
III. Sample Weighing
Is one person designated to weigh all sample filters? Is there a back-up analyst? Does the same analyst weigh the same filters pre- and post-?
Are filters sampled within 30 days of the initial (tare) weigh? How is this tracked?
Are samples pre-assigned to a site? Or, is a site assigned after a filter is deployed? Elaborate on how filters are requested and distributed.
How are filters prepared for field deployment (i.e., loaded into sample bags or a magazine)? Where does this activity occur?
Are samples maintained in a secure area at all times after being delivered to the laboratory?
How are filters packed for shipment back to the laboratory? What happens if a shipment (package and/or individual filters) is damaged in transit?
Where are samples unloaded from the transport containers? Is this area clean and secure?
Is the temperature of the cooler recorded at receipt in the laboratory? Is the temperature device NIST-traceable? Where is the temperature reading recorded?
Describe the post sample weigh time limits (i.e., 10 days/30 days) established for the lab and supporting rationale.
If samples are refrigerated, is the temperature of the refrigerator monitored? How is this accomplished? Is the monitoring equipment verified/certified?
Is a LIMS systems used to record the weighing results? If not, describe how each weighing session is documented.
Are anti-static, powder-free gloves and lab coats worn while handling sample filters?
Are teflon forceps used to handle the sample filters? How are they cleaned and at what frequency?
Are the same forceps used for handling the mass standards used in handling sample filters?
How often are balance checks performed? What is the tolerance (µg) for balance checks? How and where is this documented?
If balance checks do not agree within ±3 µg, what corrective action is taken?
How often are lab blanks weighed? If the lab blanks are not within ±15 µg, what corrective action is taken?
Are lab blanks used more than once?
Are field blanks weighed with each session? Are final weigh results within ± 30 µg of the initial weigh? How is this tracked? What corrective action is taken when FBs are out of limits?
Are duplicate filters weighed with each session? What is the acceptance limit (i.e., ± 15 µg)? Are sampled filters or blanks used?
What happens if a weighed filter appears to be an outlier? How is it handled?
How are re-weighs documented?
Are trip blanks utilized? If so, at what frequency? What is the acceptance limits for trip blanks (i.e., ± 15 µg)?
Following each manual weigh session, is the weighing (batch) audited? If so, who does the audit? What percentage of filters are reweighed? What limits are used to determine good agreement?
Who does the lab analyst notify when discrepancies are found and/or corrective actions are needed?
After the final weighing has been completed, how are samples stored, and for what period of time are they retained?
IV. Data Handling
Are chain of custody (COC) forms submitted by the field technician for each sample? Are they signed by all parties within the chain? Where are they maintained? Who reviews the COC forms?
How are field flags/notes linked to the filter data? How are these notes communicated to the data reviewer?
Once filter weighing is complete, is a report listing the sample concentrations generated for QA review? Does it list any void/flagged sample(s) and the reason for invalidating the sample(s)? Who is responsible for generating this report? How is responsbile for reviewing it?
Are concentrations verified to ensure data entry & computations are correct? How many samples are reviewed per batch? Describe the verification procedure that is utilized.
Are control charts used? If so, detail the types of control charts developed & how they are maintained. At what frequency are the charts reviewed & by whom? Where are these charts located?
During the data review process, does the reviewer differentiate between critical and non-critical criteria when flagging data? Describe this process.
During the data review process, are sampler maintenance results, precision checks, and audit results reviewed to determine if any samples should be invalidated or flagged based on the results of these activities?
Are the filter, summary data, and interval data downloaded from the instrument for each sample run? Where is this data stored? Is the data reviewed as part of the QA audit process?
How are corrective actions addressed? Are forms filled out for corrective actions? Who reviews them in the data validation chain? If corrections are made to data as a result of corrective actions, how is this documented & verified? Who is responsible for follow-up?
Are exceptional events or impacts from nearby sources documented? Where?
Once the data has been audited, are null codes and any qualifiers applied to the sample reviewed? If so, who is responsible for applying the codes/flags? Is this prior to the data being uploaded to AQS?
Are internal performance & systems audits of the weigh lab and supporting equipment (loggers, balances, etc) performed? Who conducts these audits? Describe the review process and how the results are documented. How are staff notified of the audit results? Where are the audit reports filed?
V. Other
Does the laboratory operate under an approved QMP, QAPP, and SOP? What are the approval dates for the current revisions?
What is the size of the particulate matter network for which this weigh lab is in operation? Describe the number of samplers and their operational frequency. Approximate number of samples weighed per month/year.
Does this weigh lab gravimetrically analyze samples collected for PM10 and/or lead? If yes, then describe any notable differences in procedures for the PM10 and/or lead samples.
Describe in detail the training the lab analyst has received. Who trained the analyst? Which courses have been taken? Has the analyst been trained on both QC operation of the lab, as well as data verification/validation procedures?
Describe in detail the training the back-up weigh lab analyst has received. How often do they weigh filters?
Additional Comments on Audit:
Auditor's Signature: