## 003 - 1 - A
Outfall - Monitoring Location - Limit Set: 003 - 1 - A
Parameter | Total Flow | TSS | TSS | pH | pH | Oil & grease | Number of Events | Benzene | Benzo(a)pyrene | Naphthalene | Benzene | Benzo(a)pyrene | Flow rate | Naphthalene
| Daily Max | Monthly Avg | Daily Max | Minimum | Maximum | Daily Max | Daily Max | Monthly Avg | Monthly Avg | Monthly Avg | Daily Max | Daily Max | Daily Max | Daily Max
Units | Mgal/mo | mg/L | mg/L | SU | SU | mg/L | occur/mo | ug/L | ug/L | ug/L | ug/L | ug/L | gal/min | ug/L
Effluent Limit | Report | 30 | 100 | 6.5 | 8.5 | 15 | Report | 51 | 0.1 | 100 | Report | Report | 800 | Report
Minimum | 0.072 | 0 | 0 | 6 | 6.2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 42 | 0
Maximum | 4.09 | 80 | 91.7 | 8.36 | 9.16 | 2.3 | 5 | 32 | 0.09 | 25.7 | 64 | 0.09 | 652 | 46
Median | 1.2 | 12.3 | 15 | 7.53 | 7.545 | Non-Detect | 2 | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | 314.5 | Non-Detect
No. of Violations | N/A | 11 | 0 | 2 | 2 | 0 | N/A | 0 | 0 | 0 | N/A | N/A | 0 | N/A
Monitoring Period End Date
2014-12-31 | 1.01 | 23 | 24 | 7.06 | 7.06 | 2.28 | 2 | 2.5 | < 5.88 | 0.55 | 2.5 | < 5.88 | 300 | 1.1
2015-01-31 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
2015-02-28 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5 | NODI: 5
2015-03-31 | 0.072 | 6 | 6 | 7.14 | 7.14 | < 1.1 | 1 | < 1 | < .015 | < .023 | < 1 | < .015 | 300 | < .023
2015-04-30 | 0.144 | NODI: F | 12 | NODI: E | NODI: E | < 1.01 | 1 | < 1 | 0.089 | < .525 | < 1 | 0.089 | 300 | < 1
2015-05-31 | 0.216 | 15 | 15 | 7.26 | 7.26 | < 1 | 1 | < 1 | < .05 | < .525 | < 1 | < .05 | 300 | < 1
2015-06-30 | 1.99 | 11.5 | 15 | 7.08 | 7.08 | 2.3 | 5 | < 1 | < .05 | NODI: B | < 1 | < .05 | 462 | < 1
2015-07-31 | 0.383 | 7 | 14 | 6.96 | 6.96 | < 1.01 | 2 | < 1 | < .05 | NODI: B | < 1 | < .05 | 270 | < 1
2015-08-31 | 0.195 | 7 | 7 | 7.58 | 7.58 | < 1 | 2 | < 1 | < .05 | NODI: B | < 1 | < .05 | 505 | < 1
2015-09-30 | 1.94 | 3.5 | 7 | 7.38 | 7.38 | < 1 | 2 | < 1 | < .05 | NODI: B | < 1 | < .05 | 652 | < 1
2015-10-31 | 0.586 | 8 | 8 | 7.71 | 7.71 | < .99 | 1 | < 1 | < .05 | NODI: B | < 1 | < .05 | 401 | < 1
2015-11-30 | 0.182 | 15 | 15 | 7.42 | 7.42 | < .99 | 1 | < 1 | < .05 | NODI: B | < 1 | < .05 | 423 | < 1
2015-12-31 | 2.44 | 13 | 24 | 6.99 | 6.99 | < 1 | 3 | < 1 | < .05 | NODI: B | < 1 | < .05 | 598 | < 1
2016-01-31 | 2.46 | 12 | 34 | 7.65 | 7.65 | < 1 | 3 | < 1 | < .05 | NODI: B | < 1 | < .05 | 584 | < 1
2016-02-29 | 2.46 | 4 | 12 | 7.61 | 7.61 | < .99 | 3 | < 1 | < .05 | 0.043 | < 1 | < .05 | 370 | 0.086
2016-03-31 | 1.24 | 8.7 | 14 | 7.44 | 7.44 | < .99 | 2 | < 1 | < .05 | NODI: B | < 1 | < .05 | 349 | < 1
2016-04-30 | 1.5 | 7 | 7 | 7.18 | 7.18 | < 1 | 1 | < 1 | < .05 | NODI: B | < 1 | < .05 | 481 | < 1
2016-05-31 | 0.319 | 26 | 26 | 7.55 | 7.55 | < .99 | 1 | < 1 | < .051 | NODI: B | < 1 | < .051 | 266 | < 1
2016-06-30 | 0.557 | 14 | 14 | 7.55 | 7.55 | < 1 | 1 | < 1 | < .052 | NODI: B | < 1 | < .052 | 442 | < 1
2016-07-31 | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C | NODI: C
2016-08-31 | 0.172 | 8.9 | 8.9 | 7.5 | 7.5 | < .99 | 1 | < 1 | < .05 | 0.028 | < 1 | < .05 | 278 | 0.056
2016-09-30 | 0.108 | 11 | 11 | 7.23 | 7.23 | < 1.01 | 1 | < 1 | < .052 | NODI: B | < 1 | < .052 | 200 | < 1
2016-10-31 | 0.303 | 1.9 | 1.9 | 7.6 | 7.6 | < 1.4 | 1 | < 1 | < .051 | NODI: B | < 1 | < .051 | 100 | < 1
2016-11-30 | 0.246 | 10.3 | 10.3 | 6.74 | 6.74 | < 1.4 | 1 | < 1 | < .051 | NODI: B | < 1 | < .051 | 273 | < 1
2016-12-31 | 0.87 | 42.95 | 79.7 | 7.6 | 7.6 | < 1.4 | 2 | < 1 | < .051 | NODI: B | < 1 | < .051 | 335 | < 1
2017-01-31 | 0.84 | 11 | 12.5 | 7.33 | 7.33 | 1.5 | 2 | < 1 | < .052 | NODI: B | < 1 | < .052 | 478 | < 1
2017-02-28 | 0.78 | 4.4 | 6.8 | 7.68 | 7.68 | < 1.01 | 2 | < 1 | < .051 | NODI: B | < 1 | < .051 | 482 | < 1
2017-03-31 | 0.984 | 25 | 25 | 7.21 | 7.21 | < 1.4 | 1 | < 1 | < .07 | NODI: B | < 1 | < .07 | 328 | < 1
2017-04-30 | 1.68 | 5.1 | 11 | 7.13 | 7.13 | < 1.4 | 3 | < 1 | < .051 | NODI: B | < 1 | < .051 | 427 | < 1
2017-05-31 | 1.56 | 9 | 9.8 | 7.25 | 9.16 | < 1 | 2 | < 1 | < .051 | 0.038 | < 1 | < .051 | 322 | 0.076
2017-06-30 | 1.09 | 7 | 10.3 | 7.79 | 8.01 | < 1.5 | 2 | < 1 | < .05 | NODI: B | < 1 | < .05 | 341 | < 1
2017-07-31 | 2.08 | 51.8 | 91.7 | 6.2 | 6.2 | < 1 | 3 | < 1 | < .049 | NODI: B | < 1 | < .049 | 328 | < 1
2017-08-31 | 0.779 | 8.4 | 14.2 | 8.26 | 8.26 | < 1 | 2 | < 1 | < .257 | NODI: B | < 1 | < .257 | 316 | < 1
2017-09-30 | 0.576 | 3.2 | 3.2 | 7.08 | 7.08 | < 1.5 | 1 | < 1 | < .047 | NODI: B | < 1 | < .047 | 291 | < 1
2017-10-31 | 0.811 | 7.4 | 7.4 | 7.95 | 7.95 | < 1.5 | 2 | < 1 | < .048 | NODI: B | < 1 | < .048 | 321 | < 1
2017-11-30 | 0.441 | 2.9 | 2.9 | 7.37 | 7.37 | < 1.5 | 1 | < 1 | < .049 | NODI: B | < 1 | < .049 | 313 | < 1
2017-12-31 | 0.168 | 14.4 | 14.4 | 7.16 | 7.16 | < 1.4 | 1 | < 1 | < .047 | NODI: B | < 1 | < .047 | 185 | < 1
2018-01-31 | 1.26 | 19.9 | 25.8 | 6.63 | 6.73 | 1.8 | 2 | 1.4 | NODI: B | 0.72 | 1.6 | < .047 | 412 | 2
2018-02-28 | 1.09 | 17.4 | 17.8 | 6 | 7.58 | < 1.02 | 5 | 1.2 | < .047 | 0.048 | 1.2 | < .047 | 331 | 0.095
2018-03-31 | 1.24 | 24.7 | 68.5 | 7.55 | 7.55 | < 1 | 5 | < 1 | < .049 | NODI: B | < 1 | < .049 | 401 | < 1
2018-04-30 | 0.54 | 12.75 | 15.3 | 7.66 | 7.66 | 1.4 | 4 | < .28 | E .074 | E .39 | < .28 | E .074 | 302 | E .78
2018-05-31 | 0.31 | 7.9 | 7.9 | 7.21 | 7.21 | < 1.01 | 2 | < 1 | < .048 | NODI: B | < 1 | < .048 | 302 | < 2
2018-06-30 | 1.6 | 21 | 21 | 7 | 7 | 1.6 | 2 | < 1 | < .049 | NODI: B | < 1 | < .049 | 407 | < 2
2018-07-31 | 1.52 | 37.25 | 55 | 7.15 | 7.15 | 1.02 | 2 | < 1 | < .048 | NODI: B | < 1 | < .048 | 392 | < 5
2018-08-31 | 3.2 | 12.6 | 13.8 | 7.58 | 7.58 | 1.6 | 2 | < 1 | < .047 | NODI: B | < 1 | < .047 | 387 | < 5
2018-09-30 | 2.16 | 51.05 | 91 | 6.75 | 7.23 | < 1.01 | 4 | < 1 | < .051 | NODI: B | < 1 | < .051 | 274 | < 2
2018-10-31 | 1.73 | 20.3 | 27.7 | 7.11 | 7.11 | < 1.03 | 3 | < 1 | < .051 | NODI: B | < 1 | < .051 | 259 | < 5
2018-11-30 | 4.09 | 37.2 | 62 | 6.81 | 6.81 | < 1 | 3 | < .5 | < .049 | NODI: B | < .5 | < .049 | 264 | < 1
2018-12-31 | 2.98 | 59 | 66 | 7.03 | 7.03 | < 1.5 | 3 | < .7 | < .1 | NODI: B | < .7 | < .1 | 376 | < 1
2019-01-31 | 3.08 | 43 | 43 | 7.15 | 7.15 | < 1.5 | 3 | < 1 | 0.09 | 0.05 | < 1 | 0.09 | 412 | 0.1
2019-02-28 | 2.32 | 8 | 11 | 7.33 | 7.33 | < 1.6 | 4 | 0.5 | < .05 | NODI: B | 1 | < .05 | 346 | < 5
2019-03-31 | 3.44 | 12 | 18 | 6.99 | 6.99 | < 1.6 | 3 | 1 | < .01 | NODI: B | 1 | < .01 | 322 | < 1
2019-04-30 | 3.45 | 20 | 40 | 7.87 | 7.87 | < 1.4 | 3 | < .5 | < .09 | NODI: B | < .5 | < .09 | 331 | < 1
2019-05-31 | 2.04 | 29 | 35 | 7.95 | 7.95 | < 1.4 | 4 | < 1 | < .1 | NODI: B | < 1 | < .1 | 330 | < 1
2019-06-30 | 1.93 | 43.5 | 51 | 7.88 | 7.88 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 213 | < 1
2019-07-31 | 1.41 | 22.5 | 34 | 7.75 | 7.75 | < 1.4 | 4 | < 1 | < .1 | NODI: B | < 1 | < .1 | 411 | < 1
2019-08-31 | 0.569 | 47 | 63 | 7.92 | 7.92 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 331 | < 1
2019-09-30 | 0.399 | NODI: E | NODI: E | NODI: E | NODI: E | NODI: E | 1 | NODI: E | NODI: E | NODI: E | NODI: E | NODI: E | 138 | NODI: E
2019-10-31 | 3.76 | 17.35 | 25 | 7.78 | 7.78 | < 1.4 | 5 | < 1 | < .1 | NODI: B | < 1 | < .1 | 212 | < 1
2019-11-30 | 1.36 | 80 | 80 | 7.54 | 7.54 | < 1.4 | 3 | < 1 | < .1 | NODI: B | < 1 | < .1 | 321 | < 1
2019-12-31 | 2.69 | 25.7 | 65 | 7.52 | 7.52 | < 1.4 | 5 | < 1 | < .1 | NODI: B | < 1 | < .1 | 287 | < 1
2020-01-31 | 1.16 | 29.5 | 46 | 7.85 | 7.85 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 418 | < 1
2020-02-29 | 1.01 | 29.5 | 34 | 7.85 | 7.85 | < 1.4 | 2 | 32 | < .1 | 25.7 | 64 | < .1 | 98 | 46
2020-03-31 | 0.77 | 14 | 16 | 8.03 | 8.03 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 347 | < 1
2020-04-30 | 2.27 | 21 | 34 | 7.91 | 7.91 | < 1.4 | 4 | < .5 | < .1 | NODI: B | < .5 | < .1 | 227 | < 1
2020-05-31 | 1.31 | 25.5 | 36 | 7.2 | 7.2 | < 1.4 | 3 | < 1 | < .1 | NODI: B | < 1 | < .1 | 302 | < 1
2020-06-30 | 0.11 | 24 | 24 | 8 | 8 | < 1.4 | 1 | < 1 | < .1 | NODI: B | < 1 | < .1 | 532 | < 1
2020-07-31 | 1.09 | 31.5 | 35 | 7.99 | 7.99 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 208 | < 1
2020-08-31 | 1.44 | 21 | 29 | 7.92 | 8.91 | < 1.4 | 2 | < 1 | < .1 | NODI: B | < 1 | < .1 | 182 | < 1
2020-09-30 | 0.103 | 6.7 | 6.7 | 8.05 | 8.05 | < 1.4 | 1 | < 1 | < .09 | NODI: B | < 1 | < .09 | 293 | < 1
2020-10-31 | 2.65 | 7.35 | 10 | 8.06 | 8.06 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 221 | < 1
2020-11-30 | 1.51 | 17 | 17 | 7.76 | 7.76 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 176 | < 1
2020-12-31 | 1.45 | 26.5 | 34 | 7.77 | 7.77 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 42 | < 1
2021-01-31 | 0.6 | < 3.3 | < 3.3 | 7.68 | 7.68 | < 1.4 | 1 | < 1 | < .02 | NODI: B | < 1 | < .02 | 86 | < 1
2021-02-28 | 1.82 | 10.5 | 17 | 7.74 | 7.74 | < 1.4 | 3 | < 1 | < .02 | NODI: B | < 1 | < .02 | 92 | < 1
2021-03-31 | 0.81 | 3 | 6 | 7.66 | 7.66 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 138 | < 1
2021-04-30 | 0.83 | 21 | 21 | 8.36 | 8.36 | < 1.4 | 1 | < .5 | < .1 | NODI: B | < .5 | < .1 | 126 | < 1
2021-05-31 | 1.73 | 13 | 13 | 8.14 | 8.14 | 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 111 | < 1
2021-06-30 | 1.45 | 2.35 | 4.7 | 8.02 | 8.02 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 128 | < 1
2021-07-31 | 1.02 | 4.7 | 5.3 | 8.34 | 8.34 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 189 | < 1
2021-08-31 | 3.82 | 11 | 18 | 8.18 | 8.18 | < 1.4 | 3 | < 1 | < .02 | NODI: B | < 1 | < .02 | 213 | < 1
2021-09-30 | 2.43 | NODI: B | < 3.3 | 7.27 | 7.27 | < 1.4 | 3 | < 1 | < .02 | NODI: B | < 1 | < .02 | 332 | < 1
2021-10-31 | 3.56 | < 3.3 | < 3.3 | 6.89 | 6.89 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 328 | < 1
2021-11-30 | 2.01 | 5.7 | 6 | 7.54 | 7.54 | < 1.4 | 2 | < 1 | < .02 | NODI: B | < 1 | < .02 | 317 | < 1

## 003 - 1 - O
Outfall - Monitoring Location - Limit Set: 003 - 1 - O
Parameter | Ethanol
Daily Max
Units | ug/L
Effluent Limit | Report
Minimum | No Data
Maximum | No Data
Median | No Data
No. of Violations | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | < 22.7
2015-06-30 | < 400
2015-09-30 | < 400
2015-12-31 | < 400
2016-03-31 | < 400
2016-06-30 | < 400
2016-09-30 | < 200
2016-12-31 | < 200
2017-03-31 | < 200
2017-06-30 | < 200
2017-09-30 | < 200
2017-12-31 | < 200
2018-03-31 | < 200
2018-06-30 | < 30.9
2018-09-30 | < 200
2018-12-31 | < 400
2019-03-31 | < 280
2019-06-30 | < 400
2019-09-30 | NODI: E
2019-12-31 | < 400
2020-03-31 | < 400
2020-06-30 | < 400
2020-09-30 | < 400
2020-12-31 | < 400
2021-03-31 | < 400
2021-06-30 | < 400
2021-09-30 | < 400

## 003 - 1 - Q
Outfall - Monitoring Location - Limit Set: 003 - 1 - Q
Parameter | Fecal Coliform | Ammonia | Chromium | Chromium | Acenaphthene | Acenaphthylene | Anthracene | Benzene | Benzo(a)anthracene | Benzo(a)pyrene | Benzo(b)fluoranthene | Benzo(ghi)perylene | Benzo(k)fluoranthene | Chrysene | Dibenzo(a,h)anthracene | Ethylbenzene | Ethylbenzene | Fluoranthene | Fluorene | Indeno(1,2,3-cd)pyrene | Naphthalene | Phenanthrene | Phenol | Pyrene | TBA | Toluene | Vinyl chloride | Xylene
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | CFU/100mL | mg/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 0 | 0 | No Data | 1.22 | No Data | No Data | No Data | No Data | No Data | 0 | 0 | 0 | 0 | No Data | No Data | No Data | No Data | 0 | No Data | 0 | No Data | No Data | No Data | 0 | No Data | 0 | No Data | 0
Maximum | 1100 | 3.36 | No Data | 13.3 | No Data | No Data | No Data | No Data | No Data | 0.089 | 0.074 | 0.063 | 0.055 | No Data | No Data | No Data | No Data | 0.064 | No Data | 0.104 | No Data | No Data | No Data | 0.081 | No Data | 16.6 | No Data | 1
Median | 22 | 0.315 | No Data | 2 | No Data | No Data | No Data | No Data | No Data | Non-Detect | Non-Detect | Non-Detect | Non-Detect | No Data | No Data | No Data | No Data | Non-Detect | No Data | Non-Detect | No Data | No Data | No Data | Non-Detect | No Data | Non-Detect | No Data | Non-Detect
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | < 2 | 0.35 |  | 2 | < .022 | < .02 | < .022 | < .2 | < .021 | < .015 | < .017 | < .019 | < .021 | < .022 | < .024 | < .2 | < .2 | < .023 | < .022 | < .017 | < .023 | < .028 | < 2.17 | 0.058 | < 7.5 | < .3 | < .3 | < .9
2015-06-30 | < 2 | < .2 | E .0033 |  | < .05 | < .05 | < .05 | < 1 | < .05 | 0.089 | 0.063 | 0.063 | 0.055 | < .05 | < .05 | < 1 | < 1 | 0.054 | < .05 | 0.104 | < 1 | < .05 | < 2.12 | 0.065 | < 10 | < 1 | < 1 | < 3
2015-09-30 | 84 | 0.35 |  | 2.79 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < 1 | 0.064 | < .05 | < .05 | < 1 | < .05 | < 2.1 | 0.081 | < 10 | 16.6 | < 1 | < 3
2015-12-31 | 4 | 0.21 |  | 7.12 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < 5.05 | < .05 | < 10 | < 1 | < 1 | < 3
2016-03-31 | 2 | 0.28 |  | 1.83 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < 2.06 | < .05 | < 10 | < 1 | < 1 | < 3
2016-06-30 | 1100 | 0.35 |  | E 3.15 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | 0.074 | 0.053 | < .05 | < .05 | < .05 | < 1 | < 1 | 0.057 | < .05 | 0.063 | < 1 | < .05 | < 5 | 0.064 | < 10 | < 1 | < 1 | 1
2016-09-30 | 10 | 3.36 |  | 1.22 | < .052 | < .052 | < .052 | < 1 | < .052 | < .052 | < .052 | < .052 | < .052 | < .052 | < .052 | < 1 | < 1 | < .052 | < .052 | < .052 | < 1 | < .052 | < 1.02 | < .052 | < 10 | 2.8 | < 1 | < 3
2016-12-31 | 34 | < .2 |  | 7.22 | < .051 | < .051 | < .051 | < 1 | < .051 | < .051 | < .051 | < .051 | < .051 | < .051 | < .051 | < 1 | < 1 | 0.056 | < .051 | < .051 | < 1 | < .051 | < .993 | 0.072 | < 10 | < 1 | < 1 | < 3
2017-03-31 | 2 | 0.42 |  | 9.79 | < .07 | < .07 | < .07 | < 1 | < .07 | < .07 | < .07 | < .07 | < .07 | < .07 | < .07 | < 1 | < 1 | < .07 | < .07 | < .07 | < 1 | < .07 | < 1.38 | < .07 | < 10 | < 1 | < 1 | < 3
2017-06-30 | 124 | 0.26 |  | 13.3 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < .645 | < .05 | < 10 | < 1 | < 1 | < 3
2017-09-30 | 45 | 0.5 |  | E 5.6 | < .257 | < .257 | < .257 | < 1 | < .257 | < .257 | < .257 | < .257 | < .257 | < .257 | < .257 | < 1 | < 1 | < .257 | < .257 | < .257 | < 1 | < .257 | < .639 | < .257 | < 10 | < 1 | < 1 | < 3
2017-12-31 | 850 | 0.23 |  | E 1.6 | < .048 | < .048 | < .048 | < 1 | < .048 | < .048 | < .048 | < .048 | < .048 | < .048 | < .048 | < 1 | < 1 | < .048 | < .048 | < .048 | < 1 | < .048 | < .62 | < .048 | < 10 | < 1 | < 1 | < 3
2018-12-31
2019-12-31

## 003 - 1 - R
Outfall - Monitoring Location - Limit Set: 003 - 1 - R
Parameter | Total Solids | TSS | pH | TRC | LC50 Acute Menidia | LC50 Mysid. Bahia | Ammonia | Cadmium | Copper | Lead | Nickel | Zinc | TOC | Salinity | Salinity
| Daily Max | Daily Max | Daily Max | Daily Max | Monthly Avg Min | Monthly Avg Min | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | mg/L | mg/L | SU | mg/L | % | % | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | g/g | ppt
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 231 | 0 | 6.75 | 0 | 100 | 100 | 0.13 | No Data | 3 | 1 | 0 | 0.006 | 2.6 | No Data | 0
Maximum | 920 | 91 | 8.05 | 0.07 | 100 | 100 | 0.98 | No Data | 9.3 | 21.3 | 4.1 | 53 | 11.2 | No Data | 0.9
Median | 475 | 8.2 | 7.525 | Non-Detect | 100 | 100 | 0.235 | No Data | 5.1 | 4.55 | 2.05 | 12 | 4.65 | No Data | 0.3
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-12-31
2016-12-31
2017-12-31
2018-09-30 | 231 | 91 | 6.75 | < .02 | 100 | 100 | 0.15 | < .1 | 9.3 | 21.3 | 4.1 | 53 | 2.6 |  | < 1
2019-09-30 | 270 | 9.7 | 7.78 | < .02 | 100 | 100 | 0.32 | < .2 | 6.6 | 6.8 | 2.8 | 16 | 5.4 |  | < .5
2020-09-30 | 920 | 6.7 | 8.05 | 0.07 | 100 | 100 | 0.98 | < .2 | 3.6 | 2.3 | 1.3 | 8 | 11.2 |  | 0.9
2021-09-30 | 680 | < 3.3 | 7.27 | < .02 | 100 | 100 | 0.13 | < 1 | 3 | 1 | < 1 | 0.006 | 3.9 |  | 0.6

## 003 - 1 - T
Outfall - Monitoring Location - Limit Set: 003 - 1 - T
Parameter | Total Solids | TSS | pH | TRC | LC50 Acute Menidia | LC50 Mysid. Bahia | Ammonia | Cadmium | Cadmium | Copper | Copper | Lead | Lead | Nickel | Nickel | Zinc | Zinc | TOC | Salinity | Salinity
| Daily Max | Daily Max | Daily Max | Daily Max | Monthly Avg Min | Monthly Avg Min | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | mg/L | mg/L | SU | mg/L | % | % | mg/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | g/g | ppt
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 120 | 6 | 6 | 0 | 100 | 100 | 0 | No Data | No Data | No Data | 0 | No Data | 0.89 | No Data | 1.84 | 0.0216 | 8.43 | 2.57 | No Data | 0
Maximum | 7400 | 79.7 | 8.26 | 0.079 | 100 | 100 | 3.36 | No Data | No Data | No Data | 39.8 | No Data | 47.9 | No Data | 7 | 0.0216 | 88.9 | 9.03 | No Data | 6.2
Median | 397 | 11.5 | 7.485 | Non-Detect | 100 | 100 | 0.27 | No Data | No Data | No Data | 5.62 | No Data | 7.65 | No Data | 2.5 | 0.0216 | 27.6 | 4.595 | No Data | Non-Detect
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | 366 | 6 | 7.14 | < .011 | NODI: 8 | NODI: 8 | 0.35 |  | < .6 |  | 5 |  | 7 |  | 1.9 |  | 35.6 | 4.21 |  | 0.23
2015-06-30 | 209 | 12 | 7.26 | < .02 | 100 | 100 | < .2 | < .0011 |  | E .0092 |  | E .0111 |  | < .0033 |  | 0.0216 |  | 5.4 |  | < 1
2015-09-30 | 344 | 7 | 7.58 | < .2 | 100 | 100 | 0.35 |  | < .09 |  | 5.46 |  | 7.69 |  | 2.91 |  | 35.1 | 4.59 |  | < 1
2015-12-31 | 4320 | 15 | 7.42 | < .02 | 100 | 100 | 0.21 |  | < .88 |  | 18.7 |  | 10.8 |  | 5.81 |  | 27.6 | 4.19 |  | 3.71
2016-03-31 | 428 | 8 | 7.65 | < .02 | 100 | 100 | 0.28 |  | E .64 |  | 5.62 |  | 7.65 |  | 1.84 |  | 32.5 | 4.04 |  | < 1
2016-06-30 | 2280 | 14 | 7.55 | 0.024 | 100 | 100 | < .2 |  | < .3 |  | 39.8 |  | 2.08 |  | 4.33 |  | 18 | 4.6 |  | 2.12
2016-09-30 | 7400 | 11 | 7.23 | < .02 | 100 | 100 | 3.36 |  | E .06 |  | 10.5 |  | 0.89 |  | 5.09 |  | 8.43 | 9.03 |  | 6.2
2016-12-31 | 248 | 79.7 | 7.6 | < .028 | 100 | 100 | < .2 |  | < .3 |  | 15.2 |  | 47.9 |  | 7 |  | 88.9 | 2.57 |  | < 1
2017-03-31 | 1940 | 25 | 7.21 | 0.079 | 100 | 100 | 0.42 |  | E .4 |  | 9.2 |  | 9.5 |  | E 4.4 |  | 39.3 | 5.58 |  | 1.7
2017-06-30 | 488 | 10.3 | 8.01 | 0.066 | 100 | 100 | 0.26 |  | < .2 |  | < 25 |  | 6.7 |  | 4.5 |  | 11 | 7.18 |  | < 1
2017-09-30 | 250 | 14.2 | 8.26 | 0.025 | 100 | 100 | 0.5 |  | < .2 |  | 5.6 |  | 8 |  | E 4 |  | E 17 | 5.86 |  | < 1
2017-12-31 | 120 | 7.4 | 7.95 | 0.043 | 100 | 100 | 0.23 |  | < .095 |  | 5.4 |  | 4 |  | E 1.8 |  | E 10 | 4.64 |  | < 1
2018-03-31 | 1100 | 17.8 | 6 | < .02 | 100 | 100 | 0.48 |  | E .23 |  | 7.8 |  | 8.8 |  | 2.5 |  | 65.4 | 3.92 |  | < 1
2018-06-30 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 | NODI: 9 | NODI: 9
2019-12-31

## 003 - 1 - Y
Outfall - Monitoring Location - Limit Set: 003 - 1 - Y
Parameter | Fecal Coliform | Ammonia | Chromium | Acenaphthene | Acenaphthylene | Anthracene | Benzene | Benzo(a)anthracene | Benzo(a)pyrene | Benzo(b)fluoranthene | Benzo(ghi)perylene | Benzo(k)fluoranthene | Chrysene | Dibenzo(a,h)anthracene | Ethylbenzene | Fluoranthene | Fluorene | Indeno(1,2,3-cd)pyrene | Naphthalene | Phenanthrene | Phenol | Pyrene | TBA | Toluene | Vinyl chloride | Xylene
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | CFU/100mL | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 0 | 0 | 0 | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data
Maximum | 41 | 0.42 | 4 | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data
Median | 25.5 | Non-Detect | Non-Detect | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data | No Data
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-12-31
2016-12-31
2017-12-31
2018-04-30 | < 10 | 0.42 | E 1.6 | < .007 | < .012 | E .044 | < .28 | E .083 | E .074 | E .075 | E .069 | E .072 | E .062 | E .066 | < .33 | E .064 | < .011 | E .07 | E .78 | E .053 | < .62 | E .076 | < 5.9 | < .3 | < .47 | E .54
2019-04-30 | 20 | < .05 | < 1 | < .09 | < .09 | < .09 | < .5 | < .09 | < .09 | < .09 | < .09 | < .09 | < .09 | < .09 | < .5 | < .09 | < .09 | < .09 | < 1 | < .09 | < 4.7 | < .09 | < 10 | < 1 | < .5 | < .5
2020-04-30 | 31 | < .05 | < 1 | < .1 | < .1 | < .1 | < .5 | < .05 | < .1 | < .05 | < .1 | < .1 | < .1 | < .02 | < .5 | < .1 | < .1 | < .1 | < 1 | < .05 | < 4.9 | < .1 | < 10 | < 1 | < .5 | < .5
2021-04-30 | 41 | < .05 | 4 | < .1 | < .1 | < .1 | < .5 | < .05 | < .1 | < .05 | < .1 | < .1 | < .1 | < .02 | < .5 | < .1 | < .1 | < .1 | < 1 | < .05 | < 4.9 | < .1 | < 10 | < 1 | < .5 | < .5

## 003 - GW - O
Outfall - Monitoring Location - Limit Set: 003 - GW - O
Parameter | Methyl tert-butyl ether
Daily Max
Units | ug/L
Effluent Limit | Report
Minimum | 0
Maximum | 0.2
Median | Non-Detect
No. of Violations | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | 0.2
2015-06-30 | < 1
2015-09-30 | < 1
2015-12-31 | < 1
2016-03-31 | < 1
2016-06-30 | < 1
2016-09-30 | < 1
2016-12-31 | < 1
2017-03-31 | < 1
2017-06-30 | < 1
2017-09-30 | < 1
2017-12-31 | < 1
2018-03-31 | < 1
2018-06-30 | < .24
2018-09-30 | < 1
2018-12-31 | < 1
2019-03-31 | < .2
2019-06-30 | < 1
2019-09-30 | NODI: E
2019-12-31 | < 2
2020-03-31 | < 2
2020-06-30 | < 1
2020-09-30 | < 2
2020-12-31 | < 2
2021-03-31 | < 2
2021-06-30 | < 1
2021-09-30 | < 2

## 003 - RW - Q
Outfall - Monitoring Location - Limit Set: 003 - RW - Q
Parameter | Acenaphthene | Acenaphthylene | Anthracene | Benzene | Benzo(a)anthracene | Benzo(a)pyrene | Benzo(b)fluoranthene | Benzo(ghi)perylene | Benzo(k)fluoranthene | Chrysene | Dibenzo(a,h)anthracene | Ethylbenzene | Fluoranthene | Fluorene | Indeno(1,2,3-cd)pyrene | Naphthalene | Phenanthrene | Pyrene | Toluene | Xylene
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | No Data | No Data | No Data | No Data | 0 | 0 | 0 | 0 | 0 | 0 | No Data | No Data | 0 | No Data | 0 | 0 | 0 | 0 | No Data | No Data
Maximum | No Data | No Data | No Data | No Data | 0.076 | 0.11 | 0.111 | 0.057 | 0.06 | 0.108 | No Data | No Data | 0.284 | No Data | 0.089 | 0.108 | 0.218 | 0.222 | No Data | No Data
Median | No Data | No Data | No Data | No Data | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | Non-Detect | No Data | No Data | Non-Detect | No Data | Non-Detect | Non-Detect | Non-Detect | Non-Detect | No Data | No Data
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < 3
2015-06-30 | < .05 | < .05 | < .05 | < 1 | 0.076 | 0.11 | 0.111 | 0.057 | 0.06 | 0.108 | < .05 | < 1 | 0.284 | < .05 | 0.089 | 0.065 | 0.218 | 0.222 | < 1 | < 3
2015-09-30 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | 0.066 | 0.061 | < .05 | < 1 | < 3
2015-12-31 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < 1 | < 3
2016-03-31 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | 0.052 | < .05 | < .05 | < 1 | < .05 | < .05 | < 1 | < 3
2016-06-30 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < 1 | < 3
2016-09-30 | < .052 | < .052 | < .052 | < 1 | < .052 | < .052 | < .052 | < .052 | < .052 | < .052 | < .052 | < 1 | < .052 | < .052 | < .052 | 0.108 | 0.061 | < .052 | < 1 | < 3
2016-12-31 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < .05 | < 1 | < .05 | < .05 | < 1 | < 3
2017-03-31 | < .051 | < .051 | < .051 | < 1 | < .051 | < .051 | < .051 | < .051 | < .051 | < .051 | < .051 | < 1 | < .051 | < .051 | < .051 | < 1 | < .051 | < .051 | < 1 | < 3
2017-06-30 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < .049 | < .049 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < 1 | < 3
2017-09-30 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < .049 | < .049 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < .049 | < 1 | < .049 | < .049 | < 1 | < 3
2017-12-31 | < .046 | < .046 | < .046 | < 1 | < .046 | < .046 | < .046 | < .046 | < .046 | < .046 | < .046 | < 1 | < .046 | < .046 | < .046 | < 1 | < .046 | < .046 | < 1 | < 3
2018-12-31
2019-12-31

## 003 - RW - R
Outfall - Monitoring Location - Limit Set: 003 - RW - R
Parameter | Total Solids | TSS | pH | TRC | Ammonia | Cadmium | Copper | Lead | Nickel | Zinc | TOC | Salinity | Salinity
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | mg/L | mg/L | SU | mg/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | g/g | ppt
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 30500 | 14 | 7.53 | 0 | 0 | No Data | 0 | 0 | 0 | 0 | 1.8 | No Data | 25.5
Maximum | 37000 | 29 | 7.83 | 0.05 | 0.14 | No Data | 11.2 | 2.4 | 17.9 | 20 | 2.3 | No Data | 30.7
Median | 32500 | 18 | 7.795 | Non-Detect | 0.14 | No Data | 8.9 | 0.95 | 5.6 | 16 | 2.02 | No Data | 27.2
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-12-31
2016-12-31
2017-12-31
2018-09-30 | 30500 | 29 | 7.53 | < .006 | 0.14 | < .5 | 9.8 | 1.9 | 11.2 | 18 | 1.94 |  | 25.5
2019-09-30 | 34000 | 14 | 7.83 | < .02 | 0.14 | < .2 | 11.2 | 2.4 | 17.9 | 20 | 2.1 |  | 26.8
2020-09-30 | 37000 | 16 | 7.79 | 0.05 | 0.14 | < .2 | 8 | < .2 | < .2 | 14 | 2.3 |  | 30.7
2021-09-30 | 31000 | 20 | 7.8 | < .02 | < .1 | < 5 | < 25 | < 10 | < 5 | < .02 | 1.8 |  | 27.6

## 003 - RW - T
Outfall - Monitoring Location - Limit Set: 003 - RW - T
Parameter | Total Solids | TSS | pH | TRC | Ammonia | Cadmium | Cadmium | Copper | Copper | Lead | Lead | Nickel | Nickel | Zinc | Zinc | TOC | Salinity | Salinity
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | mg/L | mg/L | SU | mg/L | mg/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | ug/L | mg/L | g/g | ppt
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | 362 | 6 | 7.54 | 0 | 0 | No Data | 0 | No Data | 0 | No Data | 0 | No Data | 0 | 0.0225 | 0 | 2.17 | No Data | 0
Maximum | 72200 | 51 | 8.12 | 0.034 | 0.35 | No Data | 0.55 | No Data | 194 | No Data | 15 | No Data | 16.6 | 0.0225 | 81.2 | 9.17 | No Data | 29.6
Median | 29750 | 16.5 | 7.89 | Non-Detect | 0.05 | No Data | Non-Detect | No Data | 59.5 | No Data | Non-Detect | No Data | Non-Detect | 0.0225 | Non-Detect | 3.025 | No Data | 24.6
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-03-31 | 362 | 6 | NODI: E | < .04 | 0.35 |  | < 2.5 |  | < 5 |  | 8.2 |  | < 5 |  | 36.7 | 4.2 |  | < 1
2015-06-30 | 30500 | 25 | 7.92 | < .02 | < .2 | < .0011 |  | E .004 |  | E .0057 |  | < .0033 |  | 0.0225 |  | 3.62 |  | 22.8
2015-09-30 | 36300 | 39 | 7.87 | < .2 | < .2 |  | < .88 |  | 54.1 |  | < .95 |  | 10.1 |  | 13.2 | 3.13 |  | 24.8
2015-12-31 | 72200 | 40 | 7.94 | < .02 | < .2 |  | < .88 |  | 96.5 |  | < .95 |  | 12.5 |  | < 5.56 | 2.17 |  | 29.6
2016-03-31 | 23600 | 18 | 7.54 | < .02 | 0.28 |  | < .44 |  | 59.5 |  | 1.43 |  | 6.68 |  | E 10.1 | 3.3 |  | 20.1
2016-06-30 | 27000 | 51 | 8.06 | < .02 | < .2 |  | < .3 |  | 67 |  | 3.84 |  | 10.2 |  | 81.2 | 3.2 |  | 23.9
2016-09-30 | 34100 | 11.1 | 7.84 | < .02 | 0.21 |  | < .15 |  | 30.4 |  | E .53 |  | 8.31 |  | 19.7 | 9.17 |  | 28.1
2016-12-31 | 22600 | 42.2 | 8.09 | < .028 | < .2 |  | < .3 |  | 82.7 |  | 15 |  | < 2.2 |  | 44.6 | 2.92 |  | 19.1
2017-03-31 | 32800 | 13.5 | 7.91 | 0.034 | < .2 |  | < 2 |  | 97.2 |  | < 17.1 |  | < 5 |  | < 13.6 | 2.39 |  | 28.8
2017-06-30 | 29000 | 9 | 7.92 | 0.028 | 0.1 |  | 0.19 |  | 194 |  | 1.84 |  | 16.6 |  | 20.9 | 3.28 |  | 24.6
2017-09-30 | 38500 | 24.8 | 8.12 | < .02 | 0.18 |  | < .2 |  | 2.1 |  | E 2.2 |  | E .55 |  | E 6.4 | 2.7 |  | 27.8
2017-12-31 | 47800 | 15 | 7.64 | < .02 | 0.17 |  | < 2 |  | 110 |  | < 25 |  | < 50 |  | < 200 | 2.37 |  | 26.1
2018-03-31 | 28300 | 10.3 | 7.67 | < .02 | 0.21 |  | 0.55 |  | 2.3 |  | E 2.7 |  | E 1.1 |  | E 13.2 | 2.54 |  | 22.2
2018-06-30 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 |  | NODI: 9 | NODI: 9 | NODI: 9
2019-12-31

## 003 - RW - Y
Outfall - Monitoring Location - Limit Set: 003 - RW - Y
Parameter | Acenaphthene | Acenaphthylene | Anthracene | Benzene | Benzo(a)anthracene | Benzo(a)pyrene | Benzo(b)fluoranthene | Benzo(ghi)perylene | Benzo(k)fluoranthene | Chrysene | Dibenzo(a,h)anthracene | Ethylbenzene | Fluoranthene | Fluorene | Indeno(1,2,3-cd)pyrene | Naphthalene | Phenanthrene | Pyrene | Toluene | Xylene
| Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max | Daily Max
Units | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
Effluent Limit | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report | Report
Minimum | No Data | No Data | No Data | No Data | No Data | 0 | 0 | 0 | 0 | No Data | 0 | No Data | No Data | No Data | 0 | No Data | 0 | No Data | No Data | No Data
Maximum | No Data | No Data | No Data | No Data | No Data | 0.064 | 0.056 | 0.056 | 0.062 | No Data | 0.055 | No Data | No Data | No Data | 0.055 | No Data | 0.06 | No Data | No Data | No Data
Median | No Data | No Data | No Data | No Data | No Data | Non-Detect | Non-Detect | Non-Detect | Non-Detect | No Data | 0.02 | No Data | No Data | No Data | Non-Detect | No Data | Non-Detect | No Data | No Data | No Data
No. of Violations | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Monitoring Period End Date
2014-12-31
2015-12-31
2016-12-31
2017-12-31
2018-04-30 | < .051 | < .051 | < .051 | < 1 | < .051 | 0.064 | 0.056 | 0.056 | 0.062 | < .051 | 0.055 | < 1 | < .051 | < .051 | 0.055 | < 1 | < .051 | < .051 | < 1 | < 3
2019-04-30 | < .09 | < .09 | < .09 | < 1 | < .09 | < .09 | < .09 | < .09 | < .09 | < .09 | < .09 | < 1 | < .09 | < .09 | < .09 | < 1 | < .09 | < .09 | < 1 | < 1
2020-04-30 | < .1 | < .1 | < .1 | < 1 | < .05 | < .1 | < .05 | < .1 | < .1 | < .1 | < .02 | < 1 | < .1 | < .1 | < .1 | < 1 | 0.06 | < .1 | < 1 | < 1
2021-04-30 | < .09 | < .09 | < .09 | < 1 | < .05 | < .09 | < .05 | < .09 | < .09 | < .09 | 0.04 | < 1 | < .09 | < .09 | < .09 | < 1 | < .05 | < .09 | < 1 | < 1