PA2450672 | PMSD Swiftwater Junior High | S | 90001 | Well #1 | GW | EP001 | Mechanical Room Sink | EP | 99001 | MR001 | 2015-12-14 | 116300P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 3 | PA
PA3060010 | Birdsboro Municipal Water Auth. | S | 90001 | Cocalico Tank | SW | EP001 | EP from Cocalico Tank | EP | 99001 | MR001 | 2015-12-08 | 116301P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 3 | PA
PR0003212 | Canalizo | S | 90001 | Planta Filtro Canalizo | SW | EP001 | EP from PF Canalizo | EP | 99001 | MR001 | 2016-01-04 | 116302P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 2 | PR
SC0210007 | New Ellenton - CPW | S | 90001 | Treatment Plant #1 | GW | EP001 | EP from TP #1 | EP | 99001 | MR001 | 2015-12-15 | 116303P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 4 | SC
SC0210007 | New Ellenton - CPW | S | 90002 | Treatment Plant #2 | GW | EP002 | EP from TP #2 | EP | 99001 | MR001 | 2015-12-15 | 116304P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 4 | SC
SD4600274 | Rapid Valley Sanitary District | S | 12 | Micro Filtration Plant | SW | 027412 | EP from Micro Filtration Plant | EP | 99002 | MR002 | 2015-12-15 | 116305P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 8 | SD
WA5306461 | Larch Corrections Center | S | 90001 | Well #3 | GW | EP001 | EP from Well #3 (SO-3) | EP | 99001 | MR001 | 2015-12-16 | 116306P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 10 | WA
WA5306461 | Larch Corrections Center | S | 90002 | Well #4 | GW | EP002 | EP from Well #4 (SO-4) | EP | 99001 | MR001 | 2015-12-16 | 116307P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 10 | WA
WA5311100 | Carbonado Water Dept. | S | 90001 | Water Treatment Plant #1 | SW | EP001 | EP from WTP #1 | EP | 99001 | MR001 | 2015-12-07 | 116308Q | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 10 | WA
TN0000470 | Monteagle Public Utility Board | S | 90001 | Water Plant | SW | EP001 | EP from Water Plant | EP | 99001 | MR001 | 2015-12-01 | 116309P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 4 | TN
TX0430035 | Frognot WSC | S | 90001 | Well #1 | GW | EP001 | EP from Well #1 | EP | 99001 | MR001 | 2015-12-01 | 116310P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX0430035 | Frognot WSC | S | 90002 | Well #2 | GW | EP002 | EP from Well #2 (Hwy. 78) | EP | 99001 | MR002 | 2015-12-01 | 116311P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX0430035 | Frognot WSC | S | 90003 | Well #3 | GW | EP003 | EP from Well #3 (CR 825) | EP | 99001 | MR003 | 2015-12-01 | 116312P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX0570038 | City of Cockrell Hill | S | 90001 | Dallas Intertie | SW | EP001 | Dallas Entry #1 | EP | 99001 | MR001 | 2015-12-03 | 116313P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX1011809 | Harris County MUD 189 | S | 90001 | Water Plant #1 | GW | EP001 | GST EP001 | EP | 99001 | MR001 | 2015-12-08 | 116314P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX1011809 | Harris County MUD 189 | S | 90002 | Water Plant #2 | GW | EP002 | GST EP002 | EP | 99001 | MR002 | 2015-12-08 | 116315P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX1040017 | Paint Creek WSC | S | 90001 | Haskell Pump Station | SW | EP001 | Entry Point #1 | EP | 99001 | MR001 | 2015-12-10 | 116316P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX1040017 | Paint Creek WSC | S | 90002 | Paint Creek WSC | SW | EP002 | Entry Point #2 | EP | 99001 | MR002 | 2015-12-10 | 116317P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX1070085 | Westwood Beach | S | 90002 | Well #2 TP | GW | EP002 | Well #2 Sample Tap | EP | 99001 | MR002 | 2015-12-14 | 116319P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX1070085 | Westwood Beach | S | 90003 | Well #3 TP | GW | EP003 | Well #3 Sample Tap | EP | 99001 | MR003 | 2015-12-14 | 116320P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX1870002 | City of Livingston | S | 90001 | Trinity River Auth. Intertie | SW | EP001 | Sample Point @ Clearwell | EP | 99001 | MR001 | 2015-12-02 | 116321P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX2200022 | City of Richland Hills | S | 90001 | Ft. Worth Intertie | SW | EP001 | FTW Vault Faucet | EP | 99001 | MR001 | 2015-12-15 | 116322P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX2200022 | City of Richland Hills | S | 90002 | Rena Pump Station | MX | EP002 | Rena Pumphouse Faucet | EP | 99001 | MR002 | 2015-12-15 | 116323P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX2200022 | City of Richland Hills | S | 90003 | Booth Pump Station | MX | EP003 | Booth Pumphouse Faucet | EP | 99001 | MR003 | 2015-12-15 | 116324P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
VA1105900 | Woodway Water Authority | S | 90001 | Pennington System | SW | EP001 | Ball Residence | EP | 99001 | MR001 | 2015-11-30 | 116325P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 3 | VA
WA5393063 | Washington Corrections Center | S | 90001 | 500K Gallon Tank | GW | EP001 | Sample Tap | EP | 99001 | MR001 | 2015-12-09 | 116326P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 10 | WA
WV3302503 | Town of Fairview | S | 90001 | Treatment Plant | GU | EP001 | EP | EP | 99001 | MAXRES | 2015-12-14 | 116327P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 3 | WV
WY5600025 | Town of Hanna | S | 90001 | Treatment Plant | SW | EP001 | SP 01 | EP | 99001 | MR001 | 2015-12-14 | 116328P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 8 | WY
MO1024326 | Laf./Jo./Saline County Cons. PWSD #2 | S | 90001 | N. Concordia BPS | SW | EP001 | EP from N. Concordia | EP | 99001 | 3160 | 2015-10-14 | 116781R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE3 | AM | 7 | MO
AL0001410 | Double Springs Waterworks | S | 1 | Haleyville Waterworks Intertie | SW | MM01 | Sample Tap - Entry Point | EP | 99200 | RT09 | 2015-11-10 | 116967R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 4 | AL
AL0001410 | Double Springs Waterworks | S | 2 | Arley Water Intertie | SW | MM01 | Sample Tap - Entry Point | EP | 99200 | RT10 | 2015-11-10 | 116968R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 4 | AL
TX1040017 | Paint Creek WSC | S | 90002 | Paint Creek WSC | SW | EP002 | Entry Point #2 | EP | 99001 | MR002 | 2015-11-03 | 116972R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE3 | AM | 6 | TX
LA1053001 | Town of Elton Water System | S | 90001 | East Allen Interconnection | GW | EP001 | Master Meter | EP | 99001 | MR001 | 2015-11-24 | 116975R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | LA
MS0130025 | Siloam W/A #8 - Beasley | S | 90001 | Beasley #2 Well | GW | EP001 | Brice #1 | EP | 99001 | MR001 | 2015-11-23 | 116977R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 4 | MS
TX1700087 | City of Splendora | S | 90003 | Chicot | GW | EP003 | Treated Tap EP003 | EP | 99001 | MR001 | 2015-11-17 | 116982R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
TX0850001 | City of Post | S | 90001 | Slaton Interconnection | MX | EP001 | EP from Slaton | EP | 99001 | MR001 | 2015-12-21 | 116998R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX0850001 | City of Post | S | 90002 | HI Service | SW | EP002 | EP from HI Service | EP | 99001 | MR001 | 2015-12-21 | 116999R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 6 | TX
TX1700781 | Crown Ranch Subdivision | S | 90001 | Crown Ranch TP | GW | EP001 | EP from Water Plant #1 | EP | 99001 | MR001 | 2015-12-14 | 117001R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
CA1910053 | Hemlock Mutual Water Co. | S | 90001 | Treatment Plant | GW | EP001 | North & South Wells Combined Tap | EP | 99001 | MR001 | 2016-01-05 | 117006R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 9 | CA
NY3522546 | Monroe WD #7 (Oreco Terrace) | S | 75649 | Intertie | SW | EP001 | EP from CC | EP | 99001 | MR001 | 2016-03-17 | 117016R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE4 | AM | 2 | NY
TX1070085 | Westwood Beach | S | 90001 | Well #1 TP | GW | EP001 | Well #1 Sample Tap | EP | 99001 | MR001 | 2016-02-29 | 117017R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE2 | AM | 6 | TX
CA4110010 | Montara Water & Sanitary District | S | 90006 | Portola #3 Well | GW | EP006 | Portola #3 Wellhead | EP | 99001 | MR001 | 2015-01-20 | 110990P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90007 | Portola #4 Well | GW | EP007 | Portola #4 Wellhead | EP | 99001 | MR001 | 2015-01-20 | 110991P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90008 | South Airport Well | GW | EP008 | South Airport Wellhead | EP | 99002 | MR002 | 2015-01-20 | 110992P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90009 | North Airport Well | GW | EP009 | North Airport Wellhead | EP | 99002 | MR002 | 2015-01-20 | 110993P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90010 | Airport Well #3 | GW | EP010 | Airport Well #3 Wellhead | EP | 99002 | MR002 | 2015-02-18 | 112413R | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90001 | Alta Vista Treatment Plant | SW | EP001 | Alta Vista TP Effluent | EP | 99001 | MR001 | 2015-01-20 | 110985P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90002 | Alta Vista Well | GW | EP002 | Alta Vista Wellhead | EP | 99001 | MR001 | 2015-01-20 | 110986P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90003 | Wagner & Drake Wells | GW | EP003 | Sample Tap post Treatment | EP | 99001 | MR001 | 2015-01-20 | 110987P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA
CA4110010 | Montara Water & Sanitary District | S | 90005 | Portola #1 Well | GW | EP005 | Portola #1 Wellhead | EP | 99001 | MR001 | 2015-01-20 | 110989P | 1,3-butadiene | 0.1 | EPA 524.3 | < |  | SE1 | AM | 9 | CA