## Title Page
PUBLIC RELEASE DRAFT
July 2026
Draft OECD 428 Dermal Absorption Study Calculations
CASRN 78-87-5

## Calculations
1,2-Dichloropropane (12 DCP) Percent Dermal Absorption Results
12 DCP Sample | Mean % Absorption | SD | % CV | N | Mass Balance Fraction | Mass Balance Corrected Mean | Excel T Test Confidence Interval | Excel T Test 95% UCL | Mass Balance Corrected Excel T Test 95% UCL | Mean + kxSD Method | Mass Balance Corrected Mean + kxSD Method | Rationale | Ratio of Missing Mass to Mean | Low Replicate Value | High Replicate Value
1% in IPM | 0.54 | 0.22 | 40.7407 | 8 | 0.8889 | 0.60749 | 0.18392 | 0.72392 | 0.8144 | 0.7248 | 0.81539 |  | 20.5741 | 0.33 | 0.89
10% in IPM | 0.61 | 0.23 | 37.7049 | 8 | 0.8917 | 0.68409 | 0.19228 | 0.80228 | 0.89973 | 0.8032 | 0.90075 |  | 17.7541 | 0.24 | 0.96
50% in IPM | 0.61 | 0.2 | 32.7869 | 8 | 0.8874 | 0.6874 | 0.1672 | 0.7772 | 0.87582 | 0.778 | 0.87672 |  | 18.459 | 0.41 | 0.95
1% in HHN | 0.89 | 0.35 | 39.3258 | 8 | 1.0195 | 0.87298 | 0.29261 | 1.1826 | 1.16 | 1.184 | 1.1614 | Use mass balance corrected Mean + kxSD value: High % CV so corrected for variability, Good N, Mass balance over 100% so corrected to 100% recovery | NA | 0.49 | 1.5
10% in HHN | 0.89 | 0.27 | 30.3371 | 8 | 1.0202 | 0.87238 | 0.22573 | 1.1157 | 1.0936 | 1.1168 | 1.0947 | Use mass balance corrected Mean + kxSD value: High % CV so corrected for variability, Good N, Mass balance over 100% so corrected to 100% recovery | NA | 0.53 | 1.32
50% in HHN | 1.02 | 0.48 | 47.0588 | 8 | 0.9177 | 1.1115 | 0.40129 | 1.4213 | 1.5488 | 1.4232 | 1.5508 | Use mass balance corrected Mean + kxSD value: Mass balance is less than 95% and absorption is less than 5%, Missing mass is 8.1 fold the absorption so correction is appropriate, High %CV, Good N | 8.0686 | 0.38 | 1.84
Neat, 100% 12 DCP | 1.08 | 0.61 | 56.4815 | 8 | 0.9092 | 1.1879 | 0.50997 | 1.59 | 1.7488 | 1.5924 | 1.7514 | Use mass balance corrected Mean + kxSD value: Mass balance is less than 95% and absorption is less than 5%, Missing mass is 8.4 fold the absorption so correction is appropriate, High %CV, Good N | 8.4074 | 0.54 | 1.94
UCL is the 95% upper confidence level; The Excel T Test 95% UCL is based on the Excel T Test confidence interval function with results slightly higher than the Excel Norm 95% UCL method
Excel T Test 95% UCL = Mean + Excel T Test Confidence Interval
The Excel Inputs: Alpha is 0.05, SD is standard deviation, N is number of measurements
Mass Balance Corrected = Value/Mass Balance Fraction
IPM: Isopropyl Myristate; HHN: COU Heavy Hydro-treated Naphtha
N is 8 replicates for Mean and SD calculations; %CV is percent coefficient of variation