Office of Enforcement and Compliance Assurance

Office of Compliance

Wastewater Treatment: Small Mechanical Plant

Operator Rounds Checklist

July 2026

Purpose

This is a customizable checklist for wastewater operators to use as they conduct daily inspections of their small mechanical wastewater treatment plant. Operator rounds are a core part of wastewater treatment plant operation and maintenance. Daily inspections of equipment and process areas help staff identify issues early – before they escalate into failures that could jeopardize compliance with the facility’s National Pollutant Discharge Elimination System (NPDES) permit. Consistent logging of equipment status, readings, and observations also supports root-cause investigations when breakdowns occur and informs planning for chemical inventories and other consumables.

Requirements

To help ensure compliance with most NPDES permits, facilities must maintain up-to-date records of operations that document current process conditions. Daily operator rounds checklists support this recordkeeping by capturing observations and readings, corrective actions, equipment downtime and failures.

Below are examples of treatment-process steps and associated assets or plant conditions for small mechanical wastewater treatment plants:

Instructions

Populate each section of the checklist with assets specific to your plant’s treatment process (for example, replace “Asset 3” under Headworks with “Barscreen”). Delete any assets not needed. Each week, print out the last four pages of this checklist and use it while you conduct your daily rounds. Below is an example of the checklist with named assets for the Headworks process:

| HEADWORKS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Influent Sampler | Influent Flowmeter | Barscreen | Grit Removal | Odor Control | Influent Pumps | ---- | ---- | ---- | ---- | Initials |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |

It is essential to visit all areas of the facility daily as asset conditions can change quickly and affect plant performance. Record each asset’s status on the checklist and circle the observed condition: Good – operating as intended. Poor – operating but not optimized; issues present or not running as intended. Offline – out of service and non-functional, whether planned or unplanned. Use the notes column to provide additional detail and context about the condition and any immediate actions taken. The Initials column should be completed by the operator who made the observations.

Records Retention

It is best practice – and generally required by NPDES permits – to retain operational logs for at least three years (or longer if your permit specifies). Maintaining these records helps operators and managers analyze trends, troubleshoot issues, and understand the conditions that led to plan changes, whether positive or negative.

Resources

Grit Removal

- Screening and Grit Removal

Disinfection

- Disinfection for Small Systems

- Ultraviolet Disinfection

- Dechlorination

Collection System

- Pressure Sewers

Additional Treatment

- Chemical Precipitation

- Fine bubble aeration

Disclaimer: This checklist addresses select provisions of EPA regulatory requirements using plain language. Nothing in this checklist is meant to replace or revise any NPDES permit, any EPA regulatory provision, or any other part of the Code of Federal Regulations, the Federal Register, or the Clean Water Act.  EPA recommends that operators consult with their permitting agency prior to making major changes to their systems.

HEADWORKS

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

PRIMARY

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

SECONDARY

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

ADDITIONAL TREATMENT

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

DISINFECTION

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

EFFLUENT and OUTFALL

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

SLUDGE DEWATERING and DIGESTION

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |

COLLECTION SYSTEM

|  | Asset 1 | Asset 2 | Asset 3 | Asset 4 | Asset 5 | Asset 6 | Asset 7 | Asset 8 | Asset 9 | Asset 10 | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sunday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Monday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Tuesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Wednesday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Thursday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Friday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Saturday __/__/__/ | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline | Good Poor Offline |  |
| Notes |  |  |  |  |  |  |  |  |  |  |  |