## Annual_Dictionary
Variable | Label | Aggregation Level
ash_cont | [BLR]: Pct by wt. ash content [EIA.923_P3] | Boiler
bal_auth | [PLNT]: Plant Balancing Authority [EIA.860-Plant] | Plant
BID | [BLR]: Boiler Identifier [EIA.923_P3] | Boiler
blr_btm | [BLR]: Type of boiler bottom (Wet or Dry) [EIA.860_Eqp] | Boiler
blr_btu | [BLR]: Qty of fuel consumed in MMBTU [EIA.923_P3] | Boiler
blr_btu_ele | [BLR]: MMBTU cons. by boiler for ele gen [EIA.923_P1+P3] | Boiler
blr_btu_tot | [BLR]: MMBTU total for all boilers @PID-PM-FT [EIA.923_P3] | Boiler
blr_ct | [BLR]: No. boilers @PID-PM-FT [EIA.923_P3] | Boiler
blr_fire_typ | [BLR]: Type of firing of boiler [EIA.860_Eqp] | Boiler
blr_na | [BLR]: No data available @PID-PM-FT-BID [EIA.923_P3] | Boiler
blr_netgen | [BLR]: Net gen MWh as apportioned to boiler [EIA.923_P1-P3] | Boiler
blr_netgen_stup | [BLR]: Net generation (MWh) attributable to startup fuel by BTUs [EIA.923] | Boiler
blr_netgen_tot | [BLR]: Net generation (MWh) total = startup + regular [EIA.923] | Boiler
blr_newsrc | [BLR]: Subject to new source review standards [EIA.860_Eqp] | Boiler
blr_noact | [BLR]: No activity data available [EIA.923_P3] | Boiler
blr_noattr | [BLR]: No attribute data available [EIA.860] | Boiler
blr_qty | [BLR]: Qty of fuel consumed in phys. units [EIA.923_P3] | Boiler
blr_qty_ele | [BLR]: Fuel phys unit cons. by boiler for ele gen [EIA.923_P1+P3] | Boiler
blr_svc_yr | [BLR]: Service year of boiler [EIA.860_Eqp] | Boiler
CAMD_GLOAD_sum_CO2 | [PLNT]: Total GLOAD (MWh) of CO2 [CAMD] | Plant
CAMD_GLOAD_sum_NOX | [PLNT]: Total GLOAD (MWh) of NOX [CAMD] | Plant
CAMD_GLOAD_sum_SOX | [PLNT]: Total GLOAD (MWh) of SOX [CAMD] | Plant
CAMD_heatinput_sum_CO2 | [PLNT]: Heat input (mmBtu) of CO2 [CAMD] | Plant
CAMD_heatinput_sum_NOX | [PLNT]: Heat input (mmBtu) of NOX [CAMD] | Plant
CAMD_heatinput_sum_SOX | [PLNT]: Heat input (mmBtu) of SOX [CAMD] | Plant
CAMD_tons_med_CO2 | [BLR]: Median CAMD emissions of CO2 in tons [CAMD-AP42] | Boiler
CAMD_tons_med_NOX | [BLR]: Median CAMD emissions of NOX in tons [CAMD-AP42] | Boiler
CAMD_tons_med_SOX | [BLR]: Median CAMD emissions of SOX in tons [CAMD-AP42] | Boiler
CAMD_tons_p25_CO2 | [BLR]: 25th percentile CAMD emissions of CO2 in tons [CAMD-AP42] | Boiler
CAMD_tons_p25_NOX | [BLR]: 25th percentile CAMD emissions of NOX in tons [CAMD-AP42] | Boiler
CAMD_tons_p25_SOX | [BLR]: 25th percentile CAMD emissions of SOX in tons [CAMD-AP42] | Boiler
CAMD_tons_p75_CO2 | [BLR]: 75th percentile CAMD emissions of CO2 in tons [CAMD-AP42] | Boiler
CAMD_tons_p75_NOX | [BLR]: 75th percentile CAMD emissions of NOX in tons [CAMD-AP42] | Boiler
CAMD_tons_p75_SOX | [BLR]: 75th percentile CAMD emissions of SOX in tons [CAMD-AP42] | Boiler
CAMD_tons_sum_CO2 | [BLR]: Total CAMD emissions of CO2 in tons [CAMD-AP42] | Boiler
CAMD_tons_sum_NOX | [BLR]: Total CAMD emissions of NOX in tons [CAMD-AP42] | Boiler
CAMD_tons_sum_SOX | [BLR]: Total CAMD emissions of SOX in tons [CAMD-AP42] | Boiler
census | [PLNT]: Census region code [923.P1] | Plant
CHP | [PLNT]: Combined heat & power plant [EIA.923_P1] | Plant
county | [PLNT]: Plant county location [EIA.860-Plant] | Plant
ctrl_typ_HG | [BLR]: Type of HG ctrl. from IPM cost data [IPM_Ch5] | Boiler
ctrl_typ_NOX | [BLR]: Type of NOx ctrl. from IPM cost data [IPM_Ch5] | Boiler
ctrl_typ_PM | [BLR]: Type of PM ctrl. from IPM cost data [IPM_Ch5] | Boiler
ctrl_typ_SOX | [BLR]: Type of SOx ctrl. from IPM cost data [IPM_Ch5] | Boiler
emissions_typ | Type of emissions corresponding to this row of data
FC | [BLR]: Fuel Code-Map based on EIA Fuel Types | Boiler
FC_st | [BLR]: Fuel Code-Map based on EIA Fuel Types of start-ups | Boiler
FERC_annual | [PLNT]: Total wholesale ELE price in $/MWh [FERC.714] | Plant
FLU_height | [BLR]: Wtd. avg. height of flue(s) serving boiler in ft [EIA.860_Equip-Flue] | Boiler
FOM_gen | [BLR]: Total boiler-level fixed O&M cost of generation ($) | Boiler
FOM_HG | [BLR]: Total boiler-level fixed O&M cost of HG ctrl ($) | Boiler
FOM_NOX | [BLR]: Total boiler-level fixed O&M cost of generation ($) | Boiler
FOM_PM | [BLR]: Total boiler-level fixed O&M cost of PM ctrl ($) | Boiler
FOM_SOX | [BLR]: Total boiler-level fixed O&M cost of SOX ctrl ($) | Boiler
FOM_tot | [BLR]: Total boiler-level fixed O&M cost of generation & control ($) | Boiler
FT | [BLR]: Fuel Type [EIA.923_P1-P3] | Boiler
FT_st | [BLR]: Fuel Type of start-up fuel | Boiler
FUE_cost | [BLR]: Boiler-level fuel cost of generation (ex. startup) ($) | Boiler
FUE_cost_st | [BLR]: Total boiler-level startup fuel cost of generation ($) | Boiler
FUE_tot | [BLR]: Total boiler-level fuel cost of generation & startup ($) | Boiler
fuel_pxbtu | [BLR]: Fuel price ($/MMbtu) [EIA.923_P5] | Boiler
fuel_pxbtu_st | [BLR]: Fuel price of startup fuel ($/MMbtu) [EIA.923_P5] | Boiler
GEN_cst | [BLR]: Total boiler-level cost of generation & control ($) | Boiler
GEN_rev_annual | [PLNT]: Total revenue ($) | Plant
gen_svc_yr | [GEN]: NP-weighted average service year @PID-PM [EIA.860_Gen] | Generator
GHG_tons_med_CH4 | [BLR]: Median GHGRP emissions CH4 in tons [GHGRP-AP42] | Boiler
GHG_tons_med_CO2 | [BLR]: Median GHGRP emissions CO2 in tons [GHGRP-AP42] | Boiler
GHG_tons_med_N2O | [BLR]: Median GHGRP emissions N2O in tons [GHGRP-AP42] | Boiler
GHG_tons_p25_CH4 | [BLR]: 25th percentile GHGRP emissions CH4 in tons [GHGRP-AP42] | Boiler
GHG_tons_p25_CO2 | [BLR]: 25th percentile GHGRP emissions CO2 in tons [GHGRP-AP42] | Boiler
GHG_tons_p25_N2O | [BLR]: 25th percentile GHGRP emissions N2O in tons [GHGRP-AP42] | Boiler
GHG_tons_p75_CH4 | [BLR]: 75th percentile GHGRP emissions CH4 in tons [GHGRP-AP42] | Boiler
GHG_tons_p75_CO2 | [BLR]: 75th percentile GHGRP emissions CO2 in tons [GHGRP-AP42] | Boiler
GHG_tons_p75_N2O | [BLR]: 75th percentile GHGRP emissions N2O in tons [GHGRP-AP42] | Boiler
GHG_tons_sum_CH4 | [BLR]: Total GHGRP emissions CH4 in tons [GHGRP-AP42] | Boiler
GHG_tons_sum_CO2 | [BLR]: Total GHGRP emissions CO2 in tons [GHGRP-AP42] | Boiler
GHG_tons_sum_N2O | [BLR]: Total GHGRP emissions N2O in tons [GHGRP-AP42] | Boiler
heat_rt | [GEN]: Heat rate (MMBtu / MW) @PID-PT [EIA.923] | Generator
heat_rt_cat | [PLNT]: Heat rate category for cost data [EIA.923] | Plant
HG_erf | [BLR]: Emissions ctrl reduction factor for HG [AP42] | Boiler
HG_tons_med_HG | [BLR]: Median MATS-HG emissions in tons [MATS-HG-AP42] | Boiler
HG_tons_p25_HG | [BLR]: 25th percentile MATS-HG emissions in tons [MATS-HG-AP42] | Boiler
HG_tons_p75_HG | [BLR]: 75th percentile MATS-HG emissions in tons [MATS-HG-AP42] | Boiler
HG_tons_sum_HG | [BLR]: Total MATS-HG emissions in tons [MATS-HG-AP42] | Boiler
K_gen | [BLR]: Total boiler-level capital cost of generation ($) | Boiler
K_HG | [BLR]: Total boiler-level capital cost of HG ctrl ($) | Boiler
K_NOX | [BLR]: Total boiler-level capital cost of NOX ctrl ($) | Boiler
K_PM | [BLR]: Total boiler-level capital cost of PM ctrl ($) | Boiler
K_SOX | [BLR]: Total boiler-level capital cost of SOX ctrl ($) | Boiler
K_tot | [BLR]: Total boiler-level captial cost of generation & control ($) | Boiler
lat | [PLNT]: Plant latitude [EIA.860-Plant] | Plant
long | [PLNT]: Plant longitude [EIA.860-Plant] | Plant
NERC | [PLNT]: Plant NERC region code [EIA.860-Plant] | Plant
netgen | [PLNT]: Net gen (MWh) @PID-PM-FT [EIA.923_P1] | Plant
NOX_erf | [BLR]: Emissions ctrl reduction factor for NOx [AP42] | Boiler
NP | [GEN]: Nameplate capacity (MW) [EIA.860_Gen] | Generator
NP_cat | [PLNT]: Nameplate category for cost data [EIA.923] | Plant
NP_plant | [PLNT]: Nameplate capacity of entire plant (MW) [EIA.860_Gen] | Plant
phys_unit_FT | [BLR]: Physical Unit of fuel [EIA.923_P3] | Boiler
PID | [PLNT]: Plant Identifier [EIA.923_P3] | Plant
plant_nm | [PLNT]: Plant name[EIA.860_Plant] | Plant
plnt_noact | [PLNT]: No data available @PID-PM-FT [EIA.923_P1] | Plant
plnt_svc_yr | [GEN]: NP-weighted average service year @PID [EIA.860_Gen] | Generator
PM | [GEN]: Prime Mover [EIA923_P1-P3] | Generator
PM_erf | [BLR]: Emissions ctrl reduction factor for PM [AP42] | Boiler
PM_tons_sum_PM | [BLR]: Total MATS-PM emissions in tons [MATS-PM-AP42] | Boiler
PT | [PLNT]: Generation type categorized to ATB cost data | Plant
PT_btu_ele | [GEN]: Net fuel consumption for generation (MMBtus) @PID-PT [EIA.923] | Generator
PT_netgen | [GEN]: Net generation (MWh) @PID-PT [EIA.923] | Generator
PT_NP | [PT]: Nameplate capacity (MW) @PID-PT | Plant Type
reg_stat | [PLNT]: Plant regulatory status [EIA.860-Plant] | Plant
RMV_eff_NOX | [GEN]: Control percent removal efficiency [IPM_Ch5] | Generator
RMV_eff_SOX | [GEN]: Control percent removal efficiency [IPM_Ch5] | Generator
SOX_erf | [BLR]: Emissions ctrl reduction factor for SOx [AP42] | Boiler
state | [PLNT]: State where plant is located | Plant
sulf_cont | [BLR]: Pct by wt. SO2 content [EIA.923_P3] | Boiler
tot_btu | [PLNT]: Total MMBTU cons. @PID-PM-FT [EIA.923_P1] | Plant
tot_btu_ele | [PLNT]: ELE gen MMBTU cons. @PID-PM-FT [EIA.923_P1] | Plant
tot_qty_ele | [PLNT]: ELE gen phys unit cons. @PID-PM-FT [EIA.923_P1] | Plant
VOM_gen | [BLR]: Total boiler-level var. O&M cost of generation ($) | Boiler
VOM_HG | [BLR]: Total boiler-level var. O&M cost of HG ctrl ($) | Boiler
VOM_NOX | [BLR]: Total boiler-level var. O&M cost of NOX ctrl ($) | Boiler
VOM_PM | [BLR]: Total boiler-level var. O&M cost of PM ctrl ($) | Boiler
VOM_SOX | [BLR]: Total boiler-level var. O&M cost of SOX ctrl ($) | Boiler
VOM_tot | [BLR]: Total boiler-level var. O&M cost of generation & control ($) | Boiler
year | Year [EIA.923_P5] | Dataset
zip | [PLNT]: Plant zipcode [EIA.860-Plant] | Plant

## Timeslices_Sum
Variable | Label
year | Year [EIA.923_P5]
PID | [PLNT]: Plant Identifier [EIA.923_P3]
PM | [GEN]: Prime Mover [EIA923_P1-P3]
FT | [BLR]: Fuel Type [EIA.923_P1-P3]
PT | [PLNT]: Generation type categorized to ATB cost data
BID | [BLR]: Boiler Identifier [EIA.923_P3]
FC | [BLR]: Fuel Code-Map based on EIA Fuel Types
phys_unit_FT | [BLR]: Physical Unit of fuel [EIA.923_P3]
blr_svc_yr | [BLR]: Service year of boiler [EIA.860_Eqp]
blr_newsrc | [BLR]: Subject to new source review standards [EIA.860_Eqp]
blr_fire_typ | [BLR]: Type of firing of boiler [EIA.860_Eqp]
blr_btm | [BLR]: Type of boiler bottom (Wet or Dry) [EIA.860_Eqp]
blr_ct | [BLR]: No. boilers @PID-PM-FT [EIA.923_P3]
blr_btu | [BLR]: Qty of fuel consumed in MMBTU [EIA.923_P3]
blr_qty | [BLR]: Qty of fuel consumed in phys. units [EIA.923_P3]
blr_noattr | [BLR]: No attribute data available [EIA.860]
blr_noact | [BLR]: No activity data available [EIA.923_P3]
blr_na | [BLR]: No data available @PID-PM-FT-BID [EIA.923_P3]
blr_btu_ele | [BLR]: MMBTU cons. by boiler for ele gen [EIA.923_P1+P3]
blr_qty_ele | [BLR]: Fuel phys unit cons. by boiler for ele gen [EIA.923_P1+P3]
blr_btu_tot | [BLR]: MMBTU total for all boilers @PID-PM-FT [EIA.923_P3]
blr_netgen | [BLR]: Net gen MWh as apportioned to boiler [EIA.923_P1-P3]
blr_netgen_stup | [BLR]: Net generation (MWh) attributable to startup fuel by BTUs [EIA.923]
blr_netgen_tot | [BLR]: Net generation (MWh) total = startup + regular [EIA.923]
ctrl_typ_SOX | [BLR]: Type of SOx ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_NOX | [BLR]: Type of NOx ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_PM | [BLR]: Type of PM ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_HG | [BLR]: Type of HG ctrl. from IPM cost data [IPM_Ch5]
slices_measure | Indicates that the FERC and emissions values are total sums
timeslice | Marks the 16 timeslices based on Reeds 2020
CAMD_emits_tons_NOX | [BLR]: Total CAMD emissions of NOX in tons by 16 timeslices [CAMD-AP42]
CAMD_emits_tons_SOX | [BLR]: Total CAMD emissions of SOX in tons by 16 timeslices [CAMD-AP42]
CAMD_emits_tons_CO2 | [BLR]: Total CAMD emissions of CO2 in tons by 16 timeslices [CAMD-AP42]
HG_emits_tons_HG | [BLR]: Total MATS-HG emissions in tons by 16 timeslices [MATS-HG-AP42]

## Timeslices_Median
Variable | Label
year | Year [EIA.923_P5]
PID | [PLNT]: Plant Identifier [EIA.923_P3]
PM | [GEN]: Prime Mover [EIA923_P1-P3]
FT | [BLR]: Fuel Type [EIA.923_P1-P3]
PT | [PLNT]: Generation type categorized to ATB cost data
BID | [BLR]: Boiler Identifier [EIA.923_P3]
FC | [BLR]: Fuel Code-Map based on EIA Fuel Types
phys_unit_FT | [BLR]: Physical Unit of fuel [EIA.923_P3]
blr_svc_yr | [BLR]: Service year of boiler [EIA.860_Eqp]
blr_newsrc | [BLR]: Subject to new source review standards [EIA.860_Eqp]
blr_fire_typ | [BLR]: Type of firing of boiler [EIA.860_Eqp]
blr_btm | [BLR]: Type of boiler bottom (Wet or Dry) [EIA.860_Eqp]
blr_ct | [BLR]: No. boilers @PID-PM-FT [EIA.923_P3]
blr_btu | [BLR]: Qty of fuel consumed in MMBTU [EIA.923_P3]
blr_qty | [BLR]: Qty of fuel consumed in phys. units [EIA.923_P3]
blr_noattr | [BLR]: No attribute data available [EIA.860]
blr_noact | [BLR]: No activity data available [EIA.923_P3]
blr_na | [BLR]: No data available @PID-PM-FT-BID [EIA.923_P3]
blr_btu_ele | [BLR]: MMBTU cons. by boiler for ele gen [EIA.923_P1+P3]
blr_qty_ele | [BLR]: Fuel phys unit cons. by boiler for ele gen [EIA.923_P1+P3]
blr_btu_tot | [BLR]: MMBTU total for all boilers @PID-PM-FT [EIA.923_P3]
blr_netgen | [BLR]: Net gen MWh as apportioned to boiler [EIA.923_P1-P3]
blr_netgen_stup | [BLR]: Net generation (MWh) attributable to startup fuel by BTUs [EIA.923]
blr_netgen_tot | [BLR]: Net generation (MWh) total = startup + regular [EIA.923]
ctrl_typ_SOX | [BLR]: Type of SOx ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_NOX | [BLR]: Type of NOx ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_PM | [BLR]: Type of PM ctrl. from IPM cost data [IPM_Ch5]
ctrl_typ_HG | [BLR]: Type of HG ctrl. from IPM cost data [IPM_Ch5]
slices_measure | Indicates that the FERC and emissions values are median values
timeslice | Marks the 16 timeslices based on Reeds 2020
CAMD_rate_tns_mmbtu_CO2 | [BLR]: Median CAMD emissions rate of NOX in tons/MMBtu by 16 timeslices [CAMD-AP42]
CAMD_rate_lbs_mmbtu_NOX | [BLR]: Median CAMD emissions rate of SOX in tons/MMBtu by 16 timeslices [CAMD-AP42]
CAMD_rate_lbs_mmbtu_SOX | [BLR]: Median CAMD emissions rate of CO2 in tons/MMBtu by 16 timeslices [CAMD-AP42]
HG_rate_lbs_mmbtu_HG | [BLR]: Median MATS-HG emissions rate of HG in tons/MMBtu by 16 timeslices [MATS-HG-AP42]