## Instructions
Fugitive Emission Testing Reporting Template
Purpose:
This template was designed to facilitate reporting results from fugitive emission sampling using Methods 325A and 325B and Compendium Methods TO-15A and TO-13A.
Instructions:
Report your sampling results in the "Sample Results" tab. If multiple compounds are reported for the same sample, report the result for each compound on a
separate row in the tab. The analyte dropdown list is dependent on the method listed in Column H for that row. Example data is shown.
Report meteorological data, including wind speed, wind direction, temperature, and barometric pressure on an hourly basis for each sampling episode using
the "MetData" tab. Example data is shown.
Refer to Section 4.0 of Enclosure 1 for instructions on submitting this template to EPA.

## Sample Results
Sampling Period Start Date | Sampling Period Start Time | Sampling Period End Date | Sampling Period End Time | Sampler Name | Latitude of Passive Sampler in Decimal Degree (at least five decimal places) | Longitude of Passive Sampler in Decimal Degree (at least five decimal places) | Method (Select from dropdown list) | Sample Type (Select from dropdown list) | Compound (Select from dropdown list) | Visible Emissions Time (minutes) | Below method detection limit (BDL)? (Select from dropdown list) | Lab Reported Concentration for BDL Sample (µg/m3) | Other Data Flag(s) | Explanation
2022-10-03 | 8:00 | 2022-10-03 | 8:20 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 8:25 | 2022-10-03 | 8:45 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 8:50AM | 2022-10-03 | 9:10 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 9:15 | 2022-10-03 | 9:35 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 9:40 | 2022-10-03 | 10:00 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 10:05 | 2022-10-03 | 10:25 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 10:30 | 2022-10-03 | 10:50 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 10:55 | 2022-10-03 | 11:15 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 11:20 | 2022-10-03 | 11:40 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 11:45 | 2022-10-03 | 12:05 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 12:10 | 2022-10-03 | 12:30 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 12:35 | 2022-10-03 | 12:55 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 8:00 | 2022-10-04 | 8:20 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 8:25 | 2022-10-04 | 8:45 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 8:50AM | 2022-10-04 | 9:10 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 9:15 | 2022-10-04 | 9:35 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 9:40 | 2022-10-04 | 10:00 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-04 | 10:05 | 2022-10-04 | 10:25 | Kerra Janis | 42.2832 | -83.1117 | Method 22 | Regular monitor | visible emissions | 0
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Propene (propylene) |  | No | 735000000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Dichlorodifluoromethane (Freon 12) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Chloromethane (methyl chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Chloroethene (vinyl chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,3-Butadiene (butadiene) |  | No | 111000000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2-Dichlorotetrafluoroethane (Freon 114) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Bromomethane (methyl bromide) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Chloroethane (ethyl chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Trichlorofluoromethane (Freon 11) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1-Dichloroethene (vinylidene chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Dichloromethane (methylene chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Carbon disulfide (methanedithione) |  | No | 39400000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1,2-Trichlorotrifluoroethane (Freon 113) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Propenal (acrolein) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Methoxy-2-methylpropane (methyl tert-butyl ether, MTBE) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1-Dichloroethane (ethylidene chloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | cis-1,2-Dichloroethene (cis-1,2-dichloroethylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | trans-1,2-Dichloroethene (trans-1,2-dichloroethylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Propanone (acetone) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Trichloromethane (chloroform) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Tetrahydrofuran (oxolane) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Hexane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1,1-Trichloroethane (methyl chloroform) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Methanol (methyl alcohol) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Carbon tetrachloride (tetrachloromethane) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Ethenyl acetate (vinyl acetate) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Propenenitrile (acrylonitrile) |  | No | 2460000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Butanone (methyl ethyl ketone, MEK) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Cyclohexane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benzene |  | No | 2630000000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Ethyl acetate |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2-Dichloroethane (ethylene dichloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1,2-Trichloroethene (trichloroethylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Bromodichloromethane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Ethanol (ethyl alcohol) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2-Dichloropropane (propylene dichloride) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Heptane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,4-Dioxane (p-dioxane) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | trans-1,3-Dichloropropene (trans-1,3-dichloropropylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | cis-1,3-Dichloropropene (cis-1,3-dichloropropylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Toluene (methylbenzene) |  | No | 141000000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1,2-Trichloroethane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 4-Methyl-2-pentanone (methyl isobutyl ketone, MIBK) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,1,1,2-Tetrachloroethane |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Tetrachloroethene (perchloroethylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2-Dibromoethane (ethylene dibromide) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Chlorobenzene |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | m-Xylene (1,3-xylene) |  | No | 23300000 | Lab Result | m-xylene and p-xylene results are combined
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | p-Xylene (1,4-xylene) |  | No | 23300000 | Lab Result | m-xylene and p-xylene results are combined
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Ethylbenzene |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | o-Xylene (1,2-xylene) |  | No | 3680000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Dibromochloromethane (chlorodibromomethane) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Styrene (vinylbenzene) |  | No | 5790000
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Tribromomethane (bromoform) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 4-Ethyltoluene (1-ethyl-4-methylbenzene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | m-Dichlorobenzene (1,3-dichlorobenzene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Hexachlorobutadiene (hexachloro-1,3-butadiene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 2-Hexanone (methyl butyl ketone, MBK) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2,4-Trimethylbenzene (pseudocumene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,3,5-Trimethylbenzene (mesitylene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | o-Dichlorobenzene (1,2-dichlorobenzene) |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | 1,2,4-Trichlorobenzene |  | Yes
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Acenaphthene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Acenaphthylene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Anthracene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benz(a)anthracene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benzo(a)pyrene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benzo(g,h,i)perylene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benzo(k)fluoranthene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Chrysene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Coronene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Dibenz(a,h)anthracene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Fluoranthene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Fluorene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Benzo(b)fluoranthene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Indeno(1,2,3-cd)pyrene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Naphthalene (naphthene) |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Phenanthrene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Pyrene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Perylene |  |  |  |  | No analysis performed for this compound
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Chlorodifluoromethane
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Vinyl Bromide
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Allyl Chloride
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | 2,2,3-Trimethylpentane
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Tetrachloroethene (PCE)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Benzl Chloride (a-Chlorotoluene)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | 1,4-Dichlorobenzene
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Trimethylsilanol
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Tetramethylsilane
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Hexamethyldisiloxane(L2)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Hexamethylcyclotrisiloxane (D3)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Octamethyltrisiloxane(L3)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Octamethylcyclotetrasiloxane(D4)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Decamethyltetrasiloxane(L4)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Decamethylcyclopentasiloxane (D5)
2022-10-03 | 8:00 | 2022-10-03 | 10:50 | Brenna Harden | 42.2832 | -83.1117 | TO-15 | Regular monitor | Other (specify in explanation) |  | Yes |  | Not in dropdown list | Dodecamethylpentasiloxane(L5)

## MetData
Date | Time | Wind Speed (m/s) | Wind Direction (degrees) | Temperature (°F) | Barometric Pressure (inches HG) | Comments
e.g.: 01/01/22 | e.g.: 1:00:00 AM | e.g.: 5 | e.g.: 47.53 | e.g.: 68 | e.g.: 29.6
e.g.: 01/01/22 | e.g.: 2:00:00 AM | e.g.: 5 | e.g.: 45.26 | e.g.: 68 | e.g.: 29.8
e.g.: 01/01/22 | e.g.: 3:00:00 AM | e.g.: 7 | e.g.: 46.28 | e.g.: 74 | e.g.: 29.8
e.g.: 01/01/22 | e.g.: 4:00:00 AM | e.g.: 9 | e.g.: 44.76 | e.g.: 76 | e.g.: 30.1
2022-10-03 | 8:00 | 4 | 337.5 | 44 | 30.39
2022-10-03 | 10:30 | 6 | 22.5 | 58 | 30.42
2022-10-04 | 8:00 | 0 | 135 | 43 | 30.27

## Methods&HAP Lists
Sample or QC Type | Methods | Method 22 | TO-15A | TO-13A
Regular monitor | Method 22 | visible emissions | Propene (propylene) | Acenaphthene
Duplicate | TO-15A | Toluene | Dichlorodifluoromethane (Freon 12) | Acenaphthylene
Field blank | TO-13A | Ethylbenzene | Chloromethane (methyl chloride) | Anthracene
Method blank | TO-15 | o-xylene | Chloroethene (vinyl chloride) | Benz(a)anthracene
Field spike |  | m and p-Xylene | 1,3-Butadiene (butadiene) | Benzo(a)pyrene
|  | 1,3-Butadiene | 1,2-Dichlorotetrafluoroethane (Freon 114) | Benzo(g,h,i)perylene
|  | Other (specify in explanation) | Bromomethane (methyl bromide) | Benzo(k)fluoranthene
|  |  | Ethylene oxide | Chrysene
|  |  | Chloroethane (ethyl chloride) | Coronene
|  |  | Trichlorofluoromethane (Freon 11) | Dibenz(a,h)anthracene
|  |  | 1,1-Dichloroethene (vinylidene chloride) | Fluoranthene
|  |  | Dichloromethane (methylene chloride) | Fluorene
|  |  | Carbon disulfide (methanedithione) | Benzo(b)fluoranthene
|  |  | 1,1,2-Trichlorotrifluoroethane (Freon 113) | Indeno(1,2,3-cd)pyrene
|  |  | 2-Propenal (acrolein) | Naphthalene (naphthene)
|  |  | 2-Methoxy-2-methylpropane (methyl tert-butyl ether, MTBE) | Phenanthrene
|  |  | 2-Chloro-1,3-butadiene (chloroprene) | Pyrene
|  |  | 1,1-Dichloroethane (ethylidene chloride) | Perylene
|  |  | cis-1,2-Dichloroethene (cis-1,2-dichloroethylene) | Other (specify in explanation)
trans-1,2-Dichloroethene (trans-1,2-dichloroethylene)
2-Propanone (acetone)
Trichloromethane (chloroform)
Tetrahydrofuran (oxolane)
Hexane
Isopropyl ether (diisopropyl ether)
1,1,1-Trichloroethane (methyl chloroform)
2-Ethoxy-2-methylpropane (ethyl tert-butyl ether, ETBE)
Methanol (methyl alcohol)
Carbon tetrachloride (tetrachloromethane)
Ethenyl acetate (vinyl acetate)
2-Propenenitrile (acrylonitrile)
2-Butanone (methyl ethyl ketone, MEK)
Cyclohexane
Benzene
Acetonitrile (cyanomethane)
Ethyl acetate
2-Methoxy-2-methylbutane (tert-amyl methyl ether)
1,2-Dichloroethane (ethylene dichloride)
1,1,2-Trichloroethene (trichloroethylene)
Bromodichloromethane
Ethanol (ethyl alcohol)
1,2-Dichloropropane (propylene dichloride)
Heptane
2-Propanol (isopropanol)
2-Methyl-2-propanol (tert-butyl alcohol, TBA)
1,4-Dioxane (p-dioxane)
Methyl methacrylate (methyl 2-methylprop-2-enoate)
trans-1,3-Dichloropropene (trans-1,3-dichloropropylene)
cis-1,3-Dichloropropene (cis-1,3-dichloropropylene)
Toluene (methylbenzene)
1,1,2-Trichloroethane
4-Methyl-2-pentanone (methyl isobutyl ketone, MIBK)
1,1,1,2-Tetrachloroethane
Tetrachloroethene (perchloroethylene)
1,2-Dibromoethane (ethylene dibromide)
Chlorobenzene
m-Xylene (1,3-xylene)
p-Xylene (1,4-xylene)
Isopropylbenzene (cumene)
Ethylbenzene
o-Xylene (1,2-xylene)
Dibromochloromethane (chlorodibromomethane)
Styrene (vinylbenzene)
1,1,2,2-Tetrachloroethane (tetrachloroethane)
Tribromomethane (bromoform)
2-Chlorotoluene (1-chloro-2-methylbenzene)
4-Ethyltoluene (1-ethyl-4-methylbenzene)
n-Propylbenzene
sec-Butylbenzene (2-phenylbutane)
tert-Butylbenzene
m-Dichlorobenzene (1,3-dichlorobenzene)
Hexachlorobutadiene (hexachloro-1,3-butadiene)
2-Hexanone (methyl butyl ketone, MBK)
2-Isopropyltoluene (o-cymene)
1,2,4-Trimethylbenzene (pseudocumene)
1,3,5-Trimethylbenzene (mesitylene)
n-Butylbenzene
Chloromethylbenzene (benzyl chloride)
o-Dichlorobenzene (1,2-dichlorobenzene)
p-Dichlorobenzene (1,4-dichlorobenzene)
1,2,4-Trichlorobenzene
Naphthalene (naphthene)
Other (specify in explanation)