## DBSD Calculations
Measure | Action | CO2e Reduction (Annual Metric Ton) | CO2e Reduction (Through 2030, cumulative metric tons) | CO2e Reduction (Through 2050, cumulative metric tons) | Year online
DBSD | Tri-Valley door/window | 54.2708 | 217.0832 | 1302.4993 | 2027
| Tri-Valley audit-discovery | 364.9169 | 1459.6674 | 8758.0046 | 2027
DBSD | Anderson audit-discovery | 55.3959 | 166.1878 | 1274.1063 | 2028
DBSD | Cantwell Furnace | 87.6335 | 175.2671 | 1927.9377 | 2029
| Cantwell audit-discovery | 96.5482 | 193.0963 | 2124.0596 | 2029
DBSD | All solar | 24.4137 | 122.0684 | 610.3419 | 2026
DBSD | Total | 683.179 | 2333.3702 | 15996.9494
Total Budget | 3999702
$/MTCO2e Annual | 5854.5451
$/MTCO2e through 2030 | 1714.1309

## Modelling Report
buildingname | 1-AK Insulation and sealing_electricity_kWh | 1-AK Insulation and sealing_gas_kWh | 1-AK Insulation and sealing_oil_kWh | 1-AK Insulation and sealing_coal_kWh | 2-AK Window Upgrades_electricity_kWh | 2-AK Window Upgrades_gas_kWh | 2-AK Window Upgrades_oil_kWh | 2-AK Window Upgrades_coal_kWh | 3-Install VRF_electricity_kWh | 3-Install VRF_gas_kWh | 3-Install VRF_oil_kWh | 3-Install VRF_coal_kWh | 4-AK Install heat pumps (com)_electricity_kWh | 4-AK Install heat pumps (com)_gas_kWh | 4-AK Install heat pumps (com)_oil_kWh | 4-AK Install heat pumps (com)_coal_kWh | 7-Install LED lighting_electricity_kWh | 7-Install LED lighting_gas_kWh | 7-Install LED lighting_oil_kWh | 7-Install LED lighting_coal_kWh | 9-Variable speed drives on pumps and fans_electricity_kWh | 9-Variable speed drives on pumps and fans_gas_kWh | 9-Variable speed drives on pumps and fans_oil_kWh | 9-Variable speed drives on pumps and fans_coal_kWh | 10-HVAC Heat Recovery_electricity_kWh | 10-HVAC Heat Recovery_gas_kWh | 10-HVAC Heat Recovery_oil_kWh | 10-HVAC Heat Recovery_coal_kWh | 12-AK Install CHP_electricity_kWh | 12-AK Install CHP_gas_kWh | 12-AK Install CHP_oil_kWh | 12-AK Install CHP_coal_kWh | 11-AK Condensing Boiler_electricity_kWh | 11-AK Condensing Boiler_gas_kWh | 11-AK Condensing Boiler_oil_kWh | 11-AK Condensing Boiler_coal_kWh | 13-AK GSHP_electricity_kWh | 13-AK GSHP_gas_kWh | 13-AK GSHP_oil_kWh | 13-AK GSHP_coal_kWh | 14-AK Rooftop PVs_electricity_kWh | 14-AK Rooftop PVs_gas_kWh | 14-AK Rooftop PVs_oil_kWh | 14-AK Rooftop PVs_coal_kWh | AML_ID | lb_kwh | 1-AK Insulation and sealing_electricity_lbCO2e | 1-AK Insulation and sealing_gas_lbCO2e | 1-AK Insulation and sealing_oil_lbCO2e | 1-AK Insulation and sealing_coal_lbCO2e | 2-AK Window Upgrades_electricity_lbCO2e | 2-AK Window Upgrades_gas_lbCO2e | 2-AK Window Upgrades_oil_lbCO2e | 2-AK Window Upgrades_coal_lbCO2e | 3-Install VRF_electricity_lbCO2e | 3-Install VRF_gas_lbCO2e | 3-Install VRF_oil_lbCO2e | 3-Install VRF_coal_lbCO2e | 4-AK Install heat pumps (com)_electricity_lbCO2e | 4-AK Install heat pumps (com)_gas_lbCO2e | 4-AK Install heat pumps (com)_oil_lbCO2e | 4-AK Install heat pumps (com)_coal_lbCO2e | 7-Install LED lighting_electricity_lbCO2e | 7-Install LED lighting_gas_lbCO2e | 7-Install LED lighting_oil_lbCO2e | 7-Install LED lighting_coal_lbCO2e | 9-Variable speed drives on pumps and fans_electricity_lbCO2e | 9-Variable speed drives on pumps and fans_gas_lbCO2e | 9-Variable speed drives on pumps and fans_oil_lbCO2e | 9-Variable speed drives on pumps and fans_coal_lbCO2e | 10-HVAC Heat Recovery_electricity_lbCO2e | 10-HVAC Heat Recovery_gas_lbCO2e | 10-HVAC Heat Recovery_oil_lbCO2e | 10-HVAC Heat Recovery_coal_lbCO2e | 12-AK Install CHP_electricity_lbCO2e | 12-AK Install CHP_gas_lbCO2e | 12-AK Install CHP_oil_lbCO2e | 12-AK Install CHP_coal_lbCO2e | 11-AK Condensing Boiler_electricity_lbCO2e | 11-AK Condensing Boiler_gas_lbCO2e | 11-AK Condensing Boiler_oil_lbCO2e | 11-AK Condensing Boiler_coal_lbCO2e | 13-AK GSHP_electricity_lbCO2e | 13-AK GSHP_gas_lbCO2e | 13-AK GSHP_oil_lbCO2e | 13-AK GSHP_coal_lbCO2e | 14-AK Rooftop PVs_electricity_lbCO2e | 14-AK Rooftop PVs_gas_lbCO2e | 14-AK Rooftop PVs_oil_lbCO2e | 14-AK Rooftop PVs_coal_lbCO2e | MTCO2e | 1-AK Insulation and sealing | 2-AK Window Upgrades | 3-Install VRF | 4-AK Install heat pumps (com) | 7-Install LED lighting | 9-Variable speed drives on pumps and fans | 10-HVAC Heat Recovery | 12-AK Install CHP | 11-AK Condensing Boiler | 13-AK GSHP | 14-AK Rooftop PVs | Realistic_Reduction | AVERAGE-AUDIT | VSD_window
Tri-Valley School | 4852.0649 | 0 | 79075.6811 | 313859.8461 | -2528.5474 | 0 | 33215.6941 | 131836.6467 | -1136580.319 | 0 | 448114.8349 | 1778615.766 | -664921.6526 | 0 | 448115.1838 | 1778617.151 | 438972.7822 | 0 | -56738.7382 | -225202.1276 | 16725.3132 | 0 | 187176.6908 | 742924.3298 | 476.4215 | 0 | 7995.9184 | 31736.6563 | 830522.9955 | 0 | -53233.3409 | -211288.8306 | -10301.0543 | 0 | 83397.2151 | 331012.4774 | -1121864.327 | 0 | 448115.1789 | 1778617.131 | 234273.3254 | 0 | 0 | 0 | N50 | 0.47487 | 2304.0929 | 0 | 44111.5779 | 243586.6266 | -1200.7276 | 0 | 18529.0428 | 102318.4215 | -539726.2301 | 0 | 249976.3795 | 1380383.696 | -315750.3705 | 0 | 249976.5741 | 1380384.771 | 208454.3616 | 0 | -31651.1377 | -174779.3713 | 7942.325 | 0 | 104414.6452 | 576583.5723 | 226.2376 | 0 | 4460.4431 | 24630.819 | 394389.2374 | 0 | -29695.6869 | -163981.2614 | -4891.6465 | 0 | 46522.3025 | 256898.7837 | -532738.0683 | 0 | 249976.5714 | 1380384.756 | 18438.5601 | 0 | 0 | 0 | 2336.2162 | 131.5427 | 54.2708 | 494.7028 | 596.297 | 0.918 | 312.4979 | 13.2982 | 91.0415 | 135.4106 | 497.8731 | 8.3636 | 62.6344 | 363.065 | 366.7687
Anderson School | 1766.0581 | 0 | 148985.2176 | 0 | -580.9943 | 0 | 63541.0284 | 0 | -474147.3443 | 0 | 840481.664 | 0 | -247360.4835 | 0 | 840482.2688 | 0 | 348289.3366 | 0 | -235049.739 | 0 | 7787.9319 | 0 | 368153.7222 | 0 | 147.323 | 0 | 12206.7501 | 0 | 340571.329 | 0 | -178265.5492 | 0 | -4221.0957 | 0 | 167420.0652 | 0 | -470242.4751 | 0 | 840482.262 | 0 | 144895.7474 | 0 | 0 | 0 | 13 | 0.58103 | 1026.1246 | 0 | 83109.9138 | 0 | -337.5724 | 0 | 35445.7273 | 0 | -275491.6486 | 0 | 468854.2914 | 0 | -143722.7229 | 0 | 468854.6288 | 0 | 202364.9498 | 0 | -131120.1464 | 0 | 4524.9862 | 0 | 205370.8724 | 0 | 85.5984 | 0 | 6809.4135 | 0 | 197880.5913 | 0 | -99443.654 | 0 | -2452.5638 | 0 | 93393.6092 | 0 | -273222.8204 | 0 | 468854.625 | 0 | 17646.2743 | 0 | 0 | 0 | 602.5654 | 38.1634 | 15.9248 | 87.7077 | 147.4772 | 32.3161 | 95.2071 | 3.1275 | 44.6502 | 41.2501 | 88.737 | 8.0042 | 8.0042 | 81.9645 | 111.1319
Cantwell School | 880.3274 | 0 | 74264.6963 | 0 | -289.6084 | 0 | 31673.3113 | 0 | -236348.3376 | 0 | 418955.092 | 0 | -123301.8382 | 0 | 418955.3934 | 0 | 141593.2696 | 0 | -95833.942 | 0 | 3882.0523 | 0 | 183513.6722 | 0 | 73.4362 | 0 | 6084.7016 | 0 | 169764.6702 | 0 | -88860.07 | 0 | -2104.0905 | 0 | 83453.9192 | 0 | -234401.8767 | 0 | 418955.3901 | 0 | 57632.6612 | 0 | 0 | 0 | 29 | 0.58103 | 511.4926 | 0 | 41427.8182 | 0 | -168.2698 | 0 | 17668.64 | 0 | -137324.3866 | 0 | 233709.9085 | 0 | -71641.4994 | 0 | 233710.0767 | 0 | 82269.2856 | 0 | -53460.0062 | 0 | 2255.571 | 0 | 102371.2669 | 0 | 42.6683 | 0 | 3394.29 | 0 | 98637.5849 | 0 | -49569.7015 | 0 | -1222.53 | 0 | 46553.9343 | 0 | -136193.4434 | 0 | 233710.0748 | 0 | 17738.1561 | 0 | 0 | 0 | 301.376 | 19.0233 | 7.938 | 43.7197 | 73.513 | 13.0677 | 47.4579 | 1.559 | 22.2568 | 20.562 | 44.2328 | 8.0459 | 95.6794 |  | 55.3959