## 2025-2030
City of Grand Rapids CPRG Implementation Grant GHG Calculations for Butterworth Solar
Measure 1 - 2MW Primary Circuit |  |  |  | Measure 2 - 5MW Community Solar |  |  | Measure 3 - 8MW Vicinity eSteam |  |  |  | All Measures
| MWh | MTCO2e |  |  | MWh | MTCO2e |  | MWh | Nat Gas Elim. | MTCO2e |  | MWh | MTCO2e
2025 |  |  |  | 2025 |  |  | 2025 |  |  |  | 2025
2026 |  |  |  | 2026 |  |  | 2026 |  |  |  | 2026
2027 | 3520 | 1752.8544 |  | 2027 |  |  | 2027 | 7040 | 25933.7676 | 1377.0831 | 2027 | 10560 | 3129.9375
2028 | 3498.88 | 1742.3373 |  | 2028 | 8800 | 4382.136 | 2028 | 14080 | 51867.5352 | 2754.1661 | 2028 | 26378.88 | 8878.6394
2029 | 3477.8867 | 1731.8832 |  | 2029 | 8747.2 | 4355.8432 | 2029 | 13995.52 | 51556.33 | 2737.6411 | 2029 | 26220.6067 | 8825.3676
2030 | 3457.0194 | 1721.492 |  | 2030 | 8694.7168 | 4329.7081 | 2030 | 13911.5469 | 51246.992 | 2721.2153 | 2030 | 26063.2831 | 8772.4154
Total | 13953.7861 | 6948.5669 |  | Total | 26241.9168 | 13067.6873 | Total | 49027.0669 | 180604.6248 | 9590.1056 | Total | 89222.7698 | 29606.3598 | MWhr Input | 14080
[14 empty] | eBoiler Efficiency | 0.99
[14 empty] | MWhr Output | 13939.2
MTCO2e/MWh for electric generation | [10 empty] | Total Cost |  | 44194118 | BTU-MWhr Conversion | 3412142
0.49797 | [10 empty] | $/MTCO2e |  | 1492.7238 | BTU Output | 47562529766.4
Michigan Electricity Profile 2022 - U.S. Energy Information Administration (EIA) | [13 empty] | BTU/MMBTU Conversion | 1000000
[14 empty] | MMBTU Output | 47562.5298
Emissions factor for natural gas consumption | [13 empty] | BTU/lb (steam) | 1195
0.0531 | MTCO2e/MMBTU | [12 empty] | lbs (steam) Output | 39801280.1392 | (2022 Average)
Natural gas and the environment - U.S. Energy Information Administration (EIA) | [13 empty] | Current Boiler annual average efficiency | 0.917
[14 empty] | MMBTU Input (Natural Gas) | 51867.5352
Estimated GWh/MW for PC based on average of 7 RFI/RFQ responses
Average GWh/MW = 1.76
1.76 | 2 | 3.52 | GWh for 2 MW array
Use same assumptions for 5MW community solar
1.76 | 5 | 8.8 | GWh for 5 MW array
Use same assumptions for 8MW Vicinity eSteam
1.76 | 8 | 14.08 | GWh for 58MW array
NREL solar panel degredation is < 1% per year; using 0.6%
0.6%
https://www.nrel.gov/pv/real-time-photovoltaic-solar-resource-testing.html

## 2025-2050
City of Grand Rapids CPRG Implementation Grant GHG Calculations for Butterworth Solar
Measure 1 - 2MW Primary Circuit |  |  |  | Measure 2 - 5MW Community Solar |  |  | Measure 3 - 8MW Vicinity eSteam |  |  |  | All Measures
| MWh | MTCO2e |  |  | MWh | MTCO2e |  | MWh | Nat Gas Elim. | MTCO2e |  | MWh | MTCO2e
2025 |  |  |  | 2025 |  |  | 2025 |  |  |  | 2025
2026 |  |  |  | 2026 |  |  | 2026 |  |  |  | 2026
2027 | 3520 | 1752.8544 |  | 2027 |  |  | 2027 | 7040 | 25933.7676 | 1377.0831 | 2027 | 10560 | 3129.9375
2028 | 3498.88 | 1742.3373 |  | 2028 | 8800 | 4382.136 | 2028 | 14080 | 51867.5352 | 2754.1661 | 2028 | 26378.88 | 8878.6394
2029 | 3477.8867 | 1731.8832 |  | 2029 | 8747.2 | 4355.8432 | 2029 | 13995.52 | 51556.33 | 2737.6411 | 2029 | 26220.6067 | 8825.3676
2030 | 3457.0194 | 1721.492 |  | 2030 | 8694.7168 | 4329.7081 | 2030 | 13911.5469 | 51246.992 | 2721.2153 | 2030 | 26063.2831 | 8772.4154
2031 | 3436.2773 | 1711.163 |  | 2031 | 8642.5485 | 4303.7299 | 2031 | 13828.0776 | 50939.51 | 2704.888 | 2031 | 25906.9034 | 8719.7809 | MWhr Input | 14080
2032 | 3415.6596 | 1700.896 |  | 2032 | 8590.6932 | 4277.9075 | 2032 | 13745.1091 | 50633.873 | 2688.6587 | 2032 | 25751.462 | 8667.4622 | eBoiler Efficiency | 0.99
2033 | 3395.1657 | 1690.6906 |  | 2033 | 8539.149 | 4252.2401 | 2033 | 13662.6385 | 50330.0697 | 2672.5267 | 2033 | 25596.9532 | 8615.4574 | MWhr Output | 13939.2
2034 | 3374.7947 | 1680.5465 |  | 2034 | 8487.9142 | 4226.7266 | 2034 | 13580.6626 | 50028.0893 | 2656.4915 | 2034 | 25443.3715 | 8563.7647 | BTU-MWhr Conversion | 3412142
2035 | 3354.5459 | 1670.4632 |  | 2035 | 8436.9867 | 4201.3663 | 2035 | 13499.1787 | 49727.9208 | 2640.5526 | 2035 | 25290.7112 | 8512.3821 | BTU Output | 47562529766.4
2036 | 3334.4186 | 1660.4404 |  | 2036 | 8386.3647 | 4176.1581 | 2036 | 13418.1836 | 49429.5533 | 2624.7093 | 2036 | 25138.967 | 8461.3078 | BTU/MMBTU Conversion | 1000000
2037 | 3314.4121 | 1650.4778 |  | 2037 | 8336.0466 | 4151.1011 | 2037 | 13337.6745 | 49132.9759 | 2608.961 | 2037 | 24988.1332 | 8410.5399 | MMBTU Output | 47562.5298
2038 | 3294.5256 | 1640.5749 |  | 2038 | 8286.0303 | 4126.1945 | 2038 | 13257.6485 | 48838.1781 | 2593.3073 | 2038 | 24838.2044 | 8360.0767 | BTU/lb (steam) | 1195
2039 | 3274.7585 | 1630.7315 |  | 2039 | 8236.3141 | 4101.4373 | 2039 | 13178.1026 | 48545.149 | 2577.7474 | 2039 | 24689.1751 | 8309.9162 | lbs (steam) Output | 39801280.1392 | (2022 Average)
2040 | 3255.1099 | 1620.9471 |  | 2040 | 8186.8962 | 4076.8287 | 2040 | 13099.0339 | 48253.8781 | 2562.2809 | 2040 | 24541.0401 | 8260.0567 | Current Boiler annual average efficiency | 0.917
2041 | 3235.5793 | 1611.2214 |  | 2041 | 8137.7748 | 4052.3677 | 2041 | 13020.4397 | 47964.3549 | 2546.9072 | 2041 | 24393.7939 | 8210.4964 | MMBTU Input (Natural Gas) | 51867.5352
2042 | 3216.1658 | 1601.5541 |  | 2042 | 8088.9482 | 4028.0535 | 2042 | 12942.3171 | 47676.5687 | 2531.6258 | 2042 | 24247.4311 | 8161.2334
2043 | 3196.8688 | 1591.9448 |  | 2043 | 8040.4145 | 4003.8852 | 2043 | 12864.6632 | 47390.5093 | 2516.436 | 2043 | 24101.9465 | 8112.266
2044 | 3177.6876 | 1582.3931 |  | 2044 | 7992.172 | 3979.8619 | 2044 | 12787.4752 | 47106.1663 | 2501.3374 | 2044 | 23957.3348 | 8063.5924
2045 | 3158.6215 | 1572.8987 |  | 2045 | 7944.219 | 3955.9827 | 2045 | 12710.7504 | 46823.5293 | 2486.3294 | 2045 | 23813.5908 | 8015.2109
2046 | 3139.6697 | 1563.4613 |  | 2046 | 7896.5537 | 3932.2468 | 2046 | 12634.4859 | 46542.5881 | 2471.4114 | 2046 | 23670.7093 | 7967.1196
2047 | 3120.8317 | 1554.0806 |  | 2047 | 7849.1743 | 3908.6533 | 2047 | 12558.679 | 46263.3326 | 2456.583 | 2047 | 23528.685 | 7919.3169
2048 | 3102.1067 | 1544.7561 |  | 2048 | 7802.0793 | 3885.2014 | 2048 | 12483.3269 | 45985.7526 | 2441.8435 | 2048 | 23387.5129 | 7871.801
2049 | 3083.4941 | 1535.4876 |  | 2049 | 7755.2668 | 3861.8902 | 2049 | 12408.4269 | 45709.838 | 2427.1924 | 2049 | 23247.1878 | 7824.5702
2050 | 3064.9931 | 1526.2746 |  | 2050 | 7708.7352 | 3838.7189 | 2050 | 12333.9764 | 45435.579 | 2412.6292 | 2050 | 23107.7047 | 7777.6228
Total | 78899.4724 | 39289.5703 |  | Total | 189586.1982 | 94408.2391 | Total | 310377.9171 | 1143362.0408 | 60712.5244 | Total | 578863.5876 | 194410.3337
MTCO2e/MWh for electric generation
0.49797
Michigan Electricity Profile 2022 - U.S. Energy Information Administration (EIA)
Emissions factor for natural gas consumption
0.0531 | MTCO2e/MMBTU
Natural gas and the environment - U.S. Energy Information Administration (EIA)
Estimated GWh/MW for PC based on average of 7 RFI/RFQ responses
Average GWh/MW = 1.76
1.76 | 2 | 3.52 | GWh for 2 MW array
Use same assumptions for 5MW community solar
1.76 | 5 | 8.8 | GWh for 5 MW array
Use same assumptions for 8MW Vicinity eSteam
1.76 | 8 | 14.08 | GWh for 58MW array
NREL solar panel degredation is < 1% per year; using 0.6%
0.6%
https://www.nrel.gov/pv/real-time-photovoltaic-solar-resource-testing.html