## Final Project Calcs
PROJECT OWNER | MEASURE # | Project ID # | PROJECT | MEASURES | [38 empty] | TOTAL GHGs SAVED (METRIC TONS CO2e) |  |  |  |  | COST:BENEFIT
|  |  |  | Solar PV | [5 empty] | EV Charging |  | Existing Building Renovation | [12 empty] | New Construction | [6 empty] | Programs | [18 empty] | CPRG Dollars Invested per MTCO2e Saved
[7 empty] | Pounds CO2e Saved (Generation Savings) |  |  | Pounds CO2e Saved (Generation Savings) |  | Electricity |  |  | Gas |  |  | Fuel Oil |  |  | Propane | Pounds CO2e Saved | [6 empty] | Pounds CO2e Saved |  |  | Electricity Savings |  | Gas Savings |  | Fuel Oil Savings |  | Refrigerant CO2e Savings (lbs) |  | Total Pounds CO2e Saved |  |  | Project On-Line Date | Total Project |  | GHG Savings Funded by CPRG |  | Funded Measures Total Project Cost | CPRG Grant Amount | % Funded | CPRG Funding Requested/MTCO2e Savings from CPRG Funding 2025-2030 | CPRG Funding Requested/MTCO2e Savings from CPRG Funding 2025-2050 | CPRG Funding Requested/MTCO2e Savings from Total Measure 2025-2030 | CPRG Funding Requested/MTCO2e Savings from Total Measure 2025-2050
|  |  |  | kW/DC | kWh Annual Output (Savings) | Total Annual kWh Savings Including Line Losses | Annually | 2025-2030, with .05% Annual Degradation | 2025-2050, with .05% Annual Degradation | 2025-2030 | 2025-2050 | Baseline Annual kWh (electricity) | Post-Renovation Annual kWh | Annual kWh Savings Including Line Losses | Baseline Annual ccf (gas) | Post-Renovation Annual ccf | Annual ccf Savings | Baseline Annual Gallons (fuel oil) | Post-Renovation Annual Gallons | Annual Savings (gallons) | Annual Savings (gallons) | Annually | 2025-2030 | 2025-2050 | Annual Electricity Consumption Baseline (code-compliant) per Unit (kWh) | Annual Electricity Consumption Proposed per Unit (kWh) | kWh Annual Savings | kWh Annual Savings with Line Losses | Annually | 2025-2030 | 2025-2050 | kWh Saved Annually - electricity with line losses | CO2e Savings (lbs) | ccf Saved Annually - gas | CO2e Savings (lbs) | Gallons Saved Annually - fuel oil | CO2e Savings (lbs) | 2025-2030 | 2025-2050 | Annually | 2025-2030 | 2025-2050 |  | 2025-2030 | 2025-2050 | 2025-2030 | 2025-2050
City of Philadelphia | 1 | 23 | (ID #23) The City of Philadelphia will upgrade 100 Electric Vehicle Charging Stations to power its municipal fleet. | [6 empty] | 3781462.7925 | 7168338.1632 | [31 empty] | 2025 | 1715.2337 | 3251.4865 | 1200.6635 | 2276.0404 | 6671169 | 4669818 | 70% | 3889.3644 | 2051.729 | 2722.5549 | 1436.2102
William Penn School District | 1 | 14 | (ID #14) William Penn School District will install a 777 kW solar farm and solar-ready roofing at Park Lane Elementary School. | 777.2 | 969000 | 1001646.3953 | 661323.0094 | 3918668.2548 | 16161525.2225 | [33 empty] | 2025 | 1777.4687 | 7330.7062 | 1244.2283 | 5131.4953 | 1521234 | 1064864 | 70% | 855.8429 | 207.5153 | 599.0901 | 145.2608
Philadelphia Northeast Airport | 1 | 28 | (ID #28) Philadelphia Northeast Airport will install a 2.01 MW on-site solar power array over its parking lot to serve all of the airport’s electricity needs | 2012 | 3453000 | 3569334.3683 | 2356603.046 | 7034519.0073 | 51322546.1653 | [33 empty] | 2028 | 3190.7875 | 23279.3937 | 1117.8268 | 8155.4568 | 8392101 | 2940000 | 35.03% | 2630.1034 | 360.4948 | 921.4026 | 126.2919
Bucks County | 1 | 1 | (ID #1) Bucks County will install a 485 kW solar array to generate and provide clean energy to its Government Building and four new Level 2 EV chargers. | 485.1 | 646509 | 668290.4121 | 441229.3885 | 2614503.9162 | 10782839.5357 | [33 empty] | 2025 | 1185.9128 | 4890.9882 | 423.8095 | 1747.8919 | 998965 | 357000 | 35.74% | 842.3596 | 204.246 | 301.0339 | 72.9914
Haverford Township | 1 | 12 | (ID #12) Haverford Township will install a 48 kW solar array to generate and provide clean energy to the Haverford Township Free Library. | 48.195 | 54269 | 56097.3666 | 37037.5009 | 219465.6424 | 905128.8053 | [33 empty] | 2025 | 99.5474 | 410.5574 | 34.8418 | 143.6958 | 173502 | 60726 | 35% | 1742.908 | 422.6011 | 610.0208 | 147.9111
Haverford Township | 1 | 13 | (ID #13) Haverford Township will install a 85 kW solar canopy over the Police Department parking lot to generate and provide clean energy to the Haverford Township Police Department. | 85 | 110000 | 113705.9891 | 75072.7874 | 371629.0192 | 1768410.9333 | [33 empty] | 2026 | 168.5672 | 802.1335 | 58.9985 | 280.7467 | 1200000 | 420000 | 35% | 7118.8224 | 1496.0103 | 2491.5878 | 523.6036
Borough of West Chester | 1 | 7 | (ID #7) West Chester Borough will install 16 Level 2 EV charging plugs, powered by a 68 kW charging canopy, to power the Borough's municipal fleet and public users. | 68 | 73000 | 75459.4292 | 49821.0317 | 295214.4299 | 1217534.9239 | 701053.9542 | 1922732.9399 | [31 empty] | 2025 | 451.8974 | 1424.3941 | 158.1642 | 498.5383 | 598371 | 209430 | 35% | 1324.1303 | 420.0881 | 463.4459 | 147.0309
West Chester University | 1 | 4 | (ID #4) West Chester University will install of a new geothermal system and well field to provide heating and cooling for the new 175,000 square foot Sturzebecker Health Science Center | [10 empty] | -158713.9207 |  |  | 82808.552 |  |  |  |  | 993695.5529 | 2981086.6586 | 24842388.8219 | [18 empty] | 2026 | 1352.1911 | 11268.2591 | 585.7263 | 4881.0528 | 4040000 | 1750000 | 43.32% | 2987.7434 | 358.5292 | 1294.1958 | 155.3035
West Goshen Township | 1 | 5 | (ID #5) West Goshen Township will install a 267 kW solar array to generate and provide clean energy to the West Goshen Township Public Works Building. | 267 | 321058 | 331874.7042 | 219115.6272 | 1084676.9968 | 5161477.0676 | [34 empty] | 491.9986 | 2341.1944 | 307.4356 | 1462.9442 | 271096 | 169400 | 62.49% | 551.0097 | 115.7939 | 344.3099 | 72.3562
Merion Fire Company of Ardmore | 1 | 19 | (ID #19) The Merion Fire Company of Ardmore will install a 48kW solar array on the roof of its Ardmore Firehouse to generate and provide clean energy. | 47.6 | 60000 | 62021.4486 | 40948.7932 | 242641.9972 | 1000713.6361 | [33 empty] | 2025 | 110.06 | 453.9137 | 38.5207 | 158.8686 | 117578 | 41152 | 35% | 1068.3084 | 259.0316 | 373.9052 | 90.6604
Bucks County | 1 | 2 | (ID #2) Bucks County will install a 102 kW solar array to generate and provide clean energy to its Fire Safety and Training Facility. | 102.08 | 127600 | 131898.9474 | 87084.4334 | 516018.6474 | 2128184.3327 | [33 empty] | 2025 | 234.0609 | 965.3231 | 163.8426 | 675.7262 | 300000 | 210000 | 70% | 1281.7177 | 310.7768 | 897.2024 | 217.5437
West Vincent Township | 1 | 6 | (ID #6) West Vincent Township will upgrade HVAC and install a 65 kW solar array and battery backup at its Public Works Building and its Opalanie Park maintenance facility. | 65.2 | 82100 | 84866.0155 | 56031.5986 | 332015.1328 | 1369309.8254 |  |  |  |  | 27155.0576 | [5 empty] | 1000 | 1500 | 61877.9222 | 309389.6111 | 1546948.0554 | [18 empty] | 2025 | 290.9348 | 1322.7854 | 101.8272 | 462.9749 | 244280 | 85498 | 35% | 839.6384 | 184.6709 | 293.8734 | 64.6348
Radnor Township | 1 | 15 | (ID #15) Radnor Township will install a 140 kW rooftop solar array, upgrade HVAC systems, and install LED lighting at its Municipal Building. | 140 | 157710 | 163023.3777 | 107633.9028 | 321289.8907 | 2344071.4613 |  |  |  |  | 352467.8925 |  |  | 4257 |  |  |  |  | 287591.0811 | 1256984.0621 | 7008805.6844 | [18 empty] | 2025-2028 | 715.8893 | 4242.3715 | 338.3417 | 2005.0187 | 1539300 | 727500 | 47.26% | 2150.1928 | 362.8395 | 1016.2186 | 171.4843
Radnor Township | 1 | 16 | (ID #16) Radnor Township will install a 185 kW rooftop solar array, upgrade HVAC systems, and install LED lighting at its Public Works Building. | 185 | 233614 | 241484.645 | 159436.8561 | 475923.0013 | 3472245.96 |  |  |  |  | -118579 |  |  | 957.24 |  |  |  |  | -68229.6609 | -250565.3798 | -1615158.5973 | [18 empty] | 2026-2027 | 102.22 | 842.3563 | 56.0042 | 461.5094 | 496500 | 272022 | 54.79% | 4857.1725 | 589.4181 | 2661.1436 | 322.9299
Radnor Township | 1 | 17 | (ID #17) Radnor Township will install rooftop electrified heat pumps and LED lighting at the Radnor Activity Center. | [9 empty] | -7800.2309 | -8063.027 |  |  | 6104 |  |  |  |  | 71961.4703 | 305296.8919 | 1439229.4063 | [18 empty] | 2026-2027 | 138.4796 | 652.8201 | 69.2398 | 326.41 | 116100 | 58050 | 50% | 838.3905 | 177.8438 | 419.1953 | 88.9219
Philadelphia Water Department (PWD) | 1 | 26 | (ID #26) The Philadelphia Water Department will upgrade and expand its solar array to 1,219 kW at its Southeast Water Pollution Control Plant. | 1219 | 1650000 | 1705589.8371 | 1126091.8117 | 3361412.2103 | 24524240.1311 | [33 empty] | 2028 | 1524.703 | 11123.9501 | 1067.2921 | 7786.7651 | 2500000 | 1750000 | 70% | 1639.6636 | 224.7403 | 1147.7645 | 157.3182
School District of Philadelphia (SDP) | 1 | 22 | (ID #22) School District of Philadelphia will modernize twenty schools, providing a total of 3.39 MW of on-site solar PV for 9 schools, lighting and HVAC electrification/modernization in 3 schools, and LED upgrades in 8 schools. | 3395 | 3940564 | 4073324.7945 | 2689355.669 | 10677010.6055 | 63350331.465 |  |  |  |  | 1412200.4755 |  |  | 754.1302 |  |  | 44261 |  | 2042733.7155 | 6128201.1466 | 46982875.457 | [18 empty] | 2028 | 7622.676 | 50046.0393 | 5323.2137 | 34949.1123 | 57278753 | 40000000 | 69.83% | 7514.2579 | 1144.5212 | 5247.501 | 799.264
Lower Merion Township | 1 | 18 | (ID #18) Lower Merion Township will replace the roofs and install a total of 1.32 MW of solar at the Ludington Library, Penn Wynne, Ardmore Avenue Community Center, the Bala Cynwyd Library, the Ardmore Book Processing Center, the Township Administration Building and the Public Safety Building, and the Bala Gym. | 1275.76 | 1617280 | 1671767.4738 | 1103761.0698 | 5407653.7133 | 25949268.2761 | [33 empty] | 2025-2027 | 2452.8576 | 11770.3286 | 1264.6898 | 6068.7639 | 5103050 | 2631125 | 51.56% | 2080.4509 | 433.552 | 1072.6774 | 223.5388
Chester County | 1 | 3 | (ID #3) Chester County will develop and construct an all electric bus depot for the county's community transit service, which will include a 627 kW solar array combined with 30 kW of battery storage to support future bus electrification. | 627 | 828316 | 856222.6373 | 565309.0092 | 1687461.5251 | 12311406.3566 | [15 empty] | -215051 |  | 0 | -222296.2425 | -146767.9819 | -440303.9458 | -3375663.5846 | [11 empty] | 2028 | 698.8432 | 4053.1636 | 568.8872 | 3299.4425 | 3041600 | 2475988 | 81.4% | 4352.3355 | 750.4262 | 3542.9808 | 610.8779
City of Philadelphia | 1 | 24 | (ID #24) The City of Philadelphia will extend its energy efficiency work at 8 city Health Centers to add 882 kW of onsite solar power. | 882 | 1152482.94 | 1191311.0242 | 786546.4254 | 2347860.7434 | 17129556.5864 | [33 empty] | 2028 | 1064.9662 | 7769.7956 | 745.4763 | 5438.8571 | 15812088 | 11068462 | 70% | 14847.5028 | 2035.0713 | 10393.2524 | 1424.55
Delaware County | 1 | 10 | (ID #10) Delaware County will install submeters on its George W. Hill Correctional Facility campus, and will install LED lighting in the prison building and guard booth. | [10 empty] | 920231.8733 | [7 empty] | 607570.2111 | 1822710.6334 | 13974114.856 | [18 empty] | 2028 | 826.7633 | 6338.5188 | 398.7999 | 3057.4655 | 2378805 | 1147447 | 48.24% | 2877.2503 | 375.2935 | 1387.8785 | 181.0276
Delaware County | 1 | 9 | (ID #9) Delaware County will perform LED lighting retrofits and sumbetering at its Fair Acres Geriatric Facility and campus. I | [10 empty] | 56041.5473 | [7 empty] | 37000.647 | 111001.941 | 851014.8813 | [18 empty] | 2028 | 50.3494 | 386.0118 | 27.3402 | 209.6084 | 988138 | 536569 | 54.3% | 19625.6277 | 2559.8645 | 10656.9158 | 1390.0325
Upper Dublin Township | 1 | 20 | (ID #20) Upper Dublin Township will turn its Civic and Public Services Facility into a net-zero building, with on-site solar production, geothermal energy, and an energy efficient envelope |  | 660821 | 683084.595 | 450997.0407 | 2672382.1206 | 11021543.095 | [16 empty] | -657377 |  | -679524.5639 | -448646.5799 | -2243232.8997 | -11216164.4986 | [11 empty] | 2025 | 194.6578 | -88.2783 | 49.5103 | -22.4532 | 8531700 | 2170000 | 25.43% | 43829.2235 | -96645.4704 | 11147.7683 | -24581.3461
Philadelphia Authority for Industrial Development (PAID) | 1 | 29 | (ID #29) PAID will procure 3-4 electric buses, install two electric bus charging stations, and upgrade power infrastructure at the Philadelphia Navy Yard. | [6 empty] | 1389215.6196 | 15281371.816 | [31 empty] | 2028 | 630.1343 | 6931.4774 | 315.0672 | 3465.7387 | 8500000 | 4250000 | 50% | 13489.1877 | 1226.2898 | 6744.5938 | 613.1449
Philadelphia Water Department (PWD) | 1 | 27 | (ID #27) PWD will install an automated biogas utilization valve to send 12,630 metric tons of biogas annually to the Biolsolids Recycling Center onsite at the Water Department's Southwest Water Pollution Control Plant, in order to utilize biogas and reduce flaring and reliance on natural gas. | [28 empty] | -67378 | -45984.1298 | 1069200 | 14183309.2744 |  |  |  |  | 14137325.1446 | 42411975.4339 | 353433128.6155 | 2028 | 19237.6479 | 160313.7328 | 19237.6479 | 160313.7328 | 350000 | 350000 | 100% | 18.1935 | 2.1832 | 18.1935 | 2.1832
Delaware Valley Regional Planning Commission (DVRPC) | 1 | 21 | (ID #21) The Delaware Valley Regional Planning Commission will hire a Shared Energy Manager to provide energy management services to municipalities in southeast PA who do not have the technical expertise or staff bandwidth to manage municipal energy usage. | [39 empty] | 2025 | 2423.95 | 12119.73 | 1939.16 | 9695.784 | 2635000 | 2108000 | 80% | 1087.0686 | 217.4141 | 869.6549 | 173.9313
Philadelphia Authority for Industrial Development (PAID) | 1 | 30 | (ID #30) PAID will install LED pedestrian streetlights at the Philadelphia Navy Yard. | [28 empty] | 827270 | 855141.3967 | [6 empty] | 564595.1352 | 1129190.2704 | 12421092.9743 | 2028 | 512.1894 | 5634.0836 | 512.1894 | 5634.0836 | 1400000 | 1400000 | 100% | 2733.3638 | 248.4876 | 2733.3638 | 248.4876
Delaware County | 1 | 11 | (ID #11) Delaware County will install 12 dual-port Level II electric vehicle chargers at its Fair Acres Campus to serve the county fleet. | [6 empty] | 1397160.4243 | 4983205.5132 |  |  | 56041.5473 | [28 empty] | 2028 | 633.738 | 2260.3322 | 316.869 | 1130.1661 | 330016 | 165008 | 50% | 520.7452 | 146.0033 | 260.3726 | 73.0017
Delaware County | 1 | 8 | (ID #8) Delaware County will plan, design, and construct a commercial-grade composting facility that will utilize processes to improve air quality. | [37 empty] | 22478376.326 | 494524279.1714 | 2029 | 10195.9667 | 224311.2678 | 8156.2671 | 179437.8766 | 6948275 | 5558275 | 80% | 681.4729 | 30.976 | 545.1445 | 24.7793
City of Philadelphia | 1 | 25 | (ID #25) The City of Philadelphia will undertake renovations to double processing capacity at its Fairmount Park Organic Recycling Center and Compost Site, which process park organics waste and supplies compost to residents. | [36 empty] | 763571.0444 | 1527142.0889 | 16798562.9776 | 2028 | 692.6964 | 7619.6602 | 346.3482 | 3809.8301 | 5545938 | 2772969 | 50% | 8006.3043 | 727.8458 | 4003.1521 | 363.9229
Brandywine Realty Trust | 2 | 32 | (ID #32) Brandywine Realty Trust will complete the adaptive reuse and converstion of an existing 13-story tower from commercial office use to 170 residential energy efficient multifamily units. | [8 empty] | 812543 | 1188897 | -389033.6713 | 72283.7707 | 0 | 72283.7707 |  |  |  |  | 702015.2829 | 2106045.8487 | 16146351.5065 | [18 empty] | 2028 | 955.2813 | 7323.8236 | 318.4271 | 2441.2745 | 7500000 | 2500000 | 33.33% | 7851.0903 | 1024.0553 | 2617.0301 | 341.3518
Camphill Village Kimberton Hills | 2 | 31 | (ID #31) Camphill Village Kimberton Hills is a life-sharing community for adults with intellectual disabilities, will undertake a comprehensive clean energy transition, including installation of 284 kW of solar paired with 1.5 MW of battery storage | 284 | 364557 | 376839.2208 | 248802.8198 | 1244014.0988 | 31100352.4699 |  |  |  |  | -204548.8049 | [5 empty] | 20503 | 14358 | -135050.4848 | -405151.4543 | -3106161.1499 | [18 empty] | 2026-solar 2028-EE | 380.4997 | 12697.8852 | 288.0066 | 9611.241 | 2400000 | 1816600 | 75.69% | 6307.495 | 189.0079 | 4774.2481 | 143.0632
Philadelphia Gas Works (PGW) | 2 | 42 | (ID #42) PGW will use grant funds to expand the Enhanced LIME (Low Income Multifamily Efficiency) program, to fund energy saving measures in low-income residences that wouldn’t otherwise be installed. It will treat 6 multifamily buildings annually over the first three years of the grant. | [19 empty] | 0 | 0 | [7 empty] | 116060.7368 | 76627.4766 | 25422.7405 | 337241.481 |  |  |  |  | 413868.9576 | 3724820.6185 | 14899282.4739 | 2025 | 1689.5414 | 6758.1655 | 1402.3193 | 5609.2774 | 500000 | 415000 | 83% | 295.9383 | 73.9846 | 245.6288 | 61.4072
Centennial Parkside Community Development Corporation (CPCDC) | 2 | 33 | (ID #33) Centennial Parkside Community Development Corporation will work with partners to provide energy efficiency upgrades to 10-50 existing building in West Philadelphia, as an extension of its award winning Buildings Upgrade Prize concept. | [9 empty] | 2501 | 2585.2607 | [7 empty] | 1706.8822 | 85344.1097 | 1280161.646 | [18 empty] | 2025 | 38.7112 | 580.6685 | 8.0586 | 120.8796 | 5200000 | 1082500 | 20.82% | 134327.9292 | 8955.1953 | 27963.4583 | 1864.2306
Habitat for Humanity Philadelphia | 2 | 36 | (ID #36) Habitat for Humanity Philadelphia will construct up to 26 new affordable homeownership units for low- to median-income households, all of which will be EnergyStar certified and will include 125 kW of solar to reduce utility bills. | 124.8 | 156000 | 161255.7664 | 106466.8622 | 422684.0763 | 2413529.0156 | [15 empty] | 17479 | 6899 | 10580 | 10936.4488 | 187736.567 | 750946.268 | 4505677.6082 | [11 empty] | 2027 | 532.347 | 3138.4829 | 274.9726 | 1621.1172 | 1210000 | 625000 | 51.65% | 2272.9536 | 385.5366 | 1174.0463 | 199.1408
Deep Sea-GP, LLC. | 2 | 34 | (ID #34) Deep Sea-GP, LLC. will transform an existing 9-story building into Beacon of Hope, a mixed use energy efficient development project that will provide 30 units of veteran housing and support services to Kensington residents. | [8 empty] | 438707 | 218118 | 228020.8222 | [7 empty] | 150547.5555 | 602190.2222 | 3613141.3331 | [18 empty] | 2026 | 273.1475 | 1638.8848 | 144.9415 | 869.6492 | 8574636 | 4550000 | 53.06% | 31391.9665 | 5231.9944 | 16657.6689 | 2776.2782
Pennrose | 2 | 38 | (ID #38) Pennrose will Construct a 65-unit 100% affordable scattered-site development in Strawberry Mansion to support low-income families. The Energy Star certified site will include LED lighting, high efficiency HVAC and weatherization. | [10 empty] | 97088.3757 | [7 empty] | 64101.2408 | 320506.204 | 1602531.0201 | [18 empty] | 2026 | 145.3784 | 726.892 | 76.6758 | 383.3791 | 3792027.6 | 2000000 | 52.74% | 26083.843 | 5216.7686 | 13757.201 | 2751.4402
Pennrose | 2 | 39 | (ID #39) Pennrose will complete energy and infrastructure upgrades at Neumann North, a public housing apartment complex serving low-income seniors in Fishtown. | [10 empty] | 228435.3322 |  |  | 505.345 |  |  |  |  | 157524.8068 | 787624.0341 | 3938120.1705 | [18 empty] | 2026 | 357.2584 | 1786.2919 | 200.9852 | 1004.926 | 3555071.55 | 2000000 | 56.26% | 9950.9814 | 1990.1963 | 5598.1891 | 1119.6378
Pennrose | 2 | 40 | (ID #40) Pennrose will construct Bartram Village Phase I, providing 64 energy efficient units to low-income residents of Kingsessing. Bartram I will meet Enterprise Green Communities and Net Zero Ready Standards. | [10 empty] | 104483.3997 | [7 empty] | 68983.7019 | 275934.8076 | 1655608.8457 | [18 empty] | 2027 | 125.1613 | 750.9676 | 45.3485 | 272.0908 | 5519977.65 | 2000000 | 36.23% | 44102.9216 | 7350.4869 | 15979.3841 | 2663.2307
Pennrose | 2 | 41 | (ID #41) Pennrose will construct Bartram Village Phase II, providing 90 energy efficient units and a community center to low-income residents of Kingsessing. Bartram II will meet Enterprise Green Communities and Net Zero Ready Standards. | [10 empty] | 169751.6712 | [7 empty] | 112076.1644 | 336228.4931 | 2577751.7808 | [18 empty] | 2028 | 152.5099 | 1169.2424 | 56.2802 | 431.4815 | 10839329.4 | 4000000 | 36.9% | 71072.9642 | 9270.3866 | 26227.8086 | 3421.0185
YouthBuild Philadelphia Charter School | 2 | 46 | (ID #46) YouthBuild Philadelphia Charter School will transform a vacant property into a transitional housing facility for the House of WIN (Women in Transition). YouthBuild students will receive hands-on experience in energy efficient rehabilitation processes. | [10 empty] | 1613.5914 | [7 empty] | 1065.3511 | 3196.0533 | 24503.0753 | [18 empty] | 2028 | 1.4497 | 11.1143 | 1.4497 | 11.1143 | 250000 | 250000 | 100% | 172449.7318 | 22493.4433 | 172449.7318 | 22493.4433
Energy Coordinating Agency (ECA) | 2 | 35 | (ID #35) Energy Coordinating Agency will pilot a Heating Oil to Heat Pump Conversion program for approximately 600 single-family homes within low-income and disadvantaged communities (LIDAC) in the City of Philadelphia. | [29 empty] | 0 |  |  |  | 0 |  |  | 0 | 14203455.8125 | 355086395.3129 | 2025 | 6442.5455 | 161063.638 | 4560.0127 | 114000.3171 | 14128350 | 10000000 | 70.78% | 2192.9764 | 87.7191 | 1552.1815 | 62.0873
Philadelphia Energy Authority (PEA) | 2 | 37 | (ID #37) PEA will expand its nationally-recognized Built to Last Program, which will restore and future-proof 4,000 additional low-income single-family homes citywide by adding solar, heat pumps, and other electrification measures. | [37 empty] | 153011249.9 | 1063659154.5 | 2025 | 69404.3728 | 482465.1559 | 18031.3862 | 125345.3521 | 99200000 | 25772346 | 25.98% | 1429.3048 | 205.6107 | 371.3361 | 53.418
Philadelphia Housing Authority (PHA) | 2 | 43 | (ID #43) Philadelphia Housing Authority will renovate a 101-unit 16-story affordable senior housing facility including LED lighting and conversion from gas to electric cooking. | [10 empty] | -344281.0613 |  |  | 72351.7979 |  |  |  |  | 732464.9716 | 2929859.8866 | 17579159.3195 | [18 empty] | 2027 | 1328.9551 | 7973.7309 | 766.9366 | 4601.6197 | 12996072 | 7500000 | 57.71% | 9779.1653 | 1629.8609 | 5643.5313 | 940.5886
Philadelphia Housing Authority (PHA) | 2 | 44 | (ID #44) Philadelphia Housing Authority will implement a mix of new construction and energy efficient upgrades at the 240-unit James W. Johnson affordable housing complex. | [10 empty] | -1127594.3847 |  |  | 262322.6433 |  |  |  |  | 2735322.548 | 10941290.1921 | 65647741.1524 | [18 empty] | 2027 | 4962.8598 | 29777.1589 | 1023.2701 | 6139.6204 | 19400000 | 4000000 | 20.62% | 3909.0365 | 651.5061 | 805.9869 | 134.3311
Philadelphia Housing Development Corporation (PHDC) | 2 | 45 | (ID #45) Philadelphia Housing Development Corporation will add energy retrofits to gap financing for low-income housing tax credit (LIHTC) preservation applications and standalone affordable housing preservation financing. | [10 empty] | 3727134.5063 |  |  | 1260379.0087 |  |  |  |  | 19180153.5893 | 95900767.9463 | 479503839.7314 | [18 empty] | 2025 | 43499.6293 | 217498.1467 | 5789.2635 | 28946.3176 | 75138451 | 10000000 | 13.31% | 1727.3354 | 345.4671 | 229.887 | 45.9774
BTM Solutions, LLC. | 3 | 49 | (ID #49) BTM Solutions, LLC will install a 933 kW solar array at the Philadelphia Business and Techology Center as a behind-the-meter pilot site to utilize a 233 kW Renewable Battery Energy Storage System (BESS) for individual buildings with energy demands below 1 megawatt. | 932.75 | 1235067 | 1276677.4081 | 842908.3852 | 4994652.0593 | 20599139.806 | [33 empty] | 2025 | 2265.5242 | 9343.5638 | 2265.5242 | 9343.5638 | 1992759 | 1992759 | 100% | 879.6017 | 213.2761 | 879.6017 | 213.2761
Philadelphia Youth Basketball, Inc. | 3 | 50 | (ID #50) Philadelphia Youth Basketball Inc. will install a 287 kW Rooftop solar array designed to cover electricity needs of the newly opened Alan Horowitz "Sixth Man" Center. | 321.1 | 378000 | 390735.1263 | 257977.3969 | 1528644.5824 | 6304495.9072 | [33 empty] | 2026 | 693.3779 | 2859.6563 | 485.3645 | 2001.7594 | 623000 | 436100 | 70% | 898.4999 | 217.8583 | 628.95 | 152.5008
Mosaic Development Partners | 3 | 51 | (ID #51) Mosaic Development Partners, in partnership with Called to Serve Community Development Corporation will transform the Zion Baptist Church Annex into the Reverend Leon H. Sullivan Community Impact Center, and will include clean energy generation and LEED Silver Certification. | [8 empty] | 323200 | 214460 | 112403.5387 | [7 empty] | 74212.8628 | 371064.314 | 1855321.5698 | [18 empty] | 2025 | 168.3111 | 841.5553 | 64.6108 | 323.0539 | 2605000 | 1000000 | 38.39% | 15477.2952 | 3095.459 | 5941.3801 | 1188.276
Solar States | 3 | 53 | (ID #53 Solar States will install a 32 kW rooftop solar array, indoor garden solar array, and battery storage system at the Overbrook Environmental Education Center. | 32.4 | 36735 | 37972.6319 | 25070.8986 | 148557.5628 | 612686.9237 | [33 empty] | 2025 | 67.3842 | 277.9087 | 47.169 | 194.5361 | 144110 | 100877 | 70% | 2138.6311 | 518.5517 | 1497.0418 | 362.9862
Share Food Program | 3 | 52 | (ID #52) Share Food Program will upgrade its warehouse facility by installing a 427 kW solar array, and converting the facility to electric power with VRF technology. | 426.8 | 522294 | 539890.5081 | 356455.1495 | 1764541.8813 | 8396640.182 |  |  | 1389551 | 1801225 | -425543.6307 | 20321 | 1592 | 18729 |  |  |  |  | -32512.536 | -162562.68 | -812813.3998 | [18 empty] | 2026 | 726.6417 | 3439.948 | 156.2124 | 739.5152 | 4651625.8 | 1000000 | 21.5% | 6401.5394 | 1352.2372 | 1376.194 | 290.7021
Philadelphia Energy Authority (PEA) | 3 | 47 | (ID #47) PEA's Small Food Business Program will finance preventive maintenance/repairs on refrigeration equipment for 750 small food businesses | [34 empty] | 265461846.3358 | 310161024.6597 |  | 293592610.0707 | 348711893.1692 | 2025 | 133170.672 | 158172.2276 | 125840.6533 | 149466.0661 | 3134717 | 2962175 | 94.5% | 23.5391 | 19.8184 | 22.2434 | 18.7275
Philadelphia Green Capital Corporation (PGCC) | 3 | 48 | (ID #48) The Philadelphia Green Capital Corporation (PGCC) will provide $1/watt grants to commercial and industrial solar installations, including nonprofit organizations, in Southeastern PA. | 2800 |  |  |  | 5434916.4231 | 45018962.3345 | [33 empty] | 2025 | 818.7994 | 6782.349 | 243.2559 | 2014.9581 | 33660000 | 10000000 | 29.71% | 41108.9694 | 4962.8823 | 12213.0034 | 1474.4154
Montgomery County | 4 | 54 | (ID #54) Montgomery County will design and implement 12 public Level 2 electric vehicle charging stations at county-owned or leased sites to ease the transition to electric vehicles. | [6 empty] | 1178443.7502 | 2846709.9704 | [31 empty] | 2026 | 534.5303 | 1291.2392 | 267.2653 | 645.62 | 1475599 | 737800 | 50% | 2760.5526 | 1142.7774 | 1380.2772 | 571.3891
TerraSol Energies Inc. | 4 | 56 | (ID #56) TerraSol Energies will install a 680 kW ground-mount solar array and battery storage to power 4 150kW National Electric Vehicle Infrastructure (NEVI) Direct Current Fast Charging (DCFC) stations in Coatesille, PA. | 680 | 884000 | 913782.6764 | 603312.2191 | 1288116.0665 | 9578935.6765 | 6766251.5673 | 20332250.9966 | [31 empty] | 2026 | 3653.3806 | 13567.4152 | 2557.3664 | 9497.1906 | 2600000 | 1820000 | 70% | 711.6696 | 191.6356 | 498.1687 | 134.1449
TerraSol Energies, Inc. | 4 | 55 | (ID #55) TerraSol Energies will install a 680 kW ground-mount solar array and battery storage to power 4 150kW National Electric Vehicle Infrastructure (NEVI) Direct Current Fast Charging (DCFC) stations in Exton, PA. | 680 | 884000 | 913782.6764 | 603312.2191 | 1288116.0665 | 9578935.6765 | 6766251.5673 | 20332250.9966 | [31 empty] | 2026 | 3653.3806 | 13567.4152 | 2557.3664 | 9497.1906 | 2600000 | 910000 | 35% | 355.8348 | 95.8178 | 249.0844 | 67.0725
TOTAL |  |  |  | 17962.985 | 20597976.94 | 21291939.4754 | 14057704.9515 | 61694589.6712 | 385524011.7712 | 21979839.6753 | 72866860.3961 |  |  | 4719297.3911 |  |  | 1781452.4879 |  |  | 65764 | 15858 | 27846812.8759 | 126756443.5424 | 686535475.1665 |  |  |  | -890884.3576 |  | -1932590.5775 | -10086150.475 | 875952.7368 | 885784.7436 | 1094622.7405 | 14520550.7554 | 0 | 0 | 265461846.3358 | 310161024.6597 | 15879360.2819 | 532078820.5208 | 2659533789.1949 |  | 336829.0387 | 1719572.0242 | 213641.3518 | 938076.2552 | 471714285 | 190890460 | 40.47% | 893.509 | 203.4914 | 566.728 | 111.0104
MEASURE 1 TOTALS |  |  |  | 11681.135 | 16137323.94 | 16681003.461 | 11013399.0011 | 43580346.8542 | 251920333.7793 | 7268892.7907 | 29355648.4324 | 0 | -7800.2309 | 2538782.4459 | 0 | 0 | 94880.9223 | 0 | 0 | 45261 | 1500 | 4034200.9393 | 12664105.565 | 95030218.565 | -215051 | -657377 | 0 | -901820.8063 | -595414.5619 | -2683536.8455 | -14591828.0832 | 759892 | 809157.267 | 1069200 | 14183309.2744 | 0 | 0 | 0 | 0 | 15465491.3243 | 67546684.1191 | 877177063.7389 |  | 60787.3882 | 574068.4967 | 46168.2291 | 452943.1437 | 148023559 | 91419303 | 61.76% | 1980.1345 | 201.8339 | 1503.9189 | 159.2481
MEASURE 2 TOTALS |  |  |  | 408.8 | 520557 | 538094.9872 | 355269.682 | 1666698.1751 | 33513881.4855 | 0 | 0 | 1251250 | 1409516 | 2493655.0372 | 72283.7707 | 0 | 1667842.5656 | 0 | 0 | 20503 | 14358 | 23770911.6098 | 113883836.3434 | 590462748.4315 | 17479 | 6899 | 10580 | 10936.4488 | 187736.567 | 750946.268 | 4505677.6082 | 116060.7368 | 76627.4766 | 25422.7405 | 337241.481 | 0 | 0 | 0 | 0 | 413868.9576 | 170939526.331 | 1433644832.2868 |  | 130289.6484 | 935360.2493 | 32988.3343 | 301409.6576 | 270203915.2 | 78511446 | 29.06% | 2379.9761 | 260.4809 | 602.5916 | 83.9371
MEASURE 3 TOTALS |  |  |  | 4513.05 | 2172096 | 2245275.6745 | 1482411.8302 | 13871312.5089 | 80931925.1534 | 0 | 0 | 1712751 | 2015685 | -313140.092 | 20321 | 1592 | 18729 | 0 | 0 | 0 | 0 | 41700.3268 | 208501.634 | 1042508.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265461846.3358 | 310161024.6597 | 0 | 293592610.0707 | 348711893.1692 |  | 137910.7106 | 181717.2087 | 129102.7902 | 164083.4526 | 46811211.8 | 17491911 | 37.37% | 135.4882 | 106.6037 | 126.835 | 96.259
MEASURE 4 TOTALS |  |  |  | 1360 | 1768000 | 1827565.3528 | 1206624.4382 | 2576232.133 | 19157871.3529 | 14710946.8847 | 43511211.9637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7841.2915 | 28426.0695 | 5381.9982 | 19640.0013 | 6675599 | 3467800 | 51.95% | 644.3332 | 176.5682 | 442.2486 | 121.9937
[45 empty] | pounds to metric tons factor | 0.00045359

## Electricity Conversions
Pounds/kWh CO2e Electricity
eGRID subregion annual CO2 total output emission rate (lb/MWh) | eGRID subregion annual CH4 total output emission rate (lb/MWh) | eGRID subregion annual N2O total output emission rate (lb/MWh)
SRCO2RTA | SRCH4RTA | SRN2ORTA
657.386 | 0.045 | 0.006
CO2 lb/kWh
0.65739 | 4.5e-05 | 6e-06
GWPs
CO2 | CH4 | N2O
1 | 28 | 265
0.65739 | 0.00126 | 0.00159
lbs CO2e/kWh
0.66024
T&D Line Losses:
[7 empty] | Conversions: |  |  |  |  | Line Loss Calculation:
Line losses |  | 7845675 | per EIA data table 10 "Source-Disposition" line 26 "Estimated losses" for 2022 |  |  |  | 1 | ton | 2000 | pounds |  | 232872849
Total disposition |  | 239261130 | MWH |  |  |  | 1 | mWh | 1000 | kWh | 0.001 | 0.033691
Direct use |  | 6388281 |  |  |  |  | 1 | GWh | 1000000 | kWh |  | Multiplier
[7 empty] | 1 | metric ton | 2204.6226 | pounds |  | 1.0337
Source Reference:
Pennsylvania Electricity Profile 2022 - U.S. Energy Information Administration (EIA)
State Electricity Profiles
Data for: 2022 Release Date: November 2, 2023 Next Release Date: November 2024
Archived State Electricity Profiles
Pennsylvania Electricity Profile 2022
Table 1. 2022 Summary statistics (Pennsylvania)
|  |  |  | Item | Value | Rank
|  |  |  | Primary energy source |  | Natural gas
|  |  |  | Net summer capacity (megawatts) | 49066 | 4
|  |  |  | Electric utilities | 59 | 47
|  |  |  | IPP & CHP | 49007 | 3
|  |  |  | Net generation (megawatthours) | 239261130 | 3
|  |  |  | Electric utilities | 130000 | 45
|  |  |  | IPP & CHP | 239131130 | 2
Emissions
|  |  |  | Sulfur dioxide (short tons) | 44304 | 10
|  |  |  | Nitrogen oxide (short tons) | 43071 | 10
|  |  |  | Carbon dioxide (thousand metric tons) | 77555 | 3
|  |  |  | Sulfur dioxide (lbs/MWh) | 0.4 | 29
|  |  |  | Nitrogen oxide (lbs/MWh) | 0.4 | 42
|  |  |  | Carbon dioxide (lbs/MWh) | 713 | 32
|  |  |  | Total retail sales (megawatthours) | 145044592 | 5
|  |  |  | Full service provider sales | 58067894 | 21
|  |  |  | Energy-only provider sales | 86976698 | 2
|  |  |  | Direct use (megawatthours) | 6388281 | 5
|  |  |  | Average retail price (cents/kWh) | 11.86 | 20
Sources: U.S. Energy Information Administration, Form EIA-860, Annual Electric Generator Report, U.S. Energy Information Administration, Form EIA-861, Annual Electric Power Industry Report, U.S. Energy Information Administration, Form EIA-923, Power Plant Operations Report and predecessor forms.

## Solar PV Data
Solar PV Degradation Rates & Lifetime Data
Degradation rate |  | 0.005 | Annually | (0.5%) | PV Lifetime Project - 2021 NREL Annual Report
|  | Varies by manufacturer Annual median degradation rate: -0.5% and -0.8% per year |  |  | Photovoltaic Degradation Rates -- An Analytical Review: Preprint (nrel.gov)
|  | Most retain 80% production after 30 years |  |  | Onymous early‐life performance degradation analysis of recent photovoltaic module technologies - Theristis - 2023 - Progress in Photovoltaics: Research and Applications - Wiley Online Library
Lifetime |  | 25 | Years
Inverters/batteries need replacement @ 25 years
Project-Specific Degradation Calculations Accounting for Project Schedule Start-Up, Annual lbs CO2e
|  |  | Bucks County Govt Bldg |  | Haverford Twp Free Library |  | Haverford Twp PD |  | Phila Youth Basketball |  | West Goshen Twp Public Works |  | Merion Fire Company |  | Solar States/Overbrook Environmental Education Ctr |  | Bucks County Fire Safety + Training Facility |  | West Vincent Solar PV-Public Works Building + Opalanie Park |  | Share Food Program |  | Radnor Twp Municipal Bldg |  | Radnor Public Works Bldg |  | PWD |  | Lower Merion Twp Ludington Library |  | Lower Merion Twp Penn Wynne Library |  | Chester County Net Zero Bus Depot |  | Lower Merion Townhip Bala Cynwyd Public Library |  | Lower Merion Twp Ardmore Book Processing Center |  | Lower Merion Township Bala Gym |  | Philadelphia Northeat Airport |  | BTM Solutions |  | West Chester Borough |  | Upper Dublin Net Zero |  | TerraSol/Car Charge - Exton + Coatesville* |  |  |  | City of Phila Health Centers |  | Habitat for Humanity |  | Wm Penn SD |  | Lower Merion Twp Community Center |  | Lower Merion Admin & Public Safety |  | SDP 9 PV arrays for 9 Schools |  | Lower Merion Combined
|  | Year | [46 empty] | kWh Charged | kWh to Grid | CO2e Grid Savings
Annual Degradation Rate Multiplier |  | 1 | 441229.3885 | Start 2025 | 37037.5009 | Start 2025 | 75072.7874 | Start 2026 | 257977.3969 | Start 2025 | 219115.6272 | Start 2026 | 40948.7932 |  | 25070.8986 | Start 2025 | 87084.4334 |  | 56031.5986 | Start 2025 | 356455.1495 | Start 2026 | 107633.9028 | Starts 2028 | 159436.8561 | Starts 2028 | 1126091.8117 | Starts 2028 | 133104.1 | Starts 2025 | 125999.4 | Starts 2025 | 565309.0092 | Starts 2028 | 172599.2 | Starts 2025 | 89138.7 | Starts 2027 | 137362.7 | Starts 2026 | 2356603.046 | Start 2028 | 842908.3852 | Start 2025 | 49821.0317 | Start 2025 | 450997.0407 | Start 2025 | 259200 | 654582.6764 | 432179.0479 | Starts 2026 | 786546.4254 | Starts 2028 | 106466.8622 | Starts 2027 (guess) | 661323.0094 | Starts 2025 | 47773.59 | Starts 2026 | 397783.4 | Starts 2027 | 2689355.669 | Starts 2027 | 5407653.7133 | 2025-2030
0.995 |  | 2 | 439023.2416 |  | 36852.3134 |  | 74697.4235 |  | 256687.5099 |  | 218020.0491 |  | 40744.0492 |  | 24945.5441 |  | 86649.0113 |  | 55751.4406 |  | 354672.8738 |  | 107095.7333 |  | 158639.6718 |  | 1120461.3527 |  | 132438.5795 |  | 125369.403 |  | 562482.4641 |  | 171736.204 |  | 88693.0065 |  | 136675.8865 |  | 2344820.0307 |  | 838693.8433 |  | 49571.9265 |  | 448742.0555 |  | 414720 | 499062.6764 | 329499.1452 |  | 782613.6933 |  | 105934.5279 |  | 658016.3944 |  | 47534.722 |  | 395794.483 |  | 2675908.8907 |  | 25949268.2761 | 2025-2050
|  | 3 | 436828.1254 |  | 36668.0519 |  | 74323.9364 |  | 255404.0723 |  | 216929.9488 |  | 40540.3289 |  | 24820.8164 |  | 86215.7662 |  | 55472.6834 |  | 352899.5094 |  | 106560.2546 | 321289.8907 | 157846.4734 | 475923.0013 | 1114859.0459 | 3361412.2103 | 131776.3866 |  | 124742.556 |  | 559670.0518 | 1687461.5251 | 170877.523 |  | 88249.5415 |  | 135992.5071 |  | 2333095.9306 | 7034519.0073 | 834500.3741 |  | 49324.0669 |  | 446498.3452 |  | 518400 | 395382.6764 | 261045.8767 |  | 778700.6248 | 2347860.7434 | 105404.8552 |  | 654726.3124 |  | 47297.0484 |  | 393815.5106 |  | 2662529.3463
|  | 4 | 434643.9848 |  | 36484.7116 |  | 73952.3167 |  | 254127.052 |  | 215845.2991 |  | 40337.6273 |  | 24696.7123 |  | 85784.6874 |  | 55195.32 |  | 351135.0119 |  | 106027.4533 |  | 157057.2411 |  | 1109284.7507 |  | 131117.5047 |  | 124118.8432 |  | 556871.7015 |  | 170023.1354 |  | 87808.2938 | 353889.5417 | 135312.5445 |  | 2321430.4509 |  | 830327.8722 |  | 49077.4465 |  | 444265.8535 |  | 648000 | 265782.6764 | 175479.2911 |  | 774807.1217 |  | 104877.831 | 422684.0763 | 651452.6808 |  | 47060.5632 |  | 391846.433 | 1579239.8266 | 2649216.6995 | 10677010.6055
|  | 5 | 432470.7648 |  | 36302.288 |  | 73582.5551 | 371629.0192 | 252856.4167 |  | 214766.0726 | 1084676.9968 | 40135.9392 |  | 24573.2288 |  | 85355.7639 |  | 54919.3434 |  | 349379.3368 | 1764541.8813 | 105497.3161 |  | 156271.9548 |  | 1103738.3269 |  | 130461.9171 |  | 123498.249 |  | 554087.343 |  | 169173.0197 |  | 87369.2523 |  | 134635.9818 | 679979.6199 | 2309823.2987 |  | 826176.2328 |  | 48832.0593 |  | 442044.5242 |  | 777600 | 136182.6764 | 89912.7055 | 1288116.0665 | 770933.0861 |  | 104353.4418 |  | 648195.4174 |  | 46825.2604 | 236491.1841 | 389887.2009 |  | 2635970.616
|  | 6 | 430308.411 | 2614503.9162 | 36120.7766 | 219465.6424 | 73214.6424 |  | 251592.1346 | 1528644.5824 | 213692.2422 |  | 39935.2595 | 242641.9972 | 24450.3626 | 148557.5628 | 84928.9851 | 516018.6474 | 54644.7467 | 332015.1328 | 347632.4401 |  | 104969.8295 |  | 155490.5951 |  | 1098219.6353 |  | 129809.6076 | 788708.0955 | 122880.7577 | 746609.2089 | 551316.9063 |  | 168327.1546 | 1022736.2366 | 86932.406 |  | 133962.8019 |  | 2298274.1822 |  | 822045.3517 | 4994652.0593 | 48587.899 | 295214.4299 | 439834.3016 | 2672382.1206 | 810000 | 103782.6764 | 68521.0591 |  | 767078.4206 |  | 103831.6746 |  | 644954.4404 | 3918668.2548 | 46591.1341 |  | 387937.7649 |  | 2622790.7629
|  | 7 | 428156.869 |  | 35940.1727 |  | 72848.5691 |  | 250334.174 |  | 212623.781 |  | 39735.5832 |  | 24328.1108 |  | 84504.3402 |  | 54371.523 |  | 345894.2779 |  | 104444.9804 |  | 154713.1421 |  | 1092728.5371 |  | 129160.5595 |  | 122266.354 |  | 548560.3218 |  | 167485.5188 |  | 86497.744 |  | 133292.9879 |  | 2286782.8113 |  | 817935.1249 |  | 48344.9595 |  | 437635.1301 |  | 842400 | 71382.6764 | 47129.4127 |  | 763243.0285 |  | 103312.5162 |  | 641729.6682 |  | 46358.1784 |  | 385998.076 |  | 2609676.8091
|  | 8 | 426016.0846 |  | 35760.4719 |  | 72484.3263 |  | 249082.5031 |  | 211560.6621 |  | 39536.9053 |  | 24206.4702 |  | 84081.8185 |  | 54099.6654 |  | 344164.8065 |  | 103922.7555 |  | 153939.5764 |  | 1087264.8944 |  | 128514.7567 |  | 121655.0222 |  | 545817.5202 |  | 166648.0912 |  | 86065.2553 |  | 132626.523 |  | 2275348.8972 |  | 813845.4493 |  | 48103.2347 |  | 435446.9544 |  | 874800 | 38982.6764 | 25737.7663 |  | 759426.8134 |  | 102795.9537 |  | 638521.0198 |  | 46126.3875 |  | 384068.0857 |  | 2596628.4251
|  | 9 | 423886.0042 |  | 35581.6695 |  | 72121.9047 |  | 247837.0906 |  | 210502.8588 |  | 39339.2207 |  | 24085.4379 |  | 83661.4094 |  | 53829.167 |  | 342443.9825 |  | 103403.1417 |  | 153169.8785 |  | 1081828.5699 |  | 127872.1829 |  | 121046.7471 |  | 543088.4326 |  | 165814.8508 |  | 85634.929 |  | 131963.3903 |  | 2263972.1527 |  | 809776.2221 |  | 47862.7185 |  | 433269.7196 |  | 907200 | 6582.6764 | 4346.1199 |  | 755629.6793 |  | 102281.9739 |  | 635328.4147 |  | 45895.7556 |  | 382147.7452 |  | 2583645.283
|  | 10 | 421766.5742 |  | 35403.7611 |  | 71761.2951 |  | 246597.9051 |  | 209450.3445 |  | 39142.5246 |  | 23965.0107 |  | 83243.1024 |  | 53560.0212 |  | 340731.7626 |  | 102886.126 |  | 152404.0291 |  | 1076419.4271 |  | 127232.822 |  | 120441.5133 |  | 540372.9904 |  | 164985.7765 |  | 85206.7544 |  | 131303.5734 |  | 2252652.292 |  | 805727.3409 |  | 47623.405 |  | 431103.371 |  | 907200 | 6582.6764 | 4346.1199 |  | 751851.5309 |  | 101770.564 |  | 632151.7726 |  | 45666.2768 |  | 380237.0065 |  | 2570727.0565
|  | 11 | 419657.7413 |  | 35226.7423 |  | 71402.4887 |  | 245364.9156 |  | 208403.0928 |  | 38946.812 |  | 23845.1856 |  | 82826.8868 |  | 53292.2211 |  | 339028.1038 |  | 102371.6953 |  | 151642.009 |  | 1071037.33 |  | 126596.6579 |  | 119839.3058 |  | 537671.1255 |  | 164160.8476 |  | 84780.7206 |  | 130647.0555 |  | 2241389.0305 |  | 801698.7042 |  | 47385.2879 |  | 428947.8542 |  | 907200 | 6582.6764 | 4346.1199 |  | 748092.2733 |  | 101261.7112 |  | 628991.0138 |  | 45437.9454 |  | 378335.8215 |  | 2557873.4213
|  | 12 | 417559.4526 |  | 35050.6086 |  | 71045.4762 |  | 244138.091 |  | 207361.0773 |  | 38752.0779 |  | 23725.9597 |  | 82412.7524 |  | 53025.76 |  | 337332.9632 |  | 101859.8369 |  | 150883.7989 |  | 1065682.1433 |  | 125963.6746 |  | 119240.1092 |  | 534982.7698 |  | 163340.0434 |  | 84356.817 |  | 129993.8202 |  | 2230182.0854 |  | 797690.2107 |  | 47148.3615 |  | 426803.1149 |  |  | 909213.763 | 600295.658 |  | 744351.8119 |  | 100755.4026 |  | 625846.0587 |  | 45210.7557 |  | 376444.1424 |  | 2545084.0542
|  | 13 | 415471.6553 |  | 34875.3556 |  | 70690.2488 |  | 242917.4006 |  | 206324.2719 |  | 38558.3175 |  | 23607.3299 |  | 82000.6887 |  | 52760.6312 |  | 335646.2984 |  | 101350.5377 |  | 150129.3799 |  | 1060353.7326 |  | 125333.8563 |  | 118643.9087 |  | 532307.856 |  | 162523.3432 |  | 83935.0329 |  | 129343.8511 |  | 2219031.1749 |  | 793701.7597 |  | 46912.6197 |  | 424669.0993 |  |  | 904667.6942 | 597294.1797 |  | 740630.0528 |  | 100251.6256 |  | 622716.8284 |  | 44984.7019 |  | 374561.9217 |  | 2532358.6339
|  | 14 | 413394.2971 |  | 34700.9788 |  | 70336.7976 |  | 241702.8136 |  | 205292.6506 |  | 38365.526 |  | 23489.2933 |  | 81590.6852 |  | 52496.828 |  | 333968.0669 |  | 100843.785 |  | 149378.733 |  | 1055051.9639 |  | 124707.187 |  | 118050.6892 |  | 529646.3167 |  | 161710.7265 |  | 83515.3577 |  | 128697.1319 |  | 2207936.0191 |  | 789733.2509 |  | 46678.0566 |  | 422545.7539 |  |  | 900144.3557 | 594307.7088 |  | 736926.9026 |  | 99750.3675 |  | 619603.2443 |  | 44759.7784 |  | 372689.112 |  | 2519696.8407
|  | 15 | 411327.3256 |  | 34527.4739 |  | 69985.1136 |  | 240494.2995 |  | 204266.1873 |  | 38173.6983 |  | 23371.8468 |  | 81182.7318 |  | 52234.3439 |  | 332298.2266 |  | 100339.5661 |  | 148631.8394 |  | 1049776.7041 |  | 124083.651 |  | 117460.4357 |  | 526998.0851 |  | 160902.1728 |  | 83097.7809 |  | 128053.6462 |  | 2196896.339 |  | 785784.5846 |  | 46444.6663 |  | 420433.0251 |  |  | 895643.6339 | 591336.1703 |  | 733242.2681 |  | 99251.6157 |  | 616505.228 |  | 44535.9795 |  | 370825.6665 |  | 2507098.3565
|  | 16 | 409270.6889 |  | 34354.8365 |  | 69635.188 |  | 239291.828 |  | 203244.8564 |  | 37982.8298 |  | 23254.9876 |  | 80776.8181 |  | 51973.1722 |  | 330636.7355 |  | 99837.8682 |  | 147888.6802 |  | 1044527.8206 |  | 123463.2328 |  | 116873.1335 |  | 524363.0947 |  | 160097.662 |  | 82682.292 |  | 127413.378 |  | 2185911.8573 |  | 781855.6617 |  | 46212.443 |  | 418330.86 |  |  | 891165.4158 | 588379.4894 |  | 729576.0567 |  | 98755.3576 |  | 613422.7019 |  | 44313.2996 |  | 368971.5382 |  | 2494562.8647
|  | 17 | 407224.3355 |  | 34183.0624 |  | 69287.0121 |  | 238095.3688 |  | 202228.6321 |  | 37792.9157 |  | 23138.7126 |  | 80372.934 |  | 51713.3063 |  | 328983.5518 |  | 99338.6789 |  | 147149.2368 |  | 1039305.1815 |  | 122845.9166 |  | 116288.7679 |  | 521741.2792 |  | 159297.1737 |  | 82268.8806 |  | 126776.3111 |  | 2174982.298 |  | 777946.3834 |  | 45981.3808 |  | 416239.2057 |  |  | 886709.5887 | 585437.592 |  | 725928.1764 |  | 98261.5808 |  | 610355.5884 |  | 44091.7331 |  | 367126.6805 |  | 2482090.0504
|  | 18 | 405188.2138 |  | 34012.147 |  | 68940.577 |  | 236904.892 |  | 201217.4889 |  | 37603.9511 |  | 23023.0191 |  | 79971.0694 |  | 51454.7398 |  | 327338.634 |  | 98841.9855 |  | 146413.4906 |  | 1034108.6556 |  | 122231.687 |  | 115707.324 |  | 519132.5728 |  | 158500.6878 |  | 81857.5362 |  | 126142.4295 |  | 2164107.3865 |  | 774056.6515 |  | 45751.4739 |  | 414158.0096 |  |  | 882276.0407 | 582510.404 |  | 722298.5355 |  | 97770.2729 |  | 607303.8105 |  | 43871.2744 |  | 365291.0471 |  | 2469679.6002
|  | 19 | 403162.2728 |  | 33842.0863 |  | 68595.8742 |  | 235720.3675 |  | 200211.4015 |  | 37415.9314 |  | 22907.904 |  | 79571.214 |  | 51197.4661 |  | 325701.9409 |  | 98347.7756 |  | 145681.4231 |  | 1028938.1123 |  | 121620.5286 |  | 115128.7874 |  | 516536.91 |  | 157708.1843 |  | 81448.2485 |  | 125511.7174 |  | 2153286.8496 |  | 770186.3682 |  | 45522.7165 |  | 412087.2196 |  |  | 877864.6605 | 579597.852 |  | 718687.0429 |  | 97281.4215 |  | 604267.2914 |  | 43651.9181 |  | 363464.5918 |  | 2457331.2021
|  | 20 | 401146.4614 |  | 33672.8759 |  | 68252.8948 |  | 234541.7657 |  | 199210.3445 |  | 37228.8517 |  | 22793.3645 |  | 79173.3579 |  | 50941.4787 |  | 324073.4312 |  | 97856.0367 |  | 144953.016 |  | 1023793.4217 |  | 121012.426 |  | 114553.1435 |  | 513954.2254 |  | 156919.6434 |  | 81041.0073 |  | 124884.1588 |  | 2142520.4153 |  | 766335.4364 |  | 45295.1029 |  | 410026.7835 |  |  | 873475.3372 | 576699.8628 |  | 715093.6077 |  | 96795.0144 |  | 601245.9549 |  | 43433.6585 |  | 361647.2689 |  | 2445044.5461
|  | 21 | 399140.7291 |  | 33504.5115 |  | 67911.6303 |  | 233369.0569 |  | 198214.2928 |  | 37042.7074 |  | 22679.3976 |  | 78777.4912 |  | 50686.7713 |  | 322453.064 |  | 97366.7565 |  | 144228.2509 |  | 1018674.4546 |  | 120407.3638 |  | 113980.3777 |  | 511384.4543 |  | 156135.0452 |  | 80635.8022 |  | 124259.738 |  | 2131807.8132 |  | 762503.7592 |  | 45068.6274 |  | 407976.6496 |  |  | 869107.9606 | 573816.3634 |  | 711518.1396 |  | 96311.0393 |  | 598239.7252 |  | 43216.4902 |  | 359839.0325 |  | 2432819.3234
|  | 22 | 397145.0254 |  | 33336.9889 |  | 67572.0722 |  | 232202.2116 |  | 197223.2213 |  | 36857.4939 |  | 22566.0006 |  | 78383.6037 |  | 50433.3375 |  | 320840.7987 |  | 96879.9227 |  | 143507.1097 |  | 1013581.0824 |  | 119805.327 |  | 113410.4759 |  | 508827.532 |  | 155354.37 |  | 80232.6232 |  | 123638.4393 |  | 2121148.7742 |  | 758691.2404 |  | 44843.2842 |  | 405936.7663 |  |  | 864762.4207 | 570947.2816 |  | 707960.5489 |  | 95829.4841 |  | 595248.5265 |  | 43000.4077 |  | 358039.8374 |  | 2420655.2268
|  | 23 | 395159.3003 |  | 33170.304 |  | 67234.2118 |  | 231041.2005 |  | 196237.1052 |  | 36673.2064 |  | 22453.1706 |  | 77991.6857 |  | 50181.1708 |  | 319236.5947 |  | 96395.5231 | 2344071.4613 | 142789.5741 | 3472245.96 | 1008513.1769 | 24524240.1311 | 119206.3004 |  | 112843.4235 |  | 506283.3943 | 12311406.3566 | 154577.5981 |  | 79831.4601 |  | 123020.2471 |  | 2110543.0303 | 51322546.1653 | 754897.7842 |  | 44619.0678 |  | 403907.0825 |  |  | 860438.6086 | 568092.5452 |  | 704420.7462 | 17129556.5864 | 95350.3367 |  | 592272.2839 |  | 42785.4057 |  | 356249.6382 |  | 2408551.9507
|  | 24 | 393183.5038 |  | 33004.4525 |  | 66898.0407 |  | 229885.9945 |  | 195255.9197 |  | 36489.8404 |  | 22340.9048 |  | 77601.7273 |  | 49930.265 |  | 317640.4117 |  | 95913.5455 |  | 142075.6263 |  | 1003470.6111 |  | 118610.2689 |  | 112279.2064 |  | 503751.9774 |  | 153804.7101 |  | 79432.3028 | 2020711.7447 | 122405.1459 |  | 2099990.3151 |  | 751123.2953 |  | 44395.9725 |  | 401887.5471 |  |  | 856136.4156 | 565252.0825 |  | 700898.6424 |  | 94873.585 | 2413529.0156 | 589310.9225 |  | 42571.4787 |  | 354468.39 | 9017470.3942 | 2396509.1909
|  | 25 | 391217.5863 |  | 32839.4302 |  | 66563.5505 | 1768410.9333 | 228736.5646 |  | 194279.6401 | 5161477.0676 | 36307.3912 |  | 22229.2003 |  | 77213.7186 |  | 49680.6136 |  | 316052.2097 | 8396640.182 | 95433.9778 |  | 141365.2481 |  | 998453.258 |  | 118017.2175 |  | 111717.8103 |  | 501233.2175 |  | 153035.6866 |  | 79035.1413 |  | 121793.1202 | 3235709.0868 | 2089490.3636 |  | 747367.6788 |  | 44173.9926 |  | 399878.1093 |  |  | 851855.7335 | 562425.8221 | 9578935.6765 | 697394.1492 |  | 94399.2171 |  | 586364.3679 |  | 42358.6213 | 1125352.3647 | 352696.048 |  | 2384526.6449 | 63350331.465
|  | 26 | 389261.4984 | 10782839.5357 | 32675.2331 | 905128.8053 | 66230.7328 |  | 227592.8817 | 6304495.9072 | 193308.2419 |  | 36125.8542 | 1000713.6361 | 22118.0543 | 612686.9237 | 76827.65 | 2128184.3327 | 49432.2106 | 1369309.8254 | 314471.9486 |  | 94956.8079 |  | 140658.4219 |  | 993460.9917 |  | 117427.1314 | 3252820.8435 | 111159.2213 | 3079194.9654 | 498727.0514 |  | 152270.5082 | 4218008.8768 | 78639.9656 |  | 121184.1546 |  | 2079042.9117 |  | 743630.8404 | 20599139.806 | 43953.1227 | 1217534.9239 | 397878.7188 | 11021543.095 |  | 847596.4549 | 559613.693 |  | 693907.1785 |  | 93927.221 |  | 583432.546 | 16161525.2225 | 42146.8282 |  | 350932.5678 |  | 2372604.0117
*Added to EV charging Savings from net-zero solar charging
Philadelphia Green Capital Corp
| Year |  | kWh - Y1 | kWh - Y2 | kWh - Y3 | kWh - Y4 | kWh - Y5 | TOTAL kWh | Total GHG Savings | kW/year | Generation (kWh) | [37 empty] | -1.6
| 1 |  | 318376.7696 |  |  |  |  | 318376.7696 | 210203.8049 | 280 | 308000 | [37 empty] | -1.25
| 2 |  | 316784.8858 | 477565.1544 |  |  |  | 794350.0402 | 524458.4931 | 420 | 462000 | [37 empty] | -1.25
| 3 |  | 315200.9613 | 475177.3286 | 795941.924 |  |  | 1586320.2139 | 1047345.7128 | 700 | 770000 | [37 empty] | -1.2 |  | 1.037
| 4 |  | 313624.9565 | 472801.442 | 791962.2144 | 795941.924 |  | 2374330.5369 | 1567618.4963 | 700 | 770000 | [37 empty] | -1.0417
| 5 |  | 312056.8317 | 470437.4348 | 788002.4033 | 791962.2144 | 795941.924 | 3158400.8082 | 2085289.916 | 700 | 770000 | [37 empty] | -1.04
[8 empty] | 8231778.3688 | 5434916.4231 | 2800 | [38 empty] | -1.0385
| 6 |  | 310496.5476 | 468085.2476 | 784062.3913 | 788002.4033 | 791962.2144 | 3142608.8041 | 2074863.4664 | [39 empty] | -1
| 7 |  | 308944.0648 | 465744.8214 | 780142.0793 | 784062.3913 | 788002.4033 | 3126895.7601 | 2064489.1491 | [39 empty] | -1
| 8 |  | 307399.3445 | 463416.0973 | 776241.3689 | 780142.0793 | 784062.3913 | 3111261.2813 | 2054166.7033
| 9 |  | 305862.3478 | 461099.0168 | 772360.1621 | 776241.3689 | 780142.0793 | 3095704.9749 | 2043895.8698
| 10 |  | 304333.0361 | 458793.5217 | 768498.3613 | 772360.1621 | 776241.3689 | 3080226.45 | 2033676.3905
| 11 |  | 302811.3709 | 456499.5541 | 764655.8695 | 768498.3613 | 772360.1621 | 3064825.3178 | 2023508.0085
| 12 |  | 301297.314 | 454217.0563 | 760832.5901 | 764655.8695 | 768498.3613 | 3049501.1912 | 2013390.4685
| 13 |  | 299790.8274 | 451945.971 | 757028.4272 | 760832.5901 | 764655.8695 | 3034253.6853 | 2003323.5161
| 14 |  | 298291.8733 | 449686.2412 | 753243.285 | 757028.4272 | 760832.5901 | 3019082.4168 | 1993306.8986
| 15 |  | 296800.4139 | 447437.81 | 749477.0686 | 753243.285 | 757028.4272 | 3003987.0047 | 1983340.3641
| 16 |  | 295316.4119 | 445200.6209 | 745729.6833 | 749477.0686 | 753243.285 | 2988967.0697 | 1973423.6622
| 17 |  | 293839.8298 | 442974.6178 | 742001.0349 | 745729.6833 | 749477.0686 | 2974022.2344 | 1963556.5439
| 18 |  | 292370.6307 | 440759.7447 | 738291.0297 | 742001.0349 | 745729.6833 | 2959152.1232 | 1953738.7612
| 19 |  | 290908.7775 | 438555.946 | 734599.5745 | 738291.0297 | 742001.0349 | 2944356.3626 | 1943970.0674
| 20 |  | 289454.2336 | 436363.1663 | 730926.5767 | 734599.5745 | 738291.0297 | 2929634.5808 | 1934250.2171
| 21 |  | 288006.9625 | 434181.3504 | 727271.9438 | 730926.5767 | 734599.5745 | 2914986.4079 | 1924578.966
| 22 |  | 286566.9276 | 432010.4437 | 723635.5841 | 727271.9438 | 730926.5767 | 2900411.4758 | 1914956.0712
| 23 |  | 285134.093 | 429850.3915 | 720017.4061 | 723635.5841 | 727271.9438 | 2885909.4184 | 1905381.2908
| 24 |  | 283708.4225 | 427701.1395 | 716417.3191 | 720017.4061 | 723635.5841 | 2871479.8714 | 1895854.3843
| 25 |  | 282289.8804 | 425562.6338 | 712835.2325 | 716417.3191 | 720017.4061 | 2857122.472 | 1886375.1124
|  |  | Line losses added to kWh | [5 empty] | 45018962.3345

## EV Charging Metrics
L2 EV Charging Port Utilization in the US
Evaluating Electric Vehicle Public Charging Utilization in the United States using the EV WATTS Dataset: Preprint (nrel.gov)
| Avg Weekday Use (kWh/port/day), 2022 | Avg Weekday Use/Year | Avg Weekend Use (kWh/port/day), 2022 | Avg Weekend Use/Year | Total Annual, 2022, kWh/port
Level 2 Municipal | 7.07 | 1838.2 | 6.15 | 639.6 | 2477.8
DCFC Municipal | 23.3 | 6058 | 24.43 | 2540.72 | 8598.72 | 11076.52 | Level 2 + DCFC Municipal
DCFC Parking/Garage | 19.25 | 5005 | 22.1 | 2298.4 | 7303.4
L2 EV Charging Utilization by Port - Projections Based on 2022 EV WATTS/NREL Data and 2030 Federal Goal of 33M Evs on Road x 2030
2022
| # L2 Public Ports | # EVs Total | L2 Muni Public Charging Station Usage, Annual (kWh/Port) | Total kWh-All L2 Municipal Ports | Annual kWh/EV | # Evs per Public L2 Muni Port | Projected % Increase in EVs per Port |  |  | Multiplier |  | Est kWh/Port
2022 | 116994 | 2130000 | 2477.8 | 289887733.2 | 136.0975 | 18.2061 | 0.5517 | [9 empty] | The United States surpassed two million on-road light-duty electric vehicles in 2021 - U.S. Energy Information Administration (EIA)
2023 | 140295.15 | 2875500 | 2775.136 | 389338121.3904 | 135.3984 | 20.4961 | 0.62109 | 0.07 |  | 1.12
2024 | 336708.36 | 7763850 | 3330.1632 | 1121293789.6044 | 144.425 | 23.0581 | 0.69873 | 0.15 | vs 2022 baseline | 1.2 |  | 1.25 | 1.35 | 1.05
2025 | 420885.45 | 10481197.5 | 3663.1795 | 1541778960.706 | 147.0995 | 24.9027 | 0.75463 | 0.05 | vs prior year | 1.1 |  |  |  | Multiplier due to projected miles increase in light duty passenger driving per year
2026 | 526106.8125 | 14149616.625 | 4066.1293 | 2139218307.9796 | 151.1856 | 26.895 | 0.815 | 0.06 | vs prior year | 1.11
2027 | 657633.5156 | 19101982.4438 | 4554.0648 | 2994905631.1714 | 156.7851 | 29.0465 | 0.8802 | 0.07 | vs prior year | 1.12
2028 | 822041.8945 | 25787676.2991 | 5100.5526 | 4192867883.6399 | 162.5919 | 31.3703 | 0.95061 | 0.07 | vs prior year | 1.12 |  | 1027552.3682 | 32234595.3738
2029 | 1000000 | 33000000 | 5610.6078 | 5610607808.0533 | 170.0184 | 33 | 1 | 0.05 |  | 1.1 |  | The 2030 National Charging Network: Estimating U.S. Light-Duty Demand for Electric Vehicle Charging Infrastructure (nrel.gov) | [9 empty] | Most current forecasting scenario
2030 |  |  | 5891.1382
2031 |  |  | 6185.6951
2032 |  |  | 6494.9799
2033 |  |  | 6819.7289
2034 |  |  | 7160.7153
2035 |  |  | 7894.6886 |  |  |  | End of charger life
33M EVs on Road x 2030 = Federal Goal
According to Experian Automotive's latest numbers, 288.5 million registered vehicles were driving around U.S. roads in the third quarter of last year.
What Is the Percentage of Electric Cars in the U.S.? ¦ Edmunds
[9 empty] | 11.44% | In 2030, this is the % of Evs on road vs current # total cars on road
[9 empty] | 15% | 2035
[9 empty] | 50% | 2050
Total light-duty behicles on road:
Sourcing: kWh per Mile Driven
36 | kWh/100 miles | per EPA |  | Comparison: Your Car vs. an Electric Vehicle ¦ US EPA
0.36 | kWh/mile
Calculations | 2022 | [5 empty] | Per L2 Municipal Public Charging Station
| # L2 Public Ports | # EVs Total | L2 Muni Public Charging Station Usage, Annual (kWh/Port) | Total kWh-All Ports | Annual kWh/EV | # Evs per Public L2 Port | Total Miles | EV CO2 Emissions | Plug-in Hybrid CO2 emissions | Conventional CO2 emissions | Annual CO2e Savings (lbs)
2022 | 116994 | 2130000 | 2477.8 | 289887733.2 | 136.0975 | 18.2061 | 6882.7778 | 1472.3395 | 163.5933 | 6226.2071 | 4590.2743
2023 | 140295.15 | 2875500 | 2775.136 | 389338121.3904 | 135.3984 | 20.4961 | 7708.7111 | 1649.0202 | 183.2245 | 6973.3519 | 5141.1073
2025 | 336708.36 | 7763850 | 3330.1632 | 1121293789.6044 | 144.425 | 23.0581 | 9250.4533 | 1978.8243 | 219.8694 | 8368.0223 | 6169.3287
2026 | 420885.45 | 10481197.5 | 3663.1795 | 1541778960.706 | 147.0995 | 24.9027 | 10175.4987 | 2176.7067 | 241.8563 | 9204.8246 | 6786.2616
2027 | 526106.8125 | 14149616.625 | 4066.1293 | 2139218307.9796 | 151.1856 | 26.895 | 11294.8035 | 2416.1444 | 268.4605 | 10217.3553 | 7532.7503
2028 | 657633.5156 | 19101982.4438 | 4554.0648 | 2994905631.1714 | 156.7851 | 29.0465 | 12650.1799 | 2706.0818 | 300.6758 | 11443.4379 | 8436.6804 |  |  | 123.7
2029 | 822041.8945 | 25787676.2991 | 5100.5526 | 4192867883.6399 | 162.5919 | 31.3703 | 14168.2015 | 3030.8116 | 336.7568 | 12816.6504 | 9449.082 |  |  | 0.32239
2030 | 1000000 | 33000000 | 5610.6078 | 5610607808.0533 | 170.0184 | 33 | 15585.0217 | 3333.8927 | 370.4325 | 14098.3155 | 10393.9902 | 48768.0933
2031 |  |  | 5891.1382 |  |  |  | 16364.2728 | 3500.5874 | 388.9542 | 14803.2313 | 10913.6897 |  |  |  | 1.6848
2032 |  |  | 6185.6951 |  |  |  | 17182.4864 | 3675.6167 | 408.4019 | 15543.3928 | 11459.3742
2033 |  |  | 6494.9799 |  |  |  | 18041.6107 | 3859.3976 | 428.822 | 16320.5625 | 12032.3429
2034 |  |  | 6819.7289 |  |  |  | 18943.6913 | 4052.3675 | 450.2631 | 17136.5906 | 12633.9601
2035 |  |  | 7160.7153 |  |  |  | 19890.8758 | 4254.9858 | 472.7762 | 17993.4201 | 13265.6581 | 109073.1184
Approx one-third are plug-in hybrid; 2/3 are Evs |  |  | Chart: EV Market Revenue Set To Hit $384 Billion in 2022 ¦ Statista | [5 empty] | *Preumes 10% of charges = plug-in hybrids, 90% all Evs
| kWh/Mile | Gallons/Mile | lbs CO2/kWh | lbs CO2/Mile - EV | lbs/CO2/gall gas | lbs/CO2/Mile - Conventional
Average EV = | 0.36 | 0 | 0.66024 | 0.23768 | 19.5925 | 0.93328 |  |  | Miles/kWh
Average Plug-in hybrid = | 0.162 | 0.024775 |  | 0.10696 |  | 0.49996 | 0.60692 |  | 2.8571
Conventional car = | 0 | 0.045045 | 0 |  |  | 0.90461
[6 empty] | Savings per mile | 0.66692
On average, 8,887 grams of CO2 are emitted from burning one gallon of gasoline.
MONTGOMERY COUNTY - EV CHARGING INFRASTRUCTURE CALCS FOR PUBLIC CHARGERS ONLY | [11 empty] | Plug-in hybrids use 30-60% less gas than conventional cars |  |  |  | Metric to be used = 45% |  |  | Plug-in Hybrids (fueleconomy.gov)
Type | # Ports | Qty
L2 | 4 | 7 | [9 empty] | Average car: 22.2 miles per gallon |  |  |  | Greenhouse Gas Emissions from a Typical Passenger Vehicle ¦ US EPA
L3 | 4 | 0
| L3 Muni Public Charging Station Usage, Annual (kWh/port) | L2 Muni Public Charging Station Usage, Annual (kWh/Port) | Total Annual kWh - All Ports | Total Miles | EV CO2 Emissions | Conventional CO2 emissions | Annual CO2e Savings (lbs) |  |  |  | CO2 emissions from gallon of gasoline |  |  | 8887 | grams CO2 |  | 1 gram = | 0.0022046 | pound | 19.5925
2022 |  | 2477.8 | 69378.4 | 192717.7778 | 47349.3625 | 174333.7986 | 126984.4361 |  |  |  | (Standard average car) |  |  | 411 | grams CO2 per mile |  | 411 grams = | 0.88254 |  | 0.88254 | 400.3153
2023 |  | 2775.136 | 77703.808 | 215843.9111 | 53031.286 | 195253.8545 | 142222.5684 | [6 empty] | Greenhouse Gas Emissions from a Typical Passenger Vehicle (EPA-420-F-14-040a, May 2014) | [6 empty] | 0.88254
2025 |  | 3330.1632 | 93244.5696 | 259012.6933 | 63637.5432 | 234304.6253 | 170667.0821 | [6 empty] | Other GHG Factor |  | 1.025 |  | 0.90461
2026 |  | 3663.1795 | 102569.0266 | 284913.9627 | 70001.2975 | 257735.0879 | 187733.7903
2027 |  | 4066.1293 | 113851.6195 | 316254.4986 | 77701.4403 | 286085.9475 | 208384.5073
2028 |  | 4554.0648 | 127513.8138 | 354205.0384 | 87025.6131 | 320416.2612 | 233390.6481
2029 |  | 5100.5526 | 142815.4715 | 396709.643 | 97468.6867 | 358866.2126 | 261397.5259
2030 |  | 5610.6078 | 157097.0186 | 436380.6073 | 107215.5553 | 394752.8339 | 287537.2785 | 1178443.7502
2031 |  | 5891.1382 | 164951.8696 | 458199.6377 | 112576.3331 | 414490.4755 | 301914.1424
2032 |  | 6185.6951 | 173199.463 | 481109.6195 | 118205.1498 | 435214.9993 | 317009.8496
2033 |  | 6494.9799 | 181859.4362 | 505165.1005 | 124115.4073 | 456975.7493 | 332860.342
2034 |  | 6819.7289 | 190952.408 | 530423.3555 | 130321.1776 | 479824.5368 | 349503.3591
2035 |  | 7160.7153 | 200500.0284 | 556944.5233 | 136837.2365 | 503815.7636 | 366978.5271 | 2846709.9704
TerraSol / Car Charge Coatesville | [8 empty] | EV vs Conventional CO2e Savings/Mile
|  | kWh Charged |  | Total Miles | lbs CO2e - Conventional Car (Savings) |  |  |  | 0.66692
| 2026 | 259200 |  | 740571.4286 | 669925.8977
| 2027 | 414720 |  | 1184914.2857 | 1071881.4364
| 2028 | 518400 |  | 1481142.8571 | 1339851.7955
| 2029 | 648000 |  | 1851428.5714 | 1674814.7444 |  |  |  | Evs with clean charging CO2e Savings per Mile
| 2030 | 777600 |  | 2221714.2857 | 2009777.6932 | 6766251.5673
| 2031 | 810000 |  | 2314285.7143 | 2093518.4305 |  |  |  | 0.90461
| 2032 | 842400 |  | 2406857.1429 | 2177259.1677
| 2033 | 874800 |  | 2499428.5714 | 2260999.9049
| 2034 | 907200 |  | 2592000 | 2344740.6421
| 2035 | 907200 |  | 2592000 | 2344740.6421
| 2036 | 907200 |  | 2592000 | 2344740.6421 | 20332250.9966
CO2e savings added to solar savings in Project Calcs tab
DELCO FAIR ACRES EV CHARGERS
Chevy Bolts | 46 | in fleet to date
Will allow for continued fleet expansion
Narrative says 14 - Budget = 12
Total annual miles driven |  | 698313
Conventional passenger car |  | 631698.6389 | lbs Co2e
EV |  | 165978.4975 | lbs CO2e
|  | 465720.1414 | Annual Savings: CO2e lbs
West Chester Borough
16 Level 2 Chargers
| L2 Muni Public Charging Station Usage, Annual (kWh/Port) | Total Miles | CO2e EV | CO2e Conventional | Savings/Charger (lbs/CO2) | Total Savings (16 chargers)
2022 | 2477.8 | 7079.4286 | 1682.6737 | 6404.0987 | 4721.425 | 75542.8004
2023 | 2775.136 | 7928.96 | 1884.5945 | 7172.5906 | 5287.996 | 84607.9365
2025 | 3330.1632 | 9514.752 | 2261.5134 | 8607.1087 | 6345.5952 | 101529.5238
2026 | 3663.1795 | 10466.2272 | 2487.6648 | 9467.8196 | 6980.1548 | 111682.4762
2027 | 4066.1293 | 11617.5122 | 2761.3079 | 10509.2797 | 7747.9718 | 123967.5486
2028 | 4554.0648 | 13011.6137 | 3092.6649 | 11770.3933 | 8677.7284 | 138843.6544
2029 | 5100.5526 | 14573.0073 | 3463.7847 | 13182.8405 | 9719.0558 | 155504.8929
2030 | 5610.6078 | 16030.308 | 3810.1631 | 14501.1245 | 10690.9614 | 171055.3822 | 701053.9542
2031 | 5891.1382 | 16831.8234 | 4000.6713 | 15226.1807 | 11225.5095 | 179608.1513
2032 | 6185.6951 | 17673.4146 | 4200.7048 | 15987.4898 | 11786.7849 | 188588.5589 |  |  | -340.9864
2033 | 6494.9799 | 18557.0853 | 4410.7401 | 16786.8643 | 12376.1242 | 198017.9868 |  |  | -0.05
2034 | 6819.7289 | 19484.9396 | 4631.2771 | 17626.2075 | 12994.9304 | 207918.8862
2035 | 7160.7153 | 20459.1866 | 4862.8409 | 18507.5178 | 13644.6769 | 218314.8305
2036 | 7518.7511 | 21482.1459 | 5105.983 | 19432.8937 | 14326.9107 | 229230.572 | 1922732.9399
*Applied public ev charging utilization to this entire project

## Gas Metrics
Local distribution losses |  |  | 20140729 DOE Fact sheet_Natural Gas GHG Emissions.pdf (energy.gov) |  |  |  |  | Reference for System Losses
66 bcf/23409 bcf |  | methane leaked
0.2819% |  | CH4 GWP | 28
|  | N2O GWP | 265
1 ccf gas
Emissions Factors per scf natural gas |  |  |  |  | Emission Factors for Greenhouse Gas Inventories (epa.gov)
CO2 (kg) | CH4 (g) | N2O (g)
0.05444 | 0.00103 | 0.0001
Emissions Factors per ccf natural gas | [6 empty] | eCO2e per ccf natural gas (pounds)
CO2 (g) | CH4 (g) | N2O (g) |  |  |  |  | 13.2653
5.444 | 0.103 | 0.01
Emissions Factors per ccf natural gas (Pounds)
CO2 (lbs) | CH4 (lbs) | N2O (lbs) |  |  | U.S. Energy Information Administration - EIA - Independent Statistics and Analysis
12.096 | 0.021425 | 0.0021425
12.096 | 0.021485 | 0.0021425
0.6798
Conversion factors:
1 ccf | 100 | cubic feet |  | g/mmBTU | g/ccf | lbs/ccf
kg to pounds | 2.2046 |  | CH4 | 1 | 9.7182 | 0.021425
g to pounds | 0.0022046 |  | N2O | 0.1 | 0.97182 | 0.0021425
Added methane emissions due to distribution leaks
1.0028
|  | scf | [5 empty] | GWPs
[8 empty] | CO2 | CH4 | N2O
1ccf = | 1.029 | therms | [5 empty] | 1 | 28 | 265
1 therm = | 0.97182 | ccf | [5 empty] | 12.096 | 0.021485 | 0.0021425
1ccf = | 0.1029 | mmBtu | [5 empty] | 12.096 | 0.60159 | 0.56776
1 MBtu = | 9.7182 | ccf | [6 empty] | 13.2653
|  | 293 | kWh = 1MBTU |  | 193.4491
|  | 9.8 | ccf = 1MBTU |  | 130.0004
0.67201

## Fuel Oil+Propane Metrics
Fuel Oil
24.8604 | pounds CO2 per gallon |  |  | U.S. Energy Information Administration - EIA - Independent Statistics and Analysis
| 24.78 | pounds CO2 per gallon |  |  | emission-factors_apr2021.pdf (epa.gov)
| 11.27 | kg CO2 | 24.78
| 0.45 | g CH4 | 0.00099208
| 0.09 | g N2O | 0.00019842
24.7812
Propane
12.7259 | pounds CO2 per gallon
[6 empty] | kg to pounds | 2.2046
| 5.72 | kg CO2 | 12.68 |  |  | g to pounds | 0.0022046
| 0.27 | g CH4 | 0.00059525
| 0.05 | g N2O | 0.00011023
12.6807
[8 empty] | CO2 | CH4 | N2O
[8 empty] | 1 | 28 | 265
[7 empty] | Fuel Oil | 24.78 | 0.00099208 | 0.00019842
[8 empty] | 24.78 | 0.027778 | 0.05258
24.8604
[7 empty] | Propane | 12.68 | 0.00059525 | 0.00011023
[8 empty] | 12.68 | 0.016667 | 0.029211
12.7259

## Project-Specific Calcs_Lifecycl
Radnor Municipal Building
Annual Energy Savings from Existing Building Upgrade
| Electricity (kWh) | Electricity (kWh) w/Line Losses | CO2e | Gas (ccf) | CO2e | Total CO2e, Annual
LED Lighting Upgrade | 131196 | 135616.0996 | 89538.6311 |  |  | 89538.6311
LED Lighting Controls | 25028 | 25871.2136 | 17081.1066 |  |  | 17081.1066
Total Lighting |  | 161487.3132 | 106619.7377 |  |  | 106619.7377
HVAC Controls Upgrade | 14178 | 14655.6683 | 9676.1998 | 203.1098 | 2694.3222 | 12370.5221
VRF Heat Pumps | 170578 | 176324.9111 | 116416.054 | 3933.9164 | 52184.7674 | 168600.8214
Total HVAC | [5 empty] | 180971.3434
Schedule
Lighting On-Line - 2026
HVAC On-Line - 2027
CO2e Savings by Year
2025 | 0
2026 | 106619.7377
2027 | 287591.0811 | (+every year thereafter for 25 years)
Radnor Public Works Building
Annual Energy Savings from Existing Building Upgrade
| Electricity (kWh) | Electricity (kWh) w/Line Losses | CO2e | Gas (ccf) | CO2e | Total CO2e, Annual
LED Lighting Upgrade | 25232 | 26082.0865 | 17220.3325 |  |  | 17220.3325
LED Lighting Controls | 7521 | 7774.3886 | 5132.9312 |  |  | 5132.9312
Total Lighting | 32753 |  | 22353.2637 |  |  | 22353.2637
HVAC Controls + EquipmentUpgrade | -151332 | -156430.4977 | -103281.0461 | 957.24 | 12698.1215 | -90582.9246
Total HVAC |  |  | -103281.0461 |  |  | -90582.9246
TOTAL | -118579 | -122574.0226 | -80927.7824 | 957.24 | 12698.1215 | -68229.6609
Schedule
Lighting On-Line - 2026
HVAC On-Line - 2027
CO2e Savings by Year
2025 | 0
2026 | 22353.2637
2027 | -68229.6609 | (+every year thereafter for 25 years)
Radnor RAC
Annual Energy Savings from Existing Building Upgrade
| Electricity (kWh) | Electricity (kWh) w/Line Losses | CO2e | Gas (ccf) | CO2e | Total CO2e, Annual
LED Lighting Upgrade | 20456 | 21145.1792 | 13960.8085 |  |  | 13960.8085
LED Lighting Controls | 5114 | 5286.2948 | 3490.2021 |  |  | 3490.2021
Total Lighting | 25570 | 26431.474 | 17451.0107 |  |  | 17451.0107
HVAC EquipmentUpgrade | -33116 | -34231.7049 | -22601.0039 | 5813 | 77111.4635 | 54510.4596
HVAC Controls | 1561 | 1613.5914 | 1065.3511 | 291 | 3860.216 | 4925.5672
Total HVAC | -31555 | -32618.1135 | -21535.6528 | 6104 | 80971.6796 | 54510.4596
TOTAL | -7546 | -7800.2309 | -5149.9932 | 6104 | 80971.6796 | 71961.4703
Schedule
Lighting On-Line - 2026
HVAC On-Line - 2027
CO2e Savings by Year
2025 | 0
2026 | 17451.0107
2027 | 71961.4703 | (+every year thereafter for 25 years)
PEA Small Food/Refrigeration Program
kWh Saved
Y1 | 1757800
Y2 | 4614175
Y3 | 7010113
Y4 | 12414138
Y5 | 15422225
Y6 | 10178668.5
Y7 | 5089334.25
2025-2030 | 41218451
2025-2050 | 56486453.75
Navy Yard Bus Electrification Project
| 2022 | 2021 | 2020 | 2019 | 2018 | Average per Year | Average per Bus | CO2e/Bus/Year |  | Eight Buses
Current bus fleet miles | 122501 | 136324 | 135136 | 194316 | 177188 | 153093 | 25515.5 | 115021.8469 | Diesel | 920174.7753 | Diesel
n=6 buses | [7 empty] | 28195.8707 | EV | 225566.9655 | EV
New technology BEV | 520 kWh |  |  | kWh/mile | lbs CO2e/EV Bus Mile
| 500 km | 310.6856 | miles equivalent | 1.6737 | 1.105
Greenhouse Gas Emissions from a Typical Passenger Vehicle ¦ US EPA
CO2 emissions from a gallon of gasoline: 8,887 grams CO2/ gallon |  |  |  |  | 1 | km | 1g= | 0.0022046 | pound
CO2 emissions from a gallon of diesel: 10,180 grams CO2/ gallon |  |  |  |  | 0.62137 | miles
The average passenger vehicle emits about 400 grams of CO2 per mile.
Here is the average MPG for different buses: |  | Comparing Types of Buses and Their MPG (pfleet.com)
10,180 grams CO2/gallon of diesel
School bus MPG: 6 to 10 |  |  |  |  | Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
City bus MPG: 3.5 to 6.5 | 5 | mpg average | [9 empty] | GWPs
Coach bus MPG: 6 to 8 |  |  |  |  | 10.21 | kg CO2 / gallon of diesel | [5 empty] | CH4 | N2O
Charter bus MPG: 5 to 8 |  |  |  |  | 8.78 | kg CO2 motor gasoline/gallon | [5 empty] | 28 | 265
Shuttle bus MPG: 15 to 20
Tour bus MPG: 6 to 8 | [6 empty] | CO2 |  |  | CH4 |  |  |  |  | N2O
Double decker bus MPG: 4 to 6 | [6 empty] | g CO2/ gallon | CO2 lbs/gallon | CO2 lb/mile | CH4 g/mile | CH4 g/gallon | CO2e g/gallon | CO2e lbs/gallon | CO2e lbs/mile | N2O g/mile | N2O g/gallon | CO2e g/gallon | CO2e lbs/gallon | CO2e lbs/mile | Total CO2e lbs/gallon | Total CO2e lbs/mile
Articulated bus MPG: 3.5 to 5.5 | [5 empty] | Diesel/bus | 10210 | 22.5092 | 4.5018 | 0.0899 | 0.4495 | 12.586 | 0.027747 | 0.0055495 | 0.0087 | 0.0435 | 1.218 | 0.0026852 | 0.00053705 | 22.5396 | 4.5079
[11 empty] | Gasoline/light duty | 8.78 | 0.019357 | 0.00087192 | 0.0173 | 0.38406 | 10.7537 | 0.023708 | 0.0010679 | 0.0036 | 0.07992 | 1.218 | 0.0026852 | 0.00053705 | 0.04575 | 0.0024769
Emission Factors for Greenhouse Gas Inventories (epa.gov)
ev PER MILE PER greet |  |  | EV300 Type 1 Lith-Ion Conventional materials
us ELECTRICITY MIX
PER MILE
| kg/mi |  |  | kg/mi |  |  | kg/mi
co2 | 0.2139 |  | N2O | 5.1562e-06 |  | CH4 | 0.00055046
PHA - Johnson Homes
| kWh | ccf
Lighting | 10454
CHP HVAC | 22954084 | -1627326.5306
Reflective Roof | 35448
City of Philadelphia - EV Chargers
|  | CO2e lbs | Equiv Miles | Equiv Gallons | Equiv CO2e lbs | Annual CO2e Savings
Current Annual kWh | 353323 | 233276.5642 | 1009494.2857 | 45472.7156 | 890922.2673 | 657645.703 |  |  |  | grams to lbs |  | grams CO2e/gallon
[10 empty] | 0.0022046 |  | 8887
Fleet Growth in 2030 | [5 empty] | 756292.5585
(Est 15% in 5 yrs, with additional 15% over next 5 yrs)
CO2e Savings
2025-2030 | [5 empty] | 3781462.7925
2025-2050 | [5 empty] | 7168338.1632
Small Food Business Program
Typical retail food store leaks 25% refrigerant = |  |  | 1000 | pounds/year
| Co2e-Small | Co2e-Med | CO2e-Lg | SUM (pounds)
Y1 | 31167.8523 | 9529481.2749 | 5015516.4605 | 14576165.5877
Y2 | 124671.4092 | 23823703.1874 | 10031032.921 | 33979407.5175
Y3 | 249342.8183 | 35735554.7811 | 10031032.921 | 46015930.5204 |  | Most common HFC-134a
Y4 | 498685.6366 | 59559257.9684 | 15046549.3815 | 75104492.9866 | [8 empty] | Avg capacity | Operating Emissions Factor (% of capacity/year) | Annual Lekage/Unit (kg refrigerant) | GWP | kg Leakage/year | Lbs CO2e Leakage/Unit/Year
Y5 | 623357.0458 | 14294221.9124 | 20062065.842 | 34979644.8002 |  | Small | 0.2 | to | 6 | kg | refrigerant capacity |  | 2.9 | 0.15 | 0.435 | 1300 | 565.5 | 1246.7141
[6 empty] | Medium | 50 |  | 1000 | kg | refrigerant capacity |  | 475 | 0.35 | 166.25 | 1300 | 216125 | 476474.0637
[6 empty] | Large | 1000 |  | 2000 | kg | refrigerant capacity |  | 500 | 0.35 | 175 | 1300 | 227500 | 501551.646
Followed GHG Protocol Methodology
Adipic Acid Production (ghgprotocol.org)
[6 empty] | 1 | kg = | 2.2046 | pounds
Program Year | Y1 emissions savings over time | Y2 emissions savings over time | Y3 emissions savings over time | Y4 emissions savings over time | Y5 emissions savings over time | Annual Total Fugitive CO2e Emissions Savings
1 | 14576165.5877 |  |  |  |  | 14576165.5877
2 | 7288082.7939 | 33979407.5175 |  |  |  | 41267490.3114
3 | 3644041.3969 | 16989703.7588 | 46015930.5204 |  |  | 66649675.6761
4 | 2186424.8382 | 8494851.8794 | 2300796.526 | 75104492.9866 |  | 88086566.2301
5 | 728808.2794 | 5096911.1276 | 11503982.6301 | 37552246.4933 | 0 | 54881948.5304 | 265461846.3358
6 | 0 | 1698970.3759 | 6902389.5781 | 18776123.2466 | 0 | 27377483.2006
7 | 0 | 0 | 2300796.526 | 11265673.948 | 0 | 13566470.474
8 |  |  | 0 | 3755224.6493 | 0 | 3755224.6493
9 |  |  |  | 0 | 0 | 0 | 310161024.6597
10 |  |  |  |  | 0 | 0
11
259200
800000
|  | 3.0864 |  | Triple demand in 3 years
ECA Oil to HP Conversions
# Homes by year
| 171 |  | 42 |  | 87 |  | TOTALS |  | Y1 TOTALS |  | Y2 TOTALS |  | Y3 TOTALS |  | Y4 TOTALS |  | Y5 TOTALS
| kWh | gall | kWh | gall | kWh | gall | kWh | gall | kWh | gall | kWh | gall | kWh | gall | kWh | gall | kWh | gall
300 | -319428 | 68160.6 | 179592 | 20634.6 | -48546 | 10692.3 | -188382 | 99487.5 | -188382 | 99487.5 | -539490 | 301410.3 | -919857 | 520160 | -1300224 | 738909.7 | -1488606 | 838397.2
600 | -638856 | 136321.2 | 384840 | 44217 | -97092 | 21384.6 | -351108 | 201922.8
650 | -692094 | 147681.3 | 416910 | 47901.75 | -105183 | 23166.65 | -380367 | 218749.7
650 | -692094 | 147681.3 | 416910 | 47901.75 | -105183 | 23166.65 | -380367 | 218749.7
300 | -319428 | 68160.6 | 179592 | 20634.6 | -48546 | 10692.3 | -188382 | 99487.5
2500
% distribution of measure & home type
| 0.57 |  | 0.15 |  | 0.29 |  |  |  |  | kWh savings/yr | fuel savings/yr |  | kWh savings/yr | fuel savings/yr |  | kWh savings/yr | fuel savings/yr
[10 empty] | -1868 | 398.6 |  | 4276 | 491.3 |  | -558 | 122.9
[12 empty] | 137381 | btu/gallon fuel oil
[12 empty] | 137.381 | mbtu/gal