## Community Breakdown
Alaska Heat Pump Calculator Data
|  |  |  | Lat | Long | [6 empty] | % Population Native (Average from region) | Average Housing Data | [10 empty] | Low Efficiency Homes |  |  |  | Standard/High Efficiency Homes
Name | Region | Sub-Region | Tier |  |  | Fossil Fuel Electricity Generation (%) | Renewable Energy Electricity Generation (%) | Electricity Price ($/kWh) | OIl 1 Price ($) | Population | % of total CPRG focus region population |  | Housing Units | Occupied Housing Units | Average House sq. | % Homes built before 1980 & not retrofitted | % Homes Classified as Drafty | % Low Energy Efficient Homes | % Standard/High Energy Efficient Homes | % Homes Fossil Fuel Heat | Estimate # Homes Fossil Fuel Heat | % Homes Electric Heat | Estimate # Homes Electric Heat | Net Present Value ($) | Annual Heating Fuel Savings (gal) | Annual Increase in Electricity Usage (kWh) | Annual GHG Emissions Savings (lbCO2) | Net Present Value ($) | Annual Heating Fuel Savings (gal) | Annual Increase in Electricity Usage (kWh) | Annual GHG Emissions Savings (lbCO2) | Efficiency-weighted Heating Fuel Savings (gal) | Efficiency-weighted Annual GHG (MTCO2) | Heating Fuel Savings * Occupied Housing Units | Annual GHG * Occupied Housing Units
Kodiak | Kodiak Island Borough | Kodiak Island |  | 57.7972 | -152.3913 | 0% | 100% | 0.1871 | 5.26 | 5420 | 5.821% | 19.21% | 2130 | 1770 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 1294.8786 | 15.16% | 268.2632 | 20119 | 671 | 7195 | 14879 | 14613 | 491 | 5311 | 10882 | 573.3786 | 5.7657 | 1014880.0955 | 10205.3366
Port Lions | Kodiak Island Borough | Kodiak Island |  | 57.8667 | -152.8799 | 0% | 100% | 0.1871 | 3.99 | 168 | 0.1804% | 19.21% | 122 | 66 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 48.2836 | 15.16% | 10.003 | 24238 | 671 | 7195 | 14879 | 17625 | 491 | 5311 | 10882 | 573.3786 | 5.7657 | 37842.9866 | 380.538
Juneau | Juneau Cit and Borough | Juneau |  | 58.357 | -134.5343 | 0% | 100% | 0.1203 | 4.55 | 31700 | 34.05% | 21.07% | 14100 | 13000 | 1841 | 28.67% | 58% | 43.33% | 56.67% | 62.63% | 8141.5765 | 32.06% | 4168.238 | 27688 | 644 | 7204 | 14271 | 20528 | 480 | 5475 | 10651 | 551.0664 | 5.5427 | 7163862.9951 | 72055.6228
Larsen Bay | Kodiak Island Borough | Kodiak Island |  | 57.5342 | -153.9877 | 0% | 100% | 0.5 | 3.97 | 33 | 0.03544% | 19.21% | 83 | 18 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 13.1683 | 15.16% | 2.7281 | 15250 | 671 | 7195 | 13440 | 10926 | 491 | 5311 | 9820 | 573.3786 | 5.2058 | 10320.8145 | 93.7035
Petersburg | Petersburg Borough | Petersburg-Wrangell |  | 56.8051 | -132.9572 | 0% | 100% | 0.126 | 4.25 | 2790 | 2.997% | 14.21% | 1480 | 1230 | 1750 | 39.34% | 67% | 53.17% | 46.83% | 41.11% | 505.6767 | 45.35% | 557.8639 | 29301 | 615 | 6781 | 12964 | 21562 | 455 | 5100 | 9580 | 540.0754 | 5.1616 | 664292.7541 | 6348.7432
Kupreanof | Petersburg Borough | Petersburg-Wrangell |  | 56.8144 | -132.9806 | 0% | 100% | 0.13 | 4.97 | 19 | 0.02041% | 14.21% | 23 | 5 | 1750 | 39.34% | 67% | 53.17% | 46.83% | 41.11% | 2.0556 | 45.35% | 2.2677 | 29301 | 615 | 6781 | 12964 | 21562 | 455 | 5100 | 9580 | 540.0754 | 5.1616 | 2700.377 | 25.8079
Wrangell | Wrangell Borough | Petersburg-Wrangell |  | 56.4208 | -132.3526 | 0% | 100% | 0.1548 | 4.71 | 2070 | 2.223% | 30.46% | 1350 | 928 | 1800 | 37.26% | 66% | 51.63% | 48.37% | 30.12% | 279.4941 | 61.52% | 570.9239 | 27950 | 605 | 6552 | 12752 | 20283 | 444 | 4882 | 9359 | 527.1256 | 5.0398 | 489172.531 | 4676.9203
Ketchikan | Ketchikan Gateway Borough | Ketchikan-Prince of Wales |  | 55.3522 | -131.6683 | 0% | 100% | 0.1056 | 4.71 | 8070 | 8.668% | 24.67% | 3930 | 3290 | 1778 | 33.26% | 74% | 53.63% | 46.37% | 54.96% | 1808.0288 | 38.71% | 1273.6065 | 28011 | 584 | 6447 | 12309 | 20623 | 432 | 4858 | 9101 | 513.5167 | 4.9085 | 1689469.8684 | 16149.0127
Saxman | Ketchikan Gateway Borough | Ketchikan-Prince of Wales |  | 55.321 | -131.5987 | 0% | 100% | 0.1056 | 4.7149 | 380 | 0.4081% | 24.67% | 140 | 118 | 1778 | 33.26% | 74% | 53.63% | 46.37% | 54.96% | 64.8472 | 38.71% | 45.6795 | 28143 | 584 | 6447 | 12309 | 20720 | 432 | 4858 | 9101 | 513.5167 | 4.9085 | 60594.9679 | 579.2047
Sitka | Sitka Borough | Sitka-Hoonah-Yakutat |  | 57.0631 | -135.3374 | 0% | 100% | 0.1747 | 4.71 | 8380 | 9% | 24.38% | 4140 | 3460 | 1689 | 35.18% | 57% | 46.09% | 53.91% | 54.75% | 1894.3525 | 40.72% | 1408.8804 | 21497 | 570 | 6116 | 12636 | 15470 | 413 | 4483 | 9155 | 485.3576 | 4.8803 | 1679337.3215 | 16885.9674
Haines | Haines Borough | Haines-Skagway |  | 59.2358 | -135.4503 | 11% | 89% | 0.261 | 4.71 | 1370 | 1.471% | 17.93% | 826 | 615 | 1751 | 19.79% | 54% | 36.89% | 63.11% | 45.76% | 281.3975 | 1.346% | 8.2764 | 18888 | 597 | 6734 | 12564 | 13944 | 447 | 5158 | 9399 | 502.341 | 4.793 | 308939.7085 | 2947.6755
Skagway | Skagway Borough | Haines-Skagway |  | 59.4617 | -135.3103 | 16% | 84% | 0.2611 | 4.71 | 741 | 0.7959% | 5.81% | 538 | 346 | 1689 | 31.06% | 58% | 44.53% | 55.47% | 66.85% | 231.3183 | 3.013% | 10.4256 | 17905 | 579 | 6544 | 11531 | 13198 | 433 | 5003 | 8602 | 498.0127 | 4.4934 | 172312.3949 | 1554.7168
Valdez | Chugach Census Area | Chugach |  | 61.1258 | -146.2857 | 38% | 62% | 0.358 | 4.7 | 3870 | 4.157% | 15.5% | 1930 | 1660 | 1838 | 34.75% | 54% | 44.37% | 55.63% | 87.16% | 1446.8436 | 4.484% | 74.4261 | 2016 | 724 | 8053 | 11210 | 1289 | 534 | 5995 | 8246 | 618.3079 | 4.3369 | 1026391.1474 | 7199.2298
Cordova | Chugach Census Area | Chugach |  | 60.5427 | -145.7386 | 21.54% | 78.46% | 0.28 | 4.71 | 2510 | 2.696% | 15.5% | 1110 | 883 | 1838 | 34.75% | 54% | 44.37% | 55.63% | 87.16% | 769.6162 | 4.484% | 39.5893 | 20397 | 690 | 7814 | 10600 | 15543 | 523 | 6052 | 7972 | 597.1022 | 4.145 | 527241.2642 | 3660.0123
Seward | Kenai Peninsula Borough | Kenai Peninsula |  | 60.1114 | -149.4357 | 79% | 21% | 0.2027 | 5.13 | 2850 | 3.061% | 24.67% | 1230 | 1020 | 2006 | 30.06% | 28% | 29.03% | 70.97% | 79.07% | 806.5404 | 7.909% | 80.6669 | 17360 | 751 | 8404 | 9917 | 12976 | 573 | 6533 | 7479 | 624.6742 | 3.7134 | 637167.64 | 3787.7186
Whittier | Chugach Census Area | Chugach |  | 60.7732 | -148.6827 | 79% | 21% | 0.212 |  | 265 | 0.2846% | 15.5% | 347 | 155 | 1838 | 34.75% | 54% | 44.37% | 55.63% | 87.16% | 135.0968 | 4.484% | 6.9494 | 17651 | 715 | 8072 | 9385 | 13141 | 543 | 6239 | 7043 | 619.3209 | 3.666 | 95994.7324 | 568.2337
Gustavus | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 58.4219 | -135.7397 | 17% | 83% | 0.267 | 4.42 | 620 | 0.6659% | 46.68% | 503 | 248 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 131.7263 | 1.634% | 4.0531 | 12748 | 472 | 5317 | 8877 | 9719 | 347 | 3957 | 6498 | 411.2031 | 3.5017 | 101978.3724 | 868.4194
Coffman Cove | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.0045 | -132.8132 | 6% | 94% | 0.3015 | 5.5 | 125 | 0.1343% | 54.74% | 205 | 82 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 35.8927 | 13.97% | 11.4559 | 10236 | 432 | 4722 | 8641 | 7566 | 313 | 3456 | 6252 | 376.9838 | 3.4185 | 30912.6731 | 280.3173
Craig | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.4761 | -133.1382 | 6% | 94% | 0.3015 | 6.19 | 1020 | 1.096% | 54.74% | 589 | 489 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 214.0433 | 13.97% | 68.3162 | 10128 | 397 | 4230 | 7961 | 7435 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 168586.5367 | 1533.4327
Hollis | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.4836 | -132.6699 | 6% | 94% | 0.2574 | 5.79 | 138 | 0.1482% | 54.74% | 83 | 83 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 36.3304 | 13.97% | 11.5956 | 9974 | 397 | 4230 | 7961 | 7337 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 28614.8927 | 260.2759
Hydaburg | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.2073 | -132.8246 | 6% | 94% | 0.2729 | 4.2 | 374 | 0.4017% | 54.74% | 150 | 125 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 54.7145 | 13.97% | 17.4632 | 10573 | 397 | 4230 | 7961 | 7777 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 43094.718 | 391.9818
Kasaan | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.5439 | -132.412 | 6% | 94% | 0.2574 | 4.89 | 28 | 0.03007% | 54.74% | 39 | 32 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 14.0069 | 13.97% | 4.4706 | 9974 | 397 | 4230 | 7961 | 7337 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 11032.2478 | 100.3473
Klawock | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.5548 | -133.0876 | 6% | 94% | 0.3015 | 5.49 | 705 | 0.7572% | 54.74% | 382 | 312 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 136.5675 | 13.97% | 43.5882 | 10523 | 397 | 4230 | 7961 | 7741 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 107564.416 | 978.3865
Naukati | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.873 | -133.2066 | 6% | 94% | 0.3015 | 6 | 120 | 0.1289% | 54.74% | 58 | 52 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 22.7612 | 13.97% | 7.2647 | 9927 | 397 | 4230 | 7961 | 7304 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 17927.4027 | 163.0644
Thorne Bay | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.6734 | -132.5251 | 6% | 94% | 0.3015 | 5.26 | 466 | 0.5005% | 54.74% | 330 | 227 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 99.3616 | 13.97% | 31.7132 | 10573 | 397 | 4230 | 7961 | 7777 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 78260.0078 | 711.8389
Edna Bay | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.9785 | -133.6764 | 100% | 0% |  | 5.17 | 25 | 0.02685% | 54.74% | 36 | 16 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 7.0035 | 13.97% | 2.2353 | 9927 | 397 | 4230 | 7961 | 7304 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 5516.1239 | 50.1737
Hyder | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.919 | -130.0288 | 100% | 0% |  | 5.56 | 16 | 0.01718% | 54.74% | 59 | 16 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 7.0035 | 13.97% | 2.2353 | 9927 | 397 | 4230 | 7961 | 7304 | 284 | 3054 | 5695 | 344.7577 | 3.1359 | 5516.1239 | 50.1737
Homer | Kenai Peninsula Borough | Kenai Peninsula |  | 59.6523 | -151.53 | 83% | 17% | 0.2761 | 5.44 | 5880 | 6.315% | 24.67% | 7940 | 6462 | 2006 | 30.06% | 28% | 29.03% | 70.97% | 79.07% | 5109.6709 | 7.909% | 511.0483 | 15779 | 758 | 8740 | 8059 | 11813 | 591 | 6977 | 6125 | 639.4808 | 3.0329 | 4132324.9945 | 19598.7259
Port Graham | Kenai Peninsula Borough | Kenai Peninsula |  | 59.3495 | -151.8327 | 83% | 17% | 0.2561 | 4.85 | 142 | 0.1525% | 24.67% | 74 | 45 | 2006 | 30.06% | 28% | 29.03% | 70.97% | 79.07% | 35.5827 | 7.909% | 3.5588 | 25024 | 758 | 8740 | 8059 | 19046 | 591 | 6977 | 6125 | 639.4808 | 3.0329 | 28776.6365 | 136.4814
Seldovia | Kenai Peninsula Borough | Kenai Peninsula |  | 59.4392 | -151.7122 | 83% | 17% | 0.2561 | 7.36 | 242 | 0.2599% | 24.67% | 189 | 88 | 2006 | 30.06% | 28% | 29.03% | 70.97% | 79.07% | 69.5839 | 7.909% | 6.9595 | 32445 | 758 | 8740 | 8059 | 24818 | 591 | 6977 | 6125 | 639.4808 | 3.0329 | 56274.3113 | 266.8969
Nanwalek | Kenai Peninsula Borough | Kenai Peninsula |  | 59.3555 | -151.9198 | 83% | 17% |  | 5.57 | 172 | 0.1847% | 24.67% | 57 | 38 | 2006 | 30.06% | 28% | 29.03% | 70.97% | 79.07% | 30.0476 | 7.909% | 3.0052 | 25024 | 758 | 8740 | 8059 | 19046 | 591 | 6977 | 6125 | 639.4808 | 3.0329 | 24300.2708 | 115.2509
Metlakatla | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 55.1239 | -131.5776 | 6% | 94% | 0.0925 | 5.35 | 1440 | 1.547% | 54.74% | 486 | 443 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 193.9083 | 13.97% | 61.8897 | 14134 | 361 | 3645 | 7270 | 9932 | 254 | 2582 | 5114 | 311.5317 | 2.8455 | 138008.5293 | 1260.552
Pelican | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 57.96 | -136.227 | 76% | 24% | 0.2541 | 5.35 | 92 | 0.09881% | 46.68% | 75 | 36 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 19.1216 | 1.634% | 0.58836 | 15742 | 479 | 5447 | 4091 | 11822 | 350 | 4021 | 2946 | 416.2576 | 1.603 | 14985.2741 | 57.7094
Kake | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.9755 | -133.939 | 76% | 24% | 0.5498 | 4.75 | 533 | 0.5725% | 54.74% | 254 | 172 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 75.2872 | 13.97% | 24.0294 | 373 | 448 | 4920 | 3035 | 1354 | 324 | 3599 | 2155 | 390.6722 | 1.1921 | 67195.6209 | 205.0431
Angoon | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 57.4966 | -134.5789 | 76% | 24% | 0.3014 | 4.77 | 339 | 0.3641% | 46.68% | 266 | 162 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 86.047 | 1.634% | 2.6476 | 13561 | 430 | 4629 | 3051 | 11263 | 308 | 3346 | 2148 | 370.6622 | 1.1847 | 60047.2829 | 191.9203
Hoonah | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 58.1091 | -135.4332 | 76% | 24% | 0.4978 | 8.09 | 951 | 1.021% | 46.68% | 364 | 269 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 142.8805 | 1.634% | 4.3963 | 1540 | 479 | 5447 | 3001 | 2940 | 350 | 4021 | 2142 | 416.2576 | 1.1717 | 111973.2983 | 315.1928
Klukwan | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 59.3994 | -135.8945 | 76% | 24% |  | 5 | 67 | 0.07196% | 46.68% | 54 | 30 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 15.9346 | 1.634% | 0.4903 | 6581 | 448 | 5127 | 2749 | 6247 | 330 | 3844 | 1928 | 390.6077 | 1.0658 | 11718.2322 | 31.974
Old Harbor | Kodiak Island Borough | Kodiak Island |  | 57.206 | -153.3007 | 100% | 0% | 0.6355 | 5.56 | 210 | 0.2255% | 19.21% | 128 | 75 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 54.8677 | 15.16% | 11.3671 | 15629 | 671 | 7195 | 2648 | 13466 | 491 | 5311 | 1854 | 573.3786 | 1.0058 | 43003.3939 | 75.434
Ouzinkie | Kodiak Island Borough | Kodiak Island |  | 57.9211 | -152.5025 | 100% | 0% | 0.5175 | 5.44 | 103 | 0.1106% | 19.21% | 68 | 40 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 29.2628 | 15.16% | 6.0624 | 16051 | 671 | 7195 | 2648 | 13844 | 491 | 5311 | 1854 | 573.3786 | 1.0058 | 22935.1434 | 40.2315
Akhiok | Kodiak Island Borough | Kodiak Island |  | 56.9445 | -154.1715 | 100% | 0% |  | 4.85 | 65 | 0.06981% | 19.21% | 34 | 19 | 1854 | 38.53% | 53% | 45.77% | 54.23% | 73.16% | 13.8998 | 15.16% | 2.8797 | 15629 | 671 | 7195 | 2648 | 13466 | 491 | 5311 | 1854 | 573.3786 | 1.0058 | 10894.1931 | 19.1099
Yakutat | Yakutat City and Borough | Sitka-Hoonah-Yakutat |  | 59.5467 | -139.7281 | 100% | 0% | 0.5321 | 7.36 | 564 | 0.6058% | 52.42% | 343 | 231 | 1116 | 32.98% | 60% | 46.49% | 53.51% | 74.34% | 171.7245 | 1.509% | 3.4868 | 21772 | 435 | 4916 | 1286 | 17390 | 318 | 3630 | 878 | 372.3909 | 0.48429 | 86022.2944 | 111.8703
Port Alexander | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.2501 | -134.6507 | 100% | 0% |  | 5.57 | 73 | 0.07841% | 54.74% | 81 | 24 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 10.5052 | 13.97% | 3.3529 | -15051 | 448 | 4920 | 83 | -9598 | 324 | 3599 | -5 | 390.6722 | 0.019194 | 9376.1331 | 0.46066
Point Baker | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.3486 | -133.6166 | 100% | 0% |  | 5.35 | 0 | 0% | 54.74% | 0 | 0 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 0 | 13.97% | 0 | -11075 | 454 | 5058 | -43 | -6413 | 332 | 3739 | -126 | 397.5969 | -0.03691 | 0 | 0
Port Protection | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.3222 | -133.6061 | 100% | 0% |  | 5.35 | 14 | 0.01504% | 54.74% | 41 | 14 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 6.128 | 13.97% | 1.9559 | -15574 | 454 | 5058 | -43 | -10912 | 332 | 3739 | -126 | 397.5969 | -0.03691 | 5566.356 | -0.51674
Whale Pass | Prince of Wales-Hyder Census Area | Ketchikan-Prince of Wales |  | 56.1151 | -133.1548 | 100% | 0% |  | 4.75 | 85 | 0.09129% | 54.74% | 94 | 46 | 1258 | 30.54% | 77% | 53.77% | 46.23% | 43.77% | 20.1349 | 13.97% | 6.4265 | 10386 | 432 | 4722 | -331 | 7675 | 313 | 3456 | -315 | 376.9838 | -0.14678 | 17341.2557 | -6.752
Tenakee Springs | Hoonah-Angoon Census Area | Sitka-Hoonah-Yakutat |  | 57.7808 | -135.2185 | 100% | 0% | 0.84 | 4.77 | 113 | 0.1214% | 46.68% | 222 | 98 | 1260 | 34.72% | 68% | 51.36% | 48.64% | 53.12% | 52.0531 | 1.634% | 1.6016 | -3939 | 479 | 5447 | -811 | -402 | 350 | 4021 | -673 | 416.2576 | -0.33742 | 40793.2462 | -33.067
Chenega | Chugach Census Area | Chugach |  | 60.0697 | -148.0092 | 100% | 0% | 0.6131 | 8.09 | 58 | 0.06229% | 15.5% | 41 | 22 | 1838 | 34.75% | 54% | 44.37% | 55.63% | 87.16% | 19.175 | 4.484% | 0.98637 | 6813 | 700 | 7865 | -1003 | 9314 | 530 | 6050 | -966 | 605.4334 | -0.44562 | 13319.5348 | -9.8036
Tatitlek | Chugach Census Area | Chugach |  | 60.8738 | -146.6838 | 100% | 0% |  | 5 | 40 | 0.04296% | 15.5% | 69 | 17 | 1838 | 34.75% | 54% | 44.37% | 55.63% | 87.16% | 14.8171 | 4.484% | 0.7622 | -13983 | 724 | 8257 | -4587 | -8184 | 547 | 6336 | -3703 | 625.5395 | -1.8576 | 10634.1712 | -31.5788

## Region Breakdown
Region | Communities in the region | Fossil Fuels | Renewables | Population | % Population Low Income | % Population Mid Income |  | Housing Units | Occupied Housing Units | Average House sq. | % Occupied 1* Homes | % Homes built before 1980 & not retrofitted | % Homes Classified as Drafty | # Homes Fossil Fuel Heat | % Homes Fossil Fuel Heat | # Homes Electric Heat | % Homes Electric Heat
Chugach Census Area | Valdez, Cordova, Whittier, Chenega, Tatitlek |  |  | 6743 |  |  | 15.5% | 5808 | 2788 | 1838 | 10% | 34.75% | 54% | 2430 | 87.16% | 125 | 4.484%
Haines Borough | Haines |  |  | 1370 |  |  | 17.93% | 1415 | 966 | 1751 | 17% | 19.79% | 54% | 442 | 45.76% | 13 | 1.346%
Hoonah-Angoon Census Area | Gustavus, Pelican, Angoon, Hoonah, Klukwan, Tenakee Springs |  |  | 2182 |  |  | 46.68% | 1509 | 979 | 1260 | 20% | 34.72% | 68% | 520 | 53.12% | 16 | 1.634%
Juneau Cit and Borough | Juneau |  |  | 31700 |  |  | 21.07% | 13549 | 12940 | 1841 | 10% | 28.67% | 58% | 8104 | 62.63% | 4149 | 32.06%
Kenai Peninsula Borough | Seward, Homer, Port Graham, Seldovia, Nanwalek |  |  | 9286 |  |  | 24.67% | 25801 | 23873 | 2006 | 4% | 30.06% | 28% | 18877 | 79.07% | 1888 | 7.909%
Ketchikan Gateway Borough | Ketchikan, Saxman |  |  | 8450 |  |  | 24.67% | 6260 | 5479 | 1778 | 25% | 33.26% | 74% | 3011 | 54.96% | 2121 | 38.71%
Kodiak Island Borough | Kodiak, Port Lions, Larsen Bay, Old Harbor, Ouzinkie, Akhiok |  |  | 5999 |  |  | 19.21% | 5258 | 4612 | 1854 | 8% | 38.53% | 53% | 3374 | 73.16% | 699 | 15.16%
Petersburg Borough | Petersburg, Kupreanof |  |  | 2809 |  |  | 14.21% | 1830 | 1367 | 1750 | 19% | 39.34% | 67% | 562 | 41.11% | 620 | 45.35%
Prince of Wales-Hyder Census Area | Coffman Cove, Craig, Hollis, Hydaburg, Kasaan, Klawock, Naukati, Thorne Bay, Edna Bay, Hyder, Metlakatla, Kake, Port Alexander, Point Baker, Port Protection, Whale Pass |  |  | 5162 |  |  | 54.74% | 3098 | 2312 | 1258 | 22% | 30.54% | 77% | 1012 | 43.77% | 323 | 13.97%
Sitka Borough | Sitka |  |  | 8380 |  |  | 24.38% | 4307 | 3421 | 1689 | 13% | 35.18% | 57% | 1873 | 54.75% | 1393 | 40.72%
Skagway Borough | Skagway |  |  | 741 |  |  | 5.81% | 718 | 531 | 1689 | 17% | 31.06% | 58% | 355 | 66.85% | 16 | 3.013%
Wrangell Borough | Wrangell |  |  | 2070 |  |  | 30.46% | 1468 | 933 | 1800 | 23% | 37.26% | 66% | 281 | 30.12% | 574 | 61.52%
Yakutat City and Borough | Yakutat |  |  | 564 |  |  | 52.42% | 373 | 265 | 1116 | 7% | 32.98% | 60% | 197 | 74.34% | 4 | 1.509%

## Subregion Breakdown
Sub-Region | Communities in the Sub-Region | Fossil Fuels | Renewables | Average Electricity Price ($/kWh) | Average OIl #1 Price ($) | Population | % of total CPRG focus population | % Population Native (Average from region) | Housing Units | Occupied Housing Units | # Homes Fossil Fuel Heat | % Fossil Fuel Heated Homes in CPRG area | Average Efficiency-weighted Heating Fuel Savings (gal) | Average Efficiency-weighted Annual GHG (MTCO2) | Target % increase in 5 years | #homes at % allocation | # Heat pumps at Cost incentive 1 | # Heat pumps at Cost incentive 2 | # Heat pumps at Cost incentive 3 | Total # Heat Pumps | Funding Allocation | Funding Allocation % | GHG (MTCO2e) 20 years
Juneau | Juneau |  |  | 0.1203 | 4.55 | 31700 | 34.05% | 21.07% | 14100 | 13000 | 8141.5765 | 33.02% | 551.0664 | 5.5427 | 30% | 2443 | 244 | 733 | 1466 | 2443 | 12336000 | 40% | 270818.2869
Ketchikan-Prince of Wales | Ketchikan, Saxman, Coffman Cove, Craig, Hollis, Hydaburg, Kasaan, Klawock, Naukati, Thorne Bay, Edna Bay, Hyder, Metlakatla, Kake, Port Alexander, Point Baker, Port Protection, Whale Pass |  |  | 0.26239 | 5.2553 | 13612 | 14.62% | 51.4% | 6957 | 5541 | 2806.5249 | 11.38% | 448.3988 | 4.098 | 25% | 702 | 70 | 211 | 421 | 702 | 3545000 | 11.49% | 57535.8659
Sitka-Hoonah-Yakutat | Sitka, Gustavus, Pelican, Angoon, Hoonah, Klukwan, Yakutat, Tenakee Springs |  |  | 0.40959 | 5.5587 | 11126 | 11.95% | 44.61% | 5967 | 4534 | 2513.8401 | 10.2% | 464.6792 | 4.0648 | 25% | 629 | 63 | 189 | 377 | 629 | 3177500 | 10.3% | 51135.6929
Petersburg-Wrangell | Petersburg, Kupreanof, Wrangell |  |  | 0.13693 | 4.6433 | 4879 | 5.24% | 19.63% | 2853 | 2163 | 787.2264 | 3.193% | 534.5195 | 5.1093 | 30% | 237 | 24 | 71 | 142 | 237 | 1198000 | 3.884% | 24218.2036
Haines-Skagway | Haines, Skagway |  |  | 0.26105 | 4.71 | 2111 | 2.267% | 11.87% | 1364 | 961 | 512.7158 | 2.08% | 500.7826 | 4.6851 | 30% | 154 | 15 | 46 | 93 | 154 | 775500 | 2.514% | 14430.1437
Chugach | Valdez, Cordova, Whittier, Chenega, Tatitlek |  |  | 0.36577 | 5.625 | 6743 | 7.242% | 15.5% | 3497 | 2737 | 2385.5488 | 9.676% | 611.4654 | 4.1601 | 25% | 597 | 60 | 179 | 358 | 597 | 3016000 | 9.779% | 49671.1572
Kenai Peninsula | Seward, Homer, Port Graham, Seldovia, Nanwalek |  |  | 0.24775 | 5.67 | 9286 | 9.974% | 24.67% | 9490 | 7653 | 6051.4255 | 24.55% | 637.5074 | 3.1236 | 15% | 908 | 91 | 272 | 545 | 908 | 4585500 | 14.87% | 56724.9627
Kodiak Island | Kodiak, Port Lions, Larsen Bay, Old Harbor, Ouzinkie, Akhiok |  |  | 0.40544 | 4.845 | 5999 | 6.443% | 19.21% | 2565 | 1988 | 1454.3608 | 5.899% | 573.3786 | 5.4398 | 30% | 437 | 44 | 131 | 262 | 437 | 2208000 | 7.159% | 47543.9883
CPRG Region Totals | [5 empty] | 85456 |  |  |  | 38577 | 24653.2187 |  | 546.5696 | 4.5325 |  | 6107 | 611 | 1832 | 3664 | 6107 | 30841500 |  | 572078.3012
Budget Region
Inputs: | [14 empty] | Juneau | 2443 | 244 | 733 | 1466 | 2443 | 12336000 | 40% | 270818.2869
Heat Pump Install Cost: | 8500 | [13 empty] | Southeast (SE) | 1722 | 172 | 517 | 1033 | 1722 | 8696000 | 28.2% | 147319.9062
Cost Incentive 1 (% funded by CPRG) | 100% | [13 empty] | Southcentral (SC) | 1942 | 195 | 582 | 1165 | 1942 | 9809500 | 31.81% | 153940.1082
Cost Incentive 2 (% funded by CPRG) | 70.59%
Cost Incentive 3 (% funded by CPRG) | 47.06%
Allocation % for Cost Incentive 1 | 10%
Allocation % for Cost Incentive 2 | 30%
Allocation % for Cost Incentive 3 | 60%
Total Cost of Heat Pump incentives | 30841500

## GHG Calculations
Heat pump yearly install target breakdown | [6 empty] | Calculations
% of BP total: | 14% | 20% | 26% | 22% | 18% | 2030 Totals | Total CPRG program funding | 38646543.43
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 |  | Average annual GHG Emission Reduction per heat pump | 4.5325
JUNEAU | 342 | 489 | 635 | 537 | 440 | 2443 | Total # of Heat Pumps: | 6107
4000 | 205 | 294 | 381 | 322 | 264 | 1466 | Total GHG Emission Reduction (MTCO2e) 2025-2030 | 80253.2427
6000 | 102 | 147 | 191 | 161 | 132 | 733 | Total GHG Emission Reduction (MTCO2e) 2025-2050 | 633858.2952
8500 | 34 | 48 | 64 | 54 | 44 | 244 | Cost effectiveness ($/MTCO2e) | 481.5574
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Southeast (SE) | 241 | 344 | 448 | 379 | 310 | 1722
4000 | 145 | 206 | 269 | 227 | 186 | 1033
6000 | 73 | 103 | 134 | 114 | 93 | 517
8500 | 24 | 34 | 45 | 38 | 31 | 172
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Southcentral (SC) | 272 | 388 | 505 | 427 | 350 | 1942
4000 | 163 | 233 | 303 | 256 | 210 | 1165
6000 | 81 | 116 | 152 | 128 | 105 | 582
8500 | 27 | 39 | 51 | 43 | 35 | 195
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Total Installed | 854 | 2074 | 3664 | 5007 | 6107 | 6107
GHG emissions reduction MTCO2e | 3870.7935 | 9400.4984 | 16607.2451 | 22694.4531 | 27680.2526 | 80253.2427

## Documentation
Community Breakdown Sheet Documentation
Name | The name of the community.
Region | The Census area the community is within.
Sub-Region | The subregion the community is within based on its heat pump adoption potential.
Fossil Fuel Electricity Generation (%) | Specific to the community from AKWarm Data
Renewable Energy Electricity Generation (%) | Specific to the community from AKWarm Data
Electricity Price ($/kWh) | Specific to the community from AKWarm Data
OIl 1 Price ($) | Specific to the community from AKWarm Data
Population | From Census Data
% of total CPRG focus region population | Community population divided by total region.
Housing Units | Specific to the community from Census Data
Occupied Housing Units | Specific to the community from Census Data
Average House sq. | Pulled from Region sheet based on the community's Census area.
% Homes built before 1980 & not retrofitted | Pulled from Region sheet based on the community's Census area.
% Homes Classified as Drafty | Pulled from Region sheet based on the community's Census area.
% Low Energy Efficient Homes | The average of %Built before 1980 and %Classified as Drafty
% Standard/High Energy Efficient Homes | 1 minus the % Low Energy Efficient Homes
% Homes Fossil Fuel Heat | Pulled from Region sheet based on the community’s Census area.
Estimate # Homes Fossil Fuel Heat | Product of % Homes Fossil Fuel Heat and Occupied Housing Units
Annual Heating Fuel Savings (gal) | Specific to the community from AHPC first run
Annual Increase in Electricity Usage (kWh) | Specific to the community from AHPC first run
Annual GHG Emissions Savings (lbCO2) | Specific to the community from AHPC first run
Annual Heating Fuel Savings (gal) | Specific to the community from AHPC second run
Annual Increase in Electricity Usage (kWh) | Specific to the community from AHPC second run
Annual GHG Emissions Savings (lbCO2) | Specific to the community from AHPC second run
Efficiency-weighted Heating Fuel Savings (gal) | Average of the two heating fuel savings numbers weighted by %Low – %High/standard Energy efficient homes.
Efficiency-weighted Annual GHG (MTCO2) | Average of the two heating fuel savings numbers weighted by %Low – %High/standard Energy efficient homes.
Heating Fuel Savings * Occupied Housing Units | Product used to weight subregion averages
Annual GHG * Occupied Housing Units | Product used to weight subregion averages
Region Breakdown Sheet Documentation
Region | The name of the census area
Communities in the region | A list of the focus communities within the census area
Population | The sum of the focus community populations within the census area
Housing Units | Specific to the census area from census data
Occupied Housing Units | Specific to the census area from census data
Average House sq. | Specific to the census area from census data
% Homes built before 1980 & not retrofitted | Specific to the census area from census data
% Homes Classified as Drafty | Specific to the census area from census data
# Homes Fossil Fuel Heat | Specific to the census area from census data
% Homes Fossil Fuel Heat | Specific to the census area from census data
# Homes Electric Heat | Specific to the census area from census data
% Homes Electric Heat | Specific to the census area from census data
Subegion Breakdown Sheet Documentation
Sub-Region | The name of the subregion
Communities in the Sub-Region | A list of the focus communities within the subregion
Average Electricity Price ($/kWh) | Average of Electricity Price accross the communities within the subregion
Average OIl #1 Price ($) | Average of Oil Price accross the communities within the subregion
Population | The sum of the focus community populations within the subregion
% of total CPRG focus population | The subregion population divided by the total focus area population
Housing Units | The sum of the focus community housing units within the subregion
Occupied Housing Units | The sum of the focus community occupied housing units within the subregion
# Homes Fossil Fuel Heat | The sum of the focus community fossil fuel heated homes within the subregion
% Fossil Fuel Heated Homes in CPRG area | The subregion number of fossil fuel heated homes divided by total fossil fuel heated homes in the focus area
Average Efficiency-weighted Heating Fuel Savings (gal) | Average heating fuel savings accross the communities within the subregion weighted by the number of occupied housing units in each community
Average Efficiency-weighted Annual GHG (MTCO2) | Average GHG emission reduction accross the communities within the subregion weighted by the number of occupied housing units in each community
Target % increase in 5 years | The target percentage increase in heaat pump adoption based on the subregion adoption potential
#homes at % allocation | The product of the target percentage increase and the number of fossil fuel heated homes in the subregion to calculate the number of target homes in each subregion
# Heat pumps at Cost incentive 1 | The product of the number of target homes and the percentage allocation planned at Incentive level 1 (100% CPRG funded) to calculate the number of target homes at this incentive level.
# Heat pumps at Cost incentive 2 | The product of the number of target homes and the percentage allocation planned at Incentive level 1 (71% CPRG funded) to calculate the number of target homes at this incentive level.
# Heat pumps at Cost incentive 3 | The product of the number of target homes and the percentage allocation planned at Incentive level 1 (47% CPRG funded) to calculate the number of target homes at this incentive level.
Total # Heat Pumps | The total number of heat pump installations targeted in each subregion (to check accuracy of allocation numbers per incentive)
Funding Allocation | The sum of the number of target homes at each incentive level multiplied by their incentive level and estimated heat pump install cost of $8,500 to calculate the CPRG funding allocation total for each subregion.
Funding Allocation % | The subregion CPRG funding allocation divided by the total CPRG funding amount to calculate each subregions funding allocation percentage.
GHG (MTCO2e) 20 years | The product of the target number of heat pump installations in each subregion and the weighted annual GHG emissions reduction per heat pump for each subregion, multiplied by 20 years to calculate 20 year GHG emissions reductions for each subregion.
GHG Calculations
Total CPRG program funding | The total program budget.
Average annual GHG Emission Reduction per heat pump | The average of the subregion specific annual GHG emissions reduction per heat pump.
Total # of Heat Pumps: | The total number of heat pump installations targeted by the program.
Total GHG Emission Reduction (MTCO2e) 2025-2030 | The sum of the annual
Total GHG Emission Reduction (MTCO2e) 2025-2050 | The product of the total annual emissions reduction for year 2030 when all heat pumps are installed and 20 years of operation, added to the 2025-2030 GHG emission reduction total
Cost effectiveness ($/MTCO2e) | The total program budget divided my the total GHG emissions reduction in MTCO2e from 2025-2030