## Calculations Spreadsheet Intro
Introduction
This spreadsheet displays the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions for each GHG reduction measure identified by Washington State's Tier C application to the Climate Pollution Reduction Grants Implementation Phase General Competition. Calculations and other information are broken up by GHG measure and grouped under tabs of the same color. Additonal information and introductions for each measure are included in the first tab of each color. Final calculation results are listed in the last tab of each color. Uncertainties associated with the estimated GHG emission reduction estimates, including those related to key assumptions, such as emission factors, activity information, economic considerations, or other data are dependent on the models used and can be found via citations to the source model, in addition to the information described under each measure and below.
Uncertainties
GHG reduction estimations are associated with varying degrees of uncertainty, and such uncertainties have both technical and policy implications. Uncertainty depends on the quality and availability of sufficient data to estimate emissions, or on the ability to measure emissions and properly account for their variability. Each model or method used in these calculations has its own inherent uncertainties and these can be found through the assumptions and citations provided. Addtionally, despite the best efforts of subject matter experts, future changes in policy, economics, and culture can directly and indirectly affect the reduction estimates over the 2025-2050 time period. Washington state has noted these changing factors where possible in the assumptions associated with each measure.
Final GHG Reduction Estimates

## VMT Reduction through Barging
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the VMT Reduction through water transportation measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Emissions reductions are assumed to begin in 2026 as project implementation will occur for the first year following funding dispersal.

## Calculations Explanation
VMT Emissions:
To determine an emissions baseline for traditional long-haul trucking and a new emissions baseline for barging, we first calculated emission rates per total VMT in 2023. This was completed for both the long-haul trucking and barging scenarios based on 2023 freight volume and the corresponding number of trucks required to move that freight.
The formula for estimating GHG reductions is [Emissions from long-haul trucking] – [Emissions from barging] = GHG emissions reductions.
Emissions can be calculated per VMT using the Bureau of Transportation Statistics (BTS)’s public dataset, Estimated U.S. Average Vehicle Emissions Rates per Vehicle by Vehicle Type Using Gasoline and Diesel. Calculations were made using BTS’s emissions data for a heavy-duty vehicle powered by diesel gas (model year 2015). BTS estimates that for each mile, this vehicle would emit:
1,626.43g CO2
7.54g NOx
.287g PM2.5
2.53g CO
BTS reports emission rates per VMT in grams. There are 907,184.74 grams per ton. To convert 2023 emissions for each destination from grams to tons, the following formula is used:
(2023 VMT x Emission in grams) / 907,184.74 = 2023 Emission in tons
Example: 42,681.6 VMT x 1,626.43g CO2 / 907,184.74 = 76.52 tons CO2 in 2023
Port barges freight on two routes: one from Port Angeles to Everett, WA and one from Port Angeles to Coos Bay, OR. Via the Port Angeles-Everett route, the Port sends freight to four timber manufacturers in Snohomish and Skagit Counties. The Port sends freight to another two timber manufacturers in Douglas and Coos Counties, Oregon. The following table shows road and nautical distances between Port Angeles and these six manufacturers.
Table 1. Long-haul distances, nautical distances, and short-haul distances for each of the six timber manufacturers currently served by barging.
| Long-Haul Trucking Scenario | Barging Scenario | Barging Scenario
Business | Road distance round-trip (Port Angeles – | Nautical distance round-trip (Port Angeles – receiving port) | Road distance round-trip (Port Angeles – receiving port – business)
business)
#1 - Skagit | 262 | 130 | 87.4
#2 - Snohomish | 183.8 | 130 | 16.4
#3 - Snohomish | 176.2 | 130 | 10.6
#4 - Snohomish | 270 | 130 | 98.2
#4 - Coos | 904 | 764 | 27.6
#5 - Douglas | 838 | 764 | 160
Towing Vessel Emissions:
The last variable needed to estimate overall GHG emission reductions from this water transportation measure is the emission output from towing vessels used to move barges between ports. These emissions come from the towing vessels’ consumption of fuel. In 2023, towing vessels working on the Port’s barge routes got 5 nautical miles (nm) per gallon of diesel.
EPA’s dataset for the Greenhouse Gases Equivalencies Calculator estimates that for every gallon of diesel burned, 10,180g of CO2 are emitted (approximately 1 ton CO2 for every 89.1 gallons of diesel).
Based on the mileage rate of 5nm/gallon, we calculated the gallons required per round-trip between the Port of Port Angeles and receiving ports in Everett, WA, and Coos Bay, OR using the formula:
Round-trip nautical miles x 5 = Gallons per round-trip to tow a loaded freight barge
The following calculation is used to determine CO2 emissions for towing vessels in 2023:
(Barge Trips x Gallons per Trip) / 10,180g = tons CO2 emissions
Moving 3,220 truckloads of freight on barges emitted 602.71 tons CO2 in 2023, a rate of only .19 tons per load on average. This low per-load emission rate is thanks to water transport’s ability to move freight in mass.

## VMT Emissions
Emissions Data for Calculations
| Grams |  | Grams per Ton
CO2 per VMT | 1626.43 |  | 907184.74
NOX per VMT | 7.54
PM2.5 per VMT | 0.287
CO per VMT | 2.53
CO2 per gallon of diesel | 10180
Measurements in Tons
Business Location (County) | Outbound Loads | VMT per load round-trip (Port Angeles - business) | 2023 VMT | VMT per load round-trip with barging | 2023 VMT with barging | % reduction in VMT with barging | CO2 baseline | CO2 with barging | NOx baseline | NOx with barging | PM2.5 baseline | PM2.5 with barging | CO baseline | CO with barging
#1 - Skagit | 2206 | 269.4 | 594296.4 | 87.4 | 192804.4 | 67.56% | 1065.4737 | 345.6659 | 4.9395 | 1.6025 | 0.18801 | 0.060996 | 1.6574 | 0.5377
#2 - Snohomish | 228 | 187.2 | 42681.6 | 16.4 | 3739.2 | 91.24% | 76.5209 | 6.7038 | 0.35475 | 0.031078 | 0.013503 | 0.0011829 | 0.11903 | 0.010428
#3 - Snohomish | 174 | 194.8 | 33895.2 | 10.6 | 1844.4 | 94.56% | 60.7684 | 3.3067 | 0.28172 | 0.01533 | 0.010723 | 0.0005835 | 0.094529 | 0.0051438
#4 - Snohomish | 313 | 279.4 | 87452.2 | 98.2 | 30736.6 | 64.85% | 156.7871 | 55.1056 | 0.72685 | 0.25547 | 0.027667 | 0.0097239 | 0.24389 | 0.08572
#5 - Coos | 33 | 911.4 | 30076.2 | 27.6 | 910.8 | 96.97% | 53.9216 | 1.6329 | 0.24998 | 0.00757 | 0.009515 | 0.00028814 | 0.083878 | 0.0025401
#5 - Douglas | 266 | 845.4 | 224876.4 | 160 | 42560 | 81.07% | 403.1656 | 76.3029 | 1.869 | 0.35373 | 0.071143 | 0.013464 | 0.62715 | 0.11869
Total | 3220 |  | 1013278 |  | 272595.4 | 73.1% | 1816.6374 | 488.7178 | 8.4218 | 2.2657 | 0.32056 | 0.086239 | 2.8259 | 0.76023
[7 empty] | 1327.9196 |  | 6.1561 |  | 0.23432 |  | 2.0657
[7 empty] | 73.1% |  | 73.1% |  | 73.1% |  | 73.1%

## Towing Vessel Emissions
Emissions Data for Calculations
| Grams |  | Grams per Ton
CO2 per VMT | 1626.43 |  | 907184.74
NOX per VMT | 7.54
PM2.5 per VMT | 0.287
CO per VMT | 2.53
CO2 per gallon of diesel | 10180
Barging Emissions Calculations
Business Location (County) | Barge trips | Nautical miles per round-trip | Nautical miles per gallon | Gallons per round-trip (barge) | Gallons in 2023 | CO2 emissions (tons)
#1 - Skagit | 49 | 130 | 5 | 650 | 31850 | 357.4057
#2 - Snohomish | 5 | 130 | 5 | 650 | 3250 | 36.47
#3 - Snohomish | 4 | 130 | 5 | 650 | 2600 | 29.176
#4 - Snohomish | 7 | 130 | 5 | 650 | 4550 | 51.058
#5 - Coos | 1 | 764 | 5 | 3820 | 3820 | 42.8662
#5 - Douglas | 2 | 764 | 5 | 3820 | 7640 | 85.7325
Total | 68 |  |  |  | 53710 | 602.7083

## Combined Emissions Reduced VMT
The following calculation is used to estimate the proposed measure’s GHG emission reductions:
[GHG emission reduction in 2023] x 5 project years (2026-2030)= additional emission reductions | Barging Emissions | CO2 | Trucking Emissions | CO2 | Measure or Project | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
| Short-haul trucking | 488.7178 | Long-haul trucking | 1816.6374
Barging activity in 2023 resulted in 725.21 fewer tons of CO2 emissions. Without implementation of this measure, this baseline barging activity will result in 3,626.05 tons of CO2 reduced from 2025-2030. | Barge towing | 602.7083 |  |  | Mode switch, reduction in VMT | 3626 | 18130
| Total CO2 (tons) | 1091.4261 | Total CO2 (tons) | 1816.6374
With implementation of this measure, barging’s GHG reductions will double to 7,252.1 tons from 2025-2030 (an additional 3,626.05 from the baseline).
Emission Reductions 2025 – 2050
Without implementation of this measure, this baseline barging activity will result in 18,130.25 tons of CO2 reduced from 2025-2050.
With implementation of this measure, barging’s GHG reductions will double to 36,260.5 tons reduced from 2025-2050 (an additional 18,130.25 from the baseline).

## Rail Decarbonization
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Rail Decarbonization measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Emissions conversion rates based on calculations done by Cummins and Western Rail are shown in the Engine Emission Conversions tab.
Emissions savings for converting from engine types to Tier 3 and Tier 4 are averaged across all possible conversions to determine annual emissions savings in the Measure Emissions Reductions tab.
Assuming engines number 1 and 2 can only be converted to either engines number 5 or 6 and engines number 3 and 4 can only be converted to engine number 7 in the Engine Emission Conversions tab.
Emissions factors derived from EPA Mandatory GHG Reporting: https://www.ecfr.gov/current/title-40/chapter-I/subchapter-C/part-98.

## Conversions to Tier4 QST30 1500
Locomotive Repower Engine: |  |  |  | Tier 4 QST30 |  | 1500 bhp
Applicable Locomotive Models: |  |  |  | EMD SW1500, MP15, GP15 |  |  |  |  | Days | Hrs/day
|  |  | Replacing Engine Model: | EMD 12-645E |  |  |  |  | M-F | 24
[9 empty] | Sat | 16
| input cells | [7 empty] | Sun | 10
Rated Power | 1500 | bHP | [6 empty] | per week | 146
Daily Run | 21 | hours | [6 empty] | avg/day | 21
Hrs/yr | 6300 | based on run days/year of: |  |  | 300
RR Fuel | 3 | per gallon
GEN-5+ Oil | 5 | per gallon |  | CJ-4 Oil | 15 | per gallon |  | Benefits shown in green cells
FUEL CONSUMPTION COMPARISON
(updated 11/10/2021 with cert data for T4 SW rating)
EPA SW Duty Cycle |  |  | EPA est. pre-Tier 0 EMD 12-645E, rated 1500 HP | [5 empty] | Cummins EPA certified Tier 4 QST30 w/ AESS @ 1500 HP | [5 empty] | SW1500 Fuel Consumption
Notch | % Notch |  | bHP | lb/hr | gph | Wtd GPH | Gals/day |  | bHP | BSFC | gph | Wtd GPH | Gals/day | vs. EMD | gph | Wtd GPH | Gals/day | vs QST30
Idle | 59.8% |  | 15 | 26 | 3.7 | 2.2 | 46.6 |  | 80 | 0.439 | 5 | 1.5 | 31.5 | -32% | 3.8 | 2.3 | 47.7 | 51.5%
Dyn Brake | 0% |  | 70 | 80 | 11.4 | 0 | 0 |  | 80 |  | 0 | 0 | 0 |  |  | 0 | 0
1 | 12.4% |  | 72 | 41 | 5.9 | 0.7 | 15.3 |  | 80 | 0.462 | 5.3 | 0.7 | 13.7 | -10% | 6.5 | 0.8 | 16.9 | 23.1%
2 | 12.3% |  | 233 | 95 | 13.6 | 1.7 | 35.1 |  | 173 | 0.387 | 9.6 | 1.2 | 24.7 | -30% | 11.5 | 1.4 | 29.7 | 20.2%
3 | 5.8% |  | 440 | 167 | 23.9 | 1.4 | 29.1 |  | 352 | 0.352 | 17.7 | 1 | 21.6 | -26% | 25.2 | 1.5 | 30.7 | 42.4%
4 | 3.6% |  | 669 | 249 | 35.6 | 1.3 | 26.9 |  | 523 | 0.334 | 25 | 0.9 | 18.9 | -30% | 38.6 | 1.4 | 29.2 | 54.7%
5 | 3.6% |  | 885 | 332 | 47.4 | 1.7 | 35.9 |  | 726 | 0.326 | 33.8 | 1.2 | 25.6 | -29% | 52.5 | 1.9 | 39.7 | 55.3%
6 | 1.5% |  | 1109 | 419 | 59.9 | 0.9 | 18.9 |  | 959 | 0.317 | 43.4 | 0.7 | 13.7 | -27% | 62.1 | 0.9 | 19.6 | 43%
7 | 0.2% |  | 1372 | 529 | 75.6 | 0.2 | 3.2 |  | 1273 | 0.318 | 57.8 | 0.1 | 2.4 | -23% | 76 | 0.2 | 3.2 | 31.4%
8 | 0.8% |  | 1586 | 630 | 90 | 0.7 | 15.1 |  | 1497 | 0.326 | 69.7 | 0.6 | 11.7 | -23% | 92.6 | 0.7 | 15.6 | 32.8%
Avg LF | 10% |  |  |  | Weighted Total | 10.8 | 225.9 |  |  |  | Weighted Total | 7.8 | 163.8 | -28% |  | 11.1 | 232.2 | 41.8%
[13 empty] | without AESS è | -14%
Cummins vs EMD Comparison
FUEL | Gal/day savings | Run Days / year | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
EPA data | 62.1 | 300 | 18643 | 3 | 55928 | 838914 | ç
Horizon SW1500 | 68.5 | 300 | 20539 | 3 | 61616 | 924240 | ç
LUBE OIL CONSUMPTION COMPARISON
Cummins
Engine Oil Capacity (Gal) | BSOC (lb/bhp-hr) | Rated bHP | Avg Load Factor | lb/hr | GPH | Gals/day | ENGINE LUBE OIL CONSUMPTION
49 | 0.0003 | 1500 | 10% | 0.045 | 0.01 | 0.13
EMD, pre-Tier 0 to Tier 2
GPH/Cyl | # Cyl |  |  |  | GPH | Gal/day
0.0625 | 12 |  |  |  | 0.8 | 15.8
Cummins | [6 empty] | LUBE OIL COSTS - ANNUAL & 15-YEAR
| Gal/day | Run Days /year | Annual Gallons | CJ-4 10W40 $/gal | Annual Cost | 15 Year Cost
Oil Cons. | 0.13 | 300 | 39 | 15 | 583 | 8738
Oil Change |  | 300 | 196 | 15 | 2940 | 44100
|  |  |  | Totals | 3523 | 52838
EMD
LUBE OIL | Gal/day | Run Days /year | Annual Gallons | Gen5+ 20W40 $/gal | Annual Cost | 15 Year Cost
Oil Cons. | 15.75 | 300 | 4725 | 5 | 23625 | 354375
Oil Change |  |  | 0 | 5 | 0 | 0
|  |  |  | Totals | 23625 | 354375
Cummins vs EMD | [6 empty] | LUBE OIL SAVINGS
| Gal/day Savings | Run Days /year | Annual Gallon Savings |  | Annual Savings | 15 Year Saving
LUBE OIL SAVINGS | 15.62 | 300 | 4490 |  | 20102 | 301537

## Conversions to Tier3 QSK50 2000
Locomotive Repower Engine: |  |  |  | Tier 3 QSK50 |  | 2000 bhp
Applicable Locomotive Models: |  |  |  | EMD GP9, GP10, GP20, GP28, GP38
|  |  | Replacing Engine Model: | EMD 16-645E (assumes 16-567C/D were upgraded to 645 power packs)
input cells
Daily Run | 8 | hours
Hrs/yr | 2400 | based on run days/year of: |  |  | 300
RR Fuel | 2 | per gallon
RR Oil | 5 | per gallon
FUEL CONSUMPTION COMPARISON
EPA SW Duty Cycle |  |  | EPA est. pre-Tier 0 EMD 16-645E, rated 2000 tHP |  |  |  |  | Cummins EPA certified Tier 3 QSK50, 2000 bhp w/ AESS | [5 empty] | Horizon Rail GP38 2000 thp Fuel Consumption
Notch | % Notch |  | bHP | lb/hr | gph | Wtd GPH | Gals/day | bHP | BSFC | gph | Wtd GPH | Gals/day | vs. EMD | gph | Wtd GPH | Gals/day | vs EPA
Idle | 59.8% |  | 15 | 32 | 4.6 | 2.7 | 21.9 | 15 | 0.667 | 1.4 | 0.4 | 3.4 | -84% | 4.6 | 2.8 | 22 | 544%
Dyn Brake | 0% |  | 82 | 103 | 14.7 | 0 | 0 | 101 | 0.442 | 6.4 | 0 | 0 |  |  | 0 | 0
1 | 12.4% |  | 98 | 55 | 7.9 | 1 | 7.8 | 101 | 0.442 | 6.4 | 0.8 | 6.3 | -19% | 7 | 0.9 | 6.9 | 9.8%
2 | 12.3% |  | 333 | 137 | 19.6 | 2.4 | 19.3 | 350 | 0.403 | 20.2 | 2.5 | 19.8 | 3% | 16 | 2 | 15.7 | -20.6%
3 | 5.8% |  | 589 | 226 | 32.3 | 1.9 | 15 | 625 | 0.385 | 34.4 | 2 | 16 | 6% | 31.4 | 1.8 | 14.6 | -8.7%
4 | 3.6% |  | 871 | 331 | 47.3 | 1.7 | 13.6 | 900 | 0.37 | 47.6 | 1.7 | 13.7 | 1% | 46.8 | 1.7 | 13.5 | -1.6%
5 | 3.6% |  | 1161 | 442 | 63.1 | 2.3 | 18.2 | 1175 | 0.358 | 60.1 | 2.2 | 17.3 | -5% | 63.8 | 2.3 | 18.4 | 6.2%
6 | 1.5% |  | 1465 | 567 | 81 | 1.2 | 9.7 | 1450 | 0.342 | 70.8 | 1.1 | 8.5 | -13% | 83.1 | 1.2 | 10 | 17.3%
7 | 0.2% |  | 1810 | 710 | 101.4 | 0.2 | 1.6 | 1721 | 0.342 | 84.1 | 0.2 | 1.3 | -17% | 102.8 | 0.2 | 1.6 | 22.3%
8 | 0.8% |  | 2124 | 854 | 122 | 1 | 7.8 | 2000 | 0.344 | 98.3 | 0.8 | 6.3 | -19% | 122.4 | 1 | 7.8 | 24.5%
[5 empty] | Weighted Total | 14.4 | 114.9 |  |  | Weighted Total | 11.6 | 92.7 | -19% |  | 13.8 | 110.6 | 19.3%
Cummins vs EMD Comparison
FUEL | Gal/day savings | Run Days / year | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
EPA data | 22.2 | 300 | 6658 | 2 | 13315 | 199727
LUBE OIL CONSUMPTION COMPARISON
Cummins
Engine Oil Capacity (Gal) | BSOC (lb/bhp-hr) | Rated bHP | Duty Cycle | lb/hr | GPH | Gals/day
65 | 0.0003 | 2000 | 10% | 0.06 | 0.01 | 0.07
EMD, pre-Tier 0 to Tier 2
GPH/Cyl | # Cyl |  |  |  | GPH | Gal/day
0.0625 | 16 |  |  |  | 1 | 8
Cummins vs EMD Comparison
LUBE OIL, without Centinel | Gal/day savings | Run Days/yr | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
Oil Cons. | 7.9 | 300 | 2380 | 5 | 11901 | 178521
Oil Change |  | 300 | -260 | 5 | -1300 | -19500
|  |  |  | Totals | 10601 | 159021
Cummins vs EMD Comparison
LUBE OIL, with Centinel | Gal/day savings | Run Days/yr | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
Oil Cons. | 7.9 | 300 | 2380 | 5 | 11901 | 178521
Centinel | -0.31 | 300 | -93 | 5 | -463 | -6950
Oil Change |  |  | -65 | 5 | -325 | -4875
|  |  |  | Totals | 11113 | 166696

## Conversions to Tier3 QSK50 2130
Locomotive Repower Engine: |  |  |  | Tier 3 QSK50 |  | 2130 bhp
Applicable Locomotive Models: |  |  |  | EMD GP9, GP10, GP20, GP28, GP38
|  |  | Replacing Engine Model: | EMD 16-645E (assumes 16-567C/D were upgraded to 645 power packs)
input cells
Daily Run | 8 | hours
Hrs/yr | 2400 | based on run days/year of: |  |  | 300
RR Fuel | 2 | per gallon
RR Oil | 5 | per gallon
FUEL CONSUMPTION COMPARISON
EPA SW Duty Cycle |  |  | EPA est. pre-Tier 0 EMD 16-645E, rated 2000 tHP |  |  |  |  | Cummins EPA certified Tier 3 QSK50, 2130 bhp w/ AESS | [5 empty] | Horizon Rail GP38 2000 thp Fuel Consumption
Notch | % Notch |  | bHP | lb/hr | gph | Wtd GPH | Gals/day | bHP | BSFC | gph | Wtd GPH | Gals/day | vs. EMD | gph | Wtd GPH | Gals/day | vs EPA
Idle | 59.8% |  | 15 | 32 | 4.6 | 2.7 | 21.9 | 15 | 0.667 | 1.4 | 0.4 | 3.4 | -84% | 4.6 | 2.8 | 22 | 544%
Dyn Brake | 0% |  | 82 | 103 | 14.7 | 0 | 0 | 101 | 0.442 | 6.4 | 0 | 0 |  |  | 0 | 0
1 | 12.4% |  | 98 | 55 | 7.9 | 1 | 7.8 | 101 | 0.442 | 6.4 | 0.8 | 6.3 | -19% | 7 | 0.9 | 6.9 | 9.8%
2 | 12.3% |  | 333 | 137 | 19.6 | 2.4 | 19.3 | 350 | 0.403 | 20.2 | 2.5 | 19.8 | 3% | 16 | 2 | 15.7 | -20.6%
3 | 5.8% |  | 589 | 226 | 32.3 | 1.9 | 15 | 625 | 0.385 | 34.4 | 2 | 16 | 6% | 31.4 | 1.8 | 14.6 | -8.7%
4 | 3.6% |  | 871 | 331 | 47.3 | 1.7 | 13.6 | 900 | 0.37 | 47.6 | 1.7 | 13.7 | 1% | 46.8 | 1.7 | 13.5 | -1.6%
5 | 3.6% |  | 1161 | 442 | 63.1 | 2.3 | 18.2 | 1175 | 0.358 | 60.1 | 2.2 | 17.3 | -5% | 63.8 | 2.3 | 18.4 | 6.2%
6 | 1.5% |  | 1465 | 567 | 81 | 1.2 | 9.7 | 1450 | 0.342 | 70.8 | 1.1 | 8.5 | -13% | 83.1 | 1.2 | 10 | 17.3%
7 | 0.2% |  | 1810 | 710 | 101.4 | 0.2 | 1.6 | 1721 | 0.342 | 84.1 | 0.2 | 1.3 | -17% | 102.8 | 0.2 | 1.6 | 22.3%
8 | 0.8% |  | 2124 | 854 | 122 | 1 | 7.8 | 2130 | 0.354 | 107.7 | 0.9 | 6.9 | -12% | 122.4 | 1 | 7.8 | 13.6%
[5 empty] | Weighted Total | 14.4 | 114.9 |  |  | Weighted Total | 11.7 | 93.3 | -19% |  | 13.8 | 110.6 | 18.5%
Cummins vs EMD Comparison
FUEL | Gal/day savings | Run Days / year | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
EPA data | 21.6 | 300 | 6476 | 2 | 12953 | 194295
Horizon GP38 | 17.3 | 300 | 5190 | 2 | 10379 | 155685
LUBE OIL CONSUMPTION COMPARISON
Cummins
Engine Oil Capacity (Gal) | BSOC (lb/bhp-hr) | Rated bHP | Duty Cycle | lb/hr | GPH | Gals/day
65 | 0.0003 | 2130 | 10% | 0.064 | 0.01 | 0.07
EMD, pre-Tier 0 to Tier 2
GPH/Cyl | # Cyl |  |  |  | GPH | Gal/day
0.0625 | 16 |  |  |  | 1 | 8
Cummins vs EMD Comparison
LUBE OIL, without Centinel | Gal/day savings | Run Days/yr | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
Oil Cons. | 7.9 | 300 | 2379 | 5 | 11895 | 178424
Oil Change |  | 300 | -260 | 5 | -1300 | -19500
|  |  |  | Totals | 10595 | 158924
Cummins vs EMD Comparison
LUBE OIL, with Centinel | Gal/day savings | Run Days/yr | Annual Gallon savings | $/gal | Annual Savings | 15 Year Savings
Oil Cons. | 7.9 | 300 | 2379 | 5 | 11895 | 178424
Centinel | -0.31 | 300 | -93 | 5 | -466 | -6995
Oil Change |  |  | -65 | 5 | -325 | -4875
|  |  |  | Totals | 11104 | 166554

## Engine Emission Conversions
FUEL CONSUMPTION COMPARISON by Engine Type | Gals/Day | Run Days/Year | Total Gal/Yr | Conversion Compatiblity |  | Base Scenario: Conversions Only | Min Est. Amount | Max Est. Amount | Average Est. Amount
1. EPA est. pre-Tier 0 EMD 16-645E, rated 2000 tHP | 114.9 | 300 | 34470 | Tier 3 |  | No Build - Existing Two-Bay Facility Annual Conversion Output | 2 | 4 | 3
2. Horizon Rail GP38 2000 thp | 110.6 | 300 | 33180 | Tier 3 |  | Build - New Four-Bay Faciltiy Annual Conversion Output* | 4 | 8 | 6 | *This scenario is the one the grant will be funding and therefore all emissions calculations are based on the "Build" scenario.
3. EPA est. pre-Tier 0 EMD 12-645E, rated 1500 HP | 225.9 | 300 | 67770 | Tier 4 |  | Combined Existing + New Facility Annual Conversion Output | 6 | 12 | 9
4. SW1500 | 232.2 | 300 | 69660 | Tier 4
5. Cummins EPA certified Tier 3 QSK50, 2000 bhp w/ AESS | 92.7 | 300 | 27810 | Tier 3
6. Cummins EPA certified Tier 3 QSK50, 2130 bhp w/ AESS | 93.3 | 300 | 27990 | Tier 3
7. Cummins EPA certified Tier 4 QST30 w/ AESS @ 1500 HP | 163.8 | 300 | 49140 | Tier 4
Single Engine Conversion Comparison Scenarios | Current Annual Fuel Use (Before) | Future Annual Fuel Use (After) | Annual Emissions Before | Annual Emissions After | Annual CO2e Savings (avoided)
| Fuel Quantity | Fuel Quantity | CO2e (MT) | CO2e (MT) | CO2e (MT)
Convert Engine #1 to Cummins Engine #5 | 34470 | 27810 | 352.6281 | 284.4963 | 68.1318
Convert Engine #1 to Cummins Engine #6 | 34470 | 27990 | 352.6281 | 286.3377 | 66.2904
Convert Engine #2 to Cummins Engine #5 | 33180 | 27810 | 339.4314 | 284.4963 | 54.9351
Convert Engine #2 to Cummins Engine #6 | 33180 | 27990 | 339.4314 | 286.3377 | 53.0937
Convert Engine #3 to Cummins Engine #7 | 67770 | 49140 | 693.2871 | 502.7022 | 190.5849
Convert Engine #4 to Cummins Engine #7 | 69660 | 49140 | 712.6218 | 502.7022 | 209.9196
Example GHG reduction Calculation
Project Years
MTCO2 per year -Convert Engine #1 to Cummins Engine #5 | PY1 | PY2 | PY3 | PY3 | PY4 | PY5 | PY6 | PY7 | PY8 | PY9 | PY10 | PY11 | PY12 | PY13 | PY14 | PY15 | PY16 | P717 | PY18 | PY19 | PY20 | PY21 | PY22
| 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Baseline annual emissions per engine before conversion | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6 | 352.6
New annual emissions per engine after conversion | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5 | 284.5
Cumulative emissions avoided | 68.1 | 136.2 | 204.4 | 272.5 | 340.6 | 408.7 | 476.9 | 545 | 613.1 | 681.2 | 749.3 | 817.4 | 885.5 | 953.6 | 1021.7 | 1089.8 | 1157.9 | 1226 | 1294.1 | 1362.2 | 1430.3 | 1498.4 | 1566.5
No Build Scenario (avg. 3 conversions per year) | 204.3 | 408.6 | 613.2 | 817.5 | 1021.8 | 1226.1 | 1430.7 | 1635 | 1839.3 | 2043.6 | 2247.9 | 2452.2 | 2656.5 | 2860.8 | 3065.1 | 3269.4 | 3473.7 | 3678 | 3882.3 | 4086.6 | 4290.9 | 4495.2 | 4699.5
Build Scenario (avg. 6 conversions per year) | 408.6 | 817.2 | 1226.4 | 1635 | 2043.6 | 2452.2 | 2861.4 | 3270 | 3678.6 | 4087.2 | 4495.8 | 4904.4 | 5313 | 5721.6 | 6130.2 | 6538.8 | 6947.4 | 7356 | 7764.6 | 8173.2 | 8581.8 | 8990.4 | 9399
Emission Factor for Diesel | 68.1: 0.01023

## Combined Emissions Reduced RD
Average emissions savings from all engine conversions
107.1593
6 New Conversions per year | Year | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
1 Conversion of each type per year | Emissions Reduced | 642.9555 | 1285.911 | 1928.8665 | 2571.822 | 3214.7775 | 3857.733 | 4500.6885 | 5143.644 | 5786.5995 | 6429.555 | 7072.5105 | 7715.466 | 8358.4215 | 9001.377 | 9644.3325 | 10287.288 | 10930.2435 | 11573.199 | 12216.1545 | 12859.11 | 13502.0655 | 14145.021 | 14787.9765
Conversions estimated to begin in 2028 after 3 year facility construction period.
| Emissions Reduced 2025-2030 | 2028: 3857.733
| Emissions Reduced 2025-2050 | 2028: 177455.718

## Vehicle to Grid Integration
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Vehicle to Grid measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Data availability may be limited for some historic baselines, so averages and assumptions will be utilized where necessary.
Vehicle purchases are likely to happen over a staggered timeline, assuming supply chain issues do not hinder that progress.
Implementation milestones: Looking to implement over 5 years with the 1st year being planning, software implementation, system analysis, etc and the remaining years purchasing, installation of charging stations and data collection.
Capital cost assumptions- See budget.
Operation and maintenance cost assumptions: In Cost per Mile (CPM)
Sources for the various emission factors and assumptions are listed below:
Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
Greenhouse Gas Emissions from a Typical Passenger Vehicle ¦ US EPA
eCFR :: Table A-2 to Subpart A of Part 98, Title 40 -- Units of Measure Conversions
City of Spokane 2019 Greenhouse Gas Inventory Report (spokanecity.org)
Electric Car kWh Per Mile List (ecocostsavings.com)

## Calculations
Calculator - Annual Estimated GHG Reductions from Switching from Gasoline to Electric Vehicle in MT CO2e
Input values in green boxes to calculate
| Inputs | Values | Sources
| Average Annual Gallons of Gasoline Consumed | 383 | total annual gasoline consumed by fleet vehicles divided by total number of vehicles
| Average Annual Miles Driven | 5464 | annual average calculated from daily average for all project's fleet vehicles divided by total number of vehicles
| kWh per mile of target vehicle | 0.443 | Ford F-150 Lightning EPA Range And Efficiency Officially Listed (insideevs.com)
| Total number of gasoline vehicles converted to EV | 87 | project's anticipated fleet vehicle conversion
| Conversions | Values | Sources
| Metric Tons of CO2 per gallon of gasoline | 0.008887 | Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
| CO2 to CO2e upscale (includes CO2, CH4, N20) | 1.007 | Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
| Avista electricity CO2 emissions (CO2 kg/MWh) | 276.67 | City of Spokane 2019 Greenhouse Gas Inventory Report (spokanecity.org)
| Avista electricity CH4 emissions (CH4 kg/GWh) | 25.95 | City of Spokane 2019 Greenhouse Gas Inventory Report (spokanecity.org)
| Avista electricity N20 emissions (N20 kg/GWh) | 3.57 | City of Spokane 2019 Greenhouse Gas Inventory Report (spokanecity.org)
| Global Warming Potential - CH4 to CO2e factor (100 year) | 28 | eCFR :: Table A-2 to Subpart A of Part 98, Title 40 -- Units of Measure Conversions
| Global Warming Potential - N2O to CO2e factor (100 year) | 265 | eCFR :: Table A-2 to Subpart A of Part 98, Title 40 -- Units of Measure Conversions
| Avista CO2e (kg/MWh) | 278.3 | calculated from above data
Annual Estimated GHG Reductions from Switching from Gasoline to Electric Vehicle in MT CO2e
=[historic emissions] - [projected emissions]
=[(annual gallons of gasoline consumed) x (GHG equivalency factors for fuel)] - [(annual miles driven) x (kWh per mile) x (GHG equivalency factor for electricity)]
|  | 298.2111 | Historic Emissions
|  | 58.6066 | Projected Emissions
Annual Estimated GHG Reductions from Switching from Gasoline to Electric Vehicle
| 239.6 | MT CO2e (CO2, CH4, and N2O)
| 2025-2030 | 1015.904 | MT CO2e (CO2, CH4, and N2O)
| 2025-2050 | 5807.904 | MT CO2e (CO2, CH4, and N2O)
Assuming vehicle conversion rate on following tab:
| Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Emissions Reductions Per Year | 33.544 | 98.236 | 165.324 | 239.6 | 239.6 | 239.6

## Vehicle Conversion Rate
Estimated Vehicle Conversion Rate (feeds into vehicle to grid reduction tab estimates)
| Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| Project List Converted | 14% | 41% | 69% | 100% | 100% | 100%
| MT CO2e Reduction | 33 | 99 | 165 | 239 | 239 | 239

## Combined Emissions Reduced VG
Measure or Project | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
Fleet electrification plus vehicle to grid | 1016 | 5808

## Tribal Fleet Electrification
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Tribal Fleet Electrification measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Assuming grid emissions for EV conversion comes from Bonneville Power Administration.
Assume solar projects take until the beginning of 2027 to implement and build.
Assume fleet purchasing occurs by the beginning of 2026.
EPA factors for CO₂ to CO₂e upscaling is used when only CO₂ per gallon of fuel is known.
CO₂e calculations are comprised of CO₂, CH₄, and N₂O emissions only.
Amount of fossil fuels displaced by battery assumes BTU equivalent energy content to calculate reductions.
Fossil fuel use per unit of time averaged from historic generator data where available to estimate amount of fuel displaced.
Annual gallons of fuel consumed, and miles driven, will be consistent for future years.

## Solar Calculations TFE
kW Solar installation estimate | 230
Using AVERT: | https://www.epa.gov/avert/avert-web-edition
Load profile from 230 kW of solar in the PNW region will displace 1 gWh annually

## Solar Emissions Estimates
Emission and Cost Reduction Estimates (Optional)
This tab provides a variety of simple tools for quickly estimating GHG reduction and cost savings for mitigation projects. This tab is available for your agency's internal use and is not required for reporting.
NOTE REGARDING ELECTRICITY EMISSIONS FORECAST:
As agencies plan future emission reduction projects, keep in mind that the electricity grid is moving toward carbon neutrality by 2030, making all-electric buildings and vehicles zero GHG emissions. The transformation away from fossil fuels requires that all energy be used as efficiently as possible and remaining energy use come from clean electricity and renewable fuels. This simple calculator does not include a projection of declining future emissions from electricity - it holds current emission levels steady into the future.
Resources for state buildings can be found here:
https://des.wa.gov/services/facilities-leasing/energy-program/resource-conservation-management-program
How to Use this Calculator
1. Enter the current annual quantity of fuel used in the orange cells in the before column.
2. Enter the future quantity of fuel to be used (after project completion) in the orange cells in the after column.
3. If you are using diesel with a portion of biodiesel or renewable diesel, put those percentages in the next column.
4. For multiple projects, copy this tab as often as needed.
CAUTION: This sheet is not protected so you can change it as needed. New copies can be found at Ecology's website.
Estimate Emission Reductions
|  | Enter the year project will be installed >>> | 2024
| Current Annual Fuel Use (Before) |  | Future Annual Fuel Use (After) |  | Annual Emissions Before | Annual Emissions After | Annual CO2e Savings (avoided)
Fuel Type | Fuel Quantity | Bio/ Renewable Diesel % | Fuel Quantity | Bio/ Renewable Diesel % | CO2e (MT) | CO2e (MT) | CO2e (MT)
Gasoline (gallons per year) |  |  |  |  | 0 | 0 | 0
Diesel (gallons per year) |  |  |  |  | 0 | 0 | 0
Electricity (kWh per year) | 1000000 |  | 0 |  | 199.004 | 0 | 199.004
(1gWh)
Natural Gas (Therms per year) |  |  |  |  | 0 | 0 | 0
Aviation Gasoline (gallons per year) |  |  |  |  | 0 | 0 | 0
Fuel Oil (Gallons per year) |  |  |  |  | 0 | 0 | 0
Jet Fuel (gallons per year) |  |  |  |  | 0 | 0 | 0
Propane (Gallons per year) |  |  |  |  | 0 | 0 | 0
Purchased Steam (Million lbs - Mlbs per year) |  |  |  |  | 0 | 0 | 0
[5 empty] | 199.004 | 0 | 199.004 | <<< MTCO2e saved each year
Additional Tools and Resources:
Your project reduced the equivalent amount as: |  |  | 0 | passenger vehicles driven for one year
|  |  | 0 | acres of U.S. forest sequestration in one year
More GHG equivalencies here: |  |  | https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator
EPA Avoided Emissions Calculator: |  |  | https://www.epa.gov/avert/avert-web-edition
More on quantifying benefits of efficiency and renewables: |  |  | https://www.epa.gov/statelocalenergy/quantifying-multiple-benefits-energy-efficiency-and-renewable-energy-guide-state

## Reference TFE
Reference Data
Conversion Factors
1000 | kg/MT
0.1 | MMBtu/therm
2.2046 | lb/kg
42 | gal/bbl liquid fuel
1000 | kWh/MWh
3.412 | kBtu/kWh
1.194 | MMBtu/klb steam
Source: EPA Energy Star Program
Stationary Sources
Fuel |  | CO2 emission factor | CO2 emission factor
|  | (kg CO2/mmBtu) | (MT CO2/therm)
Natural gas (per scf) |  | 52.91 | 0.005291
Source: https://www.eia.gov/environment/emissions/co2_vol_mass.php
Fuel | High heat value | CO2 emission factor | CO2 emission factor
| (mmBtu/gallon) | (kg CO2/mmBtu) | (MT CO2/gallon)
Diesel (distillate #2) | 0.138 | 74.14 | 0.010231
Propane | 0.091 | 62.88 | 0.0057221
Fuel oil | 0.138 | 74.14 | 0.010231
Gasoline (w/o ethanol) | 0.125 | 70.66 | 0.0088325
Source: EPA 40 C.F.R Part 98 as adopted in WAC 173-441 https://app.leg.wa.gov/WAC/default.aspx?cite=173-441
Electricity |  | CO2 emission factor | CO2 emission factor
|  | (kg CO2/kWh) | (MT CO2/kWh)
Purchased electricity - WA State Avg Retail Mix 3yr avg |  | 0.199 | 0.000199
Source: CO2 EF based on FMD 3 yr avg WA state electricity consumption. Cell C27 is an average of 2019, 2020 and 2021 statewide average from electricity sold to end users within WA. https://www.commerce.wa.gov/growing-the-economy/energy/fuel-mix-disclosure/
Fleets
Fuel | Default high heat value | CO2 emission factor | CO2 emission factor
| (mmBtu/gallon) | (MT CO2/bbl) | (MT CO2/gallon)
Gasoline | 0.125 | 0.3763 | 0.0089595
Ethanol (E100) | 0.084 | 0.2422 | 0.0057667
Diesel | 0.138 | 0.4296 | 0.010229
Biodiesel (B100) | 0.128 | 0.3957 | 0.0094214
Propane | 0.091 | 0.241 | 0.0057381
Aviation gasoline | 0.125 | 0.349 | 0.0083095
Jet fuel | 0.135 | 0.4095 | 0.00975
Source: EPA 40 C.F.R Part 98
Global Warming Potentials (100 yr)
CO2 | 1
CH4 | 25
N2O | 298
Source: WAC 173-441
Emission Equivalencies
Avg US passenger vehicle driven for 1 year | 4.49 | MTCO2e | https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references#vehicles
CO2 captured per acre per year for avg US forest | 0.84 | MTCO2 | https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references#pineforests
Electric Utilities | 2021 All customers Avg retail price ($/kwh) | 2021 Commercial sector avg retail price ($/kwh)
Washington State Average | 0.0875 | 0.0914
Avista Corp | 0.1117 | 0.0991
Benton Rural Electric Assn | 0.0663 | 0.0718
Big Bend Electric Coop, Inc | 0.0793 | 0.0686
Bonneville Power Administration | 0.0433 | 0.0372
City of Centralia - (WA) | 0.1135 | 0.0993
City of Ellensburg - (WA) | 0.0744 | 0.088
City of Port Angeles - (WA) | 0.0791 | 0.0666
City of Richland - (WA) | 0.0679 | 0.0784
City of Seattle - (WA) | 0.1028 | 0.1068
City of Tacoma - (WA) | 0.0951 | 0.082
Columbia Rural Elec Assn, Inc | 0.0966 | 0.0874
Elmhurst Mutual Power & Light Co | 0.0662 | 0.068
Inland Power & Light Company | 0.0606 | 0.0639
Kootenai Electric Cooperative | 0.0815 | 0.0873
Lakeview Light & Power | 0.0938 | 0.0933
Modern Electric Water Company | 0.0659 | 0.0666
Northern Lights, Inc | 0 | 0.1282
Orcas Power & Light Coop | 0.1365 | 0.1457
PacifiCorp | 0.0838 | 0.0808
Peninsula Light Company | 0.0807 | 0.1005
PUD 1 of Snohomish County | 0.0886 | 0.0946
PUD No 1 of Benton County | 0.0705 | 0.0724
PUD No 1 of Chelan County | 0.0368 | 0.033
PUD No 1 of Clallam County | 0.0925 | 0.1053
PUD No 1 of Clark County - (WA) | 0.0752 | 0.0815
PUD No 1 of Cowlitz County | 0.087 | 0.0579
PUD No 1 of Douglas County | 0.0289 | 0.0319
PUD No 1 of Franklin County | 0.072 | 0.0777
PUD No 1 of Grays Harbor County | 0.0669 | 0.0923
PUD No 1 of Jefferson County | 0.1157 | 0.1026
PUD No 1 of Klickitat County | 0.0905 | 0.0816
PUD No 1 of Lewis County | 0.0848 | 0.0841
PUD No 1 of Okanogan County | 0.0733 | 0.0801
PUD No 1 of Pend Oreille County | 0.0676 | 0.0737
PUD No 1 of Whatcom County | 0 | 0.0514
PUD No 2 of Grant County | 0.0438 | 0.0431
PUD No 2 of Pacific County | 0.0854 | 0.0834
PUD No 3 of Mason County | 0.0937 | 0.1052
Puget Sound Energy Inc | 0.1086 | 0.1116
Sunrun Inc. | 0 | 0.25
Tesla Inc. | 0 | 0.1269
Vera Irrigation District #15 | 0.0823 | 0.0821

## EV Calculations TFE
Calculator - Annual Estimated GHG Reductions from Switching from Gasoline to Electric Vehicle in MT CO2e
Input values in green boxes to calculate
| Inputs | Values | Sources
| Average Annual Gallons of Gasoline Consumed | 830 | total annual gasoline consumed by fleet vehicles divided by total number of vehicles
| Average Annual Miles Driven | 13300 | annual average calculated from daily average for all project's fleet vehicles divided by total number of vehicles
| kWh per mile of target vehicle | 0.443 | Ford F-150 Lightning EPA Range And Efficiency Officially Listed (insideevs.com)
| Total number of gasoline vehicles converted to EV | 40 | project's anticipated fleet vehicle conversion
| Conversions | Values | Sources
| Metric Tons of CO2 per gallon of gasoline | 0.008887 | Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
| CO2 to CO2e upscale (includes CO2, CH4, N20) | 1.007 | Greenhouse Gases Equivalencies Calculator - Calculations and References ¦ US EPA
| BPA CO2e (lbs/MWh) | 27 | fs-201901-The-carbon-free-footprint-of-BPA-hydropower-supply.PDF
| lbs. to kg | 0.45359
Annual Estimated GHG Reductions from Switching from Gasoline to Electric Vehicle in MT CO2e
=[historic emissions] - [projected emissions]
=[(annual gallons of gasoline consumed) x (GHG equivalency factors for fuel)] - [(annual miles driven) x (kWh per mile) x (GHG equivalency factor for electricity)]
| 297.1282 | historic emissions in MT CO2e
| 2.8863 | projected emissions in MT CO2e (does not include electricity line losses)
| Estimated Annual GHG reductions from switching to Electric Vehicles | 294.2419

## Combined Emissions Reduced TFE
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Emissions Reductions Due to Solar |  |  | 199.004 | 199.004 | 199.004 | 199.004
Emissions Reductions Due to EV's |  | 294.2419 | 294.2419 | 294.2419 | 294.2419 | 294.2419
[7 empty] | Measure | Cumulative GHG 2025-2030 (MTCO2e) | Cumulative GHG 2025-2050 (MTCO2e)
[7 empty] | Tribal fleet decarb. | 2267.2256 | 12132.144

## Tribal Clean Energy
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Tribal Clean Energy measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Emissions reductions are assumed to begin in 2026 as project implementation will occur for the first year following funding dispersal.

## Commerce Solar Plus Storage
GHG reductions are based on the results of past projects of this kind funded and implemented by the Department of Commerce.
Past projects funded by Commerce
Program | Project | Solar (kW) | Cost | Storage (kWh)
Solar plus Storage | Project 1 | 100 | 1200731 | 880
Solar plus Storage | Project 2 | 477 | 1500000 | 1310
Solar plus Storage | Project 3 | 279.8 | 1498258 | 1728
Solar plus Storage | Project 4 | 38.48 | 427601 | 135
| Total | 895.28 | 4626590 | 4053
|  | Average Cost | 1156647.5
|  | Average kW | 223.82
|  | Using AVERT: | https://www.epa.gov/avert/avert-web-edition
Load profile from 223.82 kW of solar in the PNW region will displace 1 gWh annually

## Emissions Reductions Estimates
Emission and Cost Reduction Estimates (Optional)
This tab provides a variety of simple tools for quickly estimating GHG reduction and cost savings for mitigation projects. This tab is available for your agency's internal use and is not required for reporting.
NOTE REGARDING ELECTRICITY EMISSIONS FORECAST:
As agencies plan future emission reduction projects, keep in mind that the electricity grid is moving toward carbon neutrality by 2030, making all-electric buildings and vehicles zero GHG emissions. The transformation away from fossil fuels requires that all energy be used as efficiently as possible and remaining energy use come from clean electricity and renewable fuels. This simple calculator does not include a projection of declining future emissions from electricity - it holds current emission levels steady into the future.
Resources for state buildings can be found here:
https://des.wa.gov/services/facilities-leasing/energy-program/resource-conservation-management-program
How to Use this Calculator
1. Enter the current annual quantity of fuel used in the orange cells in the before column.
2. Enter the future quantity of fuel to be used (after project completion) in the orange cells in the after column.
3. If you are using diesel with a portion of biodiesel or renewable diesel, put those percentages in the next column.
4. For multiple projects, copy this tab as often as needed.
CAUTION: This sheet is not protected so you can change it as needed. New copies can be found at Ecology's website.
Estimate Emission Reductions
|  | Enter the year project will be installed >>> | 2024
| Current Annual Fuel Use (Before) |  | Future Annual Fuel Use (After) |  | Annual Emissions Before | Annual Emissions After | Annual CO2e Savings (avoided)
Fuel Type | Fuel Quantity | Bio/ Renewable Diesel % | Fuel Quantity | Bio/ Renewable Diesel % | CO2e (MT) | CO2e (MT) | CO2e (MT)
Gasoline (gallons per year) |  |  |  |  | 0 | 0 | 0
Diesel (gallons per year) |  |  |  |  | 0 | 0 | 0
Electricity (kWh per year) | 1000000 |  | 0 |  | 199.004 | 0 | 199.004
(1gWh)
Natural Gas (Therms per year) |  |  |  |  | 0 | 0 | 0
Aviation Gasoline (gallons per year) |  |  |  |  | 0 | 0 | 0
Fuel Oil (Gallons per year) |  |  |  |  | 0 | 0 | 0
Jet Fuel (gallons per year) |  |  |  |  | 0 | 0 | 0
Propane (Gallons per year) |  |  |  |  | 0 | 0 | 0
Purchased Steam (Million lbs - Mlbs per year) |  |  |  |  | 0 | 0 | 0
[5 empty] | 199.004 | 0 | 199.004 | <<< MTCO2e saved each year
Additional Tools and Resources:
Your project reduced the equivalent amount as: |  |  | 0 | passenger vehicles driven for one year
|  |  | 0 | acres of U.S. forest sequestration in one year
More GHG equivalencies here: |  |  | https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator
EPA Avoided Emissions Calculator: |  |  | https://www.epa.gov/avert/avert-web-edition
More on quantifying benefits of efficiency and renewables: |  |  | https://www.epa.gov/statelocalenergy/quantifying-multiple-benefits-energy-efficiency-and-renewable-energy-guide-state

## Reference
Reference Data
Conversion Factors
1000 | kg/MT
0.1 | MMBtu/therm
2.2046 | lb/kg
42 | gal/bbl liquid fuel
1000 | kWh/MWh
3.412 | kBtu/kWh
1.194 | MMBtu/klb steam
Source: EPA Energy Star Program
Stationary Sources
Fuel |  | CO2 emission factor | CO2 emission factor
|  | (kg CO2/mmBtu) | (MT CO2/therm)
Natural gas (per scf) |  | 52.91 | 0.005291
Source: https://www.eia.gov/environment/emissions/co2_vol_mass.php
Fuel | High heat value | CO2 emission factor | CO2 emission factor
| (mmBtu/gallon) | (kg CO2/mmBtu) | (MT CO2/gallon)
Diesel (distillate #2) | 0.138 | 74.14 | 0.010231
Propane | 0.091 | 62.88 | 0.0057221
Fuel oil | 0.138 | 74.14 | 0.010231
Gasoline (w/o ethanol) | 0.125 | 70.66 | 0.0088325
Source: EPA 40 C.F.R Part 98 as adopted in WAC 173-441 https://app.leg.wa.gov/WAC/default.aspx?cite=173-441
Electricity |  | CO2 emission factor | CO2 emission factor
|  | (kg CO2/kWh) | (MT CO2/kWh)
Purchased electricity - WA State Avg Retail Mix 3yr avg |  | 0.199 | 0.000199
Source: CO2 EF based on FMD 3 yr avg WA state electricity consumption. Cell C27 is an average of 2019, 2020 and 2021 statewide average from electricity sold to end users within WA. https://www.commerce.wa.gov/growing-the-economy/energy/fuel-mix-disclosure/
Fleets
Fuel | Default high heat value | CO2 emission factor | CO2 emission factor
| (mmBtu/gallon) | (MT CO2/bbl) | (MT CO2/gallon)
Gasoline | 0.125 | 0.3763 | 0.0089595
Ethanol (E100) | 0.084 | 0.2422 | 0.0057667
Diesel | 0.138 | 0.4296 | 0.010229
Biodiesel (B100) | 0.128 | 0.3957 | 0.0094214
Propane | 0.091 | 0.241 | 0.0057381
Aviation gasoline | 0.125 | 0.349 | 0.0083095
Jet fuel | 0.135 | 0.4095 | 0.00975
Source: EPA 40 C.F.R Part 98
Global Warming Potentials (100 yr)
CO2 | 1
CH4 | 25
N2O | 298
Source: WAC 173-441
Emission Equivalencies
Avg US passenger vehicle driven for 1 year | 4.49 | MTCO2e | https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references#vehicles
CO2 captured per acre per year for avg US forest | 0.84 | MTCO2 | https://www.epa.gov/energy/greenhouse-gases-equivalencies-calculator-calculations-and-references#pineforests
Electric Utilities | 2021 All customers Avg retail price ($/kwh) | 2021 Commercial sector avg retail price ($/kwh)
Washington State Average | 0.0875 | 0.0914
Avista Corp | 0.1117 | 0.0991
Benton Rural Electric Assn | 0.0663 | 0.0718
Big Bend Electric Coop, Inc | 0.0793 | 0.0686
Bonneville Power Administration | 0.0433 | 0.0372
City of Centralia - (WA) | 0.1135 | 0.0993
City of Ellensburg - (WA) | 0.0744 | 0.088
City of Port Angeles - (WA) | 0.0791 | 0.0666
City of Richland - (WA) | 0.0679 | 0.0784
City of Seattle - (WA) | 0.1028 | 0.1068
City of Tacoma - (WA) | 0.0951 | 0.082
Columbia Rural Elec Assn, Inc | 0.0966 | 0.0874
Elmhurst Mutual Power & Light Co | 0.0662 | 0.068
Inland Power & Light Company | 0.0606 | 0.0639
Kootenai Electric Cooperative | 0.0815 | 0.0873
Lakeview Light & Power | 0.0938 | 0.0933
Modern Electric Water Company | 0.0659 | 0.0666
Northern Lights, Inc | 0 | 0.1282
Orcas Power & Light Coop | 0.1365 | 0.1457
PacifiCorp | 0.0838 | 0.0808
Peninsula Light Company | 0.0807 | 0.1005
PUD 1 of Snohomish County | 0.0886 | 0.0946
PUD No 1 of Benton County | 0.0705 | 0.0724
PUD No 1 of Chelan County | 0.0368 | 0.033
PUD No 1 of Clallam County | 0.0925 | 0.1053
PUD No 1 of Clark County - (WA) | 0.0752 | 0.0815
PUD No 1 of Cowlitz County | 0.087 | 0.0579
PUD No 1 of Douglas County | 0.0289 | 0.0319
PUD No 1 of Franklin County | 0.072 | 0.0777
PUD No 1 of Grays Harbor County | 0.0669 | 0.0923
PUD No 1 of Jefferson County | 0.1157 | 0.1026
PUD No 1 of Klickitat County | 0.0905 | 0.0816
PUD No 1 of Lewis County | 0.0848 | 0.0841
PUD No 1 of Okanogan County | 0.0733 | 0.0801
PUD No 1 of Pend Oreille County | 0.0676 | 0.0737
PUD No 1 of Whatcom County | 0 | 0.0514
PUD No 2 of Grant County | 0.0438 | 0.0431
PUD No 2 of Pacific County | 0.0854 | 0.0834
PUD No 3 of Mason County | 0.0937 | 0.1052
Puget Sound Energy Inc | 0.1086 | 0.1116
Sunrun Inc. | 0 | 0.25
Tesla Inc. | 0 | 0.1269
Vera Irrigation District #15 | 0.0823 | 0.0821

## Combined Emissions Reduced TCE
|  | Total Number Projects | Total GHG Reductions Annually
Assuming project costs and GHG reductions are similar to past projects, a $16 million CPRG grant should be able to fund roughly: |  | 14 | 2786.0567
Measure or Project | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
Tribal Clean Energy | 13930.2833 | 69651.4166

## Decarbonizing Campus Energy SCC
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Decarbonizing Campus Energy Systems, SCC measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Emissions reductions are assumed to begin 6 months into 2026 as project implementation will occur for the first year and a half following funding dispersal.

## Combined Emissions Reduced SCC
The following tables show the calculated reduction on the Broadway campus of natural gas and steam utility usage offset by an increase in demand for electricity to run the additional heat pumps and back-up electrical resistance boiler.
Phase One EcoDistrict Utility Savings:
Energy Source | Energy Reduction | Units | Conversion to kBtu | kgCO2e Reduced Annually | MT CO2e Reduced Annually
Natural Gas (reduction) | 57664 | therm | 5766400 | 305619.2 | 305.6192
Steam (reduction) | 14489 | kLbs | 17299866 | 1401289.146 | 1401.2891
Electricity (increase to power heat pumps) | -2,771,238 | kWh | 9455464.056 | 54841.6915 | 54.8417
Total Reduction |  |  |  |  | 1761.75
kBtu Conversion Source | https://portfoliomanager.energystar.gov/pdf/reference/Thermal%20Conversions.pdf
These calculations are based on the following emission factors for each utility: | [5 empty] | Sources for all of the GHG emission reductions and the CO2 rates by type of energy source were drawn from:
Environmental Information Agency (EIA)
Environmental Protection Agency (EPA)
Energy Star
City of Seattle
Phase Two EcoDistrict Building Usage:
| Energy Reduction | Unit | Conversion to kBtu | kgCO2e Reduced Annually | MT CO2e Reduced Annually
Natural Gas (reduction) | 15000 | therm | 1500000 | 79500 | 79.5
Electricity (increase to power heat pumps) | -140680 | kWh | -480000.16 | -2784.0009 | -2.784
Total Reduction |  |  |  |  | 76.716
CPRG Funded Emissions Reduction
Total Project Budget | 29880778.25
CPRG Funds | 10533521
Total Emissions Reduced Annually | 1838.466
Total Emissions Reduced Annually CPRG Funded | 648.0929
Measure or Project | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
SCC EcoDistrict | 2916.4181 | 15878.2764

## Decarbonizing Campus Energy WWU
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Decarbonizing Campus Energy Systems, WWU measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Standard emissions rates are incorporated into the formulas as regional electrical CO2 = 0.00031 Metric Ton/kWh and Natural Gas CO2 as 0.0053 Metric Ton per Therm.
Emissions reductions are assumed to begin in 2027 as project implementation will occur for the first two years following funding dispersal.
Energy savings from each EEM that drive the GHG reductions:
Exhaust Air Heat Recovery:
· Increase in electrical use to run additional pumps = -87,509 kWh
· Natural Gas reduction with 80% efficient central boilers = 96,533/.80 = 120,666 Therms
HVAC Controls Recommissioning & Upgrades:
· Reduced electrical use due to lowered fan energy = 766,447 kWh
· Natural Gas reduction with 80% efficient central boilers = 66,801/.80 = 83,501 Therms
Trane’s Model: For detailed overview of the model see Page 1.1 for A Brief Introduction and 2.1 – Program Overview,
https://software.trane.com/CDS/TRACE%20700%20-%20Users%20Manual.pdf
Trane’s Model: Alternate 2 page program summary:
https://software.trane.com/RightNow/0128-TRACEProgramDifferences/TRACE700.pdf
The GHG conversion factors came from the following locations:
From EPA’s Greenhouse Gases Equivalencies Calculator (2023):
mmbtu/1 therm × 14.43 kg C/mmbtu × 44 kg CO2/12 kg C × 1 metric ton/1,000 kg = 0.0053 metric tons CO2/therm”
Electricity emissions were based on 2021 EPA eGRID Summary Table for the Northwest subregion (NWPP)’s average CO2 rate: 634.6 lbs CO2e per megawatt hour
To convert this into metric tons CO2e per kwh: 634.6 lbs x .0004536 metric tons/lb x .001mwh/kwh = .000310 metric tons CO2 per kWh
The new HVAC major equipment has a 20-year service life. The controls devices which are digital electronics based have a 15-year service life. Here Commerce assumes funding will be available to replace equipment at the end of its service life, and equipment will be replaced with no interuption in GHG reductions.

## WWU Calculations
Building | AREA (GSF) | MEASURE | ELECTRIC SAVINGS (KWH) | GAS SAVINGS (THERMS) | ENERGY COST SAVINGS | CPRG ELEC CO2 | CPRG GAS CO2 | CPRG SUM CO2 | CPRG CONTRACT COST | CPRG PROJECT COST | Factor | Value | Unit
Chemistry | 77226 | EEM 1.Heat Recovery coil -AH-1,2 | -65820.15 | 77905.63 | 49103.7786 | -20.4042 | 516.1248 | 495.7206 | 1936688 | 2322938.0408 | Electric Rate | 0.0825 | /kwh
Biology | 81120 | EEM 2.AH-2 H/R | -21689.29 | 18627.54 | 11249.9116 | -6.7237 | 123.4075 | 116.6838 | 1005493 | 1206026.9592 | Gas Cost | 0.7 | /therm
Carver | 167346 | EEM 2.Occ & CO2 Sensors | 250298.56 | 5836.53 | 24735.2022 | 77.5926 | 38.667 | 116.2596 | 17920 | 25546.4814 | Regional Electric CO2 Emissions | 0.00031 | Metric Ton/KWH
Carver |  | EEM 5.Heat Recovery RCx | 672.56 | 3826.01 | 2733.6932 | 0.20849 | 25.3473 | 25.5558 | 112000 | 159665.509 | Gas CO2 Emissions | 0.0053 | Metric Ton/Therm
Communications | 131365 | EEM 1.Recommission controls | 180079.39 | 14809.26 | 25223.0317 | 55.8246 | 98.1113 | 153.936 | 112000 | 159665.509 | Steam Plant Efficiency | 80%
ET | 77592 | EEM 5.Retro-commissioning | 74011.78 | 12931.11 | 15157.7489 | 22.9437 | 85.6686 | 108.6123 | 224000 | 319331.018 | Heat Recovery Indirect Markup | 19.94%
Haggard | 107971 | EEM 1.Recommission Controls | 162584.53 | 3468.87 | 15841.4327 | 50.4012 | 22.9813 | 73.3825 | 90000 | 128302.6411 | HVAC Controls Indirect Markup | 42.56%
SMATE | 40144 | EEM 1.Retro-commission | 15241.31 | 3208.04 | 3503.0361 | 4.7248 | 21.2533 | 25.9781 | 22000 | 31362.8678
Bond | 91168 | EEM 1.Occ Sensor Control | 48098.71 | 21683.31 | 19146.4606 | 14.9106 | 143.6519 | 158.5625 | 89600 | 127732.4072
Bond |  | EEM 4.RCx | 35460 | 1038 | 3652.05 | 10.9926 | 6.8768 | 17.8694 | 267680 | 381600.5665
Total | 773932 |  | 678937.4 | 163334.3 | 170346.3455 | 210.4706 | 1082.0897 | 1292.5603 | 3877381 | 4862172
NOTES:
1. Electric and Gas savings in columns D & E come directly from TRANE's Trace 700 simulation model that was used in the 2022 ASHRAE Level II Study
2. Electric and Gas CO2 reductions in columns G, H, & I are based on regional conversion factors shown in columns L & M multiplied against the electric and gas savings
3. Natural Gas CO2 values are escalated to reflect 80% efficiency of the central steam plant boilers
4. Contract Cost in column J is the estimated externally contracted construction cost
5. Project Cost in column K includes owner costs, self-performed work, taxes and overhead as a mark-up multiplier as shown in column M to reflect the total cost of the proposed projects

## Combined Emissions Reduced WWU
GHG Emissions Reduced
The table below summarizes the GHG reductions achieved bases on the proposed measures being completed by 2027.
Table 1. Estimated GHG Emissions Reductions by Time Horizon
GHG Reduction Measure | Estimated Annual GHG Emissions Reductions (MTCO2e) | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
Exhaust Heat Recovery | 612 | 1836 | 14076
HVAC Controls Upgrade | 680 | 2040 | 15640
Total All Measures | 1292.5603 | 5170.2413 | 31021.448

## Anaerobic Digesters
Introduction
This set of sheets contains GHG emission reduction calculations that quantify the GHG emission reductions for the Anaerobic Digesters measure. This spreadsheet may show the specific formulas, assumptions, and/or model inputs used to determine the estimated GHG emission reductions. Additional assumptions are listed below and calculations are shown in the following tabs of the same color.
Other Assumptions:
Implementation is expected to take 6 months from the beginning of 2025.
Assume that all waste transportation is done via trucking.

## Combined Emissions Reduced AD
2024-03-15
parameter | units | value | source
Waste hauling truck fuel consumption | mpg | 5 | Estimate
Diesel emissions rate | lbs CO2/gal diesel | 22.45 | EPA
MSW hauling capacity per truck | tons/truck | 10 | Estimate
Percent of food waste to MSW | pcnt | 50% | Estimate
Electricity grid emissions factor | lbs CO2e/MWh | 638.5 | EPA EGrid
Natural gas emissions factor | lbs CO2e/MMBtu | 116 | EPA
AD methane leakage | pcnt | 0.5% | Estimate
Methane density | lbs CH4/scf | 0.042 | EPA
Methane concentration in biogas | pcnt | 60% | Estimate
Methane heating value | Btu/scf | 1010 | EPA
GWP CH4 | tCO2/tCH4 | 28 | IPCC
Digestate hauling capacity per truck | gal/truck | 500 | Estimate
Landfill methane emissions | gCO2e/MJ | 104.37 | WA state GREET Tier 1; 100% to landfill
Avoided CO2 from landfill gas recovery | tCO2e/ton food waste | 0.07 | EPA WARM v15.1
Landfill carbon sequestration | tCO2e/ton food waste | 0.1 | EPA WARM v15.1
Turning of compost | tCO2e/ton food waste | 0.01 | EPA WARM v15.1
Fugitive composting emissions | tCO2e/ton food waste | 0.11 | EPA WARM v15.1
Fertilizer offset of compost | tCO2e/ton food waste | 0.03 | EPA WARM v15.1
Soil carbon storage of compost | tCO2e/ton food waste | 0.23 | EPA WARM v15.1
Non-combustion LCA emissions: electricity | pcnt | 6.5% | ARB LCFS; transmission loss of 6.5%. Lookup Tables Pathways - Technical Support Documentation
Non-combustion LCA emissions; natural gas | gCO2e/MJ | 19.32 | ARB LCFS; recovery+processing+transport+compression. Lookup Tables Pathways - Technical Support Documentation
Avoided fertilizer application of digestate | tCO2e/ton food waste | 0.02 | EPA WARM v15.1
Soil carbon storage of digestate | tCO2e/ton food waste | 0.03 | EPA WARM v15.1
Conversion | Btu/kWh | 3412
Conversion | lbs/short ton | 2204
Conversion | MJ/MMBtu | 1055
|  |  | Pierce | Tenino
|  |  | Transfer Station (AD185) | AgPark (AD500)
Organic waste processed | tons/year |  | 185 | 500
AD electricity consumption rate | kWh/ton food waste |  | 70 | 37
AD gross biogas energy produced | MMBtu/yr |  | 577 | 1560
AD gross biogas energy produced | MJ/yr |  | 608946 | 1645800
AD gross biogas energy produced | scf biogas/yr |  | 952475 | 2574257
Electric gen efficiency | pcnt |  | 30% | 32%
Thermal efficiency | pcnt |  | 45% | 45%
AD electricity generation | kWh/yr |  | 50750 | 146307
AD thermal energy generation | MMBtu/yr |  | 260 | 702
Digestate production | gal/yr |  | 41625 | 112500
Transportation of waste to landfill; one-way distance | miles |  | 40.2 | 239
Transportation of waste to compost; one-way distance | miles |  | 0 | 0
Percent to landfill | pcnt |  | 100% | 100%
Percent to compost | pcnt |  | 0% | 0%
Transportation of AD digestation; one-way distance | miles |  | 0 | 3
BASELINE EMISSIONS
Transportation to landfill | tCO2e/ton food waste |  | 0.03 | 0.19
Landfill methane | tCO2e/ton food waste |  | 0.34 | 0.34
Landfil energy recovery emissions | tCO2e/ton food waste |  | -0.07 | -0.07
Landfill carbon sequestration | tCO2e/ton food waste |  | -0.1 | -0.1
TOTAL BASELINE EMISSIONS |  |  | 0.21 | 0.37
PROJECT EMISSIONS
Process energy (electricity consumption) | tCO2e/ton food waste |  | 0.02 | 0.01
Process non-energy (methane emissions) | tCO2e/ton food waste |  | 0.01 | 0.01
Electricity emissions; combustion | tCO2e/ton food waste |  | -0.08 | -0.08
Natural gas emissions; combustion | tCO2e/ton food waste |  | -0.07 | -0.07
Electricity emissions; non-combustion | tCO2e/ton food waste |  | -0.01 | -0.01
Natural gas emissions; non-combustion | tCO2e/ton food waste |  | -0.06 | -0.06
Fertilizer application w/ digestate | tCO2e/ton food waste |  | -0.02 | -0.02
Soil carbon storage with digestate | tCO2e/ton food waste |  | -0.03 | -0.03
Organic waste feedstock transport | tCO2e/ton food waste |  | 0 | 0
Digestate transport | tCO2e/ton food waste |  | 0 | 0.01
TOTAL PROJECT EMISSIONS |  |  | -0.24 | -0.26
NET EMISSIONS REDUCTIONS | tCO2e/ton food waste |  | 0.45 | 0.63
| tCO2e/year |  | 83.25 | 315
|  |  | Annual Total | 398.25
Measure or Project | Cumulative Reductions 2025-2030 (MTCO2e) | Cumulative Reductions 2025-2050 (MTCO2e)
Anaerobic Digesters | 2190.375 | 10155.375